## Revision_History
FNM Scope for FNM 26M10_DB143
(Production Week of 10/12/2026)
Revision History
Effective Date | Version | Description
2026-08-12 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
California ISO – Public

## NRI
I. NRI Projects
NO | PTO | Resource ID | Project Name / Description | Project Key
1 | PGAE |  | Gardenia | 26NGR52999
2 | PGAE | STOREY_2_JADSB1 | Jade Solar 3 | 26NGR52998
3 | PGAE |  | Janus | 18AS1906
4 | PGAE |  | Janus Solar | 25GEN50565
5 | PGAE |  | Key Storage 1 | 18AS1953
6 | PGAE |  | Key Storage 1 A | 26NGR56139
7 | PGAE |  | Key Storage 1 B | 26NGR56140
8 | PGAE |  | Kyan Solar | 16AS0003
9 | PGAE | GRAPE_2_PLTBTX | Pluot | 16AS0160
10 | PGAE | GRAPE_2_PLTSRX | Pluot PV | 26GEN55966
11 | PGAE | SCARLT_2_S3BBT3 | Scarlet 3 BESS | 26NGR55457
12 | PGAE |  | Stella | 25NGR50640
13 | PGAE | ZETA_6_ZTABT1 | Zeta | 20AS11892
14 | PGAE | ZETA_6_ZTASR1 | Zeta Solar 1 | 26GEN54907
15 | PGAE | ZETA_6_ZTASR2 | Zeta Solar 2 | 26GEN54908
16 | PGAE | ZETA_6_ZTABT2 | Zeta Storage 2 | 26NGR54909
17 | SCE | GABE_2_GBSBT1 | Gabriel Storage | 21AS16081
18 | SCE | GABE_2_GBSBT2 | Gabriel Storage 2 | 26NGR53500
19 | SCE |  | Gabriel Storage 3 | 26NGR53501
20 | SCE |  | Gabriel Storage 4 | 26NGR53502
21 | SCE |  | Gabriel Storage 5 | 26NGR53722
22 | SCE |  | Marici | 21AS15933
23 | NA |  | VESTAL_6_KERNU1, VESTAL_6_KERNU2; VESTAL_2_KERN; KERN RIVER PH 3 UNITS 1&2 AGGREGATE | 25RIG48955
24 | NA |  | Kern River 3 RIG Replacement 2026 | 26RIG51455
25 | NA |  | SCE Champagne | 26RIG53044
26 | NA |  | SCE Jarupa | 26RIG53045
27 | NA |  | SCE Prologis Rochester | 26RIG53046
28 | NA |  | SCE Ontario | 26RIG53047
29 | NA |  | SCE Pico Rivera | 26RIG53048
30 | NA |  | Lemoore PV I LLC RIG 10 2026 2 | 26RIG55950

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 14TRANS788822 | Kern PP 115kV Area Reinforcement | ET2420
2 | PGAE | 23TRANS29175 | Q1557 Noosa Energy Storage 115kV Reconductoring EGI LDNU Projects | ET5259
3 | PGAE | 23TRANS29175 | Q1557 Noosa Energy Storage 115kV Reconductoring EGI LDNU Projects | ET5260
4 | PGAE | 23TRANS29175 | Q1557 Noosa Energy Storage 115kV Reconductoring EGI LDNU Projects | ET5261
5 | PGAE | 25TRANS45899 | Prologis L0015_16 Hellyer Switching Station (SS) Large Load | ET5990
6 | PGAE | 25TRANS45899 | Prologis L0015_16 Hellyer Switching Station (SS) Large Load | ET5991
7 | SCE | 26TRANS55507 | Marici BESS Project TOT1033/Q2116 | ET5967
8 | SCE | 26TRANS55507 | Marici BESS Project TOT1033/Q2116 | ET5968
9 | SCE | 26TRANS55507 | Marici BESS Project TOT1033/Q2116 | ET5969
10 | SCE | 26TRANS55513 | Gabe BESS Project TOT1082 Q2113 | ET5971
11 | SCE | 26TRANS55513 | Gabe BESS Project TOT1082 Q2113 | ET5972

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | Generator - Change PEC_1_1 Pmax (MW) to 7 | 26EMS56510
2 | AVA_BA | - ICCP mapping to AVA CIM model | 26EMS56511
3 | AVA_BA | - Note: the ratings in this submittal are FALL = High1/High2, and WINTER = High3/High4 | 26EMS56512
4 | AVRN_BA | Generator - Updated CAISO D-curve review - edits based on validated MOD-026 model. STATCOM was accurate. | 26EMS54880
5 | AZPS_BA | - RC Data Gathering (Addition) | 26EMS55800
6 | AZPS_BA | - JOU Dynamic Data | 26EMS55801
7 | AZPS_BA | - ICCP for pseudo-tie value | 26EMS56344
8 | AZPS_BA | - Palo Verde pseudo-tie (APS & EPE) | 26EMS56345
9 | BANC_BA | Contingency Definition - Contingency definition for ELR substation | 26EMS56502
10 | BANC_BA | Breaker(s)\ Disconnect(s) - Station B disconnect addition | 26EMS56503
11 | BANC_BA | Generator - SEC Analog | 26EMS56504
12 | BANC_BA | Generator - New BESS resource ID RP2_2_BATTERY with two child resources RP2_2_BATTERYU1 and RP2_2_BATTERYU2 in FNM | 26EMS56505
13 | BANC_BA | Breaker(s)\ Disconnect(s) - Jumper Switch Addition | 26EMS56506
14 | BANC_BA | Substation\Load - Beale double modeling cleanup | 26EMS56507
15 | BANC_BA | Transformer - STF tap low step correction. | 26EMS56508
16 | BANC_BA | Shoofly Install\ Removal - 230 kV SHA-KES Shoofly | 26EMS56509
17 | BCHA_RC | RAS - Addition and modifications of RAS arming points related to Peace Area Loadshed RAS described in 2T-34 Appendix 2 and 7T-35 Operating order | 26EMS55896
18 | BCHA_RC | RAS - Modifications of RAS arming points related to G.M. Shrum Area Gen Shedding RAS described in 2T-34 Appendix 2 and 7T-13 Operating order. | 26EMS55914
19 | BCHA_RC | Transformer - Delete T5 | 26EMS56191
20 | BCHA_RC | Transformer - Delete T6 | 26EMS56192
21 | BCHA_RC | Transmission Line - Removed 25B2_PHA | 26EMS56193
22 | BCHA_RC | Substation\Load - Removed SS1_LD | 26EMS56194
23 | BCHA_RC | Substation\Load - Removed CAP_LOAD | 26EMS56195
24 | BCHA_RC | Substation\Load - Removed FVW_LDB | 26EMS56196
25 | BCHA_RC | Substation\Load - Added TCT Substation | 26EMS56197
26 | BCHA_RC | Transformer - Added T1 | 26EMS56198
27 | BCHA_RC | Transformer - Added T3 | 26EMS56199
28 | BCHA_RC | Transformer - Added ST2 | 26EMS56200
29 | BCHA_RC | Transformer - Added ST1 | 26EMS56201
30 | BCHA_RC | Substation\Load - Added MTE_LOAD | 26EMS56202
31 | BCHA_RC | Substation\Load - Added MCK_LD | 26EMS56203
32 | BCHA_RC | Substation\Load - Added KI2_220 | 26EMS56204
33 | BCHA_RC | Transmission Line - Added KI2_25RX222 | 26EMS56205
34 | BCHA_RC | Transmission Line - Added KI2_25RX223 | 26EMS56206
35 | BCHA_RC | Transmission Line - Added KI2_25RX226 | 26EMS56207
36 | BCHA_RC | Transmission Line - Added KI2_25CL24 | 26EMS56208
37 | BCHA_RC | Transmission Line - Added KI2_25RX221 | 26EMS56209
38 | BCHA_RC | Transmission Line - Added KI2_25CL22 | 26EMS56210
39 | BCHA_RC | Transmission Line - Added KI2_25RX225 | 26EMS56211
40 | BCHA_RC | Transmission Line - | 26EMS56470
41 | BCHA_RC | Transmission Line - | 26EMS56471
42 | BCHA_RC | N/A - | 26EMS56472
43 | BPA | Update all XFMR g values to be divided by 100. | 26EMS56581
44 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and updated. | 26EMS56424
45 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and updated. | 26EMS56425
46 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and updated. | 26EMS56426
47 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and updated. | 26EMS56427
48 | BPAT_BA | Breaker(s)\ Disconnect(s) - Breakers removed. | 26EMS56428
49 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed. | 26EMS56429
50 | BPAT_BA | Breaker(s)\ Disconnect(s) - Breakers and disconnects added and updated. | 26EMS56430
51 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnect removed and added. | 26EMS56431
52 | BPAT_BA | Breaker(s)\ Disconnect(s) - Breakers and disconnects added. | 26EMS56432
53 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and updated. | 26EMS56433
54 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and updated. | 26EMS56434
55 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and added. | 26EMS56435
56 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects added and updated. | 26EMS56436
57 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects added. | 26EMS56437
58 | BPAT_BA | Transformer - Transformer updates. | 26EMS56438
59 | BPAT_BA | Transformer - Transformer updates. | 26EMS56439
60 | BPAT_BA | Transmission Line - Line added. BRDG_WTLD_1230 A | 26EMS56440
61 | BPAT_BA | Transmission Line - Line added. WTLD_HWAY_1230 A | 26EMS56441
62 | BPAT_BA | Transmission Line - Line removed. WHLN_HWAY_1230 A | 26EMS56442
63 | BPAT_BA | Transmission Line - Line removed. BRDG_WHLN_1230 A | 26EMS56443
64 | BPAT_BA | Transmission Line - Line removed. QRRY_RPLE_1230 A | 26EMS56444
65 | BPAT_BA | Transmission Line - Line removed. HWAY_LGWK_1230 A | 26EMS56445
66 | BPAT_BA | Transmission Line - Line removed. OLRD_LGWK_1230 A | 26EMS56446
67 | BPAT_BA | Transmission Line - Line updates. STIM_CAMA_1115 E | 26EMS56447
68 | BPAT_BA | Transmission Line - Line updates. STIM_CAMA_1115 D | 26EMS56448
69 | BPAT_BA | Transmission Line - Line updates. STIM_CAMA_1115 F | 26EMS56449
70 | BPAT_BA | Transmission Line - Line updates. HOSS_POND_1230 A | 26EMS56450
71 | BPAT_BA | Transmission Line - Line updates. MEEK_KALA_1115 A | 26EMS56451
72 | BPAT_BA | Transmission Line - Line added. GARR_MICR_2230 A | 26EMS56452
73 | BPAT_BA | Transmission Line - Line updates. EUGE_ALDW_1115 C and D | 26EMS56453
74 | BPAT_BA | Transmission Line - Line updates. ALSN_DRIS_2115 D | 26EMS56454
75 | BPAT_BA | Transmission Line - Line updates. ALSN_DRIS_2115 C | 26EMS56455
76 | BPAT_BA | Transmission Line - Line updates. ALSN_DRIS_2115 B | 26EMS56456
77 | BPAT_BA | Transmission Line - Line updates. ALSN_DRIS_2115 A | 26EMS56457
78 | BPAT_BA | Transmission Line - Line updates. HOSS_HOSS_1_34 | 26EMS56458
79 | BPAT_BA | Substation\Load - Load added. | 26EMS56459
80 | BPAT_BA | Substation\Load - Load removed. | 26EMS56460
81 | BPAT_BA | Substation\Load - Station removed. | 26EMS56461
82 | BPAT_BA | Contingency Definition - BPA Contingency List. | 26EMS56462
83 | BPAT_BA | Breaker(s)\ Disconnect(s) - Fixed model at Snohomish PUD substaion. Some disconnects/PCBs were not connected correctly. | 26EMS56622
84 | BPAT_BA | Substation\Load - System Voltage Limits Template. | 26EMS56623
85 | CEN | 1. Update the ReactiveCapability curve for the GN-UN-01 unit at the PSM115 station. Q = +/- 14.82 (See Incident Request INC0321708) | 26EMS56608
86 | CEN_BA | Substation\Load - Aggregate load | 26EMS56213
87 | CEN_BA | Substation\Load - Aggregate load | 26EMS56214
88 | CEN_BA | Substation\Load - Aggregate load | 26EMS56215
89 | CEN_BA | Substation\Load - Eliminate Load | 26EMS56216
90 | CEN_BA | Substation\Load - Eliminate Load | 26EMS56217
91 | CEN_BA | Transmission Line - Aggregate load | 26EMS56218
92 | CEN_BA | Transmission Line - Aggregate load | 26EMS56219
93 | CEN_BA | Transmission Line - Aggregate load | 26EMS56220
94 | CEN_BA | Transmission Line - Rename Line Common Name | 26EMS56221
95 | CEN_BA | Substation\Load - Aggregate load | 26EMS56222
96 | CEN_BA | Substation\Load - Aggregate load | 26EMS56223
97 | CEN_BA | Substation\Load - Aggregate load | 26EMS56224
98 | CEN_BA | Substation\Load - Aggregate load | 26EMS56225
99 | CEN_BA | Substation\Load - Aggregate load | 26EMS56226
100 | CEN_BA | Substation\Load - Aggregate load | 26EMS56227
101 | CEN_BA | Substation\Load - Aggregate load | 26EMS56305
102 | CEN_BA | Substation\Load - Aggregate load | 26EMS56306
103 | CEN_BA | Substation\Load - Aggregate load | 26EMS56307
104 | CEN_BA | Substation\Load - Aggregate load | 26EMS56324
105 | CEN_BA | Substation\Load - Aggregate load | 26EMS56325
106 | CEN_BA | Substation\Load - Aggregate load | 26EMS56326
107 | CHPD_BA | Substation\Load - Added ICCP for exisitng Coles Corner 115 kV PT | 26EMS55154
108 | CHPD_BA | Substation\Load - Added ICCP for exisitng Coles Corner 115 kV PT | 26EMS55155
109 | EPE_TOP | Transmission Line - Updates naming for VER_JUP_TIE line to VER_BPLEX_TIE | 26EMS56346
110 | EPE_TOP | Substation\Load - Updates naming for STA-23 Conforming Load to STA-23_OL | 26EMS56347
111 | EPE_TOP | Substation\Load - Removal of bus KV measurement | 26EMS56348
112 | EPE_TOP | Breaker(s)\ Disconnect(s) - Removal of Non-Telemetered equipment | 26EMS56349
113 | EPE_TOP | Substation\Load - Addition of MV, MW analogs to STA_ZBR_23_9 | 26EMS56350
114 | EPE_TOP | Substation\Load - Addition of 115kV Eastwind substation | 26EMS56351
115 | GCPD_BA | Transmission Line - The changes in 2_RC Data 6_1_26 are highlighted in yellow! No changes to non-highlighted data. This is a limited update of GCPD's System Operating Limits. Please update the SOL for the highlighted lines within Grant's system. Spring, Summer, Fall, and Winter ratings have been provided. Grant does not have emergency ratings that are different from the continuous rating. | 26EMS54971
116 | HHWP_TOP | Generator - This unit just returned to sercive after a rewind. The capability curve still needs to be confirmed. It is scheduled to be tested next week (6/11). I will upload a curve when I have it. | 24EMS37004
117 | HHWP_TOP | Generator - Capability Curve being provided to be compliant with updated RC0120A (Rev 6.5) D.R. 6.8.1. This is difficult to read so it's for your records. This unit will be undergoing a rewind later this year. At that time, the capability curve provided for MPH #2 will be applicable. | 24EMS37005
118 | HHWP_TOP | Generator - Capability Curve being provided to be compliant with updated RC0120A (Rev 6.5) D.R. 6.8.1 | 24EMS37006
119 | HHWP_TOP | Generator - Capability Curve being provided to be compliant with updated RC0120A (Rev 6.5) D.R. 6.8.1 | 24EMS37007
120 | IID_TOP | Substation\Load - New Bay and MC2 Line to Cedar 2 Addition | 26EMS54842
121 | IID_TOP | Substation\Load - ICCP Points for Gateway Subsation | 26EMS55575
122 | IID_TOP | Substation\Load - ICCP Points for Cedar 2 Subsation | 26EMS55576
123 | IID_TOP | Substation\Load - Gateway Impedances | 26EMS55739
124 | IID_TOP | Substation\Load - Dixieland Station shows modeling discrepancies not showing the SEPV West and SEPV East Generation. Generation is being netted against load. | 26EMS55934
125 | IID_TOP | Substation\Load - El Centro PV station shows discrepancies with 4 generation units, where there is only 3 generation units. | 26EMS55935
126 | IID_TOP | Generator - The generators information was updated, and the D-curves information was also revised. SLD for the Heber Substation has also been previously posted. | 26EMS56212
127 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: BRIDGE ABD_B2084, BRIDGE ABD_B2086, BRIDGE ABD_B2087, BRIDGE ABD_B2088, BRIDGE B2084, BRIDGE B2086, BRIDGE B2087, BRIDGE B2088, BRIDGE CUT1, BRIDGE CUT2, BRIDGE CUT3, BRIDGE CUT4, BRIDGE CUT5, BRIDGE CUT6, BRIDGE LSD_B2086, BRI | 26EMS56353
128 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: BLPR 235X, BLPR 235Y, BLPR 235Z, BLPR CUT1, BLPR CUT2 | 26EMS56354
129 | IPCO_BA | Transformers - Added PowerTransformer: CRSD T131 | 26EMS56355
130 | IPCO_BA | Transformers - Added PowerTransformer: MCDT T131 | 26EMS56356
131 | IPCO_BA | Transformers - Added PowerTransformer: CLCK T061 | 26EMS56357
132 | IPCO_BA | Transformers - Added PowerTransformer: EDEN T133 | 26EMS56358
133 | IPCO_BA | Transformers - Added PowerTransformer: EDEN MBE9 | 26EMS56359
134 | IPCO_BA | Transformers - Added PowerTransformer: BRIDGE T2 | 26EMS56360
135 | IPCO_BA | Transmission Line - Added ACLineSegments: FFSR-MRBT | 26EMS56361
136 | IPCO_BA | Transmission Line - Added ACLineSegments: CDPO-CKTP | 26EMS56362
137 | IPCO_BA | Transmission Line - Added ACLineSegments: LCST-MCJN | 26EMS56363
138 | IPCO_BA | Transmission Line - Added ACLineSegments: MCJN-TNML | 26EMS56364
139 | IPCO_BA | Transmission Line - Added ACLineSegments: HYDA-CRSD | 26EMS56365
140 | IPCO_BA | Transmission Line - Added ACLineSegments: TSFN-CRSD | 26EMS56366
141 | IPCO_BA | Transmission Line - Added ACLineSegments: CLCK-CKTP | 26EMS56367
142 | IPCO_BA | Transmission Line - Added ACLineSegments: CLPR-PGJN | 26EMS56368
143 | IPCO_BA | Transmission Line - Added ACLineSegments: MTUR-CKTP | 26EMS56369
144 | IPCO_BA | Transmission Line - Added ACLineSegments: MCDT-MCJN | 26EMS56370
145 | IPCO_BA | Substation\Load - ADDED NEW FFSR SUBSTATION | 26EMS56371
146 | IPCO_BA | Substation\Load - ADDED NEW MCJN SUBSTATION | 26EMS56372
147 | IPCO_BA | Substation\Load - ADDED NEW MCDT SUBSTATION | 26EMS56373
148 | IPCO_BA | Substation\Load - ADDED NEW CRSD SUBSTATION | 26EMS56374
149 | IPCO_BA | Substation\Load - ADDED NEW CKTP SUBSTATION | 26EMS56375
150 | IPCO_BA | Substation\Load - ADDED NEW CLCK SUBSTATION | 26EMS56376
151 | IPCO_BA | Contingency Definition - NEW/CHANGE CONTINGENCY | 26EMS56377
152 | IPCO_BA | - Parallel 4 season submittal | 26EMS56378
153 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FERC881 Dynamic MVA. | 26EMS56379
154 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 26EMS56380
155 | IPCO_BA | - CIM export of IPCO_BA FNM. | 26EMS56381
156 | IPCO_BA | Generators - Updated Pmin, Pmax, Qmin, Qmax, and capability curves on many Generators | 26EMS56382
157 | IPCO_BA | Transmission Line - Removed "_A" from the end of many ACLineSegment and line names | 26EMS56383
158 | IPCO_BA | Substation\Load - Removed ConformLoad: MRBT 041 | 26EMS56384
159 | IPCO_BA | Transmission Line - Removed ACLineSegment: DNPR-ELMR1_A | 26EMS56385
160 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removed Disconnectors: BOBN 110D | 26EMS56386
161 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removed Disconnectors: DNPR CUT1, DNPR CUT2, DNPR CUT3 | 26EMS56387
162 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removed Disconnectors: ELMR CUT1, ELMR CUT2 | 26EMS56388
163 | IPCO_BA | Substation\Load - Added ConformLoads: MCDT 011, MCDT 012, MCDT 013, MCDT 014 | 26EMS56389
164 | IPCO_BA | Substation\Load - Added ConformLoads: CRSD 041, CRSD 042 | 26EMS56390
165 | IPCO_BA | Substation\Load - Added ConformLoads: EDEN 044A | 26EMS56391
166 | IPCO_BA | Substation\Load - Added ConformLoads: CLCK 041, CLCK 042 | 26EMS56392
167 | IPCO_BA | Substation\Load - Added ConformLoads: BRIDGE-RREASTBRIDGE_138 | 26EMS56393
168 | IPCO_BA | Generator - ADDED NEW 4.2MW GENERATING UNIT: FFSR G001 | 26EMS56394
169 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: TNML CUT1, TNML CUT2 | 26EMS56395
170 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: TFSN CUT1, TFSN CUT2 | 26EMS56396
171 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: PGJN CUT1, PGJN CUT2 | 26EMS56397
172 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: LYPK SHOOFLY, LYPK STR410-48-CK1, LYPK STR410-48-CK2 | 26EMS56398
173 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: LSPR CUT1, LSPR CUT2 | 26EMS56399
174 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: CLPR CUT1, CLPR CUT2 | 26EMS56400
175 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: CKTP 072T3, CKTP 072T4, CKTP SHOOFLY | 26EMS56401
176 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: CDPO CUT1, CDPO CUT2 | 26EMS56402
177 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: BYPS JMP1 | 26EMS56403
178 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: LCST CUT1, LCST CUT2 | 26EMS56404
179 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: HYDA CUT1, HYDA CUT2 | 26EMS56405
180 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: USTK 011Z, USTK 012Z, USTK 021Z, USTK 022Z | 26EMS56406
181 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: TERY 131X, TERY 131Z, TERY 132X, TERY 132Z, TERY 133X, TERY 133Z | 26EMS56407
182 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: MCDT 011A, MCDT 011Z, MCDT 012A, MCDT 013A, MCDT 014A, MCDT 021Z, MCDT 101B, MCDT 101C, MCDT 101X, MCDT 131L, MCDT 131X, MCDT 131Z | 26EMS56408
183 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: FFSR CUSTOMER BREAKER, FFSR P14 | 26EMS56409
184 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: EDEN 041D, EDEN 042D, EDEN 043D, EDEN 044A, EDEN 044D, EDEN 045A, EDEN 045C, EDEN 045X, EDEN 045Y, EDEN 045Z, EDEN 046X, EDEN 046Y, EDEN 132L, EDEN 133L, EDEN 133X, EDEN 133Z, EDEN 134X, EDEN 134Z, EDEN CUT1 | 26EMS56410
185 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: CRSD 041A, CRSD 041B, CRSD 041C, CRSD 041D, CRSD 042A, CRSD 042B, CRSD 042C, CRSD 042D, CRSD 101B, CRSD 101C, CRSD 101X, CRSD 102B, CRSD 102C, CRSD 102X, CRSD 131L, CRSD 131X, CRSD 131Z, CRSD 132X | 26EMS56411
186 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects: CLCK 041A, CLCK 041B, CLCK 041C, CLCK 041D, CLCK 042A, CLCK 042B, CLCK 042C, CLCK 042D, CLCK 045X, CLCK 061L, CLCK 061X, CLCK 061Z, CLCK 063X | 26EMS56412
187 | LDWP_BA | Substation\Load - Add Rosamond Switching Station | 26EMS56420
188 | LDWP_BA | Generator - For Market Model. Palo Verde Pseudo Tie with AZPS | 26EMS56421
189 | LDWP_BA | Substation\Load - Add Rosamond Switching Station and RS-B Century Section A | 26EMS56422
190 | LDWP_BA | Substation\Load - For use with 26M10_LADWP_OpenNet_EIM_20260722_a_exported3.xml | 26EMS56423
191 | MID_TOP | Contingency Definition - Update Contingency Definition list for multiple stations. Requesting addition of two contingencies. | 26EMS55951
192 | NEVP_BA | Define two new sub geographical regions under NEVP, and map the equipments based on the sub regions (_OPCD and _LMUD) in their CIM model submission | 26EMS56486
193 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56231
194 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56232
195 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56233
196 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56234
197 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56235
198 | NEVP_TOP | Generator - Updated CIM Measurement | 26EMS56236
199 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56237
200 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56238
201 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56239
202 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56240
203 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56241
204 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56242
205 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56243
206 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56244
207 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56245
208 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56246
209 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56247
210 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56248
211 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56249
212 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56250
213 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56251
214 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56252
215 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56253
216 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56254
217 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56255
218 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56256
219 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56257
220 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56258
221 | NEVP_TOP | Transmission Line - New lines | 26EMS56259
222 | NEVP_TOP | Substation\Load - New substation | 26EMS56260
223 | NEVP_TOP | Substation\Load - New substation | 26EMS56261
224 | NEVP_TOP | Breaker(s)\ Disconnect(s) - New disconnects/lines | 26EMS56262
225 | NEVP_TOP | Substation\Load - Expansions to 345kV/138kV/69kV busses | 26EMS56263
226 | NEVP_TOP | Substation\Load - New 345kV/60kV substation | 26EMS56264
227 | NEVP_TOP | Substation\Load - Added 345kV bus expansion | 26EMS56265
228 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed old disconnects on T1 | 26EMS56266
229 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed pseudo disconnects | 26EMS56267
230 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed pseudo disconnects | 26EMS56268
231 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56269
232 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement | 26EMS56270
233 | NEVP_TOP | Contingency Definition - Updated Clark-Cabana Contingency, Added Cabana-Winterwood Contingency | 26EMS56271
234 | NWMT_TOP | Contingency Definition - Contingencies | 26EMS56463
235 | NWMT_TOP | Substation\Load - Remove substation | 26EMS56464
236 | NWMT_TOP | Shunt Cap\Reactor\ SVD¿s - Limit changes | 26EMS56465
237 | NWMT_TOP | Generator - Modeling BEPM SynchronousMachine for future market | 26EMS56466
238 | NWMT_TOP | Transformer - Limit changes | 26EMS56467
239 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Switch additions and removals,remove temporary clearance jumpers | 26EMS56468
240 | NWMT_TOP | Transmission Line - Limit Changes | 26EMS56469
241 | PAC_TOP | Substation\Load - Cleanup double modeling. Update names and measurements for T1 and T2. Add bus measurements | 26EMS55265
242 | PAC_TOP | Substation\Load - Add load measurements | 26EMS55266
243 | PAC_TOP | Substation\Load - Remove hanging bus | 26EMS55267
244 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update shunt MVAR value for R1 | 26EMS55268
245 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update shunt MVAR value for R1 and R2 | 26EMS55269
246 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update shunt MVAR value for R1 and R2 | 26EMS55270
247 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update shunt MVAR value for R4 | 26EMS55271
248 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Update shunt MVAR value for R1 and R3 | 26EMS55272
249 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 26EMS55273
250 | PAC_TOP | Transmission Line - Add MVA measurement for line to TETONG | 26EMS55274
251 | PAC_TOP | Generator - Update MVAR curve for BESS. Add measurements for line to PARRYTP | 26EMS55275
252 | PAC_TOP | Transmission Line - Remove load measurements and map to branch | 26EMS55276
253 | PAC_TOP | Substation\Load - Remove hanging bus | 26EMS55277
254 | PAC_TOP | Substation\Load - Update network connection for bus PARISH_DCND | 26EMS55278
255 | PAC_TOP | Transmission Line - Remove 2 switches and old line to BANGERTE. Update measurements for line to CAMPWILL | 26EMS55279
256 | PAC_TOP | Transmission Line - Remove 2 switches and old line to BEEFHOLL. Update measurements for line to CAMPWILL | 26EMS55280
257 | PAC_TOP | Transmission Line - Remove 2 switches and old line to CAMPWILL. Update name and measurements for remaining line to CAMPWILL | 26EMS55281
258 | PAC_TOP | Transmission Line - Remove 2 switches and old line to CAMPWILL. Update name and measurements for remaining line to CAMPWILL | 26EMS55282
259 | PAC_TOP | Transmission Line - Remove 1 bus, 1 breaker, 4 switches, 3 branches, and 1 load. Add 1 Switch | 26EMS55283
260 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update 345 kV switch names | 26EMS55284
261 | PAC_TOP | Transmission Line - Updates to line ratings (See Updated_Limits Tab in file) | 26EMS56037
262 | PAC_TOP | Substation\Load - Add 1 load | 26EMS56038
263 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 2 breakers | 26EMS56039
264 | PAC_TOP | Transformer - Add measurements for T1 | 26EMS56040
265 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56041
266 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56042
267 | PAC_TOP | Transmission Line - Updates to line ratings (See Updated_Limits Tab in file) | 26EMS56043
268 | PAC_TOP | Transmission Line - Update terminal for line to HALE | 26EMS56044
269 | PAC_TOP | Generator - Update MVAR Curve data | 26EMS56045
270 | PAC_TOP | Transmission Line - Remove line to WARRENST and replace with line to WOGDN ST | 26EMS56046
271 | PAC_TOP | Substation\Load - Remove Station | 26EMS56047
272 | PAC_TOP | Transmission Line - Remove line to MOTHEREA and replace with line to SEVR TAP | 26EMS56048
273 | PAC_TOP | Substation\Load - Remove station | 26EMS56049
274 | PAC_TOP | Generator - Update MVAR Curve data | 26EMS56050
275 | PAC_TOP | Generator - Update MVAR Curve data | 26EMS56051
276 | PAC_TOP | Generator - Update MVAR Curve data | 26EMS56052
277 | PAC_TOP | Transmission Line - Remove From Side MVA measurement for line to TOOELE | 26EMS56053
278 | PAC_TOP | Transmission Line - Add MVA measurement for line to SUMMITPA | 26EMS56054
279 | PAC_TOP | Transmission Line - Remove 1 switch and line to SNYDERTP | 26EMS56055
280 | PAC_TOP | Transmission Line - Remove lines to SNYDERTP and replace with lines to COTTONWO and SILVERCR | 26EMS56056
281 | PAC_TOP | Substation\Load - Remove station | 26EMS56057
282 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for 7B38 to Open | 26EMS56058
283 | PAC_TOP | Generator - Remove MVAR measurements for 2 units. | 26EMS56059
284 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 2 switches | 26EMS56060
285 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 breaker and 2 switches | 26EMS56061
286 | PAC_TOP | Substation\Load - Add MW load measurement for TRAN-SU | 26EMS56062
287 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56063
288 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56064
289 | PAC_TOP | Substation\Load - Remove 1 bus and add 1 load | 26EMS56065
290 | PAC_TOP | Substation\Load - Add load measurements | 26EMS56066
291 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56067
292 | PAC_TOP | Substation\Load - Add load measurements | 26EMS56068
293 | PAC_TOP | Substation\Load - Add load measurements | 26EMS56069
294 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56070
295 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56071
296 | PAC_TOP | Breaker(s)\ Disconnect(s) - Double model CS 133I | 26EMS56072
297 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56073
298 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56074
299 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56075
300 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56076
301 | PAC_TOP | Substation\Load - Add load MW measurement | 26EMS56077
302 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name and measurement for load breaker | 26EMS56078
303 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 breker and 3 switches. Remove 138kV bus 5. Add measurements for LD T1 | 26EMS56079
304 | PAC_TOP | Transmission Line - Remove 2 switches and old branch to CAMPWILL. Update name for new branch to CAMPWILL. | 26EMS56080
305 | PGE_BA | Breaker(s)\ Disconnect(s) - Update B204 to Breaker | 26EMS52592
306 | PGE_BA | - FERC881 DB141 PGE templated filled | 26EMS55340
307 | PGE_BA | - PGE Shapefile | 26EMS56272
308 | PGE_BA | Transmission Line - Add SW_11622 and line to WCKR | 26EMS56273
309 | PGE_BA | Transmission Line - Add new lines to CRNL2 | 26EMS56274
310 | PGE_BA | Transmission Line - Add new line to CRNL2 | 26EMS56275
311 | PGE_BA | Transmission Line - Add new lines to CRNL, CHLS, and STMW | 26EMS56276
312 | PGE_BA | Transmission Line - Add new line to CRNL2 | 26EMS56277
313 | PGE_BA | Transmission Line - Add a line to WLBR2 and map brach 12163's to side measurement | 26EMS56278
314 | PGE_BA | Transformer - Remove the ZVR9 series reactor and update the 3-winding Xformer impedance with the reactor | 26EMS56279
315 | PGE_BA | Transformer - Remove Mobile 8 and DYTN_WBR21300's from side measurement (because need to invert them and already have to side measurement). Remove 57KV 2nd measurement | 26EMS56280
316 | PGE_BA | Transformer - Remap ORNC_VWR11315 measurement to To side | 26EMS56281
317 | PGE_BA | Transformer - Rename WBR1 and remap WBR1 measurement to To side | 26EMS56282
318 | PGE_BA | Breaker(s)\ Disconnect(s) - Change R100_SMMT to N.O. | 26EMS56283
319 | PGE_BA | Breaker(s)\ Disconnect(s) - Change B118_ELMA to N.O. | 26EMS56284
320 | PGE_BA | Breaker(s)\ Disconnect(s) - Change SW_5742 to N.O. | 26EMS56285
321 | PGE_BA | Breaker(s)\ Disconnect(s) - Add SW_11693 | 26EMS56286
322 | PGE_BA | Breaker(s)\ Disconnect(s) - Remap W476 SCADA key | 26EMS56287
323 | PGE_BA | Breaker(s)\ Disconnect(s) - Update normal state for W166 to NO and W162 to NC | 26EMS56288
324 | PGE_BA | Breaker(s)\ Disconnect(s) - Update B204 to Breaker by deleting and add device and remove PSD switch | 26EMS56289
325 | PGE_BA | Breaker(s)\ Disconnect(s) - V405, 406, 407, 411, 412, 413, 169, 170, 171, 173 and 175 to RTU 246 | 26EMS56290
326 | PGE_BA | Substation\Load - Add Mobile 5 | 26EMS56291
327 | PGE_BA | Transmission Line - reconductors and rename BRNG_RSMY_B1493 to BRNG_RMSY_B1493 | 26EMS56292
328 | PGE_BA | Transmission Line - reconductors | 26EMS56293
329 | PGE_BA | Transmission Line - reconductors | 26EMS56294
330 | PGE_BA | Transmission Line - reconductors | 26EMS56295
331 | PGE_BA | Transmission Line - reconductors, rename BRNG_RSMY_B1492 to BRNG_RMSY_B1492, and remove Mobile 6 | 26EMS56296
332 | PGE_BA | Transmission Line - reconductors | 26EMS56297
333 | PGE_BA | Transmission Line - reconductors | 26EMS56298
334 | PGE_BA | Transmission Line - reconductors and rename BRNG_RSMY_B1424 to BRNG_RMSY_B1424 | 26EMS56299
335 | PGE_BA | RC Data Gathering Template_DB143 - Tab 6.10/6.13/6.23 for extra data submission | 26EMS56300
336 | PGE_BA | Contingency Definition - Contingency defination update | 26EMS56301
337 | PGE_BA | - List of ICCP points mapping | 26EMS56302
338 | PGE_BA | - Model Difference report | 26EMS56303
339 | PGE_BA | - Model Updates for PGE: CIMXML model file | 26EMS56304
340 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed breaker '164_SnYsidro' | 26EMS55969
341 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed breaker '364_SnYsidro' | 26EMS55970
342 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed breaker '265_SnYsidro' | 26EMS55971
343 | PNM_BA | Transmission Line - Removed transmission line '115kv ALSN' | 26EMS55972
344 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed breaker 35263 | 26EMS55973
345 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed breaker 35262 | 26EMS55974
346 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed breaker 35261 | 26EMS55975
347 | PNM_BA | Breaker(s)\ Disconnect(s) - Renamed 115kV switch '17261_Norton' to '17265' | 26EMS55976
348 | PNM_BA | Transmission Line - Renamed line '115kv SAGE-SAND1' to '115kv SAGE-SAND_Sg_R' | 26EMS55977
349 | PNM_BA | Transmission Line - Renamed line '115kv SP_R2_Co' to '115kv SAGE-SAND_R_C' | 26EMS55978
350 | PNM_BA | Transmission Line - Renamed line '115kv SP_Co_Co' to '115kv SAGE-SAND_C_C' | 26EMS55979
351 | PNM_BA | Transmission Line - Renamed line '115kv SP_Co_HW' to '115kv SAGE-SAND_C_H' | 26EMS55980
352 | PNM_BA | Transmission Line - Renamed line '115kv SP_Or_HW' to '115kv SAGE-SAND_O_H' | 26EMS55981
353 | PNM_BA | Transmission Line - Renamed line '115kv SP_Tr_Or' to '115kv SAGE-SAND_T_O' | 26EMS55982
354 | PNM_BA | Transmission Line - Renamed line '115kv SP_Al_Tr' to '115kv SAGE-SAND_A_T' | 26EMS55983
355 | PNM_BA | Transmission Line - Renamed line '115kv SP_Sa_Al' to '115kv SAGE-SAND_Sn_A' | 26EMS55984
356 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 21968 to 'Veranda 115' Static Bus | 26EMS55985
357 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 16962 to 'Veranda 115' Static Bus | 26EMS55986
358 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 16961 to 'Veranda 115' Static Bus | 26EMS55987
359 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved Breaker 15862 to 'Veranda 115' Static Bus | 26EMS55988
360 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 15861 to 'Veranda 115' Static Bus | 26EMS55989
361 | PNM_BA | Transmission Line - Removed 'Veranda RR1_RR2' Line | 26EMS55990
362 | PNM_BA | Substation\Load - Renamed Static Bus 'Veranda 115 A' to 'Veranda 115' | 26EMS55991
363 | PNM_BA | Transmission Line - Moved '115kv PL_PR_LO' Line from Static Bus 'Prager 115 A' to 'Prager 115' | 26EMS55992
364 | PNM_BA | Transmission Line - Removed 'Prager PL_PR_PR' Line | 26EMS55993
365 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch PL10 to 'Prager 115' Static Bus | 26EMS55994
366 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 51668 to 'Prager 115' Static Bus | 26EMS55995
367 | PNM_BA | Substation\Load - Renamed Static Bus 'Prager 115 A' to 'Prager 115' | 26EMS55996
368 | PNM_BA | Substation\Load - Renamed Static Bus 'Jarillas_PNM' to 'Jarillas_TSGT' | 26EMS55997
369 | PNM_BA | Transmission Line - Removed 345kv HDLG3 | 26EMS55998
370 | PNM_BA | Transmission Line - Removed 345kv HH | 26EMS55999
371 | PNM_BA | Substation\Load - Renamed Static Bus 'Gold 115 A' to 'Gold 115' | 26EMS56000
372 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 29865 from 'Gold 115 B' Static Bus to 'Gold 115' | 26EMS56001
373 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 28761 from 'Gold 115 B' Static Bus to 'Gold 115' | 26EMS56002
374 | PNM_BA | Transmission Line - Removed Gold G2_G1 Line | 26EMS56003
375 | PNM_BA | Transmission Line - Renamed line 'Bisti_EnronPlant_Tie' to '230kv BX' | 26EMS56004
376 | PNM_BA | Transmission Line - Renamed line '115kv DAWT' to '115kv DAWT_DA_WS' | 26EMS56005
377 | PNM_BA | Transmission Line - Renamed line '115kv HTAL_3' to '115kv DAWT_Alamo' | 26EMS56006
378 | PNM_BA | Transmission Line - Renamed line '115kv HTAL_2' to '115kv DAWT_Al_WS' | 26EMS56007
379 | PNM_BA | Transmission Line - Renamed line '115kv ALA11811' to '115kv Alamo_Otero' | 26EMS56008
380 | PNM_BA | Transmission Line - Renamed line '115kv AMAT' to '115kv AR' | 26EMS56009
381 | PNM_BA | Substation\Load - Deleted ALAMOTAP Station and associated Static Bus Alamo Tap 115 | 26EMS56010
382 | PNM_BA | Transmission Line - Moved 115kv ATHO from ALAMOTAP to ALAMOGCP | 26EMS56011
383 | PNM_BA | Transmission Line - Removed ATAL2 Line | 26EMS56012
384 | PNM_BA | Transmission Line - Removed ATAL1 Line | 26EMS56013
385 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 65065 from ALAMOTAP to ALAMOGCP | 26EMS56014
386 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 57361 from ALAMOTAP to ALAMOGCP | 26EMS56015
387 | PNM_BA | Breaker(s)\ Disconnect(s) - Moved switch 57363 from ALAMOTAP to ALAMOGCP | 26EMS56016
388 | PNM_BA | Generator - Update to Reactive Capability Curve | 26EMS56017
389 | PNM_BA | Generator - Update to Reactive Capability Curve | 26EMS56018
390 | PNM_BA | Substation\Load - Addition and Update to Valencia 115kV substation | 26EMS56019
391 | PNM_BA | Substation\Load - ICCP Addition for Valencia and removal for 12thStreet, Baca, and Middle Strret | 26EMS56020
392 | PNM_BA | Substation\Load - Removal sub 12thStreet, Baca, and Middle Street | 26EMS56021
393 | PNM_BA | Substation\Load - Addition and Update to Valencia 115kV substation | 26EMS56022
394 | PNM_BA | Substation\Load - Addition and Update to Valencia 115kV substation | 26EMS56023
395 | PNM_BA | Generator - Setting the "Source/Host" 'Sink/Attaining BA' from 'APS' to 'PNM' for the Palo Verde Generating Unit | 26EMS56024
396 | PNM_BA | Substation\Load - New Studio 2 load | 26EMS56025
397 | PNM_BA | Breaker(s)\ Disconnect(s) - Add new Switch 67962 | 26EMS56026
398 | PNM_BA | Breaker(s)\ Disconnect(s) - Add new Switch 67961 | 26EMS56027
399 | PNM_BA | Breaker(s)\ Disconnect(s) - Add new breaker 35562 | 26EMS56028
400 | PNM_BA | Breaker(s)\ Disconnect(s) - Add new Switch 35563 | 26EMS56029
401 | PNM_BA | Breaker(s)\ Disconnect(s) - Add new Switch 35561 | 26EMS56030
402 | PNM_BA | Breaker(s)\ Disconnect(s) - Change Breaker SN1056S from SCENIC to ENCHHILL Substation | 26EMS56035
403 | PNM_BA | Generator - Change Homewise Project PV, a 4.95 MW solar plant, from SCENIC to ENCHHILL Substation. | 26EMS56036
404 | PNM_BA | Generator - Updates to capability curves | 26EMS56189
405 | PSEI_BA | Transmission Line - Updated line ratings (summer normal, summer emergency, winter normal, winter emergency) for PSE transmission lines | 26EMS55560
406 | PSEI_BA | Breaker(s)\ Disconnect(s) - SWI SW578 & SW579 should be default close. | 26EMS55778
407 | SNPD_TOP | Substation\Load - UFLS dynamic models | 26EMS55017
408 | SPP_RC | SPP Incremental Updates for DB143 | 26EMS50879
409 | SRP_BA | - TCOR DEFINITION | 26EMS55936
410 | SRP_BA | - JOU Document | 26EMS56596
411 | SRP_BA | - Scope Document | 26EMS56597
412 | SRP_BA | - Data Gathering Template Worksheet | 26EMS56598
413 | SRP_BA | - Full Network Model File | 26EMS56599
414 | SRP_BA | - Network Model ICCP List | 26EMS56600
415 | SRP_BA | - Contingency List File | 26EMS56601
416 | SRP_BA | Transmission Line - Cooley, Mobile 11, Code Valley Lines added | 26EMS56602
417 | SRP_BA | Substation\Load - New Distribution Loads | 26EMS56603
418 | SRP_BA | Generator - Adding Pseudo Generators for Pseudo Ties | 26EMS56604
419 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 500, 230, and 69 kV Breakers/Disconnects | 26EMS56605
420 | TEPC_TOP | Substation\Load - Updated blank Load P/Q fixed values. | 26EMS56342
421 | TEPC_TOP | Transmission Line - Vail to Greenlee Tie Cut In at Winchester, some ICCP's removed and modeling updated. | 26EMS56343
422 | TIDC_BA | Generator - Corrected Mvar Curves and for Generators listed in document. | 26EMS54841
423 | TSGT_TOP | Transmission Line - Rating Update | 26EMS54910
424 | TSGT_TOP | Transmission Line - Rating Update | 26EMS55337
425 | TSGT_TOP | Transmission Line - Rating Update | 26EMS55338
426 | TSGT_TOP | Transmission Line - Rating Update | 26EMS55339
427 | WALC_TOP | Generator - South Point Generation resource tolling period will move to WALC's BA starting November 1, 2026 | 26EMS56488
428 | WALC_TOP | Generator - Add CARL MEC SOLAR | 26EMS56489
429 | WALC_TOP | Generator - Add MOHV GT2 | 26EMS56490
430 | WALC_TOP | Generator - Add MOHV GT1 | 26EMS56491
431 | WALC_TOP | Generator - Add MCNEAL SOLAR BESS | 26EMS56492
432 | WALC_TOP | Transmission Line - CMOH-MOHV | 26EMS56493
433 | WALC_TOP | Transmission Line - OPLK-TOP 69 | 26EMS56494
434 | WALC_TOP | Transmission Line - MOHV-WVAL 69 | 26EMS56495
435 | WALC_TOP | Transmission Line - OPLK-SWAN 69 | 26EMS56496
436 | WALC_TOP | Transmission Line - SWAN-WVAL 69 | 26EMS56497
437 | WALC_TOP | Substation\Load - Add Swan 69kV station | 26EMS56498
438 | WALC_TOP | Substation\Load - Add Opalka 69kV station | 26EMS56499
439 | WALC_TOP | Substation\Load - Add Willow Valley 69kV station | 26EMS56500
440 | WALC_TOP | Substation\Load - Add Mohave 69kV station | 26EMS56501