## Version_History
FNM Scope for FNM 26M2_DB139
(Production Week of 2/9/2026)
Revision History – Final Scope:12/10/2025, Late Model Scope Change Request Deadline: 12/24/2025
Effective Date | Version | Description
2025-12-10 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key
1 | PGAE |  | Dino Point Wind | 20CONV13228
2 | PGAE |  | Midway Peaking Aggregate Hybrid | 25NGR49846
3 | SCE |  | Kramer Junction 9 | 19CONV9595
4 | SCE |  | Cape Geothermal 1 | 25DYN47585
5 | SCE |  | Sequoia Farmersville | 25GEN44987
6 | SCE |  | Hanford 1 and 2 | 25GEN44988
7 | SCE |  | Porterville 6 and 7 | 25GEN44989
8 | SCE |  | Tulare 1 and 2 | 25GEN44990
9 | SCE |  | BMT Minneola Solar | 25GEN48847
10 | SCE |  | Circle City Energy Storage | 25NGR46148
11 | SCE |  | Vidal | 25PSEUDO45835
12 | NA |  | Commission New Plant RIG | 23RIG26542
13 | NA |  | JAYNE_6_WLSLR | 25RIG46731
14 | NA |  | RALSTON HYDRO; MIDDLE FORK PROJECT | 25RIG47526
15 | NA |  | Cuyama Solar HSL MW Point Addition | 25RIG48119
16 | NA |  | Mojave TBESS ARIG ANIRA | 25RIG48865
17 | NA |  | ADC-Circuit upgrade-RIG1 | 25RIG48892
18 | NA |  | ADC-Circuit upgrade-RIG2 | 25RIG48893
19 | NA |  | ADC-Circuit upgrade-RIG3 | 25RIG48994
20 | NA |  | ADC-Circuit upgrade-RIG4 | 25RIG48995
21 | NA |  | IOC-Circuit upgrade-RIG3 | 25RIG48996
22 | NA |  | IOC-Circuit upgrade-RIG4 | 25RIG48997
23 | NA |  | IOC-Circuit upgrade-RIG5 | 25RIG48998
24 | NA |  | Glenarm Power Plant; GT1, GT2, GT3, GT4, GT5; Replace Pasadena RIG; RIG Device ID: PASADNA | 25RIG49317

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 20TRANS13761 | Vaca Dixon: Replace overstressed 230 kV CB 442, 452, 462 and New Bus Paralleling/Substitute Breaker HVCB 402 | ET4456
2 | PGAE | 20TRANS13761 | Vaca Dixon: Replace overstressed 230 kV CB 442, 452, 462 and New Bus Paralleling/Substitute Breaker HVCB 402 | ET4457
3 | PGAE | 20TRANS13761 | Vaca Dixon: Replace overstressed 230 kV CB 442, 452, 462 and New Bus Paralleling/Substitute Breaker HVCB 402 | ET5383
4 | PGAE | 22TRANS21276 | Buttonbush Solar Generation Interconnection (Q1596) Project | ET4927
5 | PGAE | 22TRANS21276 | Buttonbush Solar Generation Interconnection (Q1596) Project | ET4928
6 | PGAE | 22TRANS21276 | Buttonbush Solar Generation Interconnection (Q1596) Project | ET4929
7 | PGAE | 22TRANS22966 | Willow Pass Substation ¿ Replace Bank 1 & 3 and Install 21kV Feeders | ET5109
8 | PGAE | 22TRANS24761 | 2024 ¿ Coalinga #1 Substation Replace Coalinga #1 Bank 2, Install One 12 kV Circuit | ET5154
9 | PGAE | 24TRANS35187 | Live Oak Generator Interconnection | ET5341
10 | PGAE | 24TRANS37731 | Quanta, Install Newark Bank 23 and Newark 2112, 2113 & 2114 Circuits ¿ Work at the Request of Others (WRO) | ET5404
11 | PGAE | 25TRANS42842 | HARDING: REBUILD SUBSTATION | ET5713

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | - ICCP mapping to AVA CIM model | 25EMS50211
2 | AVA_BA | - Note: the ratings in this submittal are SPRING = High1/High2, and WINTER = High3/High4 | 25EMS50212
3 | AZPS_BA | Generator - Added missing ICCP points for SDP generators CT11 - GMW, GMVR, CMW CT12 - GMW, GMVR, CMW | 25EMS49425
4 | AZPS_BA | - Shape file | 25EMS50143
5 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Shunt Equipment Template | 25EMS50144
6 | AZPS_BA | Substation\Load - System Voltage Limits | 25EMS50145
7 | AZPS_BA | Contingency Definition - Contingency Definitions | 25EMS50146
8 | AZPS_BA | Generator - ICCP Mapping | 25EMS50147
9 | AZPS_BA | Substation\Load - RC Data Gathering | 25EMS50148
10 | AZPS_BA | Generator - DYD Mapping | 25EMS50149
11 | AZPS_BA | Generator - Update name 34.5KVCOL_TGU | 25EMS50150
12 | AZPS_BA | Generator - Update name 34.5KVnaBESS1 A_TGU 34.5KVnaBESS2 A_TGU | 25EMS50151
13 | BANC_BA | Substation\Load - Fixed real power of loads updated | 25EMS50257
14 | BANC_BA | Transformer - NeutralU of 500 KV transformer updated | 25EMS50258
15 | BANC_BA | Shunt Cap\Reactor\ SVD¿s - 12 KV winding and cap banks removed | 25EMS50259
16 | BANC_BA | Transformer - Updated transformer tap attributes for multiple transformers in Redding subgeographic region. | 25EMS50260
17 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of switching equipment at ELV and CLAUS. | 25EMS50261
18 | BANC_BA | Shunt Cap\Reactor\ SVD¿s - Removal of capacitor banks at ELV and CLAUS. | 25EMS50262
19 | BANC_BA | Breaker(s)\ Disconnect(s) - Addition of new switching equipment due to new substation BAF. | 25EMS50263
20 | BANC_BA | Transmission Line - Addition of new transmission lines due to new substation BAF. | 25EMS50264
21 | BANC_BA | Transformer - Addition of new transformer due to new substation BAF. | 25EMS50265
22 | BANC_BA | Substation\Load - Addition of new substation BAF. | 25EMS50266
23 | BANC_BA | Breaker(s)\ Disconnect(s) - Addition of new switching equipment at Hedge due to new battery unit. | 25EMS50267
24 | BANC_BA | Generator - Addition of new battery unit at HED. | 25EMS50268
25 | BANC_BA | Breaker(s)\ Disconnect(s) - Change to normal position of B6301. | 25EMS50269
26 | BANC_BA | Transmission Line - Changes to AC line connectiosn due to removal of 6959_Tap. | 25EMS50270
27 | BANC_BA | Substation\Load - Removal of 6959_Tap station. | 25EMS50271
28 | BANC_BA | Generator - Modified minimum and maximum MW and MVAR values for 4 units at CAP. | 25EMS50272
29 | BCHA_RC | Substation\Load - Added T2 | 25EMS50043
30 | BCHA_RC | Transformer - Added WDR Substation | 25EMS50044
31 | BCHA_RC | Transformer - Added 1T2 | 25EMS50045
32 | BCHA_RC | Transformer - Added 1T1 | 25EMS50046
33 | BCHA_RC | Substation\Load - Added WDR_LOAD | 25EMS50047
34 | BCHA_RC | Transmission Line - Added new 1L338 | 25EMS50048
35 | BCHA_RC | Transmission Line - Added new 1L338_1 | 25EMS50049
36 | BCHA_RC | N/A - Updated ICCP mapping file | 25EMS50050
37 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50213
38 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50214
39 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50215
40 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50216
41 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers and renamed couple others switches. | 25EMS50217
42 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed switches. | 25EMS50218
43 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new switches. | 25EMS50219
44 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed switches. | 25EMS50220
45 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50221
46 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50222
47 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50223
48 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50224
49 | BPAT_BA | Breaker(s)\ Disconnect(s) - Deleted PCB isolsation switches. | 25EMS50225
50 | BPAT_BA | Breaker(s)\ Disconnect(s) - Deleted PCB isolsation switches. | 25EMS50226
51 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50227
52 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50228
53 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50229
54 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed switches due to ownership change. | 25EMS50230
55 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50231
56 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed switches and reconfigured topology. | 25EMS50232
57 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50233
58 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new swithes at 230kV bus LSD A317. | 25EMS50234
59 | BPAT_BA | Substation\Load - Retired/removed substaion and all line sections connecting to this station. | 25EMS50235
60 | BPAT_BA | Contingency Definition - BPA Contingency List. | 25EMS50236
61 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed switches. | 25EMS50237
62 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed feeder PCBs and isolation switches. | 25EMS50238
63 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50239
64 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50240
65 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50241
66 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50242
67 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50243
68 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50244
69 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50245
70 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50246
71 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50247
72 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50248
73 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50249
74 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50250
75 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temporary jumpers. | 25EMS50251
76 | BPAT_TOP | Transmission Line - Added a "This report should not be distributed outside of BPA without approval by the Bulk Electric System Team." note to the Overview worksheet. Deleted duplicate Longhorn-Highway 730 Switchyard No 1 230kV line. Added XREF for CGS Backup Bank tap to Benton-White Bluffs No 2 115kV line. Updated WPPSS No. 1 & 2 Powerhouse transformers, added TRED ID, updated transformer name, added additional notes, and removed "T" number from name. Removed T99938 "Spare" transformer. | 25EMS49424
77 | BPAT_TOP | Transmission Line - Addresses Request # 6.14 in RC Data Specification. Contains Line routing for all lines 100 kV and above. Added new Hungry Horse-Columbia Falls No 3 230kV line. Data in shapefile is final design, not as-built. | 25EMS50069
78 | BPAT_TOP | Transmission Line - Removed USBR from Grand Coulee Switchyard. Renamed Grand Coulee transformers from USBR names to BPA names. Added Hungry Horse-Columbia Falls No 3 230kV line. Removed Conkelley Substation, Lines and Transformers. Grand Coulee: 230/115kV Transformer 2 changed to Grand Coulee: 230/115kV Transformer 3, Grand Coulee: 500/230kV Transformer 1 changed to Grand Coulee: 500/230kV Transformer 4. | 25EMS50070
79 | CEN | CENACE: Line TEK-VPA name needs to be corrected. | 25EMS50329
80 | CEN_BA | Transmission Line - Change Line Common Name | 25EMS49917
81 | CEN_BA | Transmission Line - Change Line Common Name | 25EMS49918
82 | CEN_BA | Transmission Line - Change Line Common Name | 25EMS49919
83 | CHPD_BA | Substation\Load - E-mail PDF included in RIMS submittal has notes about contingency definition issues | 25EMS49667
84 | CHPD_BA | - | 25EMS49668
85 | DOPD_TOP | Update Psuedo Breaker Names at URBNIN and RAPIDS | 25EMS49333
86 | EPE_TOP | Breaker(s)\ Disconnect(s) - Rename of OCB_2916B to GCB_2916B | 25EMS50172
87 | EPE_TOP | Transmission Line - Rename of Line 05100_FAB_SAF to 05100_FCB_SAF | 25EMS50173
88 | EPE_TOP | Transmission Line - Rename of Line 05100_CLI_FAB to 05100_CLI_FCB | 25EMS50174
89 | EPE_TOP | Breaker(s)\ Disconnect(s) - Removal of retired 69KV equipment | 25EMS50175
90 | EPE_TOP | Breaker(s)\ Disconnect(s) - Removal of retired switchgear equipment | 25EMS50176
91 | EPE_TOP | Transmission Line - Removal of Line 05300_SAF_FEL | 25EMS50177
92 | EPE_TOP | Substation\Load - Addition of Socorro KV Feeder measurments | 25EMS50178
93 | EPE_TOP | Breaker(s)\ Disconnect(s) - Updates 69KV Network configuration for RGD | 25EMS50179
94 | EPE_TOP | Breaker(s)\ Disconnect(s) - Addition of switchgear for T2 at Montoya | 25EMS50180
95 | EPE_TOP | Breaker(s)\ Disconnect(s) - Addition of DSC 9376E | 25EMS50181
96 | EPE_TOP | Generator - Addition of 5MW Chaparral CSG Solar and relevant equipment. Resource ID: CHA_1_CHA_CSG_SLR | 25EMS50182
97 | EPE_TOP | Generator - Addition of 5MW Lower RGD Solar and relevant equipment. Resource ID: ANT_1_LOWER_RGD_SLR | 25EMS50183
98 | EPE_TOP | Transmission Line - Addition of Line 19100_BFD_FTB KV Measurements | 25EMS50184
99 | EPE_TOP | Transmission Line - Addition of Line 11800_FTB_AUS KV Measurements | 25EMS50185
100 | EPE_TOP | Transmission Line - Addition of Line 05100_FCB_SAF MW,MV,KV | 25EMS50186
101 | GCPD_BA | Updated switch status. | 25EMS50447
102 | GRIDCISO_TOP | Update line impedances at ATLAS2 | 25EMS49685
103 | IID_TOP | Transmission Line - IID SYSTEM ONE LINE UPDATE | 25EMS48993
104 | IID_TOP | Generator - Generators Information | 25EMS49795
105 | IID_TOP | Generator - MaxOperatingP Update for Generators | 25EMS49796
106 | IPCO_BA | RAS - Provide Seasonal ICCP points for Copperfield RAS | 25EMS49671
107 | IPCO_BA | Substation\Load - FIXED LINE CONNECTION LOCATION: ON FEEDER BAY 011A, KUNA-MRDP1_A | 25EMS50187
108 | IPCO_BA | Transformer - ADD: TERY MBE7 | 25EMS50188
109 | IPCO_BA | Substation\Load - ADD TERY_019A_LOAD AND TERY_020A_LOAD | 25EMS50189
110 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 101Y, 021Z,022Z, 020A, 019A, | 25EMS50190
111 | IPCO_BA | Contingency Definition - Remove, Change,and New Contingency detailed in the Standard Contingency Definition form: SEE B2-B78 of IPCO Contingency Definition Ver1 11192025 for action on each contingency. | 25EMS50191
112 | IPCO_BA | Substation\Load - Adding 046A breaker | 25EMS50192
113 | IPCO_BA | Transformers - Updating limits and impedance values | 25EMS50193
114 | IPCO_BA | Substation\Load - Remove 'A' from ConformLoad names | 25EMS50194
115 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 131L, 011Z, 021Z | 25EMS50195
116 | IPCO_BA | Substation\Load - Remove 'A_LD' from existing ConformLoad names. Addition of ConformLoad: GARY 018 | 25EMS50196
117 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 018A, 013Z, 014X | 25EMS50197
118 | IPCO_BA | Substation\Load - Remove '_A' from load names | 25EMS50198
119 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 131L, 011Z | 25EMS50199
120 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add Breaker/Disconnect names: DNPR JMP 273, DNPR JMP 274, DNPR_BMPR-PVSR | 25EMS50200
121 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add Breaker/Disconnect names: OBPR 233Z, OBPR 233X, OBPR BUS_CUT1 | 25EMS50201
122 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add Breaker/Disconnect names: EAGL 132L, EAGL 131L, EAGL 011Z, EAGL 013Z and EAGL 012Z | 25EMS50202
123 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add Breaker/Disconnects name: CDWL CLRPT1, CDWL CLRPT2 | 25EMS50203
124 | IPCO_BA | Breaker(s)\ Disconnect(s) - Add Breaker/Disconnects names: HSDL 131L, HSDL 132L, HSDL 132Z | 25EMS50204
125 | IPCO_BA | Substation\Load - Remove ConformLoad: POCO MBE3 | 25EMS50205
126 | IPCO_BA | Transmission Line - Update Line Connection Bay: POCO 051 to POCO 054. POCO-THE_A | 25EMS50206
127 | IPCO_BA | Breaker(s)\ Disconnect(s) - Remove Breaker/Disconnect name: POCO CLRPT1, POCO 055Z | 25EMS50207
128 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FERC881 Dynamic MVA. | 25EMS50208
129 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 25EMS50209
130 | IPCO_BA | - CIM export of IPCO_BA FNM. | 25EMS50210
131 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. NOTE: Ver1 has point shifts introduced. Ver2 is the original export before shifts were introduced. This is the only change in Scope V2 | 25EMS50313
132 | LDWP_BA | Substation\Load - Addition of Cape Geothermal (25DYN47585) | 25EMS50116
133 | LDWP_BA | Substation\Load - Addition of Cape Geothermal (25DYN47585), Update Intermountain Generation | 25EMS50117
134 | LDWP_BA | Substation\Load - Addition of Cape Geothermal (25DYN47585), Update Intermountain Generation | 25EMS50118
135 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50079
136 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed CIM Measurement/ICCP | 25EMS50080
137 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed CIM Measurement/ICCP | 25EMS50081
138 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Removed CIM Measurement/ICCP | 25EMS50082
139 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50083
140 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50084
141 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50085
142 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50086
143 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50087
144 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50088
145 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50089
146 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50090
147 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50091
148 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50092
149 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50093
150 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50094
151 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50095
152 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM Measurement names | 25EMS50096
153 | NWMT_TOP | RAS - Integrated Beaver Creek Wind facility | 25EMS48498
154 | NWMT_TOP | Substation\Load - Node changes at substations, removal of MANHATTN sub | 25EMS50168
155 | NWMT_TOP | Transformer - Limit changes, equivalent load changes | 25EMS50169
156 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Switch additions, removals, and renames | 25EMS50170
157 | NWMT_TOP | Transmission Line - Transmission line limit changes, renames, and RXB changes | 25EMS50171
158 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 switch and update names | 25EMS49426
159 | PAC_TOP | Transmission Line - Update termination for line to SUNNYSIW | 25EMS49427
160 | PAC_TOP | Transmission Line - Update termination for line to CLINTONW. Update name for 1 load | 25EMS49428
161 | PAC_TOP | Generator - Update MVAR capability curve for Airport Solar | 25EMS49429
162 | PAC_TOP | Generator - Update MVAR capability curve for Garrett Solar | 25EMS49430
163 | PAC_TOP | Generator - Update MVAR capability curve for Deadman Solar | 25EMS49431
164 | PAC_TOP | Generator - Update MVAR capability curve for Metzker Solar | 25EMS49432
165 | PAC_TOP | Transmission Line - Remove Station | 25EMS49433
166 | PAC_TOP | Transmission Line - Remove Station | 25EMS49434
167 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update measurements for 3G258 and 3G271 | 25EMS49435
168 | PAC_TOP | Substation\Load - Add 3 breakers, 6 switches, and 1 load | 25EMS49436
169 | PAC_TOP | Substation\Load - Add new station and lines to APEX | 25EMS49437
170 | PAC_TOP | Substation\Load - Add new station and lines to PGE GRASSLAND and LITESPEE | 25EMS49438
171 | PAC_TOP | Transmission Line - Update measurements for line to SNYDERTP. Add measurements for 46kV line to SEAST | 25EMS49439
172 | PAC_TOP | Substation\Load - Update Measurements for LD T3 | 25EMS49440
173 | PAC_TOP | Transmission Line - Remove line to GOSHENIW and replace with line to THREEMLE | 25EMS49441
174 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 switch | 25EMS49442
175 | PAC_TOP | Transmission Line - Remove line to TARGEE and replace with line to MIDWAYFR | 25EMS49443
176 | PAC_TOP | Transmission Line - Remove line to VICTORTP and replace with line to MIDWAYFR | 25EMS49444
177 | PAC_TOP | Substation\Load - Add new station and lines to TARGEE and VICTORTP | 25EMS49445
178 | PAC_TOP | Transmission Line - Remove bus OAKKNOLL 115 AS 2R118ND. Update name for line to OAKKNOTP | 25EMS49933
179 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update device type for 2U139. Update bus names | 25EMS49934
180 | PAC_TOP | Substation\Load - Remove switch SW1. Add 1 breaker, 1 switch, and 1 load. | 25EMS49935
181 | PAC_TOP | Substation\Load - Update measurements for LD1 | 25EMS49936
182 | PAC_TOP | Transmission Line - Name updates for lines to ALVEY and DIAMONDH | 25EMS49937
183 | PAC_TOP | Breaker(s)\ Disconnect(s) - Change device type for 2Y53. Update device name for 2Y54 to 2Y77 | 25EMS49938
184 | PAC_TOP | Transformer - Update XFMR step size for T1 and T2 | 25EMS49939
185 | PAC_TOP | Substation\Load - Add 1 breaker, 2 switches, and 1 load | 25EMS49940
186 | PAC_TOP | Generator - Add 2 new units to model disaggregation of Hunter 1 and Hunter 2 | 25EMS49941
187 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 2 switches. Update name for 1 bus | 25EMS49942
188 | PAC_TOP | Generator - Update remote control bus for Root Creek Wind | 25EMS49943
189 | PAC_TOP | Transformer - Update measurements for CUTLER XFMR T1T. | 25EMS49944
190 | PAC_TOP | Substation\Load - Update measurements for LD1 and LD2 | 25EMS49945
191 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 25EMS49946
192 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update measurements for 2 breakers | 25EMS49947
193 | PAC_TOP | Transmission Line - Update names for lines 1 and 2 to THERMOP$ | 25EMS49948
194 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove SW J1252. | 25EMS49949
195 | PAC_TOP | Transmission Line - Update impedance of line to STANDPIP | 25EMS49950
196 | PAC_TOP | Transformer - Update impedance for T1 | 25EMS49951
197 | PAC_TOP | Transmission Line - Update impedance for lines to MINERS and STANDPIP | 25EMS49952
198 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update device types for 135A and 135I to breaker | 25EMS49953
199 | PAC_TOP | Transmission Line - Update measurements for line to TRAPPER | 25EMS49954
200 | PACE | MTWNDCOL | 25EMS50443
201 | PGE_BA | Transmission Line - Correct the line name OGP1_LHRT_W1121 from OGP1_LHRT_W1121 | 25EMS50051
202 | PGE_BA | Transmission Line - Correct the line name NTRN_RVGT_W11731 from NRTN_RVGT_W11731 | 25EMS50052
203 | PGE_BA | Transmission Line - Clean up the AAR MVA SCADA mapping on CRTY_DLRD_V1553 | 25EMS50053
204 | PGE_BA | Transmission Line - Clean up the AAR MVA SCADA mapping on BCW1_GLDNHILLS_V12174 | 25EMS50054
205 | PGE_BA | Transmission Line - Clean up the AAR MVA SCADA mapping on FYP1_BK13_1301 and FYP1_BK14_2044 | 25EMS50055
206 | PGE_BA | Transmission Line - Clean up the AAR MVA SCADA mapping on PWSY_VFF1_ZBR | 25EMS50056
207 | PGE_BA | Substation\Load - Remove SHWS-WLSV double modeling, and remap the W184 SCADA key | 25EMS50057
208 | PGE_BA | Substation\Load - Remove SHWS-WLSV double modeling | 25EMS50058
209 | PGE_BA | Substation\Load - Remove SHWS-WLSV double modeling | 25EMS50059
210 | PGE_BA | Substation\Load - Remove SHWS-WLSV double modeling | 25EMS50060
211 | PGE_BA | Substation\Load - Remove Meridian-Sherwood lines and double modeling | 25EMS50061
212 | PGE_BA | Substation\Load - Remove Meridian-Sherwood lines and double modeling | 25EMS50062
213 | PGE_BA | Substation\Load - Remove Meridian-Sherwood lines and double modeling | 25EMS50063
214 | PGE_BA | Substation\Load - Remap the SCADA RTU to 325 | 25EMS50064
215 | PGE_BA | Contingency Definition - Contingency defination update | 25EMS50065
216 | PGE_BA | - List of ICCP points mapping | 25EMS50066
217 | PGE_BA | - Model Difference report | 25EMS50067
218 | PGE_BA | - Model Updates for PGE: CIMXML model file | 25EMS50068
219 | PGE_BA | - Shapefiles | 25EMS50277
220 | PGE_BA | - Shapefiles | 25EMS50278
221 | PNM_BA | Breaker(s)\ Disconnect(s) - Removal of HIMO-PAJA Pseudo MOD | 25EMS49263
222 | PNM_BA | Breaker(s)\ Disconnect(s) - Removal of HIMO-WESP1 Pseudo Switch | 25EMS49264
223 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_26381 to Normally Open (N.O.) | 25EMS49265
224 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_25281 to Normally Open (N.O.) | 25EMS49266
225 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_23083 to Normally Open (N.O.) | 25EMS49267
226 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_23081 to Normally Open (N.O.) | 25EMS49268
227 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_21983 to Normally Open (N.O.) | 25EMS49269
228 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_21981 to Normally Open (N.O.) | 25EMS49270
229 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_20883 to Normally Open (N.O.) | 25EMS49271
230 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_20881 to Normally Open (N.O.) | 25EMS49272
231 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_13185 to Normally Open (N.O.) | 25EMS49273
232 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_13183 to Normally Open (N.O.) | 25EMS49274
233 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_13181 to Normally Open (N.O.) | 25EMS49275
234 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_12083 to Normally Open (N.O.) | 25EMS49276
235 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_12081 to Normally Open (N.O.) | 25EMS49277
236 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_10983 to Normally Open (N.O.) | 25EMS49278
237 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_10981 to Normally Open (N.O.) | 25EMS49279
238 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_83265 to Normally Open (N.O.) | 25EMS49280
239 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_84365 to Normally Open (N.O.) | 25EMS49281
240 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_82165 to Normally Open (N.O.) | 25EMS49282
241 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_82163 to Normally Open (N.O.) | 25EMS49283
242 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_82161 to Normally Open (N.O.) | 25EMS49284
243 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_80163 to Normally Open (N.O.) | 25EMS49285
244 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_80161 to Normally Open (N.O.) | 25EMS49286
245 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_79965 to Normally Open (N.O.) | 25EMS49287
246 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_79963 to Normally Open (N.O.) | 25EMS49288
247 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_79961 to Normally Open (N.O.) | 25EMS49289
248 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_76665 to Normally Open (N.O.) | 25EMS49290
249 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_75563 to Normally Open (N.O.) | 25EMS49291
250 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_75561 to Normally Open (N.O.) | 25EMS49292
251 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_74463 to Normally Open (N.O.) | 25EMS49293
252 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Disconnect HIMO_74461 to Normally Open (N.O.) | 25EMS49294
253 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_21982 to Normally Open (N.O.) | 25EMS49295
254 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_26382 to Normally Open (N.O.) | 25EMS49296
255 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_25282 to Normally Open (N.O.) | 25EMS49297
256 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_23082 to Normally Open (N.O.) | 25EMS49298
257 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_20882 to Normally Open (N.O.) | 25EMS49299
258 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_13182 to Normally Open (N.O.) | 25EMS49300
259 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_12082 to Normally Open (N.O.) | 25EMS49301
260 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_10982 to Normally Open (N.O.) | 25EMS49302
261 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_84362 to Normally Open (N.O.) | 25EMS49303
262 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_83262 to Normally Open (N.O.) | 25EMS49304
263 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_82162 to Normally Open (N.O.) | 25EMS49305
264 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_81062 to Normally Open (N.O.) | 25EMS49306
265 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_79962 to Normally Open (N.O.) | 25EMS49307
266 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_75562 to Normally Open (N.O.) | 25EMS49308
267 | PNM_BA | Breaker(s)\ Disconnect(s) - Change HIDDEN MTN Breaker HIMO_74462 to Normally Open (N.O.) | 25EMS49309
268 | PNM_BA | Contingency Definition - Retirement of Contingency for PAJA_WESP1 | 25EMS49310
269 | PNM_BA | Transmission Line - Retirement and removal of PAJA_ABO S_COMP | 25EMS49311
270 | PNM_BA | Substation\Load - Full SCADA ICCP Mapping File | 25EMS49369
271 | PNM_BA | Generator - Addition of Generators | 25EMS50308
272 | PNM_BA | Generator - Addition of Generators | 25EMS50309
273 | PNM_BA | Generator - Addition of Generators | 25EMS50310
274 | PNM_BA | Generator - Addition of Generators | 25EMS50311
275 | PNM_BA | Generator - Addition of Generators | 25EMS50312
276 | PSEI_BA | - PSE CAISO ICCP List | 25EMS50252
277 | PSEI_BA | - PSE CIM Report | 25EMS50253
278 | PSEI_BA | Transmission Line - RC has wrong ratings for line. | 25EMS50419
279 | SNPD_TOP | Substation\Load - Uprate Lake Goodwin - Sills Corner line section and replace SW 3022 with PCB 6081 | 25EMS49758
280 | SNPD_TOP | Breaker(s)\ Disconnect(s) - Remove SW 60016 | 25EMS49859
281 | SNPD_TOP | Transmission Line - Updated line ratings | 25EMS50396
282 | SNPD_TOP | Substation\Load - Removed Camano, Lake Goodwin, Twin City, and North Stanwood from Variance System Voltage Limits Tab as they become BES substations. | 25EMS50421
283 | SPP_RC | Please rename CB 564 to CB 562 at GEESEN station | 25EMS49816
284 | SPP_RC | Update the nom Q and the reactivepersection of the SPP shunts attached | 25EMS50296
285 | SRP_BA | SVC - Added - 69KV CAPACITOR X2 | 25EMS49255
286 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 34kV Breakers/Disconnects | 25EMS49257
287 | SRP_BA | - Data Gathering Template Worksheet | 25EMS49258
288 | SRP_BA | - Full Network Model File | 25EMS49259
289 | SRP_BA | - Scope Document | 25EMS50127
290 | SRP_BA | - Data Gathering Template Worksheet | 25EMS50128
291 | SRP_BA | - Full Network Model File | 25EMS50129
292 | SRP_BA | - Network Model ICCP List | 25EMS50130
293 | SRP_BA | Transmission Line - Added 500kV Lines | 25EMS50132
294 | SRP_BA | Transmission Line - Added 69kV Lines | 25EMS50133
295 | SRP_BA | Transformer - Added 500kV XFMRs | 25EMS50134
296 | SRP_BA | BUS - Added - 230KV &500KV | 25EMS50135
297 | SRP_BA | BUS - Added - 69KV | 25EMS50136
298 | SRP_BA | Generator - ADDED CHILTEPIN BESS | 25EMS50137
299 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 230 kV Breakers/Disconnects | 25EMS50139
300 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 230 kV Breakers/Disconnects | 25EMS50140
301 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 500 kV Breakers/Disconnects | 25EMS50141
302 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects | 25EMS50142
303 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 500 kV Breakers/Disconnects | 25EMS50287
304 | SRP_BA | - Contingency List File | 25EMS50314
305 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Correction of breaker layout | 25EMS50000
306 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Reconfigure of ICT topology to correct for estimation errors | 25EMS50001
307 | TEPC_TOP | Substation\Load - Remodeling of distribution levels to include shunt and relevant topology | 25EMS50002
308 | TPWR_BA | Substation\Load - Update | 25EMS49711
309 | TPWR_BA | Generator - Update | 25EMS49712
310 | TPWR_BA | Transmission Line - Update | 25EMS49713
311 | TPWR_BA | Breaker(s)\ Disconnect(s) - Update | 25EMS49714
312 | TSGT_TOP | - ICCP Mapping | 25EMS49920
313 | TSGT_TOP | Transmission Line - Rating Update | 25EMS49921
314 | WALC_TOP | Breaker(s)\ Disconnect(s) - Remove pseudo switches, GRL AP PSD 345, GRL-AP PSD 230 | 25EMS50097
315 | WALC_TOP | Breaker(s)\ Disconnect(s) - Remove pseudo switches, WTH_CISO_PSD1 & WTH_CISO_PSD2 | 25EMS50098
316 | WALC_TOP | Substation\Load - Move White Hills Wind Station out of WALC's BA | 25EMS50099
317 | WALC_TOP | Generator - Move White Hills Wind resource, WTH 2 out of WALC's BA | 25EMS50100
318 | WALC_TOP | Generator - Move White Hills Wind resource, WTH 1 out of WALC's BA | 25EMS50101
319 | WALC_TOP | Substation\Load - New Marana Station | 25EMS50102
320 | WALC_TOP | Transmission Line - New Marana - Adonis 115kV line | 25EMS50103