## Revision_History
FNM Scope for FNM 26M8_DB142
(Production Week of 8/10/2026)
Revision History
Effective Date | Version | Description
2026-06-10 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
California ISO – Public

## NRI
I. NRI Projects
NO | PTO | Resource ID | Project Name / Description | Project Key
1 | PGAE | MULQNY_2_MRWWD1 | Mulqueeney Ranch Wind | 16AS0155
2 | SCE | BARRE_2_WRPBT1 | Westminster Reliability Project | 26NGR51662
3 | NA |  | Wind Wall 1 | 26RIG50899
4 | NA |  | LAROA2 | 26RIG51503
5 | NA |  | UC Berkeley | 26RIG51609

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS8683 | Red Bluff - Coleman 60 kV Reinforcement | ET3984
2 | PGAE | 19TRANS9238 | Reconductor - Stan-Melones-Manteca #1 | ET4134
3 | PGAE | 19TRANS9238 | Reconductor - Stan-Melones-Manteca #1 | ET4136
4 | PGAE | 19TRANS9238 | Reconductor - Stan-Melones-Manteca #1 | ET5889
5 | PGAE | 19TRANS9238 | Reconductor - Stan-Melones-Manteca #1 | ET5890
6 | PGAE | 20TRANS13598 | Jasmine Solar PV Interconnection (Q1499) | ET4434
7 | PGAE | 20TRANS13598 | Jasmine Solar PV Interconnection (Q1499) | ET4435
8 | PGAE | 20TRANS13598 | Jasmine Solar PV Interconnection (Q1499) | ET4436
9 | PGAE | 21TRANS18871 | Las Camas 1 Generation Interconnection (Q1382) Project | ET4691
10 | PGAE | 21TRANS18871 | Las Camas 1 Generation Interconnection (Q1382) Project | ET4692
11 | PGAE | 22TRANS20883 | Install new Green Valley Bank 4 | ET4877
12 | PGAE | 22TRANS20883 | Install new Green Valley Bank 4 | ET4878
13 | PGAE | 22TRANS21069 | Vasona-Metcalf 230 kV Line Limiting Elements Removal Project | ET4899
14 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET4918
15 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET4919
16 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET4920
17 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET4921
18 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET4922
19 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET4923
20 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET5251
21 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET5252
22 | PGAE | 22TRANS21080 | New Manning 500 kV substation | ET5253
23 | PGAE | 23TRANS28007 | 2026 ¿ Install 7th Standard Transformer Bank 2 | ET5239
24 | PGAE | 24TRANS34614 | Zeta Solar Interconnection Project (Q1728) | ET5322
25 | PGAE | 24TRANS34614 | Zeta Solar Interconnection Project (Q1728) | ET5323
26 | PGAE | 25TRANS44321 | CLEARLAKE: EM REPLACE BANK 1 & 2 | ET5517
27 | PGAE | 25TRANS44321 | CLEARLAKE: EM REPLACE BANK 1 & 2 | ET5826
28 | PGAE | 26TRANS52554 | Q1242 Pluot Solar 246.4 MW Generation Facility | ET5847
29 | SCE | 26TRANS54123 | Cathode Split Project | ET5898
30 | SDGE | 26TRANS51035 | TL603 Loop-in (Sweetwater - National City and Naval Station Metering) | ET5721
31 | SDGE | 26TRANS51979 | Granite TL 6985 CB | ET5828

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | Full Model Replacement for AESO | 26EMS53831
2 | APS | Update the switch status for APS SG147 | 26EMS54600
3 | AVA_BA | - This is a list of Avista's dynamic real-time limit analogs for transmission equipment, associated to the full network model exchanged over ICCP. This submission is made with the latest provided template for AVA labeled "FERC881_Dynamic_MVA_ICCP_Template_AVA_DB139.5.xlsx" . | 26EMS53362
4 | AVA_BA | - IRO-010-6.13 tab of RC Data Gathering spreadsheet has new substation coordinates | 26EMS54838
5 | AVA_BA | - ICCP mapping to AVA CIM model | 26EMS54839
6 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and FALL = High3/High4 | 26EMS54840
7 | AZPS_BA | Generator - Weather data | 25EMS42430
8 | AZPS_BA | Contingency Definition - | 25EMS44026
9 | AZPS_BA | Generator - Extreme Weather data | 25EMS48558
10 | AZPS_BA | Generator - Extreme Weather Template | 26EMS51249
11 | AZPS_BA | Generator - Additional dyd information for category 2 resources. | 26EMS53741
12 | AZPS_BA | Substation - Shapefile for Romero | 26EMS54620
13 | AZPS_BA | Substation - Add: ROMX | 26EMS54621
14 | AZPS_BA | Substation - Add: DIA | 26EMS54622
15 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Update: CCLX CB2 A 34.5KV | 26EMS54623
16 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Update: CCLX CB1 A 34.5KV | 26EMS54624
17 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Add: CRNX CB2 A 34.5KV | 26EMS54625
18 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Add: CRNX CB1 A 34.5KV | 26EMS54626
19 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Add: DIA CB2 A 69KV | 26EMS54627
20 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Add: DIA CB1 A 69KV | 26EMS54628
21 | AZPS_BA | Series Device - Update: WW C9S1 A 500KV | 26EMS54629
22 | AZPS_BA | Series Device - Delete: OC naSD 13.8KV | 26EMS54630
23 | AZPS_BA | Series Device - Delete: WCX naSD3 34.5KV | 26EMS54631
24 | AZPS_BA | Series Device - Delete: WCX naSD2 34.5KV | 26EMS54632
25 | AZPS_BA | Series Device - Delete: WCX naSD1 34.5KV | 26EMS54633
26 | AZPS_BA | Series Device - Delete: SS4 naSD BESS 34.5KV | 26EMS54634
27 | AZPS_BA | Series Device - Delete: SS4 naSD PV 34.5KV | 26EMS54635
28 | AZPS_BA | Series Device - Delete: MCG naSDX02L2 12KV | 26EMS54636
29 | AZPS_BA | Series Device - Delete: MCG naSDX02L1 12KV | 26EMS54637
30 | AZPS_BA | Transformer - Update: PPGX XFMR1 A 34.5KV | 26EMS54638
31 | AZPS_BA | Transformer - Add: RUN XFMR9 A 230KV | 26EMS54639
32 | AZPS_BA | Transformer - Add: RUN XFMR9 A 12KV | 26EMS54640
33 | AZPS_BA | Transformer - Add: ROMX XFMR3 A 500KV | 26EMS54641
34 | AZPS_BA | Transformer - Add: ROMX XFMR2 A 500KV | 26EMS54642
35 | AZPS_BA | Transformer - Add: ROMX XFMR1 A 500KV | 26EMS54643
36 | AZPS_BA | Transformer - Add: CON XFMR12 A 69KV | 26EMS54644
37 | AZPS_BA | Transformer - Add: DIA XFMR12 A 34.5KV | 26EMS54645
38 | AZPS_BA | Transformer - Add: DIA XFMR9 A 34.5KV | 26EMS54646
39 | AZPS_BA | Transformer - Add: DIA XFMR8 A 34.5KV | 26EMS54647
40 | AZPS_BA | Transformer - Add: TLT XFMR11 A 12KV | 26EMS54648
41 | AZPS_BA | Transformer - Delete: CON XFMR12 A 69KV | 26EMS54649
42 | AZPS_BA | Generator - Update: 34.5KVWF1 A_TGU | 26EMS54650
43 | AZPS_BA | Generator - Update: 34.5KVBESS A_TGU | 26EMS54651
44 | AZPS_BA | Generator - Update: 500KVBESS A_TGU | 26EMS54652
45 | AZPS_BA | Generator - Update: 34.5KVBESS A_TGU | 26EMS54653
46 | AZPS_BA | Generator - Update: 34.5KVBESS A_TGU | 26EMS54654
47 | AZPS_BA | Generator - Update: 34.5KVnaBESS A_TGU | 26EMS54655
48 | AZPS_BA | Generator - Update: JVX BESS A 34.5KV | 26EMS54656
49 | AZPS_BA | Generator - Update: JSTX BESS A 34.5KV | 26EMS54657
50 | AZPS_BA | Generator - Update: PPGX BESS A 34.5KV | 26EMS54658
51 | AZPS_BA | Generator - Update: BHVX BESS A 34.5KV | 26EMS54659
52 | AZPS_BA | Generator - Update: CRNX naBESS2 A 34.5KV | 26EMS54660
53 | AZPS_BA | Generator - Update: CRNX naBESS1 A 34.5KV | 26EMS54661
54 | AZPS_BA | Generator - Update: CRNX SLR2 A 34.5KV | 26EMS54662
55 | AZPS_BA | Generator - Update: CRNX SLR1 A 34.5KV | 26EMS54663
56 | AZPS_BA | Generator - Update: DBLX BESS A 34.5KV | 26EMS54664
57 | AZPS_BA | Generator - Update: PGSX PV A 34.5KV | 26EMS54665
58 | AZPS_BA | Generator - Update: SDP CT7 A 13.8KV | 26EMS54666
59 | AZPS_BA | Generator - Update: SDP CT8 A 13.8KV | 26EMS54667
60 | AZPS_BA | Generator - Add: 34.5KVnaBESS2 A_TGU | 26EMS54668
61 | AZPS_BA | Generator - Add: 34.5KVnaBESS1 A_TGU | 26EMS54669
62 | AZPS_BA | Generator - Add: ROMX naBESS2 A 34.5KV | 26EMS54670
63 | AZPS_BA | Generator - Add: ROMX naBESS1 A 34.5KV | 26EMS54671
64 | AZPS_BA | Generator - Delete: 34.5KVBESS A | 26EMS54672
65 | AZPS_BA | Generator - Delete: 34.5KVBESS A | 26EMS54673
66 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update: HF741J | 26EMS54674
67 | AZPS_BA | Breaker(s)\ Disconnect(s) - Update: KTSXPV BKR | 26EMS54675
68 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: WCXnaSF3 | 26EMS54676
69 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: WCXnaSF2 | 26EMS54677
70 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: WCXnaSF1 | 26EMS54678
71 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OCnaSF | 26EMS54679
72 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH1455 | 26EMS54680
73 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH1354 | 26EMS54681
74 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH1353 | 26EMS54682
75 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH857 | 26EMS54683
76 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH954 | 26EMS54684
77 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: PA741J | 26EMS54685
78 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DBLX89B1 | 26EMS54686
79 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CLT163 | 26EMS54687
80 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CLT161 | 26EMS54688
81 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: SAR363 | 26EMS54689
82 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: SAR361 | 26EMS54690
83 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: SS4naSFPV | 26EMS54691
84 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: SS4naSFBESS | 26EMS54692
85 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-T3 | 26EMS54693
86 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-T2 | 26EMS54694
87 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-T1 | 26EMS54695
88 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-L1 | 26EMS54696
89 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-F23 | 26EMS54697
90 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-F31 | 26EMS54698
91 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-F22 | 26EMS54699
92 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-F21 | 26EMS54700
93 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-F13 | 26EMS54701
94 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX89-F12 | 26EMS54702
95 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1063 | 26EMS54703
96 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1061 | 26EMS54704
97 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1163 | 26EMS54705
98 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1161 | 26EMS54706
99 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA963 | 26EMS54707
100 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA961 | 26EMS54708
101 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1763 | 26EMS54709
102 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1761 | 26EMS54710
103 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1863 | 26EMS54711
104 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1861 | 26EMS54712
105 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA863 | 26EMS54713
106 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA861 | 26EMS54714
107 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA663 | 26EMS54715
108 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA661 | 26EMS54716
109 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA763 | 26EMS54717
110 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA761 | 26EMS54718
111 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA563 | 26EMS54719
112 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA561 | 26EMS54720
113 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA261 | 26EMS54721
114 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA161 | 26EMS54722
115 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1661 | 26EMS54723
116 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1663 | 26EMS54724
117 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1561 | 26EMS54725
118 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1563 | 26EMS54726
119 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1261 | 26EMS54727
120 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1263 | 26EMS54728
121 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA843 | 26EMS54729
122 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA841 | 26EMS54730
123 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1243 | 26EMS54731
124 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1241 | 26EMS54732
125 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1043 | 26EMS54733
126 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1041 | 26EMS54734
127 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA743 | 26EMS54735
128 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA741 | 26EMS54736
129 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA943 | 26EMS54737
130 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA941 | 26EMS54738
131 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1143 | 26EMS54739
132 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1141 | 26EMS54740
133 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DLN454 | 26EMS54741
134 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: MCGnaSFX02L2 | 26EMS54742
135 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: MCGnaSFX02L1 | 26EMS54743
136 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1125 | 26EMS54744
137 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1127 | 26EMS54745
138 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1021 | 26EMS54746
139 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1023 | 26EMS54747
140 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1221 | 26EMS54748
141 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1221 | 26EMS54749
142 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: OD1223 | 26EMS54750
143 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT1061 | 26EMS54751
144 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT741J | 26EMS54752
145 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT841D | 26EMS54753
146 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT1141D | 26EMS54754
147 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: WPK2146 RD | 26EMS54755
148 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT741J | 26EMS54756
149 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: MGN2063 | 26EMS54757
150 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: MGN2061 | 26EMS54758
151 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CRNX35-CB2 | 26EMS54759
152 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CRNX35-CB1 | 26EMS54760
153 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH1352 | 26EMS54761
154 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CH856 | 26EMS54762
155 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DBLXBESS BKR | 26EMS54763
156 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DBLX52F14 | 26EMS54764
157 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: CLT162 | 26EMS54765
158 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: SAR362 | 26EMS54766
159 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-T3 | 26EMS54767
160 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-T2 | 26EMS54768
161 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-T1 | 26EMS54769
162 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-U1 | 26EMS54770
163 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-F32 | 26EMS54771
164 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-F31 | 26EMS54772
165 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-F22 | 26EMS54773
166 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-F21 | 26EMS54774
167 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-F13 | 26EMS54775
168 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: ROMX52-F12 | 26EMS54776
169 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1062 | 26EMS54777
170 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1162 | 26EMS54778
171 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA962 | 26EMS54779
172 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1762 | 26EMS54780
173 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1862 | 26EMS54781
174 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA862 | 26EMS54782
175 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA962 | 26EMS54783
176 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA762 | 26EMS54784
177 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA562 | 26EMS54785
178 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA262 | 26EMS54786
179 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA162 | 26EMS54787
180 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1262 | 26EMS54788
181 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA842 | 26EMS54789
182 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1242 | 26EMS54790
183 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1042 | 26EMS54791
184 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA742 | 26EMS54792
185 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA942 | 26EMS54793
186 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: DIA1142 | 26EMS54794
187 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT562 | 26EMS54795
188 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: TLT1142 | 26EMS54796
189 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: MGN2062 | 26EMS54797
190 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add: WPK1942 | 26EMS54798
191 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: SAR363 | 26EMS54799
192 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: SAR361 | 26EMS54800
193 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: PA741J | 26EMS54801
194 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: OD323 | 26EMS54802
195 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: OD321 | 26EMS54803
196 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: SAR362 | 26EMS54804
197 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: PPGXnaCCRLD | 26EMS54805
198 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete: PPGXnaCCR | 26EMS54806
199 | AZPS_BA | Transmission Line - Update: Line_WZ-BUL_69KV | 26EMS54807
200 | AZPS_BA | Transmission Line - Update: Line_PLUX-SAR_69KV | 26EMS54808
201 | AZPS_BA | Transmission Line - Update: Line_PV-PM2_69KV | 26EMS54809
202 | AZPS_BA | Transmission Line - Update: Line_PV-PM1_69KV | 26EMS54810
203 | AZPS_BA | Transmission Line - Update: Line_BUL-CW_69KV | 26EMS54811
204 | AZPS_BA | Transmission Line - Add: Line_DLN-ROMX_500KV | 26EMS54812
205 | AZPS_BA | Transmission Line - Add: Line_WT-DIA_69KV | 26EMS54813
206 | AZPS_BA | Transmission Line - Add: Line_SAR-DIA_69KV | 26EMS54814
207 | AZPS_BA | Transmission Line - Delete: Line_SAR-WT_69KV | 26EMS54815
208 | AZPS_BA | Transmission Line - Delete: Line_FLR-KJ_69KV | 26EMS54816
209 | AZPS_BA | Transmission Line - Delete: Line_HAAX-PL2_500KV | 26EMS54817
210 | AZPS_BA | Substation\Load - BES Exclusions | 26EMS54818
211 | AZPS_BA | Contingency Definition - Contingency Definitions | 26EMS54819
212 | AZPS_BA | Substation\Load - ICCP Mapping | 26EMS54820
213 | AZPS_BA | Substation\Load - RC Data Gathering | 26EMS54821
214 | AZPS_BA | Generator - DYD Mapping | 26EMS54822
215 | BANC_BA | Breaker(s)\ Disconnect(s) - ELR Double Model Switches | 26EMS54564
216 | BANC_BA | Breaker(s)\ Disconnect(s) - ELR Double Model Switches | 26EMS54565
217 | BANC_BA | Breaker(s)\ Disconnect(s) - ELR Double Model Switches | 26EMS54566
218 | BANC_BA | Breaker(s)\ Disconnect(s) - ELR Double Model Switches | 26EMS54567
219 | BANC_BA | Breaker(s)\ Disconnect(s) - ELR Double Model Switches | 26EMS54568
220 | BANC_BA | Transformer - MW/MVR Linked to Transformer | 26EMS54569
221 | BANC_BA | Breaker(s)\ Disconnect(s) - ICCP Added to gang disconnects | 26EMS54570
222 | BANC_BA | Transmission Line - 69KV MINN-PAR Line Impedance Update | 26EMS54571
223 | BANC_BA | Breaker(s)\ Disconnect(s) - Rename Disc 5138 | 26EMS54572
224 | BANC_BA | Breaker(s)\ Disconnect(s) - Rename Disc 5134 | 26EMS54573
225 | BANC_BA | Breaker(s)\ Disconnect(s) - Rename Disc 5102 | 26EMS54574
226 | BANC_BA | Breaker(s)\ Disconnect(s) - Switch removal 3711 from ARD-MOO line | 26EMS54575
227 | BANC_BA | Generator - RED Update MVAR curves for units 1,2,3,5,6 | 26EMS54576
228 | BANC_BA | Substation\Load - New Substation | 26EMS54577
229 | BANC_BA | Transformer - Updating Regulation Type and Taps | 26EMS54578
230 | BCHA_RC | Substation\Load - Deleted PLANT | 26EMS54259
231 | BCHA_RC | Substation\Load - Deleted 230-60 | 26EMS54260
232 | BCHA_RC | Substation\Load - Deleted WCT_LD | 26EMS54261
233 | BCHA_RC | Substation\Load - Deleted PLANT | 26EMS54262
234 | BCHA_RC | Substation\Load - Deleted BRD_LD | 26EMS54263
235 | BCHA_RC | Substation\Load - Deleted L214_LD | 26EMS54264
236 | BCHA_RC | Substation\Load - Deleted PEX_LD | 26EMS54265
237 | BCHA_RC | Substation\Load - Deleted POW48-33 | 26EMS54266
238 | BCHA_RC | Substation\Load - Deleted L271_LD | 26EMS54267
239 | BCHA_RC | Substation\Load - Deleted 3-2 | 26EMS54268
240 | BCHA_RC | Substation\Load - Deleted PLANT | 26EMS54269
241 | BCHA_RC | Substation\Load - Deleted FPG_LD2 | 26EMS54270
242 | BCHA_RC | Substation\Load - Deleted BBR_LOAD | 26EMS54271
243 | BCHA_RC | Substation\Load - Deleted STN | 26EMS54272
244 | BCHA_RC | Substation\Load - Deleted 60L292_CNT | 26EMS54273
245 | BCHA_RC | Substation\Load - Deleted MTE_LOAD | 26EMS54274
246 | BCHA_RC | Substation\Load - Deleted GTPB | 26EMS54275
247 | BCHA_RC | Substation\Load - Deleted KTB_LD3_1 | 26EMS54276
248 | BCHA_RC | Substation\Load - Deleted KTB_LD3_3 | 26EMS54277
249 | BCHA_RC | Substation\Load - Deleted KTB_LD3_2 | 26EMS54278
250 | BCHA_RC | Substation\Load - Deleted KTB_LD2_2 | 26EMS54279
251 | BCHA_RC | Substation\Load - Deleted KTB_LD1_2 | 26EMS54280
252 | BCHA_RC | Substation\Load - Deleted KTB_LD3_6 | 26EMS54281
253 | BCHA_RC | Substation\Load - Deleted KTB_LD1_1 | 26EMS54282
254 | BCHA_RC | Substation\Load - Deleted KTB_LD3_5 | 26EMS54283
255 | BCHA_RC | Substation\Load - Deleted KTB_LD3_4 | 26EMS54284
256 | BCHA_RC | Substation\Load - Deleted KTB_LD2_1 | 26EMS54285
257 | BCHA_RC | Substation\Load - Deleted KTB_LD3_8 | 26EMS54286
258 | BCHA_RC | Substation\Load - Deleted KTB_LD3 | 26EMS54287
259 | BCHA_RC | Substation\Load - Deleted MCK_LD | 26EMS54288
260 | BCHA_RC | Substation\Load - Deleted ALOUETTE | 26EMS54289
261 | BCHA_RC | Transmission Line - Deleted 1L375_5 | 26EMS54290
262 | BCHA_RC | Substation - Added N05 | 26EMS54291
263 | BCHA_RC | Substation - Added EGB | 26EMS54292
264 | BCHA_RC | Substation - Added N16 | 26EMS54293
265 | BCHA_RC | Substation\Load - Added N05_LOAD | 26EMS54294
266 | BCHA_RC | Substation\Load - Added BBR_LOAD | 26EMS54295
267 | BCHA_RC | Substation\Load - Added N16_LOAD | 26EMS54296
268 | BCHA_RC | Transmission Line - Added SCX_25RX2 | 26EMS54297
269 | BCHA_RC | Transmission Line - Added SCX_25RX1 | 26EMS54298
270 | BCHA_RC | Transmission Line - Added 2L334 | 26EMS54299
271 | BCHA_RC | Transmission Line - Added 2L335 | 26EMS54300
272 | BCHA_RC | Transmission Line - Added 2L335_1 | 26EMS54301
273 | BCHA_RC | Transmission Line - Added 2L333_2 | 26EMS54302
274 | BCHA_RC | Transmission Line - Added 1L363_2 | 26EMS54303
275 | BCHA_RC | Transmission Line - Added 2L334_1 | 26EMS54304
276 | BCHA_RC | N/A - Updated ICCP mapping file | 26EMS54305
277 | BCHA_RC | Substation\Load - Deleted PLANT | 26EMS54481
278 | BCHA_RC | Substation\Load - Deleted 230-60 | 26EMS54482
279 | BCHA_RC | Substation\Load - Deleted WCT_LD | 26EMS54483
280 | BCHA_RC | Substation\Load - Deleted PLANT | 26EMS54484
281 | BCHA_RC | Substation\Load - Deleted BRD_LD | 26EMS54485
282 | BCHA_RC | Substation\Load - Deleted L214_LD | 26EMS54486
283 | BCHA_RC | Substation\Load - Deleted PEX_LD | 26EMS54487
284 | BCHA_RC | Substation\Load - Deleted POW48-33 | 26EMS54488
285 | BCHA_RC | Substation\Load - Deleted L271_LD | 26EMS54489
286 | BCHA_RC | Substation\Load - Deleted 3-2 | 26EMS54490
287 | BCHA_RC | Substation\Load - Deleted PLANT | 26EMS54491
288 | BCHA_RC | Substation\Load - Deleted FPG_LD2 | 26EMS54492
289 | BCHA_RC | Substation\Load - Deleted BBR_LOAD | 26EMS54493
290 | BCHA_RC | Substation\Load - Deleted STN | 26EMS54494
291 | BCHA_RC | Substation\Load - Deleted 60L292_CNT | 26EMS54495
292 | BCHA_RC | Substation\Load - Deleted MTE_LOAD | 26EMS54496
293 | BCHA_RC | Substation\Load - Deleted GTPB | 26EMS54497
294 | BCHA_RC | Substation\Load - Deleted KTB_LD3_1 | 26EMS54498
295 | BCHA_RC | Substation\Load - Deleted KTB_LD3_3 | 26EMS54499
296 | BCHA_RC | Substation\Load - Deleted KTB_LD3_2 | 26EMS54500
297 | BCHA_RC | Substation\Load - Deleted KTB_LD2_2 | 26EMS54501
298 | BCHA_RC | Substation\Load - Deleted KTB_LD1_2 | 26EMS54502
299 | BCHA_RC | Substation\Load - Deleted KTB_LD3_6 | 26EMS54503
300 | BCHA_RC | Substation\Load - Deleted KTB_LD1_1 | 26EMS54504
301 | BCHA_RC | Substation\Load - Deleted KTB_LD3_5 | 26EMS54505
302 | BCHA_RC | Substation\Load - Deleted KTB_LD3_4 | 26EMS54506
303 | BCHA_RC | Substation\Load - Deleted KTB_LD2_1 | 26EMS54507
304 | BCHA_RC | Substation\Load - Deleted KTB_LD3_8 | 26EMS54508
305 | BCHA_RC | Substation\Load - Deleted KTB_LD3 | 26EMS54509
306 | BCHA_RC | Substation\Load - Deleted MCK_LD | 26EMS54510
307 | BCHA_RC | Substation\Load - Deleted ALOUETTE | 26EMS54511
308 | BCHA_RC | Transmission Line - Deleted 1L375_5 | 26EMS54512
309 | BCHA_RC | Substation - Added N05 | 26EMS54513
310 | BCHA_RC | Substation - Added EGB | 26EMS54514
311 | BCHA_RC | Substation - Added N16 | 26EMS54515
312 | BCHA_RC | Substation\Load - Added N05_LOAD | 26EMS54516
313 | BCHA_RC | Substation\Load - Added BBR_LOAD | 26EMS54517
314 | BCHA_RC | Substation\Load - Added N16_LOAD | 26EMS54518
315 | BCHA_RC | Transmission Line - Added SCX_25RX2 | 26EMS54519
316 | BCHA_RC | Transmission Line - Added SCX_25RX1 | 26EMS54520
317 | BCHA_RC | Transmission Line - Added 2L334 | 26EMS54521
318 | BCHA_RC | Transmission Line - Added 2L335 | 26EMS54522
319 | BCHA_RC | Transmission Line - Added 2L335_1 | 26EMS54523
320 | BCHA_RC | Transmission Line - Added 2L333_2 | 26EMS54524
321 | BCHA_RC | Transmission Line - Added 1L363_2 | 26EMS54525
322 | BCHA_RC | Transmission Line - Added 2L334_1 | 26EMS54526
323 | BCHA_RC | N/A - Updated ICCP mapping file | 26EMS54527
324 | BHBA_TOP | Generator - Addition of Lange II generator at Lange substation | 26EMS54386
325 | BPAT_BA | RAS - Adding new solar gen HOSS to AC7_HIGHGEND RAS scheme. | 26EMS54395
326 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - CPs added and modified | 26EMS54528
327 | BPAT_BA | Transmission Line - Line removed (STIM_CAMA_1115. B, C, and CA) | 26EMS54529
328 | BPAT_BA | Transmission Line - Line updated (EARL_STIM_1115.AB) | 26EMS54530
329 | BPAT_BA | Transmission Line - Line removed (EARL_STIM_1115.A) and updated (EARL_STIM_1115.AA) | 26EMS54531
330 | BPAT_BA | Transmission Line - Line removed (LGDW_NSTN_1115) and added (STIM_CAMA_1115.A) | 26EMS54532
331 | BPAT_BA | Transmission Line - Line removed and updated (WHBL_STDV_2115 B and C) | 26EMS54533
332 | BPAT_BA | Transmission Line - Line updated (WHBL_RICH_1115) | 26EMS54534
333 | BPAT_BA | Transmission Line - Line removed (DOOL_WILI_1230.A) | 26EMS54535
334 | BPAT_BA | Breaker(s)\ Disconnect(s) - Jumpers removed and disconnect modified | 26EMS54536
335 | BPAT_BA | Breaker(s)\ Disconnect(s) - Jumpers removed | 26EMS54537
336 | BPAT_BA | Breaker(s)\ Disconnect(s) - Jumpers removed | 26EMS54538
337 | BPAT_BA | Breaker(s)\ Disconnect(s) - Jumpers removed | 26EMS54539
338 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed | 26EMS54540
339 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnect added | 26EMS54541
340 | BPAT_BA | Breaker(s)\ Disconnect(s) - Breaker added | 26EMS54542
341 | BPAT_BA | Breaker(s)\ Disconnect(s) - Breakers and disconnects added | 26EMS54543
342 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects added and removed | 26EMS54544
343 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added jumper and modified disconnects | 26EMS54545
344 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects removed and modified | 26EMS54546
345 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added jumper | 26EMS54547
346 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed jumper | 26EMS54548
347 | BPAT_BA | Breaker(s)\ Disconnect(s) - Breakers and disconnects added and modified | 26EMS54549
348 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed and added disconnects | 26EMS54550
349 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed and added disconnects | 26EMS54551
350 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed and added disconnects | 26EMS54552
351 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed jumper | 26EMS54553
352 | BPAT_BA | Breaker(s)\ Disconnect(s) - Disconnects added and modified | 26EMS54554
353 | BPAT_BA | Substation\Load - Load added | 26EMS54555
354 | BPAT_BA | Substation\Load - Load updated | 26EMS54556
355 | BPAT_BA | Substation\Load - Loads updated | 26EMS54557
356 | BPAT_BA | Substation\Load - Loads updated | 26EMS54558
357 | BPAT_BA | Substation\Load - Station updated | 26EMS54559
358 | BPAT_BA | Substation\Load - Station removed | 26EMS54560
359 | BPAT_BA | Substation\Load - Station updated | 26EMS54561
360 | BPAT_BA | Substation\Load - Station added | 26EMS54562
361 | BPAT_BA | Contingency Definition - BPA Contingency List. | 26EMS54563
362 | BPAT_TOP | Transmission Line - Made changes to Station H Substation; TOP=Y, Removed 11.5 Nominal voltage and BES Bus, added USN to TOP Customer. Made changes to Station FG Substation; TOP=Y, Added 12.5 Nominal voltage and BES Bus, added USN to TOP Customer. Added Bangor Substation. Added Station H-Station FG No 1 115kV line. | 26EMS54146
363 | CEN_BA | Transmission Line - Update limits of transmission Line | 26EMS53739
364 | CHPD_BA | - Supplemental information for item 1 - Written description of changes and reason for change. | 26EMS53562
365 | CHPD_BA | Substation/Load - Addition - Analog ICCP points for Jumpoff Ridge Phase 3 - these points were missed in the earlier submittal on 3/25/2026 | 26EMS53563
366 | CHPD_BA | Substation\Load - Addition - Jumpoff Ridge ICCP's for load serving transformers 5-7 | 26EMS54252
367 | CHPD_BA | Transformer - Update - Jumpoff Ridge AXFMR #1 impedance, rating Addition - Jumpoff Ridge AXFMR #1 tap changer | 26EMS54253
368 | CHPD_BA | Breaker(s)\ Disconnect(s) - Removal - Jumpoff Ridge double modeling during phased energization Removal - Switch 6-86 Update - CHPD end ratings for tie lines | 26EMS54254
369 | CHPD_BA | Breaker(s)\ Disconnect(s) - Removal - Jumpoff Ridge double modeling during phased energization Removal - Switch 6-86 Update - CHPD end ratings for tie lines | 26EMS54255
370 | EPE_TOP | Breaker(s)\ Disconnect(s) - OCB_9926B Renamed to GCB_9926B at Salopek. | 26EMS54472
371 | EPE_TOP | Breaker(s)\ Disconnect(s) - Switch 2196E renamed to 2196A at Patriot. | 26EMS54473
372 | EPE_TOP | Breaker(s)\ Disconnect(s) - OCB_2215B Renamed to GCB_2215B at Farmer. | 26EMS54474
373 | EPE_TOP | Transmission Line - Line 12300 renamed to 12300_EST_ELT and line 22400 renamed to 22400_EST_SPA | 26EMS54475
374 | EPE_TOP | Transmission Line - Updated limits for the following lines: 09100_NES_FAR 12300_EST_WRA 13400_MCE_PCA 15600_MCE_PIP 34600_NWM_AFT 35900_MSP_LUN | 26EMS54476
375 | GCPD_BA | Generator - The energy output of Potholes East Canal (PEC) is being psuedo tied to Avista (AVA). Avista has new ICCP points for the MW and MVAR available for the unit. GCPD still has the unit physically in our BA, but the energy has a new psuedo tie out. No physical changes to the unit. | 26EMS53281
376 | GCPD_BA | Generator - The energy output of Quincy Chute is being psuedo tied to Avista (AVA). Avista has new ICCP points for the MW and MVAR available for the unit. GCPD still has the unit physically in our BA, but the energy has a new psuedo tie out. No physical changes to the unit. | 26EMS53282
377 | GCPD_BA | Generator - CAISO requested updated generator reactive capability. This is my updated reactive capability limits for Wanapum. | 26EMS53742
378 | GCPD_BA | Generator - CAISO requested updated generator reactive capability. This is my updated reactive capability limits for Priest Rapids. | 26EMS53743
379 | HHWP_TOP | Transformer - Update DETC settings for Warnerville Transformer Banks #1 and #2 | 26EMS54579
380 | HHWP_TOP | Transmission Line - Update HHWP Tranmission Line ratings | 26EMS54580
381 | IID_BA | Substation\Load - ADD BANK #2 AND BKRS | 26EMS54066
382 | IPCO_BA | Shunt Cap\Reactor\SVDs - Added reactor: WDRI L133 | 26EMS54477
383 | IPCO_BA | Substation\Load - Removed load: KCHM-WDRI_2 | 26EMS54478
384 | IPCO_BA | Transmission Line - Updated impedeances for line segments | 26EMS54479
385 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removed breaker: BKFT 101Z | 26EMS54855
386 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: USTK 131L, USTK 131X, USTK 132L, USTK 132X Added breakers: USTK 131Z, USTK 132Z | 26EMS54856
387 | IPCO_BA | Breaker(s)\ Disconnect(s) - Updated breakers: SUNB 9A3, SUNB 9A6, SUN 9B13 | 26EMS54857
388 | IPCO_BA | Substation\Load - Added Substation: AMPO | 26EMS54858
389 | IPCO_BA | Substation\Load - Added Conforming load: AMPO T131 | 26EMS54859
390 | IPCO_BA | Breaker(s)\ Disconnect(s) - Updated disconnectors: PRFS 011A, PRFS 011Z, PRFS 013A, PRFS 014A, PRFS 021Z, PRFS 131L | 26EMS54860
391 | IPCO_BA | Transmission Line - Added ACLineSegments: AMPO-BKFT | 26EMS54861
392 | IPCO_BA | Transmission Line - Added ACLineSegments: KCHM-WDRI2 | 26EMS54862
393 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: WDRI 133Z | 26EMS54863
394 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: USTK 132X,USTK 131X,USTK 132L,USTK 131Z,USTK 131L,USTK 132Z | 26EMS54864
395 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors, HBRD CUT1, HBRD CUT2 | 26EMS54865
396 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnector: COSR SW1 | 26EMS54866
397 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnector: HSTNN-CDWL 070t2 | 26EMS54867
398 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: CHIP CUT1, CHIP CUT2 | 26EMS54868
399 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: CDWL 103B, CDWL 131X Updated disconnector: CDWL 103B_OLD | 26EMS54869
400 | IPCO_BA | Substation\Load - ADDED NEW SUBSTATION WITH TWO POI CONNECTIONS TO TWO SOLAR SITES. 4 SOLAR UNITS TOTAL | 26EMS54870
401 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: BKFT 102B, BKFT 103B, BKFT 103C, BKFT 104X, BKFT 105X, BKFT 105Y, BKFT 131X, BKFT 132X Added breaker: BKFT 103A | 26EMS54871
402 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors: AMPO 101X, AMPO 131F | 26EMS54872
403 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added disconnectors:BKSR 205C,BKSR 204B,BKSR 204X,BKSR 206C,BKSR 205A,BKSR 206B,BKSR 206A,BKSR 203X,BKSR 202A,BKSR 203B,BKSR 204C,BKSR 205B,BKSR 202C,BKSR 204A, | 26EMS54873
404 | IPCO_BA | Transmission Line - Added ACLineSegments: BKSR-HBRD, BKSR-CHIP | 26EMS54874
405 | IPCO_BA | Generator - CAISO & Reporting: BKS1_2_SOLAR: Aggregate Resource ID for Clean Energy Your Way PPA with combined 320 MW solar BKS1_2_SOLAR1: child resource ID for 160 MW behind POI 1 BKS1_2_SOLAR2: child resource ID for 160 MW behind POI 2 BKS2_2_SOLAR: Aggregate Resource ID for standard PPA with combined 80 MW solar BKS2_2_SOLAR1: child resource ID for 40 MW behind POI 1 BKS2_2_SOLAR2: child resource ID for 40 MW behind POI 2 | 26EMS54875
406 | IPCO_BA | Contingency Definition - NEW/CHANGE CONTINGENCY | 26EMS54876
407 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FERC881 Dynamic MVA. | 26EMS54877
408 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 26EMS54878
409 | IPCO_BA | - CIM export of IPCO_BA FNM. | 26EMS54879
410 | LDWP_BA | Substation\Load - Update Synchronous Machine Reactive Capability. Delete retired GRAY generation | 26EMS54613
411 | LDWP_BA | Substation\Load - For use with 26M8_LADWP_OpenNet_EIM_20260520_a.xml | 26EMS54614
412 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54458
413 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54459
414 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54460
415 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54461
416 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54462
417 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54463
418 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54464
419 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54465
420 | NEVP_TOP | Transmission Line - New 120kV line to NEWTON | 26EMS54466
421 | NEVP_TOP | Transmission Line - New 120kV line to NEWTON | 26EMS54467
422 | NEVP_TOP | Substation\Load - New 120kV substation | 26EMS54468
423 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54469
424 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP | 26EMS54470
425 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated disconnect | 26EMS54471
426 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Switch additions and removals, temporary clearance jumpers | 26EMS54396
427 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 disconnect. Add CB B2301 and associated disconnects | 26EMS54124
428 | PAC_TOP | Transmission Line - Add new line to PARRYTP | 26EMS54125
429 | PAC_TOP | Substation\Load - Add new station and line to ELMONTE | 26EMS54126
430 | PAC_TOP | Transmission Line - Add new line to UINTAH | 26EMS54127
431 | PAC_TOP | Substation\Load - Add new station and line to WEBER | 26EMS54128
432 | PAC_TOP | Generator - Add new station and generation (BESS) | 26EMS54129
433 | PAC_TOP | Substation\Load - Add new station | 26EMS54130
434 | PAC_TOP | Substation\Load - Add new station | 26EMS54131
435 | PAC_TOP | Transmission Line - Remove 1 disconnect and add a new line to SOGDEN | 26EMS54132
436 | PAC_TOP | Substation\Load - Add new station and line to RIVERDAL | 26EMS54133
437 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Add 1 breaker, 1 disconnect, and 1 shunt cap | 26EMS54134
438 | PAC_TOP | Generator - Add 2 breakers, 3 disconnects, 1 XFMR, and 1 generator (Thermal) | 26EMS54135
439 | PAC_TOP | Substation\Load - Add 3 breakers, 4 disconnects, and a load | 26EMS54136
440 | PAC_TOP | Substation\Load - Add 2 breakers. Update name for LD WILCRK to LD T2 and update scheduled load values. | 26EMS54137
441 | PAC_TOP | Generator - Update MVAR measurements for Units 1 and 2 | 26EMS54138
442 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 breaker and 2 disconnects | 26EMS54139
443 | PAC_TOP | Transmission Line - Add 2 disconnects and line to BRIDGERL | 26EMS54140
444 | PAC_TOP | Transmission Line - Add 3 breakers, 5 disconnects, and line to SMITHFIE | 26EMS54141
445 | PAC_TOP | Transmission Line - Add 2 switches and line to FREMONTU | 26EMS54142
446 | PAC_TOP | Transmission Line - Add 2 switches and line to FREMONTU | 26EMS54143
447 | PAC_TOP | Generator - Add new station and generation (Solar and BESS) | 26EMS54144
448 | PAC_TOP | Substation\Load - Add new station and lines to PAROWANC and PIUTEMOB | 26EMS54145
449 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 4 breakers, 4 disconnects, and line to WHETSTO | 26EMS54147
450 | PGE_BA | - PGE Shapefile | 26EMS54236
451 | PGE_BA | Substation\Load - Add Mobile 7 | 26EMS54237
452 | PGE_BA | Substation\Load - Remove the whole Convanta substation and line switch 5752, 5737 | 26EMS54238
453 | PGE_BA | Transmission Line - Update the branch ratings due to switches replacement | 26EMS54239
454 | PGE_BA | Transmission Line - Update the branch ratings due to switches replacement | 26EMS54240
455 | PGE_BA | Transformer - Add Evergreeen VWR1 | 26EMS54241
456 | PGE_BA | Transmission Line - Rename three branch numbers | 26EMS54242
457 | PGE_BA | Transformer - Remove from side measurements on STMW_VWR71330 | 26EMS54243
458 | PGE_BA | Substation\Load - Add Mobile 8 | 26EMS54244
459 | PGE_BA | RC Data Gathering Template_DB142 - Tab 6.10/6.13/6.23 for extra data submission | 26EMS54245
460 | PGE_BA | Contingency Definition - Contingency defination update | 26EMS54246
461 | PGE_BA | - List of ICCP points mapping | 26EMS54247
462 | PGE_BA | - Model Difference report | 26EMS54248
463 | PGE_BA | - Model Updates for PGE: CIMXML model file | 26EMS54249
464 | PGE_TOP | SHWD | 26EMS54048
465 | PNM_BA | Substation\Load - Changed switch name for ICCP 68961 to 68965 | 26EMS53179
466 | PNM_BA | Substation\Load - Changed switch name 68961 to 68965 | 26EMS53180
467 | PNM_BA | Generator - Gonzo PV_CS | 26EMS53181
468 | PNM_BA | Breaker(s)\ Disconnect(s) - Gonzo BKR | 26EMS53182
469 | PNM_BA | Transmission Line - Renamed the WW Series Comp. The new name is CZ 345kV S_Comp | 26EMS53183
470 | PNM_BA | Transmission Line - Renamed the FW Series Comp. The new name is PINT-RIPU1 S_Comp | 26EMS53184
471 | PNM_BA | Substation\Load - Add SJNORTH load Foxtail Aux | 26EMS53961
472 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SCENIC Breaker SN1056S | 26EMS53962
473 | PNM_BA | Generator - Addition of Homewise Project PV, a 4.95 MW solar plant, to Scenic Substation. | 26EMS53963
474 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SJNORTH Breaker 52L2 | 26EMS53964
475 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SJNORTH Breaker 52L1 | 26EMS53965
476 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SJNORTH Disconnect 89L2-2 | 26EMS53966
477 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SJNORTH Disconnect 89L2-1 | 26EMS53967
478 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SJNORTH Disconnect 89L1-1 | 26EMS53968
479 | PNM_BA | Substation\Load - Add TAOS MESA load KCEC Amalia Fdr1 | 26EMS53969
480 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TAOS MESA Breaker Amalia Sub BKR | 26EMS53970
481 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TAOS MESA Breaker Amalia II Main BKR | 26EMS53971
482 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TAOS MESA Breaker Amalia II PV BKR | 26EMS53972
483 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TAOS MESA Breaker Amalia II BESS BKR | 26EMS53973
484 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TAOS MESA Breaker Amalia Fdr2 BKR | 26EMS53974
485 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TAOS MESA Breaker Amalia Fdr1 BKR | 26EMS53975
486 | PNM_BA | Generator - Addition of Amalia II BESS, a 13.5 MW battery storage plant, to Taos 69kV Substation. | 26EMS53976
487 | PNM_BA | Generator - Addition of Amalia II PV, a 10.8 MW solar plant, to Taos 69kV Substation. | 26EMS53977
488 | PNM_BA | Transmission Line - Submitting ICCP SCADA Mapping Template | 26EMS54065
489 | PNM_BA | Transmission Line - Update PNM TCOR Definitions | 26EMS54199
490 | PNM_BA | Generator - Updates to capability curves | 26EMS54315
491 | PSCO_TOP | Generation and Load Topology Update At CEPT station | 26EMS54599
492 | PSEI_BA | Breaker(s)\ Disconnect(s) - FRS CB 1332 is default to OPEN in CAISO's day-ahead environment, but should default to close. | 26EMS54385
493 | SCL_BA | Generator - Generator D-Curve updates in reponse to RC Data Request. Full resubmission of new seasonal SOL template for all system lines for the Spring, Summer and Winter operating seasons. | 26EMS54619
494 | SNPD_TOP | Transmission Line - Updated line ratings | 26EMS53185
495 | SPP_RC | SPP Incremental Updates for DB142 | 26EMS50878
496 | SRP | HGMA BA has been absorbed into SRP BA, modeling needs to be updated to reflect this. | 26EMS51412
497 | SRP_BA | RAS SCHEME ICCP - ICCP IDs for Mesquite RAS scheme | 26EMS53790
498 | SRP_BA | - Scope Document | 26EMS54844
499 | SRP_BA | - Contingency definition | 26EMS54845
500 | SRP_BA | - Scope Document | 26EMS54846
501 | SRP_BA | - Data Gathering Template Worksheet | 26EMS54847
502 | SRP_BA | - Full Network Model File | 26EMS54848
503 | SRP_BA | - Network Model ICCP List | 26EMS54849
504 | SRP_BA | - Contingency List File | 26EMS54850
505 | SRP_BA | Transmission Line - Cooley, Mobile 11, Code Valley Lines added | 26EMS54851
506 | SRP_BA | Substation\Load - New Morong Sub, Byte Bridge Loads for Code Valley Station | 26EMS54852
507 | SRP_BA | Generator - Converting from Hybrid Units to Co-Located Units | 26EMS54853
508 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 500, 230, and 69 kV Breakers/Disconnects | 26EMS54854
509 | TEPC_TOP | Transmission Line - Vail to Greenlee express line cut in at Winchester, removing double modeling needed for simultanious operation | 26EMS54387
510 | TEPC_TOP | Transformer - Excess devices removed off of Westwing that were missed during the T7 removal | 26EMS54388
511 | TEPC_TOP | Substation\Load - New substation: Rio Rico | 26EMS54389
512 | TSGT_TOP | Transmission Line - Rating Update | 26EMS53178
513 | TSGT_TOP | - ICCP Mapping | 26EMS54610
514 | WALC_TOP | Breaker(s)\ Disconnect(s) - Remove Marana Disconnects MRN 161, MRN 261, and MRN 361 | 26EMS54390
515 | WALC_TOP | Substation\Load - Remove Marana Tap and cleanup W_Marana station. | 26EMS54391
516 | WALC_TOP | Substation\Load - pfixed & qfixed values provided in the RC Data Gathering Template. The model is provided by SRP | 26EMS54392
517 | WALC_TOP | Breaker(s)\ Disconnect(s) - Disconnect 1161 status updated to normally closed in FNM | 26EMS54393
518 | WALC_TOP | Generator - D-Curves update for multiple generators | 26EMS54394