## Version_History
FNM Scope for FNM DB24M10
(Production 10/23/2024)
Revision History – Final Scope: 8/21/2024, Late Model Scope Change Request Deadline: 9/16/2024
Effective Date | Version | Description
2024-08-21 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2024-10-22 | 2 | Add additional information
2024-10-24 | 3 | Remove three EIM_RC projects 24EMS38390, 24EMS38503, 23EMS31677
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | SHAFTR_1_HWYSR1 | Highway 43 | 24GEN37844 | 2.25 | SHAFTER 115 KV BUS | New Solar resource
2 | PGAE | WEEDPC_6_KNSSR1 | Kern Sunset | 24GEN37845 | 2.37 | WHEELER RIDGE 70 KV BUS | New Solar resource
3 | PGAE | WASCO_6_TERSR1 | Terry | 24GEN37935 | 4.62 | WASCO 70KV BUS | New Solar resource
4 | PGAE | CHARCA_1_NGLSR1 | Nachtigall | 24GEN37936 | 4.62 | Charca 115 kV E Bus | New Solar resource
5 | PGAE | TWISSL_6_PRDSR1 | Pistachio Road | 24GEN37937 | 4.75 | Arco 70 kV E Bus | New Solar resource
6 | PGAE | BLCKWL_6_BTFBT1 | BTF Storage DIDF | 24NGR33683 | 2 | BLACKWELL 70kV Bus | New Non-Generation resource
7 | SCE | RSMNDS_2_RSESR1 | Rosamond South East | 15AS884232 | 100 | WHIRLWIND 230 KV BUS | New Solar resource
8 | SCE | SLST34_2_SS3BT1 | Solar Star 3 | 16AS0059 | 23 | WHIRLWIND 230 KV BUS | New Storage resource
9 | SCE | SLST34_2_SS4BT1 | Solar Star 4 | 16AS0060 | 23 | WHIRLWIND 230 KV BUS | New Non-Generation resource
10 | SCE | RSMNDS_2_CSRSR1 | Cyclone Solar | 16AS0118 | 30 | WHIRWD 230KV BUS | New Solar resource
11 | SCE | BELLEF_2_BSFSX3 | Bellefield Solar Farm | 18AS2038 | 500 | WINHUB 230kV | New aggregate Solar resource: CHILD_RES_ID: BELLEF_2_BSFSR1, Capacity: 100 MW CHILD_RES_ID: BELLEF_2_BSFSR2, Capacity: 200 MW CHILD_RES_ID: BELLEF_2_BSFSR3, Capacity: 200 MW
12 | SCE | BARRE_2_SBBSR1 | Seal Beach PV | 24GEN35315 | 10 | BARRE 230KV BUS | New Solar resource
13 | SCE | VICTOR_1_SDRSR1 | Snowline Duncan Road North | 24GEN35750 | 1.5 | VICTOR 115KV BUS | New Solar resource
14 | SCE | VICTOR_1_SDRSR2 | Snowline Duncan Road South | 24GEN35751 | 1 | VICTOR 115KV BUS | New Solar resource
15 | SCE | VICTOR_1_SWRSR1 | Snowline White Road Central | 24GEN35752 | 1.5 | VICTOR 115KV BUS | New Solar resource
16 | SCE | VICTOR_1_SWRSR2 | Snowline White Road North | 24GEN35753 | 1.5 | VICTOR 115KV BUS | New Solar resource
17 | SCE | VICTOR_1_SWRSR3 | Snowline White Road South | 24GEN35754 | 1.5 | VICTOR 115KV BUS | New Solar resource
18 | SCE | HINSON_2_CTCSR1 | Carson Town Center 1 | 24GEN36646 | 0.68 | HINSON 230kV Bus | New Solar resource
19 | SCE | LAGBEL_2_CDCSR1 | Commerce Dis Ctr 4 | 24GEN36647 | 1.24 | LAGUNA BELL 230 KV BUS | New Solar resource
20 | SCE | LAGBEL_2_EDCSR1 | Eaves Dis Ctr 1 | 24GEN36648 | 0.68 | LAGUNA BELL 230 KV BUS | New Solar resource
21 | SCE | LGHTHP_2_SBDSR2 | South Bay Dis Ctr 6 | 24GEN36649 | 1.38 | LIGHTHIPE 230KV BUS | New Solar resource
22 | SCE | LGHTHP_2_SBDSR1 | South Bay Dis Ctr 20 | 24GEN36650 | 1.32 | LIGHTHIPE 230KV BUS | New Solar resource
23 | SCE | LAGBEL_2_EDCSR2 | Eaves Dis Ctr 3 | 24GEN36651 | 0.67 | LAGUNA BELL 230 KV BUS | New Solar resource
24 | SCE | RSMNDS_2_CSRSR2 | Cyclone Solar Rosamond South I PV3 | 24GEN37261 | 10 | WHIRWD 230KV BUS | New Solar resource
25 | SCE | SLST34_2_SS3SR1 | Solar Star 3 PV | 24GEN37495 | 24 | WHIRLWIND 230 KV BUS | New Solar resource
26 | SCE | SLST34_2_SS4SR1 | Solar Star 4 PV | 24GEN37496 | 24 | WHIRLWIND 230 KV BUS | New Solar resource
27 | SCE | BELLEF_2_BSFBX3 | Bellefield Solar Farm BESS | 24NGR31020 | 500 | WINHUB 230kV | New aggregate Non-Generation resource: CHILD_RES_ID: BELLEF_2_BSFBT1, Capacity: 100 MW CHILD_RES_ID: BELLEF_2_BSFBT2, Capacity: 200 MW CHILD_RES_ID: BELLEF_2_BSFBT3, Capacity: 200 MW
28 | SCE | BARRE_2_SBBBT1 | Seal Beach BESS | 24NGR35316 | 10 | BARRE 230KV BUS | New Non-Generation resource
29 | SCE | RSMNDS_2_RSEBT1 | Rosamond South East BESS 2 | 24NGR35377 | 92 | WHIRLWIND 230 KV BUS | New Non-Generation resource
30 | SCE | RSMNDS_2_CSRBT1 | Cyclone Solar Rosamond South I BESS 1 | 24NGR35397 | 15 | WHIRWD 230KV BUS | New Non-Generation resource
31 | SCE | RSMNDS_2_CSRBT2 | Cyclone Solar Rosamond South I BESS 3 | 24NGR35399 | 10 | WHIRWD 230KV BUS | New Non-Generation resource
32 | SDGE | BORDER_6_LTMBT1 | Lithium | 21PREC16926 | 52 | BORDER 69 KV BUS | New Non-Generation resource
33 | SDGE | BORDER_6_LTMCT1 | Lithium Unit 1 | 23GEN31107 | 52 | BORDER 69 KV Bus | New Conventional resource
34 | SDGE | BREGGO_6_DSEBT1 | Dark Sky Energy Center | 24NGR34103 | 7.33 | BORREGO 69 KV BUS | New Non-Generation resource
35 | SDGE | MCFLND_5_MSCBT1 | McFarland Solar C | 24NGR37039 | 185 | HDWASH 500 KV BUS | New Non-Generation resource
36 | PGAE |  | AKINGS_6_AMESR1 | 23RIG31929 | 123 |  | RIG Reconfiguration
37 | PGAE |  | Central 40 RIG Reconfiguration | 23RIG33295 | 40 |  | RIG Reconfiguration
38 | PGAE |  | Woodland Bio Mass Power RIG Replacement 2024 | 24RIG35919 | 25 |  | RIG Reconfiguration
39 | SCE |  | Longboat Solar LBRIG2024 | 24RIG36276 | 20 |  | RIG Reconfiguration
40 | SDGE |  | Goal Line; U1; Rig replacement | 24RIG35841 | 49.9 |  | RIG Reconfiguration
41 | SDGE |  | Gateway Energy Storage System | 24RIG36374 | 250 |  | RIG Reconfiguration
42 | SDGE |  | ENERGIA SIERRA JUAREZ WIND | 24RIG38504 | 155.1 |  | RIG Reconfiguration
43 | SDGE |  | ENERGIA SIERRA JUAREZ WIND 2 | 24RIG38505 | 108 |  | RIG Reconfiguration
44 | SDGE |  | Termoelectrica de Mexicali RIG IP Update | 24RIG38506 | 625 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | LSPG | 24TRANS37452 | Orchard Substation | ET5392
2 | PGAE | 19TRANS9238 | Reconductor - Stan-Melones-Manteca #1 | ET4135
3 | PGAE | 21TRANS20383 | Replace Carbona Bank 2 | ET4862
4 | PGAE | 22TRANS20884 | El Cerrito G: 115kV BAAH Bay 4 | ET4879
5 | PGAE | 22TRANS21007 | North Dublin ¿ Cayetano 230kV Line Reconductor LDNU (EGI) | ET4885
6 | PGAE | 22TRANS21065 | Contra Costa PP 230 kV Line Terminals Reconfiguration Project | ET4890
7 | PGAE | 22TRANS21065 | Contra Costa PP 230 kV Line Terminals Reconfiguration Project | ET4891
8 | PGAE | 22TRANS21278 | Key Storage 1 Generation Interconnection Project (Q1479) | ET4933
9 | PGAE | 22TRANS21278 | Key Storage 1 Generation Interconnection Project (Q1479) | ET4934
10 | PGAE | 24TRANS34613 | Manteca: Replace 115kV Switches 163 & 173 | ET5321
11 | PGAE | 24TRANS38402 | Cottonwood: EM Replace BK1 230/115KV | ET5406
12 | SCE | 15TRANS874077 | Upgrade Eldorado-Lugo-Mohave 500 kV T/L Series Cap and Terminal Equipment (Multiple Locations) | ET4661
13 | SCE | 15TRANS874077 | Upgrade Eldorado-Lugo-Mohave 500 kV T/L Series Cap and Terminal Equipment (Multiple Locations) | ET5265
14 | SCE | 15TRANS874077 | Upgrade Eldorado-Lugo-Mohave 500 kV T/L Series Cap and Terminal Equipment (Multiple Locations) | ET5405
15 | SCE | 24TRANS37341 | Cielo Azul Substation | ET5384
16 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5393
17 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5394
18 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5395
19 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5396
20 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5397
21 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5398
22 | SCE | 24TRANS37454 | Redondo Sub and Transmission Line Reconfiguration | ET5399
23 | SDGE | 17TRANS6482 | TL698 Monserate - Avocado Wood to Steel | ET3307
24 | SDGE | 24TRANS38885 | Reconductor TL 605 Silvergate - Urban | ET5407

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | Contingency Definition - Avista reviewed contingency list for errors and ommissions after one was found by CAISO OE. This list includes additions and removals to existing contingencies only that correct errors. The check was done for all contingencies relevant to the state of the network model in DB130. (For example, that is why several LOLO breakers show as remove). "New" represents new equipment being added to existing contingency. "Remove" represents equipment that should be removed from existing contingency. | 24EMS37695
2 | AVA_BA | RAS - Avista had email communication with Sanjeev Ramakrishnan, Mark Rabena, and others about issues with ICCP arming status and questions about Clark Fork RAS Operation. Avista responded with an email detailing the RAS operations and a suggestion to change which RAS Arming points are used. These 6 arming points are the ones the operator directly arms during relevant system conditions, and should be more reliable and true-to-life than the automatic WMH trigger used previously. Please reach out to daniel.murphy@avistacorp.com and rich.hydzik@avistacorp.com with questions. | 24EMS37696
3 | AVA_BA | - ICCP mapping to AVA CIM model | 24EMS38602
4 | AVA_BA | - Note: the ratings in this submittal are FALL = High1/High2, and WINTER = High3/High4 | 24EMS38603
5 | AZPS_BA | - Variance for Voltage Monitoring of Busbars | 24EMS38528
6 | AZPS_BA | Topology fix for APS station YL (YALE) | 24EMS39629
7 | AZPS_BA | Update SERX Impedances | 24EMS39709
8 | AZPS_TOP | Contingency Definition - Updated contingency definition | 24EMS38292
9 | AZPS_TOP | Transmission Line - Updated the impedance of Line_CC-LSS_230KV | 24EMS38293
10 | AZPS_TOP | Generator - Added generators SERX PV A 34.5KV & SERX BESS A 34.5KV | 24EMS38294
11 | AZPS_TOP | Substation\Load - Added substation BUP | 24EMS38295
12 | AZPS_TOP | Substation\Load - Added substation MKCDRTP | 24EMS38296
13 | AZPS_TOP | Substation\Load - Added substation BREX | 24EMS38297
14 | AZPS_TOP | Substation\Load - Added substation SERX | 24EMS38298
15 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added shunt capacitor banks CIG CB14 A 12KV & CIG CB22 A 12KV | 24EMS38299
16 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added shunt capacitor banks HF CB11 A 69KV & HF CB12 A 69KV | 24EMS38300
17 | AZPS_TOP | Transformer - Added transformers CIG XFMR11 A 12KV, CIG XFMR19 A 12KV, & CIG XFMR3 A 12KV | 24EMS38301
18 | AZPS_TOP | Transformer - Added transformers BUP XFMR10 A 12KV & BUP XFMR20 A 12KV | 24EMS38302
19 | AZPS_TOP | Transformer - Added transformer SERX XFMR1 A 34.5KV | 24EMS38303
20 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches RW1455, RW1457, RW1157, & RW1253 | 24EMS38304
21 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches RT1641D, RT1641D. & RT741J | 24EMS38305
22 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switch MQ261 | 24EMS38306
23 | AZPS_TOP | Substation\Load - Added loads CIG FDR10 A 12KV, CIG FDR12 A 12KV, CIG FDR13 A 12KV, CIG FDR17 A 12KV, CIG FDR18 A 12KV, CIG FDR2 A 12KV, CIG FDR20 A 12KV, CIG FDR21 A 12KV, and CIG FDR9 A 12KV | 24EMS38307
24 | AZPS_TOP | Substation\Load - Added load AVYT FDR4 A 12KV | 24EMS38308
25 | AZPS_TOP | Substation\Load - Added loads TTH FDR10 A 12KV and TTH FDR5 A 12KV | 24EMS38309
26 | AZPS_TOP | Substation\Load - Added loads BUP FDR3 A 12KV, BUP FDR4 A 12KV, and BUP FDR5 A 12KV | 24EMS38310
27 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches CIG1442, CIG2242, CIG1042, CIG1242, CIG1342, CIG1742, CIG1842, CIG242, CIG2042, CIG2142, CIG942, CIG1142, CIG1942, CIG342, CIG041J, CIG1441F, CIG2241F, CIG1541J, CIG1041D, CIG1043D, CIG1241D, CIG1243D, CIG1341D, CIG1343D, CIG1741D, CIG1743D | 24EMS38311
28 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches SNV2762, SNV3063, SNV3061, SNV2863, SNV2861, SNV2763, & SNV2761 | 24EMS38312
29 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches HF1162, HF1262, HF1161, & HF161 | 24EMS38313
30 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches TTH1042, TTH1041D, & TTH1043D | 24EMS38314
31 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches SAR362, SAR562, SAR361, SAR363, SAR563, & SAR561 | 24EMS38315
32 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches HUB362 & HUB363 | 24EMS38316
33 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches BK1562, BK1561, & BK1563 | 24EMS38317
34 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added BW1143J | 24EMS38318
35 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Updated MVAR Rating of JVX CB1 A 34.5KV | 24EMS38319
36 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Removed WLS CB3 A 69KV | 24EMS38320
37 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed ENK6657 | 24EMS38321
38 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed WZU6814 | 24EMS38322
39 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed POPK2451 | 24EMS38323
40 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed FAL762, FAL761, and FAL763 | 24EMS38324
41 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed SG1122, SG1121, and SG1123 | 24EMS38325
42 | AZPS_TOP | Generator - Added 525KVBESS A and 525KVPV A | 24EMS38326
43 | AZPS_TOP | Generator - Added 525KVBESS A | 24EMS38327
44 | AZPS_TOP | Generator - Added 34.5KVBESS2 A and 34.5KVBESS1 A | 24EMS38328
45 | AZPS_TOP | Substation\Load - Added HAVX | 24EMS38329
46 | AZPS_TOP | Substation\Load - Added HQSX | 24EMS38330
47 | AZPS_TOP | Substation\Load - Added PPGX | 24EMS38331
48 | AZPS_TOP | Substation\Load - Added LTNT | 24EMS38332
49 | AZPS_TOP | Substation\Load - Added WVR TAP | 24EMS38333
50 | AZPS_TOP | Transformer - Added HAVX XFMR1 A 34.5KV and HAVX XFMR2 A 34.5KV | 24EMS38334
51 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added CH1265 | 24EMS38335
52 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added WP1649D and WP1648D | 24EMS38336
53 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added WLS363 | 24EMS38337
54 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added POPU2451 | 24EMS38338
55 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added HEK6719 | 24EMS38339
56 | AZPS_TOP | Substation\Load - Added LTNT LTNTX EQL 69KV | 24EMS38340
57 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added RW652, RW952, RW651, RW653, RW951 and RW453 | 24EMS38341
58 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added HAVX52-X1, HAVX52-X2, HAVX89-L1, and HAVX89-L2 | 24EMS38342
59 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added HQSX52-U3, HQSX52-L1, HQSX52-U2, HQSX52-U1, HQSX89-B1, HQSX89-T3, HQSX89-L1, HQSX89-T2, and HQSX89-T1 | 24EMS38343
60 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added PPGX52-T1, PPGX52-T2, PPGX89-L1, PPGX89-T2, and PPGX89-T1 | 24EMS38344
61 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added LTNT163, LTNT164, LTNT162, and LTNT161 | 24EMS38345
62 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added WZ962, WZ961, and WZ963 | 24EMS38346
63 | AZPS_TOP | Transmission Line - Added Line_DLN-HQSX_500KV | 24EMS38347
64 | AZPS_TOP | Transmission Line - Added Line_DLN-PPGX_500KV | 24EMS38348
65 | AZPS_TOP | Transmission Line - Added Line_SCW-HAVX1_230KV | 24EMS38349
66 | AZPS_TOP | Transmission Line - Added Line_SCW-HAVX2_69KV | 24EMS38350
67 | AZPS_TOP | Transmission Line - Added Line_WLS-FDM_69KV | 24EMS38351
68 | AZPS_TOP | Transmission Line - Added Line_PM-WZ_69KV | 24EMS38352
69 | AZPS_TOP | Transmission Line - Added Line_FAL-LTNT_69KV | 24EMS38353
70 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches BUP146, BUP942, BUP746, BUP742, BUP846, BUP842, BUP346, BUP342, BUP446, BUP442, BUP546, BUP542, BUP646, BUP642, BUP562, BUP362, BUP762, BUP146 RD, BUP942 RD, BUP746 RD, BUP742 RD, BUP846 RD, BUP842 RD, BUP346 RD, BUP342 RD, BUP446 RD, BUP44 | 24EMS38354
71 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches BREX52-T1 and BREX89-T1 | 24EMS38355
72 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches RAB856, RAB954, RAB857, and RAB855 | 24EMS38356
73 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switches SERX52-T1, SERXPV BKR, SERX89-L1, and SERXBESS BKR | 24EMS38357
74 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added switch DSN862 | 24EMS38358
75 | AZPS_TOP | Transmission Line - Added lines Line_BK-HUB_69KV, Line_WW-BUP_69KV, Line_MCM-BUP_69KV, Line_BREX-RAB_500KV, Line_RAB-MKCDRTP_500KV, and Line_SERX-SG_230KV | 24EMS38359
76 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch DSN161 | 24EMS38360
77 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch BW1143 | 24EMS38361
78 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switches SG1711, SG911, SG913, and SG914 | 24EMS38362
79 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch DBN841D | 24EMS38363
80 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch AIC TAPK7367 | 24EMS38364
81 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switches SDG561 and SDG563 | 24EMS38365
82 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switches WDK6718, WDK6719, and WDU6714 | 24EMS38366
83 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switches SAR361, SAR363, SAR561, and SAR563 | 24EMS38367
84 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switches RW1157, RWDELETE, RW1457, & RW1253 | 24EMS38368
85 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch MQ261F | 24EMS38369
86 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch HEK6720 | 24EMS38370
87 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch OC561 | 24EMS38371
88 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch EN561 | 24EMS38372
89 | AZPS_TOP | Substation\Load - Remove loads CIG XFMR11EL 69KV, CIG XFMR19EL 69KV, & CIG XFMR3 EL 69KV | 24EMS38373
90 | AZPS_TOP | Substation\Load - Remove load AVYT FDR4 A 12KV | 24EMS38374
91 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switch SG912 | 24EMS38375
92 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Remove switches SAR362 & SAR562 | 24EMS38376
93 | AZPS_TOP | Transmission Line - Remove lines Line_S6-WW_69KV & Line_WD-HE_69KV | 24EMS38377
94 | AZPS_TOP | Contingency Definition - Updated Contingencies | 24EMS39319
95 | AZPS_TOP | Substation\Load - Added station | 24EMS39320
96 | AZPS_TOP | Substation\Load - Added station | 24EMS39321
97 | AZPS_TOP | Substation\Load - Added station | 24EMS39322
98 | AZPS_TOP | Substation\Load - Added station | 24EMS39323
99 | AZPS_TOP | Substation\Load - Added 69KVCB1 A, 69KVCB9 A | 24EMS39324
100 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added SFR CB15 A 69KV | 24EMS39325
101 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added 69KVCB15 A | 24EMS39326
102 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added 34.5KVCB1 A | 24EMS39327
103 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added BMT CB9 A 69KV | 24EMS39328
104 | AZPS_TOP | Transformer - Added 12KV_XFMR3 A69KV, 12KV_XFMR11 A69KV | 24EMS39329
105 | AZPS_TOP | Transformer - Added XFMR9 A 230KV. XFMR6 A 230KV | 24EMS39330
106 | AZPS_TOP | Transformer - Added XFMR4 A 230KV, XFMR1 A 230KV | 24EMS39331
107 | AZPS_TOP | Transformer - Added SFR XFMR20 A 12KV, SFR XFMR30 A 12KV | 24EMS39332
108 | AZPS_TOP | Transformer - Added WAG XFMR20 A 12KV, WAG XFMR10 A 12KV | 24EMS39333
109 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added RW1551, RW1553, RW1253 | 24EMS39334
110 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added SNV2361 | 24EMS39335
111 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added FAL961, FAL963, FAL761, FAL763 | 24EMS39336
112 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added DESX35-CB1B | 24EMS39337
113 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added SG911, SG914, SG913 | 24EMS39338
114 | AZPS_TOP | Substation\Load - Added NY FDR12 A 12KV | 24EMS39339
115 | AZPS_TOP | Substation\Load - Added 12.47KVFDR2 A, 12.47KVFDR10 A | 24EMS39340
116 | AZPS_TOP | Substation\Load - Added SFR FDR24 A 12KV, SFR FDR23 A 12KV | 24EMS39341
117 | AZPS_TOP | Substation\Load - Added 12.47KVFDR4 A, 12.47KVFDR3 A | 24EMS39342
118 | AZPS_TOP | Substation\Load - Added 34.5KVBESSAUXA | 24EMS39343
119 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added BAL162, BAL762, BAL962, BAL1042, BAL242, BAL342, BAL1142, BAL161, BAL761, BAL763, BAL461, BAL861, BAL961, BAL563, BAL561, BAL1041D, BAL1043D, BAL243D, BAL241D, BAL341D, BAL1141D, BAL741J | 24EMS39344
120 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added GYR422, GYR722, GYR526, GYR622, GYR922, GYR826, GYR624, GYR924, GYR727, GYR724, GYR421, GYR423, GYR721, GYR723, GYR525, GYR527, GYR621, GYR623, GYR921, GYR923, GYR825, GYR827, GYR427, GYR424 | 24EMS39345
121 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added TVS622, TVS322, TVS526, TVS226, TVS422, TVS122, TVS621, TVS623, TVS321, TVS323, TVS525, TVS527, TVS225, TVS227, TVS421, TVS423, TVS121, TVS123 | 24EMS39346
122 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added SFR2442, SFR2446, SFR2342, SFR2346, SFR2942, SFR2146, SFR762, SFR1362, SFR1562, SFR1162, SFR2044, SFR2442 RD, SFR2446 RD, SFR2342 RD, SFR2346 RD, SFR3041J, SFR2041J, SFR2942 RD, SFR146 RD, SFR2043, SFR2043, SFR1461, SFR861, SFR763, SFR761, SFR1363, | 24EMS39347
123 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added WAG362, WAG642, WAG646, WAG542, WAG546, WAG442, WAG446, WAG342, WAG346, WAG842, WAG846, WAG742, WAG746, WAG146, WAG942, WAG861, WAG261, WAG363, WAG361, WAG563, WAG561, WAG2043J, WAG1043J, WAG2047, WAG1041, WAG642 RD, WAG646 RD, WAG542 RD, WAG546 RD, | 24EMS39348
124 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added SCW1362, SCW1361, SCW1363 | 24EMS39349
125 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added PWY226, PWY122, PWY322, PWY225, PWY227, PWY121, PWY123, PWY124, PWY324, PWY321, PWY323 | 24EMS39350
126 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added BMT962, BMT961 | 24EMS39351
127 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added DESX35-5, DESX35-CB1 | 24EMS39352
128 | AZPS_TOP | Transmission Line - Added BAL-TY, Line_SFR-FAL_69KV, Line_SFR-WD_69KV, SNV-WAG, Line_WZ-BUL_69KV, Line_PV-PWY_230KV, Line_PWY-TB_230KV, WT-TVS, RUX-GYR, TVS-GYR | 24EMS39353
129 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed WMK31_30X, WMK3114 | 24EMS39354
130 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed RW1553, RW1551, RW1251, RW953 | 24EMS39355
131 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed TVS266, TVS1166, TVS362, TVS365, TVS265, TVS267, TVS1165, TVS1167, TVS363 | 24EMS39356
132 | AZPS_TOP | Substation\Load - Removed Station | 24EMS39357
133 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed YMX35-3, YMX35-4, YMX35-1, YMX35-2 | 24EMS39358
134 | AZPS_TOP | Transmission Line - Removed Line_GC-TY_69KV, Line_WD-FAL_69KV, Line_TVS-BUL_69KV, Line_PV-TB_230KV | 24EMS39359
135 | BANC_BA | Transmission Line - Duplicate analog measurement removed. | 24EMS38667
136 | BANC_BA | Transmission Line - Line ratings updated | 24EMS38668
137 | BANC_BA | Breaker(s)\ Disconnect(s) - Remove D3252. | 24EMS38669
138 | BANC_BA | Transmission Line - Updating line ratings. | 24EMS38670
139 | BCHA_RC | Substation\Load - Deleted SKW | 24EMS38719
140 | BCHA_RC | Substation\Load - Added ATT | 24EMS38720
141 | BCHA_RC | Transmission Line - Added Line 1L364_6 | 24EMS38725
142 | BCHA_RC | Transmission Line - Added Line 6-L80_4 | 24EMS38726
143 | BCHA_RC | Substation\Load - Updated ICCP mapping file | 24EMS38727
144 | BPAT_BA | RAS - Fixed Summer/Spring rating limits for "VALH_HANN_1115_A" line input. | 24EMS37692
145 | BPAT_BA | RAS - Fixed flow to be bi-diretonal by enabling ABS flag. | 24EMS37693
146 | BPAT_BA | Transmission Line - Temp switches added for future line changes. One of the lines from MORWFLAT - HWY_730 230kV will change to LONGHORN - HWY_730 | 24EMS38697
147 | BPAT_BA | Substation\Load - New future bus with temp switches added. | 24EMS38698
148 | BPAT_BA | Transmission Line - New future 230kV lines added LNHR_HWAY_2230_A and LGWK_LNHR_1230_A | 24EMS38699
149 | BPAT_BA | Substation\Load - New Snohomish PUD substaion added. | 24EMS38700
150 | BPAT_BA | Contingency Definition - BPA Contingency List | 24EMS38701
151 | BPAT_BA | RAS - Due to line retermination RAS model was affected. | 24EMS39278
152 | BPAT_BA | Transmission Line - Fixed line configuration "LIBY_COKY_1230_CA" and added "LIBY_COKY_1230_CB" and temporary switches due to new modeling information. | 24EMS39401
153 | BPAT_TOP | Transmission Line - TOP Customer (if applicable) field added to the Faciliity and Line worksheets. TOP Customer and data steward notes added to the Overview worksheet. | 24EMS37924
154 | BPAT_TOP | Substation\Load - Contains equipment that was missing long name mapping (missing name list provided by CAISO). Please note BPA does not agree with CIM IDs listed. Appears the CIM IDs may be CAISO's generic CIM IDs? CAISO was supposed to have replaced their CIM IDs from BPA's CIM model. | 24EMS37926
155 | CEN_BA | Generator - Update Pmax of Genereting Unit GGR_6_UN-01 | 24EMS37691
156 | CEN_BA | Transmission Line - Substation LMA 161 kV | 24EMS38544
157 | CEN_BA | Transmission Line - Substation LMA 161 kV | 24EMS38545
158 | CEN_BA | Transmission Line - Substation LMA 161 kV | 24EMS38546
159 | CEN_BA | Substation\Load - Load in MOE | 24EMS38547
160 | CEN_BA | Substation\Load - Load in MOE | 24EMS38548
161 | CEN_BA | Substation\Load - Load in MOE | 24EMS38549
162 | CEN_BA | Substation\Load - ICCP References of SAF substation | 24EMS38550
163 | CEN_BA | Substation\Load - Eliminate Load in SVE | 24EMS38551
164 | CEN_BA | Substation\Load - Eliminate Load in SVE | 24EMS38552
165 | CHPD_BA | Transmission Line - Update rating for Wapato-Manson section of Chelan-Wapato line | 24EMS37531
166 | CHPD_BA | Generator - Periodic MOD-26/27 Generator modeling update for Rock Island Powerhouse 2 Unit U8 | 24EMS38616
167 | EPE_TOP | Substation\Load - Renamed OCB_5756B to GCB_5756B | 24EMS38553
168 | EPE_TOP | Substation\Load - Addition of Apollo_Load | 24EMS38554
169 | EPE_TOP | Substation\Load - Added KV measurment for T2 | 24EMS38555
170 | GRID_TOP | Breaker(s)\ Disconnect(s) - Update the equipment N.O/N.C status per CAISO request via email. Please see upload document (IRO-010_6.17 TAB) | 24EMS37798
171 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 3C-BUS | 24EMS38425
172 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 3C-G3 | 24EMS38426
173 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 3B-G3 | 24EMS38427
174 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 3B-CLRV | 24EMS38428
175 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 3A-CLRV | 24EMS38429
176 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 3A-BUS | 24EMS38430
177 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 2C-BUS | 24EMS38431
178 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 2C-DLNY | 24EMS38432
179 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 2B-DLNY | 24EMS38433
180 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 2B-G2 | 24EMS38434
181 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 2A-G2 | 24EMS38435
182 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 2A-BUS | 24EMS38436
183 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 1C-BUS | 24EMS38437
184 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 1C-F | 24EMS38438
185 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 1B-F | 24EMS38439
186 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 1B-G1 | 24EMS38440
187 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 1A-G1 | 24EMS38441
188 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add disconnect 1A-BUS | 24EMS38442
189 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB3C | 24EMS38443
190 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB3B | 24EMS38444
191 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB3A | 24EMS38445
192 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB2C | 24EMS38446
193 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB2B | 24EMS38447
194 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB2A | 24EMS38448
195 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB1B | 24EMS38449
196 | GRID_TOP | Breaker(s)\ Disconnect(s) - Add breaker GCB1A | 24EMS38450
197 | GRID_TOP | Transmission Line - Add Cielo Azul to G3 Transmission Line | 24EMS38451
198 | GRID_TOP | Transmission Line - Add Cielo Azul to G2 Transmission Line | 24EMS38452
199 | GRID_TOP | Transmission Line - Add Cielo Azul to G1 Trasmission Line | 24EMS38453
200 | GRID_TOP | Transmission Line - Add Cielo Azul to Delaney Transmission Line | 24EMS38454
201 | GRID_TOP | Transmission Line - Add Cielo Azul to Colorado River Transmission Line | 24EMS38455
202 | GRID_TOP | Station - Add new Cielo Azul Station | 24EMS38456
203 | GRID_TOP | Substation\Load - EPC file with the additon to Cielo Azul Station. | 24EMS38599
204 | GRID_TOP | Substation\Load - ICCP points for Cielo Azul | 24EMS38980
205 | HHWP | Updates at HOLMPH, KIRKWD, MOCCPH Station | 24EMS38994
206 | IID | Solution improvement around RAMON | 24EMS39389
207 | IID_TOP | Transmission Line - New ratings sheet to include updated ECSS Bank#4 ratings and ECSS Bank#5 ratings(now in service) | 24EMS37799
208 | IID_TOP | Transmission Line - New ratings sheet to updated ECSS Bank#4 ratings and ECSS Bank#5 ratings(now in service) | 24EMS37948
209 | IID_TOP | RC Data Gathering | 24EMS39156
210 | IPCO_BA | - Dynamic models have been updated for Bennet Mtn Unit 1, Hells Canyon Units 1-3, Langley Gulch Unit 1, and Oxbow Units 1-4. | 24EMS37949
211 | IPCO_BA | ICCP - Added ICCP IDs W034_A011472, W034_A011473, W034_A011474, W034_A011475, W034_A011476, W034_A011470, W034_A011471, W034_A011477, W034_A011478 for KABS Connection to BCSR, and new ELMR/MLBA Battery Sites | 24EMS39087
212 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removed HDSP 011X_MBE5 Disconnector with MBE6 Mobile XFMR Above | 24EMS39088
213 | IPCO_BA | Transformer - Removed HDSP MBE6 Mobile Transformer | 24EMS39089
214 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added JMP1 for NLTP-DRKE work | 24EMS39090
215 | IPCO_BA | Transmission Line - KUNA-KABS line to connect the KUNA Substn to the KABS Battery | 24EMS39091
216 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker(s) 012Z, 101A, 102A, and MBE_BKR. Added Disconnector(s) 101B, 101C, 102B, 102C. This is for the work needed for KABS Battery Above | 24EMS39092
217 | IPCO_BA | Generator - New KABS BSP1 Battery - Caiso Resource ID: KABS_1_BSP1 | 24EMS39093
218 | IPCO_BA | Substation\Load - New KABS Substation for Future Kuna Battery Install | 24EMS39094
219 | IPCO_BA | Transmission Line - Added line to connect new COVR Station to FILR. This station is non-BESS and has been added to the Network Model for internal loadshed training only. | 24EMS39095
220 | IPCO_BA | Transmission Line - Added line to connect new AMDM Station to FILR. This station is non-BESS and has been added to the Network Model for internal loadshed training only. | 24EMS39096
221 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker 011Z and Disconnectors CUT1/CUT2 for Mobile XFMR Installs/Work | 24EMS39097
222 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker 102A and Disconnectors 102B/102C for Future Line to KABS | 24EMS39098
223 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 24EMS39099
224 | IPCO_BA | - CIM export of IPCO_BA FNM. | 24EMS39100
225 | IPCO_BA | FRBS | 24EMS39203
226 | IPCO_BA | - Updates to REAL-TIME CONTINGENCY ANALYSIS (RTCA) for new COLE SUBSTN Energization | 24EMS39279
227 | IPCO_BA | Line parameters update for IPCO station RTSN | 24EMS39635
228 | IPCO_BA | Make LLCN and LLMW usage "Both" | 24EMS39806
229 | LDWP | Owens RAS Update | 24EMS35701
230 | LDWP | ELAND | 24EMS38982
231 | LDWP_BA | Substation\Load - Update Eland Measurement Names and MVAR Capability Curves | 24EMS37950
232 | LDWP_BA | Substation\Load - Update Eland Modeling and Node numbering | 24EMS37951
233 | LDWP_BA | Substation\Load - Update CB and Disconnect Normal Status | 24EMS37952
234 | LDWP_BA | Substation\Load - Update ICCP Mapping to remove reference to legacy points | 24EMS37953
235 | LDWP_BA | Contingency Definition - Update contingency definitions | 24EMS37954
236 | LDWP_BA | Transmission Line - remove SCA-OLY A (and B) | 24EMS38703
237 | LDWP_BA | Substation\Load - Update Eland Measurement Names and MVAR Capability Curves | 24EMS38704
238 | LDWP_BA | Substation\Load - Update Eland Modeling and Node numbering | 24EMS38705
239 | LDWP_BA | Substation\Load - Update CB and Disconnect Normal Status | 24EMS38706
240 | LDWP_BA | Substation\Load - Update ICCP Mapping to remove reference to legacy points | 24EMS38707
241 | NEVP_TOP | Transformer - Updated CIM measurement name for substation measurements | 24EMS38604
242 | NEVP_TOP | Transformer - Updated CIM measurement name for substation measurements | 24EMS38605
243 | NEVP_TOP | Transformer - Updated CIM Measurement | 24EMS38606
244 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement names for RTU replacement on the 230 kV bus | 24EMS38607
245 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38608
246 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38609
247 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38610
248 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38611
249 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38612
250 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38613
251 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated CIM measurement name for substation measurements | 24EMS38614
252 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updated ICCP and CIM measurement name for 2003 breaker addition | 24EMS38615
253 | NWMT | Add UCONS to units at CANFERRY | 24EMS38983
254 | NWMT_TOP | Transmission Line - Credible Multiple contingencies, addition of CHAFINWD sub, misc. switch updates | 24EMS38543
255 | NWMT_TOP | Substation\Load - Clarify Anaconda sub naming in WebOMS (IRO-010-6.23). | 24EMS38947
256 | PACE | Update Aeolus RAS | 24EMS37689
257 | PACW | Please add UCON alias name to the attached list of PACW breakers at SWIFT1 and SWIFT2 stations. | 24EMS37578
258 | PAC_TOP | Transformer - Update measurements for transformers 3 and 4 | 24EMS37408
259 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 24EMS37409
260 | PAC_TOP | Transmission Line - Add voltage measurements | 24EMS37410
261 | PAC_TOP | Substation\Load - Remove 46 kV yard | 24EMS37411
262 | PAC_TOP | Transmission Line - Remove 2 switches and lines to GRANTSVI, STANSBUR, and GRANTV T. Relocate line to LAKEPOIN | 24EMS37412
263 | PAC_TOP | Transmission Line - Remove 2 switches and line to GRANTV T | 24EMS37413
264 | PAC_TOP | Substation\Load - Remove station | 24EMS37414
265 | PAC_TOP | Substation\Load - Remove 46kV equipment and update load measurements for 138 LD T1 | 24EMS37415
266 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update measurements for 2 breakers | 24EMS37416
267 | PAC_TOP | Transmission Line - Add measurements for line to LITSNK | 24EMS37417
268 | PAC_TOP | Transmission Line - Remove measurements for line to AEOLUS | 24EMS37418
269 | PAC_TOP | Generator - Update scheduled voltages for units 4, 5, 6 | 24EMS37419
270 | PAC_TOP | Generator - Update scheduled voltages for units 1, 2, 3, and 4. Update capacity for Unit #3 to 290 MW | 24EMS37420
271 | PAC_TOP | Generator - Update scheduled voltages for units 1, 2, 3, and 4 | 24EMS37421
272 | PAC_TOP | Transmission Line - Update MVAR measurement for line to JIMBRIDG | 24EMS37422
273 | PAC_TOP | Transmission Line - Update MVAR measurement for line to RIVERTON$ | 24EMS37423
274 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update device names | 24EMS37424
275 | PAC_TOP | Substation\Load - Add voltage measurement for 345kV bus | 24EMS37425
276 | PAC_TOP | Transmission Line - Add voltage measurements for lines to BENLOMON and POPULUS | 24EMS37426
277 | PAC_TOP | Transmission Line - Add voltage measurement for line to MAYFLOWR | 24EMS37427
278 | PAC_TOP | Generator - Update MVAR Cap Curve and bus naming | 24EMS37428
279 | PAC_TOP | Generator - Update MVAR Cap Curve and bus naming | 24EMS37429
280 | PAC_TOP | Transmission Line - Update impedance for line to YELLOWCA | 24EMS37430
281 | PAC_TOP | Transmission Line - Add 2 switches and line to NORTONVI | 24EMS37431
282 | PAC_TOP | Transmission Line - Add 2 switches and line to NORTONVI | 24EMS37432
283 | PAC_TOP | Substation\Load - Add new station | 24EMS37433
284 | PAC_TOP | Transmission Line - Add 1 switch and line to ASHTONU | 24EMS37434
285 | PAC_TOP | Transmission Line - Add 2 switches and line to SARATOGA | 24EMS37435
286 | PAC_TOP | Transmission Line - Add 4 switches and 2 lines to SARATOGA and CARTER | 24EMS37436
287 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 7 breakers, 9 switches, and 3 lines to ASHTONU, SARATOTP, and JUMBERPT | 24EMS37437
288 | PAC_TOP | Transmission Line - Add 2 switches and line to JUMBERPT | 24EMS37438
289 | PAC_TOP | Substation\Load - Add new station | 24EMS37439
290 | PAC_TOP | Generator - Update unit MVAR limits and MVAR curve | 24EMS37938
291 | PAC_TOP | Generator - Update unit MVAR limits | 24EMS37939
292 | PAC_TOP | Generator - Update unit MVAR limits and MVAR curve | 24EMS37940
293 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removal of 1 breaker | 24EMS37941
294 | PAC_TOP | Substation\Load - Removal of 1 load | 24EMS37942
295 | PAC_TOP | Breaker(s)\ Disconnect(s) - Addition of 3 breakers | 24EMS37943
296 | PAC_TOP | Transformer - Update modelling for XFMR T1 | 24EMS37944
297 | PAC_TOP | Transmission Line - Addition of SCADA measurements for branch to TRAPPER | 24EMS37945
298 | PAC_TOP | Substation\Load - Update SCADA measurements for LD1 | 24EMS37946
299 | PAC_TOP | Substation\Load - Update SCADA measurements for LD CAMPW-1 | 24EMS37947
300 | PGE_BA | Transmission Line - Map SCADA keys for EVGN line 2 | 24EMS38556
301 | PGE_BA | Breaker(s)\ Disconnect(s) - Remap SCADA key for W264 | 24EMS38557
302 | PGE_BA | Transmission Line - Remap SHWD_TNQN_W12010 measurement | 24EMS38558
303 | PGE_BA | Transmission Line - Remap measurement to EVGN | 24EMS38559
304 | PGE_BA | Transmission Line - Remap measurement to EVGN | 24EMS38560
305 | PGE_BA | Substation\Load - Add Mobile 2 and line switch 11747 | 24EMS38561
306 | PGE_BA | Substation\Load - Add Memorial substation | 24EMS38562
307 | PGE_BA | Contingency Definition - contingency definition updates | 24EMS38563
308 | PGE_BA | - List of ICCP points mapping | 24EMS38564
309 | PGE_BA | - Model Difference report | 24EMS38565
310 | PGE_BA | - Model Updates for PGE: CIMXML model file | 24EMS38566
311 | PNM | SVC Double Modeling | 24EMS38817
312 | PNM | Fix PNM season Group dates | 24EMS39054
313 | PNM_BA | Substation\Load - Addition of pseudo switches around Randolph. Substation will be decommissioned DEC 2024 | 24EMS38492
314 | PNM_BA | Substation\Load - Addition of pseudo switches around Randolph. Substation will be decommissioned DEC 2024 | 24EMS38493
315 | PNM_BA | Generator - Updated the Capability Curves for both the Atrisco Solar and Battery site. | 24EMS38529
316 | PNM_BA | Transmission Line - Change of ICCP for Picacho PNM/EPE tieline | 24EMS38542
317 | PSCO_BA | Add missing loads to CABI | 24EMS39710
318 | PSEI_BA | Transmission Line - Name correction in WebOMS for sections on the Bremerton - US Navy 115kV line | 24EMS37934
319 | SMUD_TOP | Contingency Definition - Only upload the contingency list in BAAOP, not in HANA | 24EMS37955
320 | SMUD_TOP | Contingency Definition - Only upload the contingency list in BAAOP, not in HANA | 24EMS37956
321 | SNPD_TOP | Transmission Line - Update line ratings | 24EMS37688
322 | SNPD_TOP | Substation\Load - Decomission existing Central Marysville Substation and build new Jennings Park Substation | 24EMS37925
323 | SPP_RC | SPP Incremental Updates for DB131 | 23EMS31678
324 | SRP_BA | Transformer - Added Pinal Central, Germann, and Cooley XFMRs | 24EMS37931
325 | SRP_BA | Transmission Line - Added Colorado River 500kV and Abel 230kV Lines | 24EMS37932
326 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Germann, Southern, Delaney, Pinal Central, and Attaway Breakers and Disconnects | 24EMS37933
327 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69kV Open Jumpers | 24EMS38693
328 | SRP_BA | Transformer - Added 69/12kV XFMR | 24EMS38694
329 | SRP_BA | Substation\Load - Added 12kV Load | 24EMS38695
330 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69kV and 12kV Breakers and Disconnects | 24EMS38696
331 | SVP | Cleanup Double Modeling at Uranium and Walsh | 24EMS39055
332 | TEPC_TOP | Transformer - Impedance update on transformers RBB_T1, RBB_T2, PNT_T1 | 24EMS38659
333 | TEPC_TOP | Transmission Line - Addition of previously unrepresented 47kv line to feed KANTOR. This is an emergency line that only supplies to KANTOR if VAIL is unavailable. | 24EMS38660
334 | TEPC_TOP | Substation\Load - Correction of RNDVLY station into UNS__KGM area, this should preserve RDFIDS for devices within the station. | 24EMS38661
335 | TEPC_TOP | Generator - Addition of ROADRUNR station and battery generation and tie to VAIL. Testing for ROADRUNR is scheduled to begin in November 2024, with full EIM participation and in service date as May 2025. This will be known as RDR_1_Roadrunner_BATT in EIM. | 24EMS38662
336 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Addition of new breaker and switch topology to accommodate ROADRUNR tie. VAI_KNT line to be taken taken out of service and moved during early October 2024 before production deployment of DB131 | 24EMS38663
337 | TEPC_TOP | Substation\Load - Additions of measurements that were not previously assigned in various stations. Also addition of previously unassigned MVA limits. | 24EMS38664
338 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Inclusion of existing disconnect 354 in NOR_HAVA station which wasn't previously represented correctly. Similarly, addition of pseudo-switches in SOUTH to correctly reflect connections to the distribution network that were not previously represented correctly. | 24EMS38665
339 | TEPC_TOP | Substation\Load - Removal of incorrectly assigned nonconforming loads with correct replacement of conforming loads. These should have the same names as the old NCLs but will have new RDFIDs. | 24EMS38666
340 | WALC_TOP | Generator - ICCP Scada mapping excel file contains New Parker Units ICCP data. All Parker generator units ICCP data is updated. All Parker unit breaker ICCP data is updated. Parker unit KVs are included in non-cim tab | 24EMS38617
341 | WALC_TOP | Generator - ICCP Scada mapping excel file contains New Davis Units ICCP data. All Davis generator units ICCP data is updated. All Davis unit breaker ICCP data is updated .Also, Davis generator units KV measurement has new ICCP. | 24EMS38618
342 | WALC_TOP | Generator - ICCP Scada mapping excel file contains New Hoover generator Units ICCP data. All Hoover generator units ICCP data is updated. All Hoover generator unit breaker ICCP data is updated. Hoover unit KVs are included in the non-cim tab | 24EMS38619
343 | WALC_TOP | Substation\Load - Harris TEP substation load, MCI_LOAD, is re assigned to WALC BA. This is also set to non-confirming. | 24EMS38620