## Version_History
FNM Scope for FNM DB24M7
(Production 7/10/2024)
Revision History – Final Scope: 5/8/2024, Late Model Scope Change Request Deadline: 5/27/2024
Effective Date | Version | Description
2024-05-08 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2024-07-05 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | TRACY_1_TDPBM1 | Tracy Desalination Plant | 22GEN24615 | 3 | TRACY 115KV BUS | New Conventional resource
2 | SDGE | POME_6_POMBT1 | Pome BESS | 19AS9153 | 100 | POMRDO 69KV BUS | New Non-Generation resource
3 | SDGE | WESCN2_2_BDSBT1 | BATERIA DEL SUR 2A | 24NGR34333 | 119 | Imperial Valley 230 KV BUS | New Non-Generation resource
4 | SDGE | FALBRK_6_FESBT1 | Fallbrook Energy Storage Capacity Increase | 24NGR34701 | 29.6 | AVOCADO 69KV BUS | New Non-Generation resource
5 | SDGE | MCFLND_5_MBSBX2 | McFarland Solar B Hybrid | 24NGR35508 | 450 | HDWASH 500KV BUS | New Non-Generation aggregate resource: Child_Resource_ID: MCFLND_5_MSBSB1, Capacity: 75 MW; Child_Resource_ID: MCFLND_5_MSBSB2, Capacity: 375 MW
6 | IID | ARLEAF_2_NBSSB1 | North Brawley Solar | 23PSEUDO31863 | 42 | Imperial Valley 230 KV BUS | New Pseudo New Construction resource
7 | PGAE | DOSPAL_1_DPSSR1 | Dos Palos Clean Power | 24GEN35638 | 3 | Oro Loma 115 kV Bus | New Solar resource
8 | OTHER |  | TITANS_2_TTSSR1 | 23RIG32303 | 70 |  | RIG Reconfiguration
9 | PGAE |  | Sunshine Valley | 22RIG22873 | 132.71 |  | RIG Reconfiguration
10 | PGAE |  | Mustang IRG278 RR 2023 | 23RIG28459 | 32 |  | RIG Reconfiguration
11 | PGAE |  | Mustang BESS; MSTANG_2_MTGBT1 | 23RIG31186 | 75 |  | RIG Reconfiguration
12 | PGAE |  | Almond Solar Frequency Response RIG Reconfiguration | 23RIG32977 | 19.88 |  | RIG Reconfiguration
13 | PGAE |  | LTBEAR_1_LB3SR3;LTBEAR_1_LB4SR4;LTBEAR_1_LB4SR5 | 23RIG32980 | 120 |  | RIG Reconfiguration
14 | SCE |  | Painted_Hills_RIG_ANIRA | 23RIG29116 | 41.6 |  | RIG Reconfiguration
15 | SCE |  | Voyager1_RIG_ANIRA | 23RIG31877 | 128.9 |  | RIG Reconfiguration
16 | SCE |  | Voyager2_RIG_ANIRA | 23RIG31880 | 126.3 |  | RIG Reconfiguration
17 | SCE |  | Voyager3_RIG_ANIRA | 23RIG31883 | 43.2 |  | RIG Reconfiguration
18 | SCE |  | Voyager4_RIG_ANIRA | 23RIG31886 | 21.6 |  | RIG Reconfiguration
19 | SCE |  | Voyager5_RIG_ANIRA | 23RIG31889 | 13.98 |  | RIG Reconfiguration
20 | SCE |  | SBERDO; Mountain View 3 and 4 | 24RIG35034 | 543 |  | RIG Reconfiguration
21 | SCE |  | Antelope Expansion 1B | 24RIG35175 | 17 |  | RIG Reconfiguration
22 | SDGE |  | BATERIA DEL SUR RIG POINT ADDITION | 24RIG34298 | 131 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS8815 | Kola (Q1275) | ET4038
2 | PGAE | 19TRANS8815 | Kola (Q1275) | ET4039
3 | PGAE | 24TRANS35335 | Las Positas-Vasco 60 kV Raiting Update | ET5343
4 | PGAE | 24TRANS36055 | Q1097 Bear Canyon Energy Storage Project | ET5345
5 | PGAE | 24TRANS36056 | Q1367 West Ford Flat 25 MW Energy Storage Generation Facility | ET5346
6 | PGAE | 24TRANS36288 | Bellota SWs 125/127/217/297 NO | ET5347

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | APS | Add pseudo switches at RAB station | 24EMS36443
2 | AVA_BA | - ICCP mapping to AVA CIM model | 24EMS36141
3 | AVA_BA | Generator - Addition of AVA Clearwater Wind generation facility | 24EMS36676
4 | AZPS_TOP | Transmission Line - Updated timeduration of AZPS' emergency ratings for Transmission Lines and Transformers | 24EMS35768
5 | AZPS_TOP | Generator - dyd mappings | 24EMS35769
6 | AZPS_TOP | Contingency Definition - Updated Contingency Definitions | 24EMS35770
7 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed GP K6555 Disconnect | 24EMS35771
8 | AZPS_TOP | Transformer - Updated YMX XFMR T1 ratings | 24EMS35772
9 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Renamed HDW disconnects/breakers to HDW556,HDW555 and HDW557 | 24EMS35773
10 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Rename CRSDISC to DSN761 | 24EMS35774
11 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Rename CRSDISC to CRSU7280 | 24EMS35775
12 | AZPS_TOP | Substation\Load - Added VS Fdr 5 load | 24EMS35776
13 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added VS542,VS543D,VS544D | 24EMS35777
14 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated disconnect names | 24EMS36148
15 | BANC_BA | Breaker(s)\ Disconnect(s) - Removed disconnects 9001D, 9006D, 9009D, 9010D, 9021D | 24EMS36149
16 | BANC_BA | Breaker(s)\ Disconnect(s) - Removed disconnect 3204. | 24EMS36150
17 | BANC_BA | Breaker(s)\ Disconnect(s) - Updated normal statuses of breakers at these stations. | 24EMS36151
18 | BCHA_RC | Substation\Load - Deleted GDK | 24EMS36104
19 | BCHA_RC | Transmission Line - Deleted 60L30, 60L27 | 24EMS36105
20 | BCHA_RC | Substation\Load - Updated ICCP mapping file | 24EMS36106
21 | BPA | Update MCNARY display to correct topology | 24EMS36280
22 | BPA | Update WAUTOMA series device impedance | 24EMS36790
23 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new PCB P66 bay. | 24EMS36155
24 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - Added new reactor. | 24EMS36156
25 | BPAT_BA | Shunt Cap\Reactor\ SVD¿s - Added new reactor. | 24EMS36157
26 | BPAT_BA | Generator - Remodeled from 2 gens to 4 gens. | 24EMS36158
27 | BPAT_BA | Substation\Load - Added missing station | 24EMS36159
28 | BPAT_BA | Substation\Load - New Umatilla PUD stattion. | 24EMS36160
29 | BPAT_BA | Substation\Load - New Umatilla PUD stattion. | 24EMS36161
30 | BPAT_BA | Substation\Load - Added a new 500/230kV station and new lines. | 24EMS36162
31 | BPAT_BA | RAS - Fixed input to RAS model. | 24EMS36163
32 | BPAT_BA | RAS - RAS controller setting changes are scheduled with SPC for May 30th to align with a SCADA update. | 24EMS36164
33 | BPAT_BA | RAS - RAS controller setting changes are scheduled with SPC for May 30th to align with a SCADA update. | 24EMS36165
34 | BPAT_BA | Contingency Definition - BPA Contingency List | 24EMS36166
35 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added PCB TLCY4, DSC TNCY4L, DSC TNCY3A | 24EMS36862
36 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added bay 4 to the 230kV bus. | 24EMS36863
37 | BPAT_TOP | Shunt Cap\Reactor\ SVD¿s - Includes updates addressing updated SOL Methodology and time delay requirements for the in/out voltage settings. | 24EMS35068
38 | CEN_BA | Transmission Line - UPDATE 161 kv Grid | 24EMS35871
39 | CEN_BA | Transmission Line - UPDATE 161 kv Grid | 24EMS35872
40 | CEN_BA | Transmission Line - UPDATE 161 kv Grid | 24EMS35873
41 | CEN_BA | Transmission Line - UPDATE 230 kv Grid | 24EMS36023
42 | CEN_BA | Transmission Line - UPDATE 230 kv Grid | 24EMS36024
43 | CEN_BA | Transmission Line - UPDATE 230 kv Grid | 24EMS36025
44 | CEN_BA | Transmission Line - UPDATE 230 kv Grid | 24EMS36026
45 | CHPD_BA | Generator - Periodic MOD-26/27 Generator modeling update for Rocky Reach unit C4 and C5 | 24EMS36241
46 | CHPD_BA | Impedance corrections for CHPD | 24EMS36871
47 | CHPD_BA | Breaker(s)\ Disconnect(s) - Winton switch 6-908 is missing in RC model | 24EMS37245
48 | DOPD_BA | Shunt Cap\Reactor\ SVD¿s - Addition of Shunt Devices owned and operated by BPA at Winthrop Substation. DOPD is providing this update on behalf of BPA. | 24EMS35778
49 | DOPD_BA | Remove Double Modeling and URBN_TP Station | 24EMS36356
50 | DOPD_TOP | Transmission Line - Removal of Urban Industrial Tap-Urban Industrial Line (URBNIN_URBN_TP_230_1) | 24EMS34948
51 | DOPD_TOP | Transmission Line - Removal of Urban Industrial Tap-Rapids Line (URBN_TP_RAPIDS_230_1) | 24EMS34949
52 | DOPD_TOP | Transmission Line - Removal of Lincoln Rock-Urban Industrial Tap Line (LNKNRK_URBN_TP_230_1) | 24EMS34950
53 | DOPD_TOP | Substation\Load - Removal of Urban Tap (URBN_TP) Bus in the current model | 24EMS34951
54 | EPE_TOP | Breaker(s)\ Disconnect(s) - Renamed Breaker from 6536B to 9576B Reanmed Disconnects 6536A and 6536C to 9576A and 9576C | 24EMS35988
55 | EPE_TOP | Substation\Load - Removal of Talavera Temp Substation | 24EMS35989
56 | EPE_TOP | Substation\Load - Removal of Dallas Temp Substation | 24EMS35990
57 | EPE_TOP | Breaker(s)\ Disconnect(s) - Creation of three disconnects 7376E, 8846E, & 4676E | 24EMS35991
58 | GCPUD | Default Switch Status Change | 24MRKT36187
59 | HHWP | HHWP line impedance Update | 24EMS36442
60 | HHWP_TOP | ACLineSegment - Reference Caiso CIDI ticket #271353. All HHWP Voltage limits have been modified to reflect internal methodology. For completeness, variances for individual facilities equal the default lmits. | 24EMS35615
61 | HHWP_TOP | Substation\Load - List identifies San Francisco Airport Substation, connected load and associated tap lines and associated tap line as being exempt from being part of the BES. Note that this substation is fed from the PG&E system but is owned by CCSF. | 24EMS36152
62 | HHWP_TOP | Substation\Load - List identifies Milbrae Annex Substation, connected load and associated tap lines as being exempt from being part of the BES. Note that this substation is fed from the PG&E system but is owned by CCSF. | 24EMS36153
63 | HHWP_TOP | Substation\Load - List identifies Calaveras Substation, connected load and associated tap lines as being exempt from being part of the BES. | 24EMS36154
64 | IID | Drop4 Model Correction | 24EMS35470
65 | IID | VIKING_2_VCSSR1 PMAX increase from 130MW to 132.1MW | 24EMS36640
66 | IPCO_BA | - Identification of BES for IPCO | 24EMS35780
67 | IPCO_BA | RAS - CRFD RAS being updated. Old one is being removed and replaced. Uploading document detailing ICCP points for RAS-A and B enable/disabled points as well as associated setpoint for value that will initiate RAS | 24EMS35994
68 | IPCO_BA | Substation\Load - Deleted Substation NTTP | 24EMS35995
69 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Disconnect 106B, 104C, 104B, 102C, 131X to NTSD | 24EMS35996
70 | IPCO_BA | Breaker(s)\ Disconnect(s) - Deleted Breaker/Disconnect 108T4, CUT9, 108T5, CUT1, CUT2, CUT3, CUT10 at LNDN | 24EMS35997
71 | IPCO_BA | Breaker(s)\ Disconnect(s) - Deleted Breaker/Disconnect 106A, 101Z, 102Z, CUT1, SHFL, 101X, 102X, 677W, TMP4Y, STR3A, TMP4Z at ADEL | 24EMS35998
72 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker 013A, 017A, 011Z, 022Z, 014A, 012Z, 016A, 018A, 021Z, 015A, 011A, 012A, 132L, 131L | 24EMS35999
73 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Disconnector 041X, 042C, 045Y, 043B, 042B, 231L, 041C, 041B, 042X, 045X, 042Y, 043Y, 043C, 043F to HMWY | 24EMS36000
74 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker/Disconnect 204A, 205A, 204C, 205C to HCPR | 24EMS36001
75 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker/Disconnect 102Z, 102X, 052C, 053Y, 053C, 051Y, 051B, 051D, 052B, 051C, 051E, 053D, 052D, 051X to FRMT | 24EMS36002
76 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker 021Z to ELDR | 24EMS36003
77 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Disconnect JMP1, 131F, JMP2, 102T, JMPQN, 101T, 132X to DRKE | 24EMS36004
78 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker/Disconnect 203A, 202A, 203X, 203C, 202C, 202B, 203B to COLE | 24EMS36005
79 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breaker/Disconnects 207Z, 043Z, 041Z, 214A, 215A, 202A, 045Z, 204Z, 203A, 220A, 210Z, 216Z, 219Z, 201Z, 208A, 044Z, 047Z, 211Z, 221A, 222Z, 223A, 042Z, 217A, 213Z, 209A, 046Z, 205Z, 048Z, 203C, 232L, 208C, 215C, 233H, 236H, 201X, 224B, 207X, 221B, 2 | 24EMS36006
80 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Breakers/Disconnects 011Z, 061F, 064X, 011Y, 011X to CARO | 24EMS36007
81 | IPCO_BA | Breaker(s)\ Disconnect(s) - Added Disconnector 041X, 41Y to BMBS | 24EMS36008
82 | IPCO_BA | Transmission Line - Added new lines DRKE-NLTP, QUTZ-DRKE at DRKE | 24EMS36009
83 | IPCO_BA | Transmission Line - Added new lines CHIP-DRAM, BOBN-CHIP for new CHIP substation | 24EMS36010
84 | IPCO_BA | Transformer - Swapped Mobile Transformer MBE9 to Mobile Transformer MBE | 24EMS36011
85 | IPCO_BA | Transformer - Add new Mobile Transformer MBE | 24EMS36012
86 | IPCO_BA | Transformer - Add new Mobile Transformer MBE5 | 24EMS36013
87 | IPCO_BA | Transformer - Add new transformer T131 | 24EMS36014
88 | IPCO_BA | Transformer - Add new transformers T231, T232, T233, T234, T235, T236, T237, T238 | 24EMS36015
89 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Add new shunt caps C233, C232, C231 at COLE | 24EMS36016
90 | IPCO_BA | Substation\Load - Add new CHIP substation | 24EMS36017
91 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 24EMS36018
92 | IPCO_BA | - CIM export of IPCO_BA FNM. | 24EMS36019
93 | LDWP | IPP DC RAS Update | 24EMS35613
94 | LDWP | Owens RAS Update | 24EMS35701
95 | LDWP | Intermountain Unit 3 and Unit 4 JOU updates | 24EMS36653
96 | LDWP_BA | Substation\Load - Update Voltage Exceptions | 24EMS36094
97 | LDWP_BA | Substation\Load - Update Pershing RS-X | 24EMS36095
98 | LDWP_BA | Substation\Load - Update Pershing RS-X | 24EMS36096
99 | NEVP_TOP | Transmission Line - ICCP updates | 24EMS36124
100 | NEVP_TOP | Transmission Line - ICCP Updates | 24EMS36125
101 | NEVP_TOP | Breaker(s)\ Disconnect(s) - ICCP update for 2319 PCB | 24EMS36126
102 | NEVP_TOP | Breaker(s)\ Disconnect(s) - ICCP Updates for 6902 6903 692A breakers | 24EMS36127
103 | NEVP_TOP | Transmission Line - ICCP update for E TRACY 1005 and 1006 PCB, analogs | 24EMS36128
104 | NEVP_TOP | Transformer - ICCP update for HILLTOP XFMR | 24EMS36129
105 | NEVP_TOP | Substation\Load - Bank #3 Addition | 24EMS36130
106 | NEVP_TOP | Substation\Load - Bank #1 Addition | 24EMS36131
107 | NEVP_TOP | Substation\Load - Bank #1 Addition | 24EMS36132
108 | NEVP_TOP | Substation\Load - Bank #3 Addition | 24EMS36133
109 | NEVP_TOP | Breaker(s)\ Disconnect(s) - 2003 PCB addition at CAL SUB | 24EMS36134
110 | NEVP_TOP | Generator - pMax increase for BEOWAWE GEO generator | 24EMS36135
111 | NVE | H ALLEN | 24EMS36492
112 | NWMT_TOP | Transmission Line - MILLER_C, COLSTRIP, YELCOGEN work; misc. changes | 24EMS35874
113 | PACE | PAC should begin to submit certain Tap position parameters in CIM to add to model | 24EMS36078
114 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removal of 1 breaker and 3 switches. Addition of 1 breaker | 24EMS35534
115 | PAC_TOP | Transmission Line - Addition of MVA measurement for line to PLYMOUTH | 24EMS35535
116 | PAC_TOP | Transformer - Removal of Xfmr AT3779 | 24EMS35536
117 | PAC_TOP | Transformer - Updated Xfmr type | 24EMS35537
118 | PAC_TOP | Transmission Line - Addition of measurements for OREM line. Updated bus voltage measurement. | 24EMS35538
119 | PAC_TOP | Transmission Line - Updated SCADA mapping for BARBCR$ line voltage | 24EMS35539
120 | PAC_TOP | Breaker(s)\ Disconnect(s) - Switch name updates | 24EMS35540
121 | PAC_TOP | Transmission Line - Addition of 1 switch and branch to BULLRIVR. Updated load P and Q values | 24EMS35541
122 | PAC_TOP | Substation\Load - New Station | 24EMS35542
123 | PAC_TOP | Substation\Load - New Station | 24EMS35543
124 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removal of 5 switches and addition of 1 breaker | 24EMS35544
125 | PAC_TOP | Breaker(s)\ Disconnect(s) - Addition of 2 switches | 24EMS35545
126 | PAC_TOP | Transmission Line - Addition of 3 breakers, 4 switches, and 1 line to STANDPIP | 24EMS35546
127 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removal of 1 switch and addition of 1 switch | 24EMS35547
128 | PAC_TOP | Generator - Updated PMIN for HOGBACK BESS | 24EMS36136
129 | PAC_TOP | Transmission Line - Added voltage measurement for branch to CATALINA | 24EMS36137
130 | PAC_TOP | Transmission Line - Updated impedance for line to CORRAL | 24EMS36138
131 | PAC_TOP | Transmission Line - Added 1 line to PONDEROO | 24EMS36139
132 | PAC_TOP | Transmission Line - Added 4 breakers, 6 switches, and 1 line to HOUSTONL. Added bus voltage measurement | 24EMS36140
133 | PGE_BA | Substation\Load - PGE System Voltage limits | 24EMS35979
134 | PGE_BA | Substation\Load - Move Mobile 1 to Scotts Mills station | 24EMS35980
135 | PGE_BA | Substation\Load - Remove the old cap banks and install two new cap banks at Twilight station | 24EMS35981
136 | PGE_BA | Substation\Load - Move Mobile 2 to Coffee Creek station | 24EMS35982
137 | PGE_BA | Substation\Load - Remove the SPNS station | 24EMS35983
138 | PGE_BA | Contingency Definition - contingency definition updates | 24EMS35984
139 | PGE_BA | - List of ICCP points mapping | 24EMS35985
140 | PGE_BA | - Model Difference report | 24EMS35986
141 | PGE_BA | - Model Updates for PGE: CIMXML model file | 24EMS35987
142 | PGE_BA | QF Solar Aggregate Cleanup | 24EMS36220
143 | PNM | Use the new CIM model PNM_BA-CIM10XML_20240605 in RIMS, to update the new modeling for spanish creek | 24EMS37329
144 | PNM_BA | Transmission Line - Removed 4 EIM Switches | 24EMS35388
145 | PNM_BA | Transmission Line - Updated MVA limits | 24EMS35389
146 | PNM_BA | RAS - Sky Ranch RAS | 24EMS35596
147 | PNM_BA | Transmission Line - Updated R, X and B values | 24EMS35851
148 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed Temporary RANDOLPH PSEUDO | 24EMS36531
149 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed Temporary WESMECO PSEUDO | 24EMS36532
150 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed Temporary PSEUDO 2 | 24EMS36533
151 | PNM_BA | Breaker(s)\ Disconnect(s) - Removed Temporary PSEUDO 1 | 24EMS36534
152 | PNM_BA | Generator - Increase Encino Solar PMAX to 57MW | 24EMS36681
153 | PNM_BA | Transmission Line - Convert and move the PB 46kV line from 46kV to 115kV | 24EMS36682
154 | PNM_BA | Substation\Load - Louden Hills load has been moved from the 46kV to the 115kV | 24EMS36683
155 | PNM_BA | Substation\Load - Bosque Farms load has been moved from the 46kV to the 115kV | 24EMS36684
156 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PB46 Pseudo SW2 | 24EMS36685
157 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PB46 Pseudo SW1 | 24EMS36686
158 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch QB100 PB115 | 24EMS36687
159 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch QB97 PB115 | 24EMS36688
160 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch QB25 PB115 | 24EMS36689
161 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch QB23 PB115 | 24EMS36690
162 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PB46 Pseudo SW1 | 24EMS36691
163 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 59962 | 24EMS36692
164 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 59961 | 24EMS36693
165 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 58362 | 24EMS36694
166 | PNM_BA | Breaker(s)\ Disconnect(s) - Add 58361 | 24EMS36695
167 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PB115 Pseudo SW1 | 24EMS36696
168 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 13165 | 24EMS36697
169 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PB115 Pseudo SW2 | 24EMS36698
170 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 59361 | 24EMS36699
171 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 59363 | 24EMS36700
172 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Breaker 59362 | 24EMS36701
173 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 21868 | 24EMS36702
174 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 34465 | 24EMS36703
175 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 34463 | 24EMS36704
176 | PNM_BA | Breaker(s)\ Disconnect(s) - Add switch 34661 | 24EMS36705
177 | PNM_BA | Breaker(s)\ Disconnect(s) - Add Breaker 34462 | 24EMS36706
178 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove WM Pseudo switch 1 | 24EMS36707
179 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove Rio Puerco Pseudo SW 1 | 24EMS36708
180 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove QR Pseudo switch 4 | 24EMS36709
181 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove QR Pseudo switch 2 | 24EMS36710
182 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove QR Pseudo switch 1 | 24EMS36711
183 | PSEI_BA | - Correcting names | 24EMS35533
184 | SNPD_TOP | Transmission Line | 24EMS36022
185 | SNPD_TOP | Contingency Definition - Removal of SNPD1 BEV_PARK-ANDRS_CNz 115 | 24EMS36282
186 | SPP_RC | SPP Incremental Updates for DB129 | 23EMS31674
187 | SRP_BA | Transformer - Added Chukar, Westwing, and Pinal West XFMRs | 24EMS36177
188 | SRP_BA | Generator - Added Chukar and Whitewing Generators | 24EMS36178
189 | SRP_BA | Substation\Load - Added Honor 69kV Loads | 24EMS36179
190 | SRP_BA | Transmission Line - Added Baseline to Cooley 69kV Line | 24EMS36180
191 | SRP_BA | Breaker(s)\ Disconnect(s) - Added Baseline, Chukar, Cooley, Honor, Hoodoo Wash, Pinal West, and Westwing Breakers and Disconnects | 24EMS36181
192 | TEPC_TOP | Please remove market only resource. | 24EMS36663
193 | TEPC_TOP | OSO_GRND | 24EMS37222
194 | TPWR_BA | Transmission Line - Update | 24EMS35967
195 | TPWR_BA | Breaker(s)\ Disconnect(s) - Update | 24EMS35968
196 | TPWR_BA | Breaker(s)\ Disconnect(s) - Update | 24EMS35969
197 | TSGT_TOP | Transmission Line - Remove Gladstone to Walsenburg transmission line | 24EMS34980
198 | TSGT_TOP | Transmission Line - Add Walsenburg to Valent transmission line | 24EMS34981
199 | TSGT_TOP | Transmission Line - Add Gladstone to Valent transmission line | 24EMS34982
200 | TSGT_TOP | Transformer - Multiple ratings updates for IRO-010-6.10 | 24EMS36146
201 | TSGT_TOP | Transmission Line - Multiple ratings updates for IRO-010-6.10 | 24EMS36147
202 | WALC_TOP | Breaker(s)\ Disconnect(s) - PAD 571 DSC removed | 24EMS35974
203 | WALC_TOP | Breaker(s)\ Disconnect(s) - LIB 2185 MOD removed | 24EMS35975
204 | WALC_TOP | Breaker(s)\ Disconnect(s) - LIB 2189 DSC removed | 24EMS35976
205 | WALC_TOP | Breaker(s)\ Disconnect(s) - LIB 2183 MOI removed | 24EMS35977
206 | WALC_TOP | Transformer - Liberty phase shifter decomissioned | 24EMS35978
207 | WALC_TOP | Breaker(s)\ Disconnect(s) - PAD 571 DSC removed | 24EMS36182
208 | WALC_TOP | Breaker(s)\ Disconnect(s) - LIB 2185 MOD removed | 24EMS36183
209 | WALC_TOP | Breaker(s)\ Disconnect(s) - LIB 2189 DSC removed | 24EMS36184
210 | WALC_TOP | Breaker(s)\ Disconnect(s) - LIB 2183 MOI removed | 24EMS36185
211 | WALC_TOP | Transformer - Liberty phase shifter decomissioned | 24EMS36186
212 | WASN_TOP | Transmission Line - O'Banion - Natomas 230 kV Line rating update | 24EMS35600
213 | WASN_TOP | Transmission Line - Hurley - Tracy 230 kV Line rating update | 24EMS35601