## Version_History
FNM Scope for FNM DB23M10
(Production 10/4/2023)
Revision History – Final Scope: 8/10/2023, Late Model Scope Change Request Deadline: 9/4/2023
Effective Date | Version | Description
2023-08-10 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2023-10-02 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | SCARLT_2_SS2BT1 | Scarlet Solar 2 BESS | 22NGR25350 | 150 | Tranquility 230 KV Bus | New Non-Generation resource
2 | SCE | ROMOLA_5_MPBBT1 | Menifee Power Bank | 19AS9027 | 230 | Valley 500kV Bus | New Storage resource
3 | SCE | DSRTSN_2_DS2BX2 | Desert Sunlight PV II Storage 2 | 23NGR25593 | 230 | DSRTSN 34.5KV | New aggregate Non-Generation resource: DSRTSN_2_DS2BT3: 115 MW DSRTSN_2_DS2BT4: 115 MW
4 | SCE | CONDOR_2_CDRBT1 | Condor BESS | 23NGR26693 | 200 | VISTA 230 KV Bus | New Non-Generation resource
5 | SCE | LCKHT1_2_LH1BT1 | Lockhart Solar BESS 1 | 23NGR28414 | 45 | KRAMER 230 KV | New Non-Generation resource
6 | SCE | ROMOLA_5_MPBBT3 | Menifee Power Bank 3 | 23NGR29018 | 50 | Valley 500kV Bus | New Storage resource
7 | SCE | ROMOLA_5_MPBBT2 | Menifee Power Bank 2 | 23NGR29027 | 230 | Valley 500kV Bus | New Storage resource
8 | SCE | NOAKS_2_PESBT1 | Placerita Energy Storage I | 23NGR29292 | 80 | Saugus 230kV Bus | New Non-Generation resource
9 | SDGE | PERGRN_2_PRSBT1 | Peregrine Storage | 19AS8960 | 200 | Silvergate 230kV Bus | New Storage resource
10 |  |  | Rio Bravo I Solar | 23RIG29839 | 20 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 21TRANS19700 | Mendocino #1 60 kV Conductor Removal Project | ET4787
2 | PGAE | 22TRANS21592 | Smartville-Camp Far West 60kV Idle Removal | ET4969

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | AESO Incremental Updates for DB124 | 23EMS30157
2 | BANC_BA | Substation\Load - Removed obsolete ICCP Mappings | 23EMS30023
3 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of pseudo disconnects for station energization. | 23EMS30024
4 | BANC_BA | Substation\Load - Removal of floating busbars. | 23EMS30025
5 | BANC_BA | Breaker(s)\ Disconnect(s) - Added B5854, D5853, and D5855. Normal Status of multiple disconnect changed states. | 23EMS30026
6 | BANC_BA | Fill and submit related DBE template as part of CCFRIM Invalid Meas Project | 23EMS30544
7 | BCHA_RC | Fill and submit related DBE template as part of CCFRIM Invalid Meas Project | 23EMS30543
8 | BPAT_BA | Substation\Load - New 230kV bay added at KEELER to prepare for line move from existing bay to this new bay. | 23EMS30014
9 | BPAT_BA | Substation\Load - New future tap station "Laporte Tap" added. | 23EMS30015
10 | BPAT_BA | RAS - Overload set point updates in "L9_CATLECRK" RAS. | 23EMS30016
11 | BPAT_BA | RAS - Additional feeder trips/pcbs added to RAS "L19_PONDRSA" output. | 23EMS30017
12 | BPAT_BA | RAS - Remove Algorithm 2 "AC21-AEXOA2" and update output PCBs in Algorithm 1 "AC21-EXCOA1" | 23EMS30018
13 | BPAT_BA | Contingency Definition - BPA Contingency List | 23EMS30019
14 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 23EMS29905
15 | CEN_BA | Substation\Load - Addition Transformer 230/69 like load | 23EMS29716
16 | CEN_BA | Substation\Load - Addition Transformer 230/69 like load | 23EMS29717
17 | CEN_BA | Substation\Load - Addition Transformer 230/69 like load | 23EMS29718
18 | CEN_BA | Generator - Addition substation and generation | 23EMS29906
19 | CEN_BA | Generator - Addition substation and generation | 23EMS29907
20 | CEN_BA | Generator - Addition substation and generation | 23EMS29908
21 | CEN_BA | Generator - Addition substation and generation | 23EMS29909
22 | CEN_BA | Substation\Load - Addition Transformer 230/69 like load | 23EMS29910
23 | CEN_BA | Substation\Load - Addition Transformer 230/69 like load | 23EMS29911
24 | CEN_BA | Substation\Load - Addition Transformer 230/69 like load | 23EMS29912
25 | CEN_BA | Substation\Load - Remplace file CEN ICCP GOR_2.xlsx | 23EMS29914
26 | CEN_BA | Generator - Remplace file CEN ICCP GGR.xlsx | 23EMS29915
27 | CEN_BA | Generator - Additional information | 23EMS30269
28 | DOPD_TOP | Contingency Definition - Adjustment of contingencies to account for swapping of line termination points at Rapids for South Nile-Rapids and Rapids-Hanna-Valhalla Lines | 23EMS30002
29 | DOPD_TOP | Transmission Line - Swap the termination points on the Rapids Switchyard ring bus of the South Nile-Rapids and Rapids-Hanna-Valhalla Lines | 23EMS30003
30 | DOPD_TOP | Transmission Line - Swap the termination points on the Rapids Switchyard ring bus of the South Nile-Rapids and Rapids-Hanna-Valhalla Lines | 23EMS30004
31 | DOPD_TOP | Contingency Definition - Addition of new contingencies to be studied for equipment at or connected to the new Urban Industrial Substation | 23EMS30005
32 | DOPD_TOP | Breaker(s)\ Disconnect(s) - Addition of all new breakers and disconnect switches at the new Urban Industrial Substation | 23EMS30006
33 | DOPD_TOP | Substation\Load - Addition of load at Urban Industrial Substation. Initial load at the switchyard will be 62.27 MW. | 23EMS30007
34 | DOPD_TOP | Transmission Line - Addition of new Urban Industrial Tap-Rapids 230-kV Line | 23EMS30008
35 | DOPD_TOP | Transmission Line - Addition of new Urban Industrial Tap-Urban Industrial 230-kV Line | 23EMS30009
36 | DOPD_TOP | Transmission Line - Addition of new Lincoln Rock-Urban Industrial Tap 230-kV Line | 23EMS30010
37 | DOPD_TOP | Substation\Load - Addition of new Urban Industrial Substation | 23EMS30011
38 | EPE_TOP | Substation\Load - Addition of Dallas substation 69KV ICCP Points | 23EMS30020
39 | EPE_TOP | Transmission Line - Updates EPE's Facility line ratings | 23EMS30021
40 | EPE_TOP | Substation\Load - Addition of new 69KV Dallas substation | 23EMS30022
41 | EPE_TOP | Transformer - Addition of Patriot T2 Transformer and Breaker 9166B ICCP points | 23EMS30027
42 | EPE_TOP | Substation\Load - Addition of Dallas substation 69KV ICCP Points | 23EMS30028
43 | EPE_TOP | Transmission Line - Updates EPE's Facility line ratings | 23EMS30029
44 | EPE_TOP | Substation\Load - Addition of new 69KV Dallas substation | 23EMS30030
45 | IPCO_BA | - DydData Update for SKPR Unit 3 | 23EMS29564
46 | IPCO_BA | Transformer - Additions- Transformers added to model from equivalent loads | 23EMS30057
47 | IPCO_BA | Transformer - Addition - added mobile transformer | 23EMS30058
48 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition- Breakers and disconnects to support mobile transformer | 23EMS30059
49 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition- Breakers and disconnects for new substation | 23EMS30060
50 | IPCO_BA | Transmission Line - Deleted - Removed line from network | 23EMS30061
51 | IPCO_BA | Fill and submit related DBE template as part of CCFRIM Invalid Meas Project | 23EMS30542
52 | LDWP_BA | Contingency Definition - Update System Voltage Limits | 23EMS30052
53 | LDWP_BA | Contingency Definition - Add contingency definition for new transmission | 23EMS30053
54 | LDWP_BA | Breaker(s)\ Disconnect(s) - SCA Breakers and Disconnects | 23EMS30054
55 | LDWP_BA | Transmission Line - SCA-OLY B Transmission Line | 23EMS30055
56 | LDWP_BA | Substation\Load - Update Measurments | 23EMS30056
57 | MID_TOP | Transmission Line - Due to a planned outage, the existing MID Claus-Hershey 115kV Line will be on a shoofly that wil be fed from Standiford. The temporary shoofly will be called the Standiford-Hershey 115kV Line. PSLF Change file includes impedance values and line ratings. Additionally an email with notes on WTSG meeting with RC/CAISO on this topic is attached | 23EMS30444
58 | MID_TOP | Transmission Line - Due to a planned outage, the existing MID Claus-Hershey 115kV Line will be on a shoofly that wil be fed from Standiford. The temporary shoofly will be called the Standiford-Hershey 115kV Line. PSLF Change file includes impedance values and line ratings. Additionally an email with notes on WTSG meeting with RC/CAISO on this topic is attached | 23EMS30445
59 | NVE | Harry Allen SSR RAS Update | 22MRKT24623
60 | NVE | Fill and submit related DBE template as part of CCFRIM Invalid Meas Project | 23EMS30541
61 | NWMT | Fill and submit related DBE template as part of CCFIM Invalid Meas Project | 23EMS30540
62 | PACE | Add Bridgerland RAS | 23EMS30159
63 | PAC_TOP | Transmission Line - Add 2 switches and 1 branch to SHIRLEYB | 23EMS30099
64 | PAC_TOP | Transmission Line - Add 2 switches, 2 branches to Heward, and 1 branch to WINDSTAR | 23EMS30100
65 | PAC_TOP | Transmission Line - Add 1 switch and 2 branches to Heward | 23EMS30101
66 | PAC_TOP | Substation\Load - Add new substation | 23EMS30102
67 | PAC_TOP | Transmission Line - Update MVA ratings for TARGEETP_TETONG_115 | 23EMS30103
68 | PAC_TOP | Transmission Line - Update MVA ratings for SWANVAL$_TARGEETP_115 | 23EMS30104
69 | PAC_TOP | Generator - Update Unit 3 MW Limit from 247 to 295 | 23EMS30105
70 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update switch names | 23EMS30106
71 | PAC_TOP | Substation\Load - Remove 46 kV yard | 23EMS30107
72 | PAC_TOP | Transmission Line - Remove branch to PRAXAIR | 23EMS30108
73 | PAC_TOP | Transmission Line - Remove branch to VIN TP, add a branch to OREM TP | 23EMS30109
74 | PAC_TOP | Transmission Line - Remove branch to VIN TP, add a branch to UVSC | 23EMS30110
75 | PAC_TOP | Substation\Load - Remove station | 23EMS30111
76 | PAC_TOP | Breaker(s)\ Disconnect(s) - Relocate switch 42A and remove 44A | 23EMS30112
77 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 1 breaker, 3 switches and convert switch 134A to breaker type. | 23EMS30113
78 | PAC_TOP | Substation\Load - Add 2 breakers, 1 switch, and 1 load | 23EMS30114
79 | PAC_TOP | Transmission Line - Remove THREEMLE_JIMBRIDG_MEAS branch | 23EMS30115
80 | PAC_TOP | Transmission Line - Add measurements for BONANZA$ branch. Remove zero imp branch MONA_BONANZA_Z1 | 23EMS30116
81 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Add 2 CBs, 2 Switches, and 1 Cap bank | 23EMS30117
82 | PAC_TOP | Transmission Line - Add measurements for HARRYAL$, and HICKORY branches, Remove REDBUTTE HARY LIN MEAS and HICK LN MEAS branches. Update Reactor 2 and Cap C381 Switches | 23EMS30118
83 | PAC_TOP | Transmission Line - Add measurements for branch to PINTO and remove HUNTINGT_PINTO_Z1 branch | 23EMS30119
84 | PAC_TOP | Transmission Line - Remove RIVERTON_TSGT_230 branch, relocate RIVERTON 230 3 bus, and map voltage measurement | 23EMS30120
85 | PAC_TOP | Substation\Load - Add 3 breakers, 6 switches, and 1 Load | 23EMS30121
86 | PAC_TOP | Transmission Line - Remove RANGELY$ 138 XFR BUS branch | 23EMS30122
87 | PAC_TOP | Transmission Line - Remove PARISH CB 101 BUSTIE branch | 23EMS30123
88 | PAC_TOP | Transformer - Remove XFMRs 345/22 HUNTU11, 12, 21, 22, and the zero impedance branches 1 and 2. Relocate generators 1 and 2. Update Aux load calculations. | 23EMS30124
89 | PAC_TOP | Breaker(s)\ Disconnect(s) - At 345kV switchyard add 6 switches, 3 CBs. Update 24 existing switch names. | 23EMS30125
90 | PAC_TOP | Substation\Load - Add 3 swithches, 1 breaker and 1 Load | 23EMS30126
91 | PAC_TOP | Transmission Line - Remove branch to MIDWAY | 23EMS30127
92 | PAC_TOP | Transmission Line - Remove branch to JORDANEL and map measurements to DANIEL branch | 23EMS30128
93 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove AS 135-BP. Update names for CB 133 Switches. | 23EMS30129
94 | PAC_TOP | Substation\Load - Add new substation | 23EMS30130
95 | PAC_TOP | Transmission Line - Update branch impedance for THREEMLE 345kV line | 23EMS30131
96 | PAC_TOP | Transmission Line - Add 3 breakers, 6 switches, and 1 new branch to FREEZOUT | 23EMS30132
97 | PAC_TOP | Transmission Line - Add 5 breakers, 8 switches, and 1 new branch to Aeolus | 23EMS30133
98 | PAC_TOP | Generator - Add 2 breakers and 1 new generator | 23EMS30134
99 | PGE_BA | Substation\Load - Move the Mobile 8 to Tabor station | 23EMS29931
100 | PGE_BA | Contingency Definition - Contingency defination update | 23EMS29932
101 | PGE_BA | - List of ICCP points mapping | 23EMS29933
102 | PGE_BA | - Model Difference report | 23EMS29934
103 | PGE_BA | - Model Updates for PGE: CIMxml model file | 23EMS29935
104 | PNM_BA | Substation\Load - CK 115kV line kV flow on switch 55760 | 23EMS29495
105 | PNM_BA | Substation\Load - CK 115kV line MVar flow on switch 55760 | 23EMS29496
106 | PNM_BA | Substation\Load - CK 115kV line MW flow on switch 55760 | 23EMS29497
107 | PNM_BA | Breaker(s)\ Disconnect(s) - added new ICCP Object name:W075$TA_3_115_68765_SW | 23EMS29720
108 | PNM_BA | Breaker(s)\ Disconnect(s) - added new ICCP Object name: W075$TA_3_115_68764_SW | 23EMS29721
109 | PNM_BA | Breaker(s)\ Disconnect(s) - added new ICCP Object name: W075$TA_3_115_64361_SW | 23EMS29722
110 | PNM_BA | Breaker(s)\ Disconnect(s) - added new ICCP Object name: W075$TA_3_115_65461_SW | 23EMS29723
111 | PNM_BA | Breaker(s)\ Disconnect(s) - added new ICCP Object name: W075$TA_3_115_65462_CB | 23EMS29724
112 | PNM_BA | Breaker(s)\ Disconnect(s) - added new ICCP Object name: W075$TA_3_115_65463_SW | 23EMS29725
113 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_60265_Unt_1_Xf_Dsc, new name: W075$TA_3_115_69865_SW | 23EMS29726
114 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_60165_Unt_2_Xf_Dsc, new name: W075$TA_3_115_66565_SW | 23EMS29727
115 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63463_Un1_MP_Sct_D, new name: W075$TA_3_115_69863_SW | 23EMS29728
116 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3115_Unit1_MP_CB, new name: W075$TA_3_115_69862_CB | 23EMS29729
117 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63461_Un1_MP_Sct_D, new name: W075$TA_3_115_69861_SW | 23EMS29730
118 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63363_TE_Un1_Sct_D, new name: W075$TA_3_115_68763_SW | 23EMS29731
119 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3115_TE_Unit1_CB, new name: W075$TA_3_115_68762_CB | 23EMS29732
120 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63361_TE_Un1_Sct_D, new name: W075$TA_3_115_68761_SW | 23EMS29733
121 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_61065_TE_Lne_Dsc_S, new name: W075$TA_3_115_67665_WT_LINE | 23EMS29734
122 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63263_Un2_TE_Sct_D, new name: W075$TA_3_115_67663_SW | 23EMS29735
123 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3115_Unit2_TE_CB, new name: W075$TA_3_115_67662_CB | 23EMS29736
124 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63261_Un2_TE_Sct_D, new name: W075$TA_3_115_67661_SW | 23EMS29737
125 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63163_MP_Un2_Sct_D, new name: W075$TA_3_115_66563_SW | 23EMS29738
126 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3115_MP_Unit2_CB, new name: W075$TA_3_115_66562_CB | 23EMS29739
127 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_63161_MP_Un2_Sct_D, new name: W075$TA_3_115_66561_SW | 23EMS29740
128 | PNM_BA | Breaker(s)\ Disconnect(s) - changed ICCP object names: old name W075$TA_3_115_61165_MP_DOE_Lne_D, new name: W075$TA_3_115_65465_MP_LINE | 23EMS29741
129 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Added a 25 MVAC capacitor. | 23EMS29742
130 | PNM_BA | Breaker(s)\ Disconnect(s) - deleted device 1996 | 23EMS29743
131 | PNM_BA | Breaker(s)\ Disconnect(s) - deleted device 1998 | 23EMS29744
132 | PNM_BA | Breaker(s)\ Disconnect(s) - deleted device 60161 | 23EMS29745
133 | PNM_BA | Breaker(s)\ Disconnect(s) - deleted device 60261 | 23EMS29746
134 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 60265, new name 64361 | 23EMS29747
135 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 60165, new name 66565 | 23EMS29748
136 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63463, new name 69863 | 23EMS29749
137 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63462, new name 69862 | 23EMS29750
138 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63461, new name 69861 | 23EMS29751
139 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63363, new name 68763 | 23EMS29752
140 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63362, new name 68762 | 23EMS29753
141 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63361, new name 68761 | 23EMS29754
142 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 61065, new name 67665 | 23EMS29755
143 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63261, new name 67661 | 23EMS29756
144 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63262, new name 67662 | 23EMS29757
145 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63263, new name 67663 | 23EMS29758
146 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63163, new name 66563 | 23EMS29759
147 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63162, new name 66562 | 23EMS29760
148 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 63161, new name 66561 | 23EMS29761
149 | PNM_BA | Breaker(s)\ Disconnect(s) - change device name. old name 61165, new name 65465 | 23EMS29762
150 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new device: 64361 | 23EMS29763
151 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new device: 65461 | 23EMS29764
152 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new device: 65462 | 23EMS29765
153 | PNM_BA | Breaker(s)\ Disconnect(s) - Added new device: 65463 | 23EMS29766
154 | PNM_BA | Generator - Updated the MAX_Gen from 50MW to 54MW | 23EMS29767
155 | PNM_BA | Generator - Updated the MAX_Gen from 50MW to 54MW | 23EMS29768
156 | PNM_BA | Transformer - ICCP mapping for B_A xfrm tap position | 23EMS29823
157 | PNM_BA | Transformer - Updated CIM model that includes tap postion | 23EMS29824
158 | PNM_BA | Breaker(s)\ Disconnect(s) - change this switch default status from CLOSE to OPEN | 23EMS29848
159 | PNM_BA | Transformer - Belen Phase Shifter Added | 23EMS29951
160 | PNM_BA | Breaker(s)\ Disconnect(s) - PSUEDO2 Added | 23EMS29952
161 | PNM_BA | Breaker(s)\ Disconnect(s) - PSUEDO1 Added | 23EMS29953
162 | PNM_BA | Breaker(s)\ Disconnect(s) - MOD 72565 Added | 23EMS29954
163 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 71463 Added | 23EMS29955
164 | PNM_BA | Breaker(s)\ Disconnect(s) - BKR 71462 Added | 23EMS29956
165 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 71461 Added | 23EMS29957
166 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 72563 Added | 23EMS29958
167 | PNM_BA | Breaker(s)\ Disconnect(s) - BKR 72562 Added | 23EMS29959
168 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 72561 Added | 23EMS29960
169 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 74763 Added | 23EMS29961
170 | PNM_BA | Breaker(s)\ Disconnect(s) - BKR 74762 Added | 23EMS29962
171 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 74761 Added | 23EMS29963
172 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 73663 Added | 23EMS29964
173 | PNM_BA | Breaker(s)\ Disconnect(s) - BKR 73662 Added | 23EMS29965
174 | PNM_BA | Breaker(s)\ Disconnect(s) - HOD 73661 Added | 23EMS29966
175 | PSCO_BA | Oils Load kV Change | 23EMS30332
176 | PSCO_BA | PTZLOGAN | 23EMS30584
177 | SNPD_TOP | Transmission Line - Update 115kV line ratings of East Arlington - Eagle Creek and BPA Snohomish - Jackson | 23EMS30284
178 | SPP_RC | SPP Incremental Updates for DB124 | 23EMS30156
179 | SPP_RC | WACM Default switch status update | 23EMS30191
180 | SPP_RC | WALC Default switch status update | 23EMS30192
181 | SRP | FLATLAND | 23EMS30538
182 | SVP_TOP | Transformer - Updating the correct rating for this Transformer | 23EMS29663
183 | SVP_TOP | Transformer - Updating the correct rating for this Transformer | 23EMS29664
184 | SVP_TOP | Transformer - Tx high side jumper replaced; TX has full rating now. | 23EMS30036
185 | SVP_TOP | Transformer - Tx high side jumper replaced; TX has full rating now. | 23EMS30037
186 | TEPC_TOP | Substation\Load - Correction of voltage tolerances on busses that weren't correct, correction of tap changers to correct node | 23EMS30031
187 | TEPC_TOP | Substation\Load - Removal of BX_TEP and COALMINE stations. These are NTUA loads that are moved from TEP BA to WACM BA effective September 30 2023 at 22:00. Change is not reflected until DB124 due to short notice. | 23EMS30032
188 | TEPC_TOP | Generator - Updates to generator Mvar limits for accuracy | 23EMS30033
189 | TEPC_TOP | Transformer - Removal of 22ND_ST T1, simplification of DMP T5 and Pinal West transformers into 2 winders (abandoned tertiaries) | 23EMS30034
190 | TEPC_TOP | Substation\Load - simplification of COPVERDE and MW_E stations into equivalent loads, removal of FRISCO station, due to lack of telemetry in customer owned sites within BA | 23EMS30035
191 | TEPC_TOP | Transmission Line - New tie line measurement created for Pinal West TEP to Pinal West SRP. Calculation from TEP sums up 345kv side meters on T1 and T2 and scales by loss factor of 0.8% to reflect 500kv voltage flow on tie with SRP. | 23EMS30393
192 | TEPC_TOP | Substation\Load - Demolition of old irvington 138kv and 46kv buses is scheduled for October 27 2023. Until that time, breaker overrides CLOSE are required on IRV138_111L, IRV138_121L, IRV138_131L, IRV138_141L, IRV138_132L, IRV138_142L, IRV138_152L as these are required to maintain continuity for lines to Drexel, Santacruz, and Tucson substations, and for all Irvington generators. | 23EMS30394
193 | TEPC_TOP | Substation\Load - Correction of voltage tolerances on busses that weren't correct, correction of tap changers to correct node | 23EMS30395
194 | TEPC_TOP | Substation\Load - Resubmission is to restore BX_TEP and COALMINE stations and loads as NTUA moved back their BA change to December | 23EMS30396
195 | TEPC_TOP | Generator - Updates to generator Mvar limits for accuracy | 23EMS30397
196 | TEPC_TOP | Transformer - Removal of 22ND_ST T1, simplification of DMP T5 and Pinal West transformers into 2 winders (abandoned tertiaries) | 23EMS30398
197 | TEPC_TOP | Substation\Load - simplification of COPVERDE and MW_E stations into equivalent loads, removal of FRISCO station, due to lack of telemetry in customer owned sites within BA | 23EMS30399
198 | TEPC_TOP | Generator - Corrections to Mvar limits for some generators | 23EMS30770
199 | TEPC_TOP | Transformer - Transformers corrected to tap changers where possible | 23EMS30771
200 | TEPC_TOP | Substation\Load - New measurements added where possible | 23EMS30772
201 | TEPC_TOP | Generator - Corrections to Mvar limits for some generators | 23EMS30831
202 | TEPC_TOP | Transformer - Transformers corrected to tap changers where possible | 23EMS30832
203 | TEPC_TOP | Substation\Load - New measurements added where possible | 23EMS30833
204 | WASN_TOP | Transformer - WASN transformers Emergency ratings no longer based on 4-hour, changed to 30 min | 23EMS29612
205 | WASN_TOP | Transmission Line - TRY-LOS and TES-TRY 500 kV new WN ratings | 23EMS29613