## Revision_History
FNM Scope for FNM DB22M3
(Production 3/17/2022)
Revision History
Effective Date | Version | Description
2022-02-23 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2022-03-15 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name / Description | Project Key | Capacity (MW) | POD | Additional Information
1 | IID | WISTER_2_WISSR1 | Wister Solar | 21PSEUDO18083 | 20 | Imperial Valley 230kV Bus | New Pseudo resource
2 | SCE | WSTWND_2_SBSBT1 | Sagebrush Solar 2 | 16AS0113 | 80 | Vincent 230 kV Bus | New Non-Generation resource
3 | SCE | EDWARD_2_ESSSB2 | Sanborn Solar 2 | 18AS2025 | 100 | Winhub 230 kV Bus | New Solar resource
4 | SCE | SANBRN_2_EESSB2 | Edsan 2 Edwards Sanborn E1B | 21GEN19759 | 166 | Winhub 230 kV Bus | New Non-Generation resource
5 | SCE | JOANEC_2_STABT2 | Santa Ana Storage 2 | 21NGR19608 | 20 | Johanna 230kV Bus | New Storage resource
6 | SCE | DSRTSN_2_DS2X2 | Desert Sunlight PV II Storage | 21NGR20394 | 230 | Red Bluff 230 kV Bus | New Non-Generation resource
7 | SCE | EDWARD_2_ESSSB1 | Sanborn Solar 2 Edwards 5 | 21NGR20468 | 100 | Winhub 230 kV Bus | New Non-Generation resource
8 |  |  | Desert Hot Springs 2 (IRG121) | 21RIG17971 | 0 |  | RIG Reconfiguration
9 |  |  | Campo Verde (IRG106) | 21RIG18134 | 139 |  | RIG Reconfiguration
10 |  |  | Morelos Solar | 21RIG18579 | 15 |  | RIG Reconfiguration
11 |  |  | SRM Shasta IRG367 | 21RIG18725 | 50 |  | RIG Reconfiguration
12 |  |  | KRCD Malaga (IDG125) | 21RIG18918 | 97 |  | RIG Reconfiguration
13 |  |  | Chevron Kern River Cogen (KRNRVR) | 21RIG19044 | 75 |  | RIG Reconfiguration
14 |  |  | Center Peaker DCF | 21RIG19125 | 49.9 |  | RIG Reconfiguration
15 |  |  | Grapeland Peaker DCF | 21RIG19126 | 49.9 |  | RIG Reconfiguration
16 |  |  | 15GEN1181 Met Station Update | 21RIG19140 | 42.96 |  | RIG Reconfiguration
17 |  |  | 15GEN1182 Met Station Update | 21RIG19141 | 42.96 |  | RIG Reconfiguration
18 |  |  | Cal Renew (IDG069) | 21RIG19181 | 5 |  | RIG Reconfiguration
19 |  |  | AP North Lake (IRG216) | 21RIG19182 | 20 |  | RIG Reconfiguration
20 |  |  | Atwell Island (IRG053) | 21RIG19183 | 20 |  | RIG Reconfiguration
21 |  |  | Regulus Solar (IRG159) | 21RIG19184 | 60 |  | RIG Reconfiguration
22 |  |  | Sentinel Energy Center; IRG088 | 21RIG19295 | 107.68 |  | RIG Reconfiguration
23 |  |  | LHS1 RR | 21RIG19455 | 20 |  | RIG Reconfiguration
24 |  |  | Lone Valley Solar Park I LLC | 21RIG19490 | 10 |  | RIG Reconfiguration
25 |  |  | Lone Valley Solar Park II LLC | 21RIG19491 | 20 |  | RIG Reconfiguration
26 |  |  | Chevron El Segundo Refinery | 21RIG19498 | 123.97 |  | RIG Reconfiguration
27 |  |  | SMUD Solano Wind | 21RIG19509 | 230 |  | RIG Reconfiguration
28 |  |  | C-Solar (IRG092) | 21RIG19532 | 130 |  | RIG Reconfiguration
29 |  |  | Imperial Valley West (IRG194) | 21RIG19533 | 150 |  | RIG Reconfiguration
30 |  |  | Lake Hodges Pumped Storage Facility, unit 2 | 21RIG19565 | 20 |  | RIG Reconfiguration
31 |  |  | YUBA CITY COGEN | 21RIG19571 | 49.97 |  | RIG Reconfiguration
32 |  |  | Stanton 1 & Stanton 2 (IRG428) | 21RIG19572 | 49.65 |  | RIG Reconfiguration
33 |  |  | El Cajon Energy Center [IDG086] | 21RIG19573 | 48.1 |  | RIG Reconfiguration
34 |  |  | IVANPA_1_UNIT2 | 21RIG19589 | 132 |  | RIG Reconfiguration
35 |  |  | Martinez Cogen Ltd Partnership | 21RIG19609 | 100 |  | RIG Reconfiguration
36 |  |  | Covanta Stanislaus (IRG030) | 21RIG19674 | 19.9 |  | RIG Reconfiguration
37 |  |  | Solar Star 1 NERC | 21RIG19726 | 310 |  | RIG Reconfiguration
38 |  |  | Solar Star 2 NERC | 21RIG19727 | 310 |  | RIG Reconfiguration
39 |  |  | MTS2 RR | 21RIG19801 | 150 |  | RIG Reconfiguration
40 |  |  | US Borax, Unit 1, Holgat 1 Borax | 21RIG19824 | 30 |  | RIG Reconfiguration
41 |  |  | 2021 SVP DVR RIG - Device ID PICO | 21RIG20157 | 140 |  | RIG Reconfiguration
42 |  |  | Chowchilla 2 (IDG011) | 21RIG20163 | 48 |  | RIG Reconfiguration
43 |  |  | Red Bluff (IDG012) | 21RIG20164 | 44 |  | RIG Reconfiguration
44 |  |  | Procter and Gamble Oxnard Cogen 1 | 21RIG20165 | 19.88 |  | RIG Reconfiguration
45 |  |  | Desert Sunlight 1 NERC | 21RIG20185 | 300 |  | RIG Reconfiguration
46 |  |  | Desert Sunlight 2 NERC | 21RIG20186 | 300 |  | RIG Reconfiguration
47 |  |  | Exchequer Hydroelectric Project; RIG Reconfiguration 2022 | 21RIG20213 | 94.5 |  | RIG Reconfiguration
48 |  |  | Tri-Dam ARIG Reconfiguration 2022 | 21RIG20214 | 72 |  | RIG Reconfiguration
49 |  |  | Drum 1; Unit 1; rig reconfiguration | 21RIG20269 | 26 |  | RIG Reconfiguration
50 |  |  | LTS1 RR | 21RIG20332 | 50 |  | RIG Reconfiguration
51 |  |  | Canyon Power Plant Unit 1 | 21RIG20349 | 49.4 |  | RIG Reconfiguration
52 |  |  | AG Wishon; Unit 1; rig reconfiguration | 21RIG20352 | 18.4 |  | RIG Reconfiguration
53 |  |  | RIG Reconfiguration 2021-2022 - IRG136 - Frequency Response Telemetry Points | 21RIG20356 | 72.9 |  | RIG Reconfiguration
54 |  |  | Phoenix; unit 1; rig reconfig | 21RIG20376 | 2 |  | RIG Reconfiguration
55 |  |  | Pardee Power House RIG compliance Update | 21RIG20380 | 33 |  | RIG Reconfiguration
56 |  |  | Coleman; Unit 1; rig reconfig | 21RIG20385 | 13 |  | RIG Reconfiguration
57 |  |  | Newcastle; Unit 1; rig reconfig | 21RIG20387 | 12 |  | RIG Reconfiguration
58 |  |  | Butt Valley; Unit 1; rig reconfig | 21RIG20434 | 40 |  | RIG Reconfiguration
59 |  |  | Rock Creek; Unit 1; rig reconfig | 21RIG20435 | 57 |  | RIG Reconfiguration
60 |  |  | Pit 5; Unit 1; rig reconfiguration | 21RIG20436 | 82 |  | RIG Reconfiguration
61 |  |  | Calpine Gilroy Cogen RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20944 | 276 |  | RIG Reconfiguration
62 |  |  | King City Merchant RIG Reconfiguration- BAL-003 Project 2022 | 22RIG20945 | 164 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS8648 | Los Banos - Quinto Switching Station 230 kV Line Reconductoring Project. Cluster 8 shared network upgrade | ET3958
2 | PGAE | 21TRANS19451 | Panoche Energy Center Generation Interconnection (Q1484) Project - Phase 1 | ET4744
3 | PGAE | 21TRANS20294 | Central Bundle C-45 | ET4830
4 | PGAE | 21TRANS20294 | Central Bundle C-45 | ET4831
5 | PGAE | 21TRANS20294 | Central Bundle C-45 | ET4832
6 | PGAE | 21TRANS20294 | Central Bundle C-45 | ET4833
7 | PGAE | 21TRANS20298 | North Bundle N-26 | ET4841
8 | PGAE | 21TRANS20298 | North Bundle N-26 | ET4842
9 | PGAE | 21TRANS20393 | RINCON: Replace Bank 1 Fuse, PSPS Relay & RINCON: Replace Bank 2 Fuse, PSPS Relay | ET4863
10 | PGAE | 21TRANS20393 | RINCON: Replace Bank 1 Fuse, PSPS Relay & RINCON: Replace Bank 2 Fuse, PSPS Relay | ET4864
11 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET4867
12 | SCE | 20TRANS14106 | SCE Centralized Remedial Action Scheme (CRAS) | ET4868
13 | SCE | 21TRANS18647 | Daggett 2 (182MW) & Daggett 3 (300MW) PV/BESS | ET4686
14 | SCE | 21TRANS18647 | Daggett 2 (182MW) & Daggett 3 (300MW) PV/BESS | ET4687
15 | SCE | 21TRANS18647 | Daggett 2 (182MW) & Daggett 3 (300MW) PV/BESS | ET4688
16 | SCE | 21TRANS20234 | Sanborn Solar 2 | ET4810
17 | SDGE | 15TRANS873989 | TL692 Reconductor | ET4865
18 | SDGE | 21TRANS20532 | Talega STATCOM Decomissioning | ET4866

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | Update HALKIRK station | 21EMS20467
2 | AESO_RC | Addition of RIVERVW station | 21EMS20504
3 | AVA_BA | Transmission Line - Updated IRO-010-6.14 - AVA - 2021-10-26.xlsx with CIM_NAMEs and CIM_MRIDs for some of the lines requested via email by Rachel Melton 2021-08-30 | 21EMS20242
4 | AVA_BA | - ICCP mapping to AVA CIM model | 21EMS20603
5 | AVA_BA | - AVA CIM XML model | 21EMS20604
6 | AZPS_BA | Transmission Line - Updated line impedances | 21EMS20563
7 | AZPS_BA | Transformer - Updated XFMR1 A and XFMR3 A impedances | 21EMS20564
8 | AZPS_BA | Substation\Load - Removed 12KV portion of station | 21EMS20565
9 | AZPS_BA | Transformer - Updated XFMR4 A, XFMR8 A, T1AA A, T2AA A impedances and taps | 21EMS20566
10 | AZPS_BA | Transformer - Updated XFMR4 A ratings | 21EMS20567
11 | AZPS_BA | Transformer - Updated XFMR10 A impedances | 21EMS20568
12 | AZPS_BA | Transformer - Updated XFMR7 A impedances and high side neutral voltage | 21EMS20569
13 | AZPS_BA | Transformer - Updated Impedances XFMR6 A | 21EMS20570
14 | AZPS_BA | Substation\Load - Removed substation | 21EMS20571
15 | AZPS_BA | Transmission Line - Added Zero impedance line to new Desert Star station | 21EMS20572
16 | AZPS_BA | Transmission Line - Removed GLTP-MRD line (69KV) | 21EMS20573
17 | AZPS_BA | Generator - Added DSTR battery generation | 21EMS20574
18 | AZPS_BA | Substation\Load - Added Substation for Desert Star battery | 21EMS20575
19 | AZPS_BA | Transformer - Updated XFMR10 A ratings | 21EMS20576
20 | BANC_BA | Transmission Line - Contingency Definition list of STE (Replace NCY) | 21EMS20442
21 | BANC_BA | Substation\Load - Updated pfixed and qfixed for loads at the listed stations. | 21EMS20608
22 | BANC_BA | Breaker(s)\ Disconnect(s) - Changed disconnect names on the 21kv level. | 21EMS20609
23 | BANC_BA | Substation\Load - Updated the pfixed value for LDLine2 at ELK substation. | 21EMS20610
24 | BANC_BA | Transmission Line - Updated Line ratings at the listed stations | 21EMS20611
25 | BANC_BA | Transformer - Adding tap measurements to the transfomers in the listed stations. | 21EMS20612
26 | BCHA_RC | Transmission Line - Update R | 21EMS20613
27 | BCHA_RC | Transmission Line - Update R,X | 21EMS20614
28 | BCHA_RC | Transmission Line - Update R,X | 21EMS20615
29 | BCHA_RC | Transformer - Added | 21EMS20616
30 | BCHA_RC | Transmission Line - Added | 21EMS20617
31 | BCHA_RC | Equipment Type - Updated ICCP | 21EMS20618
32 | BPA | Default breaker status for breaker MOBT3 at CAPTJACK | 21MRKT20663
33 | BPA | Accept limit updates for NOXN_LIBY_1230 tie line in BPA Incremental Update | 22EMS20838
34 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 21EMS20322
35 | BPAT_BA | Contingency Definition - BPA Contingency List | 21EMS20323
36 | BPAT_BA | Generator - BPA Dynamic generator model mapping | 21EMS20365
37 | BPAT_BA | Contingency Definition - BPA Contingency List | 21EMS20366
38 | BPAT_BA | RAS - New gen drop RAS is added for MONTAGUE II generation. | 21EMS20557
39 | BPAT_BA | Breaker(s)\ Disconnect(s) - Moved DSC 1871 and 1872, added JMPs 1872 & 1873, added SHOOFLY | 21EMS20558
40 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed LINK ABUS_1070_1072 and added DSC 1077 | 21EMS20559
41 | BPAT_BA | Substation\Load - Changed CO from BPA to PGE | 21EMS20560
42 | BPAT_BA | Generator - Removed dynamic model for two generators at WRW1 because they have been moved to different BA (PGE) | 21EMS20561
43 | BPAT_BA | Contingency Definition - BPA Contingency List | 21EMS20562
44 | BPAT_BA | Transmission Line - Update Item Number 6.23 | 21EMS20642
45 | BPAT_BA | RAS - Updated BALT RAS schmes logic and arming poitns. This RAS scheme is being moved from stand alone local to WS RAS. | 21EMS20647
46 | BPAT_BA | Generator - New Brickovern solar generation owned by AVRN BA added that ties to BPA at MAUPIN 230kV bus. | 21EMS20746
47 | BPAT_BA | Breaker(s)\ Disconnect(s) - 230kV bus has been expanded with new PCBs/switches. | 21EMS20747
48 | BPAT_BA | Breaker(s)\ Disconnect(s) - Shunt Cap banks moved from PCB bay A1072 to A1062 and added new PCB A1082. | 22EMS20917
49 | BPAT_TOP | Transmission Line - Update Item Number 6.23 | 21EMS20367
50 | CHPD_BA | Generator - CHPD has a portion of the energy generated at the Nine Canyon wind farm. With BPA's entry to the EIM, modeling changes were requested to separately account for the EIM and non-EIM project participants at Nine Canyon. | 21EMS20505
51 | CHPD_BA | Substation\Load - CHPD had a distribution feeder tie with DOPD at its CHLNDIST (Chelan Distiribution) substation, where a portion of the load served from CHPD's station was in the DOPD BA. This distribution feeder tie has been removed since DOPD has energized its nearby Lone Pine station, and this request is to remove the related elements from the RC's model. | 21EMS20530
52 | CHPD_BA | Transmission Line - Chelan to Union Valley of the Chelan - Manson line was rebuilt with steel and the MOT was uprated from 75C to 100C. | 21EMS20534
53 | DOPD_BA | Generator - Update Min Gen for all Wells Units | 21EMS19912
54 | DOPD_BA | Transformer - Updated Facility Ratings | 21EMS19913
55 | DOPD_BA | Transmission Line - Updated Facility Ratings | 21EMS19914
56 | EPEC | Add the EMPIRE_W substation from the SPP CIM file. | 22EMS21347
57 | GCPD_BA | Generator - GCPD has a portion of the energy generated at the Nine Canyon wind farm. With BPA's entry to the EIM, modeling changes were requested to separately account for the EIM and non-EIM project participants at Nine Canyon. | 21EMS20529
58 | GCPD_BA | Substation\Load - Baird Springs (BAIRDSPG) is a new substation that is being built near our West Quincy Substation. This new substation will need to have a new oneline created that will be between WQUINCYT and W_QUINCY. | 21EMS20542
59 | GCPD_BA | Substation\Load - The existing Royal Substation is being rebuilt. The new substation will use the same name, but the switches and transformer names will be changing. | 21EMS20543
60 | HHWP_TOP | Transmission Line - Add HHWP Transmission Line GIS Routing per IRO-010-6.14 | 21EMS20482
61 | HHWP_TOP | Transformer - Remove HH1 MOCCPH BANK 1_2 Contingency | 21EMS20483
62 | IID_BA | - See notes on Rows 29 - 30 of associated document | 21EMS19916
63 | IID_BA | - Revising CHILD_Res_IDs on SGIT: Aggregate Mapping tab | 21EMS19917
64 | IID_BA | - See notes on Rows 80 - 84 of associated document | 21EMS19918
65 | IID_BA | - Modified modeling data attributes for several Resources | 21EMS19919
66 | IID_BA | - Revising Res_IDs on SGIT: Unit Information tab | 21EMS19920
67 | IPCO_BA | - Update 'IP1 MPSN 345-230 BK T341' contingency definition based on changed to MPSN T341 345kV connection. | 21EMS20314
68 | IPCO_BA | Substation\Load - Addition - distribution bus expanded with feeder breakers and load | 21EMS20635
69 | IPCO_BA | Generator - Addition - New generator RCK1 | 21EMS20636
70 | IPCO_BA | Generator - Addition - New generator WPDD | 21EMS20637
71 | IPCO_BA | Substation\Load - Addition - New substation RGSS | 21EMS20638
72 | IPCO_BA | Transmission Line - Update - limits moved from HRCN to HCPR | 21EMS20639
73 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 21EMS20640
74 | IPCO_BA | - CIM export of IPCO_BA FNM. | 21EMS20641
75 | LDWP_BA | Transmission Line - ICCP for 2022 M1 | 21EMS20307
76 | LDWP_BA | Transmission Line - Transitional Modeling for VAL-RIN 1 and 2 reconductor | 21EMS20308
77 | LDWP_BA | Generator - Eland Solar Project Eland-Barren Ridge Line 1 | 21EMS20309
78 | LDWP_BA | Generator - Eland Solar Project Eland-Barren Ridge Line 1 | 21EMS20310
79 | LDWP_BA | Substation\Load - Update Red Cloud Wind Measurement | 21EMS20699
80 | LDWP_BA | Substation\Load - Update Red Cloud Wind Measurement | 21EMS20700
81 | LDWP_BA | Generator - Breakout IPP Shares | 21EMS20722
82 | LDWP_BA | Substation\Load - Update Red Cloud Wind Measurement | 21EMS20723
83 | LDWP_BA | Substation\Load - Update Red Cloud Wind Measurement | 21EMS20724
84 | NEVP_TOP | Transmission Line - Remapped connection nodes for AT-2 and AT-3 | 21EMS20428
85 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Setting normal state for breaker 2061 to open. | 21EMS20579
86 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Reterminating #183 from Tracy to Pah Rah | 22EMS20799
87 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Reterminating #3429, added new breakers for future XFMR | 22EMS20800
88 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Reterminating #146 from Tracy to East Tracy | 22EMS20801
89 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Reterminating #190, adding new breakers | 22EMS20802
90 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Change of normal state for disconnect 1001, changed from breaker to disconnect | 22EMS20803
91 | NEVP_TOP | Substation\Load - SCADA Removal | 22EMS20804
92 | NEVP_TOP | Substation\Load - Remapped SCADA keys | 22EMS20805
93 | NEVP_TOP | Substation\Load - Updated internal loads (Some were changed from Nonconforming to Conforming and vice versa. | 22EMS20806
94 | NEVP_TOP | Generator - Remapped SCADA keys on Unit 3 | 22EMS20807
95 | NEVP_TOP | Substation\Load - Remapped SCADA keys on ETY-OLG 3431 | 22EMS20808
96 | NEVP_TOP | Substation\Load - Remapped SCADA keys on HA-DRY 230 | 22EMS20809
97 | NEVP_TOP | Substation\Load - Remapped SCADA keys on ETY-NVY 3421 | 22EMS20810
98 | NEVP_TOP | Substation\Load - New AT/Breakers at Pecos | 22EMS20811
99 | NEVP_TOP | Substation\Load - Remapped AT nodes | 22EMS20812
100 | NEVP_TOP | Substation\Load - Remapped SCADA keys | 22EMS20813
101 | NEVP_TOP | Substation\Load - Remapped sBus nodes for Cap/Breaker addition | 22EMS20814
102 | NEVP_TOP | Substation\Load - Remapped SCADA keys on Phase Shifter | 22EMS20815
103 | NEVP_TOP | Substation\Load - Renamed regulator | 22EMS20816
104 | NEVP_TOP | Transmission Line - Line fold in at Dove/Wildhorse and Comstock Meadows/Wildhorse | 22EMS20817
105 | NEVP_TOP | Substation\Load - Remapping SCADA keys for substation | 22EMS20818
106 | NWMT_TOP | Substation\Load - Shapefile for NWMT substation locations as per Rachel Melton request | 21EMS20443
107 | NWMT_TOP | ATR arming points | 21EMS20478
108 | NWMT_TOP | Substation\Load - See Description of Changes document | 21EMS20547
109 | PACE | Update FR flags to fix incorrect changes made in DB110 | 22EMS20836
110 | PAC_TOP | Substation\Load - Change station name to REDIKETP and remove 1 device | 21EMS20368
111 | PAC_TOP | Substation\Load - CAISO please change BA to PACE | 21EMS20369
112 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state to OPEN for MOAB 2A and Closed for MOAB 1A | 21EMS20370
113 | PAC_TOP | Breakers/Disconnects - Remap key for CR 145I and update name | 21EMS20371
114 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 device (CS 133I) | 21EMS20372
115 | PAC_TOP | Breakers/Disconnects - Remove two jumpers | 21EMS20373
116 | PAC_TOP | Transmission Line - Update MVA key for freezout and Foote Creek branches | 21EMS20374
117 | PAC_TOP | Substation\Load - CAISO please change BA to PACE | 21EMS20375
118 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for SW 41A | 21EMS20665
119 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for SW 57A | 21EMS20666
120 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for 3 switches | 21EMS20667
121 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for SW 42A | 21EMS20668
122 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update name for SW 46A and SW 47A | 21EMS20669
123 | PAC_TOP | Transmission Line - Remove ELAYTON_SWEBER_138 branch and add ELAYTON_HILLFTAP_138 branch | 21EMS20670
124 | PAC_TOP | Transmission Line - Remove ELAYTON_SWEBER_138 branch and add HILLFTAP_SWEBER_138 branch | 21EMS20671
125 | PAC_TOP | Substation\Load - Add new station | 21EMS20672
126 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state to OPEN for SW F1066 | 21EMS20673
127 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state to OPEN for MOAB 75A | 21EMS20674
128 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove JP 1 | 21EMS20675
129 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SW names for 67A and 68A | 21EMS20676
130 | PAC_TOP | Substation\Load - Remove 1 Static Bus, 5 devices, 2 Loads, 2 branches (BYUI TP_REXBURG_69 and REXBURG_SUGARCIT_69), 1 Shunt Device, and add 69kV cap bank MVAR | 21EMS20677
131 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update names for AS 61A and 63A | 21EMS20678
132 | PAC_TOP | Transmission Line - Remove AMPOTTP_MENANTAP_69 branch and add MENANTAP_THORNTON_69 | 21EMS20679
133 | PAC_TOP | Transmission Line - Remove RIGBY_THORNTON_69 branch and add MENANTAP_THORNTON_69 | 21EMS20680
134 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove CB 69, AS 89A, and the RIGBY_THORNTON_69 branch | 21EMS20681
135 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove JP1 and JP2 | 21EMS20682
136 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state to OPEN for CB 45 | 21EMS20683
137 | PGE_BA | Substation\Load - Clean the double modeling at GRDH and add the SW_11625 | 21EMS20586
138 | PGE_BA | Substation\Load - Clean the double modeling stuffs of BTLR_STMW line | 21EMS20587
139 | PGE_BA | Transmission Line - Northern 115kV yard temporary configuration during 3 months while construction | 21EMS20588
140 | PGE_BA | Substation\Load - Move Mobile 6 from Brightwood to Reedville | 21EMS20589
141 | PGE_BA | Substation\Load - Orenco temperory configuration, new branch BTR_ORC_RSY_W11547 | 21EMS20590
142 | PGE_BA | Substation\Load - Remove the V1609 at MRHL and the associated double modeling | 21EMS20591
143 | PGE_BA | Transmission Line - Rename the STMW_SNST_W1759 as BTLR_STMW_W1759 | 21EMS20592
144 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove PSD001_CRTY | 21EMS20593
145 | PGE_BA | Breaker(s)\ Disconnect(s) - Update FYP1 breaker names and delete the PSD breakers | 21EMS20594
146 | PGE_BA | Substation\Load - Remove Mobile 3 and the associated swithes at Dyton | 21EMS20595
147 | PGE_BA | Breaker(s)\ Disconnect(s) - Remove LS_11638, LS_11639 and the associated double modeling | 21EMS20596
148 | PGE_BA | Substation\Load - Correct the topology associated Wheatridge model related to the BA transfer | 21EMS20597
149 | PGE_BA | - List of ICCP points mapping | 21EMS20599
150 | PGE_BA | Contingency Definition - Contingency defination update | 21EMS20600
151 | PGE_BA | - Model Difference reoport | 21EMS20601
152 | PGE_BA | - Model Updates for PGE: CIMxml model file | 21EMS20602
153 | PGE_BA | ORNC | 22EMS21341
154 | PNM | Tag breaker as UCON | 22EMS20858
155 | PNM | Update the market modeling of PNM''s Four Corner share | 22EMS21053
156 | PNM_BA | - Updated ICCP-OPENENT-SCADA Cross Reference List | 21EMS20243
157 | PNM_BA | Breaker(s)\ Disconnect(s) - Addition of HOD 01461 | 21EMS20427
158 | PNM_BA | Transmission Line - Line ratings changes | 21EMS20444
159 | PNM_BA | Transmission Line - Line ratings changes | 21EMS20445
160 | PNM_BA | - Updated ICCP-OPENENT-SCADA Cross Reference List | 21EMS20533
161 | PNM_BA | Transmission Line - Added the Arroyo 345kV bus | 21EMS20580
162 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove Psuedo SW Sandia | 21EMS20581
163 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove Psuedo SW West Mesa | 21EMS20582
164 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove Psuedo SW3 | 21EMS20583
165 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove Psuedo SW2 | 21EMS20584
166 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove Psuedo SW1 | 21EMS20585
167 | PNM_BA | Breaker(s)\ Disconnect(s) - Added a breaker on the Route 66 solar gen bus | 21EMS20606
168 | PNM_BA | Breaker(s)\ Disconnect(s) - | 21EMS20730
169 | PNM_BA | Generator - Updated the Pmax for the Arroyo Battery Generating unit | 21EMS20731
170 | PNM_BA | Generator - Updated the Pmax for the Arroyo Solar Generating unit | 21EMS20732
171 | PSE | English Name Mapping Corrections - Example LAKESIDE (Lake SMUD) | 22EMS20943
172 | SNPD_TOP | Transmission Line - Updated ratings of Snohomish - Beverly Park #3 115kV line | 21EMS20311
173 | SNPD_TOP | Shoofly Install\ Removal - Installation of a shoofly at Harbour Pointe Substation to bypass the substation | 21EMS20481
174 | SNPD_TOP | Transmission Line - Added new Twin City Substation and its associated line segments | 22EMS20786
175 | SNPD_TOP | Modeling ICCP effort | 22EMS20875
176 | SNPD_TOP | Shoofly Install\ Removal - URGENT REQUEST - Install a shoofly for Jackson Loop's reliability | 22EMS21485
177 | SPP_RC | PIONEERW station to be added, BIGHORN_SOLAR to be added at COMA station | 21EMS20417
178 | SPP_RC | Update DANI-SANTAFE 230kV line impedance | 21EMS20466
179 | SPP_RC | Addition of WINDTALK station | 22EMS20825
180 | SPP_RC | addition of WHITEHLS | 22EMS20826
181 | SRP | SRP Resources SPV_3_PUNIT3 and SPV_3_UNIT4 electrically disconnected | 21EMS20521
182 | SRP_BA | Transmission Line - Submitting new set of line & transformer limits. Emergency limits for lines are 30-minute limits. Pre-coordinated with MPAI team. | 21EMS20619
183 | SRP_BA | Generator - Added generators units 7 & 8 | 21EMS20621
184 | SRP_BA | Substation\Load - Updated RDFID for busbar section PN 115 S | 21EMS20622
185 | SRP_BA | Substation\Load - Added new substation | 21EMS20623
186 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed temp switches | 21EMS20624
187 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed open jumpers (temp disconnectors) | 21EMS20625
188 | SRP_BA | Transmission Line - Removed Casey-Howard 69kV line | 21EMS20626
189 | SRP_BA | Generator - Added generators units 4 & 5 | 21EMS20627
190 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breakers, disconnectors and temp switches | 21EMS20628
191 | SRP_BA | Substation\Load - Added loads | 21EMS20629
192 | SRP_BA | Breaker(s)\ Disconnect(s) - Added breakers, disconnectors and temporary switches | 21EMS20630
193 | SRP_BA | Transmission Line - Added new line to MicromillOne | 21EMS20631
194 | SRP_BA | Substation\Load - Updated measurements | 21EMS20632
195 | SRP_BA | Breaker(s)\ Disconnect(s) - Removed breaker 312S | 21EMS20633
196 | SRP_BA | Transmission Line - Emergency of ICCP IDs on Jojoba Line | 22EMS20841
197 | SRP_BA | Transmission Line - Emergency of ICCP IDs on Jojoba Line #2 | 22EMS20842
198 | TEP | TEP Incremental Model Updates | 21EMS20634
199 | TEP | Update FR flags to fix incorrect changes made in DB110 | 22EMS20835
200 | TEP | Correct TEP model at HILLTO$$ and MSWD_TEP substations | 22EMS21057
201 | TEP | Clean up the double modeling at the Griffith and Nor_hava substations | 22EMS21365
202 | TPWR_BA | - TPWR's updates to ICCP IDs | 21EMS20577
203 | TPWR_BA | - TPWR network model in CIM Version 10 format | 21EMS20578
204 | TSGT_TOP | Transmission Line - Multiple Line Routing updates | 21EMS20429
205 | TSGT_TOP | Transmission Line - Multiple Line Routing updates | 21EMS20430
206 | TSGT_TOP | Transmission Line - Update of Ratings | 21EMS20726
207 | TSGT_TOP | Transformer - Update of Ratings | 21EMS20727
208 | WASN_TOP | OBN-ELVERTA #3 rating update - | 22EMS20882