| NUM | Company | Related Tariff Section | Date of Comments | Comments | CAISO Response to Comments |
| --- | --- | --- | --- | --- | --- |
|  | Dynegy |  | 11/23/10 | General comments – When the CAISO publishes black-lined tariff language for review, could it please do so in Word format, so stakeholders can more easily mark up the language? | The ISO is considering adopting this proposal as a standard practice. |
|  | WPTF | 1.3.2(f) | 11/29/10 | Should the phrase “Protocol” by replaced by “BPM”? | The ISO believes Section 1.3.2(f) should refer to the term CAISO Protocol and not the term BPM. Appendix A of the ISO tariff defines the term CAISO Protocols as “The rules, protocols, procedures and standards promulgated by the CAISO (as amended from time to time) to be complied with by the CAISO, Scheduling Coordinators, Participating TOs and all other Market Participants in relation to the operation of the CAISO Controlled Grid and the participation in the markets for Energy and Ancillary Services in accordance with the CAISO Tariff.” Section 1.3.2 (k) refers to whether the ISO tariff or a BPM controls in the event of a conflict between the two. |
|  | Six Cities | 4.6.5.1 | 11/29/10 | The phrase “including NERC and WECC Reliability Standards and reliability criteria” creates potential ambiguity. The section will be more clear if the reference is simply to the defined term “Applicable Reliability Criteria.” | The ISO will make this proposed change. |
|  | Six Cities | 6.5.3.3 | 11/29/10 | In the fifth line, delete “that.” | The ISO will make this proposed change. |
|  | Dynegy | 6.5.4.2.2 | 11/23/10 | Please explain the proposed changes to 6.5.4.2.2 (replacing “at thirty minutes” with “no later than 40 minutes”) as they are more than just a clarification. | The ISO is proposing this amendment for two reasons: (1) to provide a parallel structure with Section 6.5.4.1.5, which provides such a deadline for publishing information to the California Market Results Interface (CMRI); and (2) to make clear that the data under 6.5.4.2.2 needs to be published at some point before 30 (or 40) minutes before the Trading Hour, rather than exactly at 30 minutes before the Trading Hour. |
|  | Dynegy | 8.3.1 | 11/23/10 | The amount of Ancillary Services procured in the HASP and Real-Time Market is based upon the CAISO Forecast of CAISO Demand for the Operating Hour and RTUC Time Horizon, respectively, net of Self-Provided Ancillary Services (should deleted “respectively” if deleting “and RTUC Time Horizon”). | The ISO will make this proposed change. The ISO has also made an additional edit to the same sentence to modify the words “based upon” to read “based on.” |
|  | Dynegy | 8.3.1 | 11/23/10 | The proposed edits in the last paragraph of this section are a reminder that the ISO has not yet fully followed through with the requirements of FERC’s 2005 order regarding competitive procurement of voltage support and black start services. | The ISO’s proposed tariff amendment reflects current practices for procuring voltage support and black start services. |
|  | Dynegy | 8.3.3.5 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The ISO will make this proposed change. |
|  | Dynegy | 8.9.15.2 | 11/23/10 | Because they are part of the CAISO tariff, the sanctions in 8.9.16 are already in effect. Does the ISO mean: “In addition, the sanctions described in Section 8.9.16 shall also be applied”? | Yes, the comment is correct. The ISO has made a further revision to clarify that the sanctions described in Section 8.9.16 shall apply for failure to pass a performance audit as described in section 8.9.15.2. |
|  | Dynegy | 9.5.2 | 11/23/10 | Publication to website – Add “CA” to “ISO” in last line. | The ISO will make this proposed change. |
|  | RTO Advisors | 10.3.6.2 | 11/23/10 | RTO Advisors changed “will” to “may” in sub-sections (a) and (b) to reflect the fact that the penalty may not always be applied, in particular, if the materiality threshold is not met, as provided in later sections. | This proposed change exceeds the scope of this initiative. The comments seek a substantive change to the meter data penalty provisions in the ISO’s tariff. The ISO intends to discuss these comments with affected business units. |
|  | RTO Advisors | 10.3.6.2 | 11/23/10 | RTO Advisors added “C” after T+43 in last parenthetical reference in sub-section (c). | The ISO will make this proposed change. |
|  | RTO Advisors | 10.3.6.3 | 11/23/10 | RTO Advisors added a “materiality” threshold below which the SC does not have to submit revised meter data. Clarified that that the deadline is T+43C and that penalties may apply if submitted thereafter. Scheduling Coordinators are not required to submit revised Actual Settlement Quality Meter Data to the CAISO for the Scheduling Coordinator Metered Entities they represent after forty-three (43) calendar days after the Trading Day (T+43C), unless such revised meter data represent increases or decreases of more than 250 megawatt-hours for the Trading Day for a particular TAC Area. In that event, Scheduling Coordinators may continue are required to submit Actual Settlement Quality Meter Data for the Scheduling Coordinator Metered Entities they represent to the CAISO for use in Recalculation Settlement Statements subsequent to the Recalculation Settlement Statement T+38B by after forty-three (43) calendar days after the Trading Day (T+43C) according to timelines established in the CAISO Payments Calendar, but may be subject to Sanction and penalty pursuant to Section 37.5.2. | This proposed change exceeds the scope of this initiative. The comments seek a substantive change to the meter data penalty provisions in the ISO’s tariff. The ISO intends to discuss these comments with affected business units. |
|  | Dynegy | 11.5.2 | 11/23/10 | The “t” in the last line inserted should be capitalized. | The ISO could not identify this proposed typographical correction. |
|  | WPTF | 11.5.6.3.2 | 11/29/10 | The change to this section seems substantive. Please explain. | The purpose of this amendment is to delete language that should have been removed as part of a compliance filing in the Amendment 60 proceeding, ER04-835. See, California Independent Sys. Operator Corp., 108 FERC ¶ 61,022 (2004) at P 47, which determined that Reliability Must Run (RMR) contract service limits do not apply when the ISO issues an Exceptional Dispatch of an RMR Condition 2 unit since the Exceptional Dispatch is not an RMR dispatch. Accordingly, the ISO is proposing to remove language from section 11.5.6.3.2 related to the allocation of start up costs for an Exceptional Dispatch of a condition 2 RMR unit because they are outside the scope of an RMR contract. |
|  | Six Cities | 11.5.6.2.5.1 | 11/29/10 | The proposed revisions appear to create a substantive change for which there has not been an adequate explanation or justification. The current version allocates Excess Cost Payments arising from transmission-related modeling limitations to PTOs affected by the limitations. The revised language appears to allocate such costs among all PTOs with PTO Service Territories whenever more than one such PTO is affected by the limitation. To preserve the substance of the existing allocation mechanism while clarifying the status of Participating TOs that do not have a PTO Service Territory, the Six Cities suggest modifying the last sentence of the section to read as follows: “If the modeling limitation affects more than one Participating TO, the Excess Cost Payments shall be allocated in proportion to the Transmission Revenue Requirements of the affected Participating TOs with PTO Service Territories.” | This amendment clarifies a potentially unclear reference in the tariff that might have been construed to extend the allocation of costs to non-load-serving participating transmission owners, consistent with the ISO's December 16, 2009 filing in the FERC proceeding on the transmission owner tariff of Trans Bay Cable, FERC docket no. ER10‐266. Based on the outcome of that proceeding, the ISO considers this amendment a clarification. The ISO will make the proposed change recommended by Six Cities. |
|  | Dynegy | 11.10.3.2 | 11/23/10 | The Scheduling Coordinator’s total Operating Reserve Obligation for the hour is the sum of five (5) percent (5%) of its Real-Time Demand (except the Demand covered by firm purchases from outside the CAISO Balancing Authority Area) met by Generation from hydroelectric resources plus seven (7) percent (7%) of its Demand (except the Demand covered by firm purchases from outside the CAISO Balancing Authority Area) met by Generation from non-hydroelectric resources, plus one hundred (100) percent (100%) of any Interruptible Imports, which can only be submitted as a Self-Schedule in the Day-Ahead Market, plus and its scheduled on-demand obligations which it schedules. | The ISO will rewrite final phrase of Section 11.10.3.2 to read “plus its scheduled on demand obligations.” |
|  | Dynegy | 11.10.9.4 | 11/23/10 | Allocation of Rescinded Ancillary Services Capacity Payments Payments rescinded pursuant to Sections 8.10.8 and 11.10.9 shall be allocated to Scheduling Coordinators in proportion to their Ancillary Services Obligation CAISO Balancing Authority Area Measured Demand for the same Trading Day. Regulation capacity payments rescinded pursuant to Section 8.10.8.6 shall be allocated to Scheduling Coordinators in proportion to CAISO Dynegy Comments on Tariff Clean-Up Blacklines Balancing Authority Area metered CAISO Demand for the same Trading Day. This is more than a “clarification” – it is a change in policy and practice. Why is the proposed allocation period the entire Trading Day and not the hour in which the payments were rescinded? And if rescinded AS payments are allocated in proportion to AS Obligation, why are rescinded regulation payments still allocated based on metered CAISO Demand? | The allocator for rescinded ancillary service payments described in this section is an hourly obligation. Appendix A of the ISO tariff defines Ancillary Service Obligation as follows: “A Scheduling Coordinator's hourly obligation for Regulation Down, Regulation Up, Spinning Reserves, and Non-Spinning Reserves calculated pursuant to Section 11.10.2.1.3, 11.10.2.2.2, 11.10.3.2, and 11.10.4.2, respectively.” The ISO will delete the second sentence of section 11.10.9.4. |
|  | SVP | 11.10.9.4 | 11/23/10 | The CAISO proposes to replace the term “CAISO Balancing Authority Area Demand” with “Ancillary Services Obligation” in the first sentence of this Section. The remaining second sentence of this Section continues to allocate rescinded regulation capacity payments to Scheduling Coordinators in proportion to demand. SVP requests the CAISO provide an explanation as to why these two allocations to Scheduling Coordinators use two different proportions? | The ISO will delete the second sentence of section 11.10.9.4. |
|  | PG&E | 11.19.1.2 | 11/23/10 | PG&E seeks clarification as to the meaning of the phrase “at least twice a month settlement statements.” PG&E understands it to mean that regardless of FERC invoicing frequency, settlement statement charges would appear at least twice a month. This is because an invoice can contain at least two billing periods with FERC charges. | This amendment clarifies that the information regarding the settlement amounts will be provided to participants at least twice a month. It is its current practice to provide this information daily in the Scheduling Coordinator’s settlements information. |
|  | SCE | 11.19.1.2 | 11/23/10 | SCE recommends the CAISO accept the following changes to section 11.19.1.2. The changes proposed do not modify the intent of the section but rather, in our view, better describe the process under Payment Acceleration: For Scheduling Coordinators electing monthly settlement of FERC Annual Charges, the charges are assessed each Trading Month in the same semi-monthly Invoice or Payment Advice containing the market Settlement and Grid Management Charge issued in accordance with the CAISO Payment Calendar. For Scheduling Coordinators electing yearly settlement of the FERC Annual Charges, the charges for a given Trading Month that are due annually are issued in accordance with the CAISO Payment Calendar on the same day as the market Invoice or Payment Advice but in a separate Invoice as indicated in Section 11.29.10, and the amounts charged are issued to Scheduling Coordinators in each semi-monthly billing period as indicated in Section 11.29.10. | The ISO will adopt some of these changes in its proposed amendments to section 11.19.1.2 as reflected in its posted black-line tariff sheets. |
|  | Six Cities | 11.19.1.2 | 11/29/10 | The method for invoicing and collecting FERC Annual Charges remains unclear in the revised language. | The proposed tariff language clarifies that FERC Annual Charges appear both on an Invoice and Settlement Statement. |
|  | Six Cities | 11.19.3.4 | 11/29/10 | Addition of the phrase “A portion of the” in the eleventh line of the section creates ambiguity. If “a portion” of such a surcharge or credit is allocated as indicated, how is the portion that is allocated in that manner determined, and how is the remainder allocated? | The proposed tariff language describes that the portions of the FERC annual charge are determined based on the Scheduling Coordinator’s metered demand and exports. The ISO proposes to remove the phrase, “A portion of” in the eleventh line as part of the proposed amendments to this section. |
|  | PG&E | 11.20.5 | 11/23/10 | PG&E suggests that the CAISO change “preliminary” to “initial”, and “final” to “Recalc” to be consistent with MRTU terminology. | These terms are used as part of the existing defined terms in the ISO tariff. The ISO has previously assessed NERC/WECC charges assessed on invoices. Accordingly, the ISO does not intend to make this proposed change as part of the current initiative but may consider it in the future. |
|  | PG&E | 11.20.7.3 | 11/23/10 | PG&E suggests that the CAISO change “preliminary” to “initial”, and “final” to “Recalc” to be consistent with MRTU terminology. | These terms are used as part of the existing defined terms in the ISO tariff. The ISO has previously assessed NERC/WECC charges assessed on invoices. Accordingly, the ISO does not intend to make this proposed change as part of the current initiative but may consider it in the future. |
|  | Six Cities | 11.21.1 | 11/29/10 | It appears that there is a word missing from the eleventh line of the section prior to “each”. In the twelfth line, “segment” should be plural. | The ISO will insert the word “for” before the word “each” in the eleventh line of the section. The ISO will make the word “segment” plural in the twelfth line of the section. |
|  | Six Cities | 11.29.7.1 | 11/29/10 | In the last line of the section, insert “to” before “its” | The ISO will make the proposed change to its initial proposed amendment to this section. |
|  | WPTF | 11.29.7.3.4 | 11/29/10 | The CAISO has struck the notification requirement. This seems substantive. Please explain. | The amendment to Section 11.29.7.3.4 now references Section 11.29.10.3, which includes a separate notification requirement. |
|  | WPTF | 11.29.11 | 11/29/10 | The tariff change to not have to remit payment is new. Please describe the rules under which a participant will be excused from payment and/or identify the BPM language that details this. | This amendment is intended to address situations such as those underlying the limited tariff waiver to address an inadvertent data entry error that resulted in an erroneous charge to the City of Riverside. (See, California Indep. System Operator Corp. 132 FERC ¶ 61,004 (2010).) If the ISO verifies an error that it would reverse on a future invoice, this amendment would allow the ISO to instruct a Scheduling Coordinator or CRR Holder not to remit payment for a specific charge shown on that Invoice that results from the error. |
|  | SVP | 22.4.1 | 11/23/10 | Section 22.4.1 is revised to allow notice to be provided by e-mail with confirmation by return e-mail. Based on the ISO’s proposed revision, an e-mail notice is not effective until the original notice recipient provides confirmation of receipt via e-mail. Although this detail makes sense, SVP believes it should be broadcast to all Market Participants to help ensure all involved parties are aware that they should request e-mail confirmation as a part of their original e-mail notice. SVP’s concern is that electronic communications are becoming more commonplace, and some entities may, as they conduct normal business practices, have substantial amounts of notices with the CAISO. | If the ISO obtains approval of this tariff amendment, it intends to issue a market notice to inform market participants of the requirement. |
|  | PG&E | 22.11.1 | 11/23/10 | While PG&E doesn’t take issue with any of the changes in this section, we do believe, in principal, that the Tariff should govern the language of the BPMs and not vice versa. Therefore, using changes to the BPMs as the main justification for making conforming changes to the Tariff is inappropriate. Substantive changes to the Tariff should come through the stakeholder process and not through the BPM change process. | The ISO acknowledges PG&E’s comment but also notes that the BPM change process is a stakeholder process and may from time to time surface an issue that requires a tariff amendment to resolve. |
|  | MID, TANC | 22.11.1.1 | 11/23/10 | MID is concerned that the ISO’s current business practices do not comport with the ISO’s Tariff obligations in this regard. In addition, the proposed tariff revisions do not clarify when the ISO believes BPM PRR analyses would be “needed.” Consistent with FERC’s March 28, 2008 Order ( 122 FERC ¶ 61,271 at P 75), the ISO should maintain the current tariff language requiring the ISO to prepare BPM PRR impact analyses for the Category B PRRs. | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | SVP | 22.11.1.1 | 11/23/10 | The proposed tariff revisions do not clarify when the CAISO believes such an analysis would be “needed.” Further, while it is true that the CAISO has not prepared impact analyses for every BPM PRR, and that not every BPM PRR warrants an impact analysis, the CAISO’s preparation of such an analysis was relied upon by parties in Docket No. ER07-1257, and the CAISO should not unilaterally renege on its commitment to stakeholders. SVP has concerns with the CAISO’s failure in its current business practices to comply with its Tariff obligations. Therefore, SVP urges the CAISO to either propose more specific Tariff provisions on the instances in which it will prepare BPM PRR impact analyses for Category B revisions or “urgent” BPM PRRs, or otherwise at least commit in its Tariff to prepare BPM PRR impact analyses if requested by a Market Participant. NCPA supports these comments and the comments on Section 21.11.1.4. | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | Six Cities | 22.11.1.1 | 11/29/10 | The proposed revision appears to create a substantive change for which there has not been an adequate explanation or justification. The section as currently in effect requires an impact analysis for a PRR proposed by CAISO management. The explanation in the matrix states that the deletion of this requirement clarifies that “an impact analysis is only required when needed,” but there is no standard or cross-reference to indicate when an impact analysis is needed. | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | Dynegy | 22.11.1.2 | 11/23/10 | The proposed changes to this section would delete the ISO’s requirement to submit a BPM PRR impact analysis. What is the ISO proposing this change, which goes beyond just a “clean-up”? | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | Dynegy | 22.11.1.4 | 11/23/10 | The proposed changes to this section would delete the ISO’s requirement to submit a BPM PRR impact analysis. What is the ISO proposing this change, which goes beyond just a “clean-up”? | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | WPTF | 22.11.1.4 | 11/29/10 | This section has proposed modifications to relieve the ISO of the obligation to prepare an impact analysis. Please explain the basis for this recommended change. | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | Six Cities | 22.11.1.4(b) | 11/29/10 | The proposed revisions appear to create a substantive change for which there has not been an adequate explanation or justification. The existing tariff language in this subsection requires the ISO to prepare an impact analysis for changes that will affect the CAISO’s systems. The proposed revisions appear to leave it entirely to the ISO’s discretion as to whether an impact analysis will be prepared. Given the significance of this category of proposed changes and the fact that changes to the ISO’s systems likely will require changes to Market Participants’ systems as well, the current tariff language requiring an impact analysis should be retained. | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | Dynegy | 22.11.1.8 | 11/23/10 | The proposed changes to this section would delete the ISO’s requirement to submit a BPM PRR impact analysis. What is the ISO proposing this change, which goes beyond just a “clean-up”? | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | WPTF | 22.11.1.8 | 11/29/10 | This section has proposed modifications to relieve the ISO of the obligation to prepare an impact analysis. Please explain the basis for this recommended change. | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | Six Cities | 22.11.1.8 | 11/29/10 | The proposed revision creates a substantive change for which there has not been an adequate explanation or justification. Given the nature of the BPM revisions addressed in this section, the current language requiring an impact analysis should be retained | In response to this comment, the ISO will withdraw the proposed amendment. |
|  | PG&E | 25.1 | 11/23/10 | The proposed change effectively expands the range of entities with requirements under this section, however, it is unclear (based on the justification given) what gap this change is meant to address. PG&E would like clarification as to what requirements the CAISO feels are not being met under the Tariff as currently written. | The current tariff does not clearly specify that generators other than those with qualifying facilities have the opportunity to provide an affidavit attesting that a change in a generating facility’s status will not result in an increase in its capability or a significant change in its electrical characteristics. The proposed revisions would make clear that this opportunity is available to all generators. |
|  | WPTF | 27.1.1 | 11/29/10 | Please explain the basis for making the LMP description not inclusive of the elements listed. | The ISO understands that WPTF seeks to understand why the ISO is proposing to delete references to the Integrated Forward Market, Hour Ahead Scheduling Process for Scheduling Points and Real Time Dispatch in section 27.1.1, which describes the components of Locational marginal prices. The ISO believes that references to these market intervals is unnecessary because the Locational Marginal Prices for energy described in this section apply to all market intervals. |
|  | Dynegy | 27.1.1.3 | 11/23/10 | Marginal Cost of Congestion The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of all binding Transmission Constraints in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF). The Marginal Cost of Congestion may be positive or negative depending on whether a power injection (i.e., incremental Load increase) at that Location marginally increases or decreases Congestion. The “s” after Constraint in the first section should not be struck. | The ISO will change the first sentence of this section to read as follows: The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of the a all binding Transmission Constraintss in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF). |
|  | Powerex | 27.1.1.3 | 11/24/10 | Powerex suggests the following change to this section: The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of all binding Transmission Constraints in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF) within the minimum effectiveness threshold. The Marginal Cost of Congestion may be positive or negative depending on whether a power injection (i.e., incremental Load increase) at that Location marginally increases or decreases Congestion. | The proposed change is beyond the scope of this initiative. The ISO recommends that Powerex raise this proposed change for discussion with its ISO client representative or at the next Market Performance and Planning Forum. |
|  | MID, TANC | 27.4.3.1 | 11/23/10 | Clarification is warranted as to whether the undefined reference to “constraint” in the second to last sentence should instead refer to “Transmission Constraint.” Clarification is also warranted as to whether the reference to “constrained transmission facility” is synonymous with “Transmission Constraint.” | The ISO will change the term “constraint” in the second to last sentence to “Transmission Constraint.” The ISO will change the terms “constrained transmission facility” to “Transmission Constraint.” |
|  | Dynegy | 27.5.1.1 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The ISO will change the term “network constraints” to “Transmission Constraints.” |
|  | MID | 27.5.1.1 | 11/23/10 | Since the term, “network constraints” is not defined, the ISO should clarify the types of constraints it is proposing to enforce “on the Interties.” | The ISO will change the term network constraints to “Transmission Constraints.” The ISO refers Modesto to Section 2.1.1.2 and 4.2.4.1 of the Business Practice Manual for Managing Full Network Model. The ISO also refers Modesto generally to the Business Practice Manual for Market Operations. To the extent that Modesto still has questions regarding the constraints the ISO enforces on the interties, the ISO recommends that Modesto raise those questions with its ISO client representative or at the next Market Performance and Planning Forum. |
|  | SVP | 27.5.1.1 | 11/23/10 | SVP is concerned that the CAISO’s proposal to use the undefined term “network constraints” creates uncertainty on the types of constraints that the ISO would enforce “on the Interties” due to the purported effect on “Congestion Management within the CAISO Balancing Authority Area.” SVP also would appreciate clarification from the CAISO on the types of “network constraints” on the Interties it plans on enforcing pursuant to this proposed revision. | The ISO will change the reference to term “network constraints” to “Transmission Constraints.” The ISO does not intend to change any of its existing practices on which constraints are enforced at the interties or elsewhere as a result of this tariff change. The ISO refers SVP to Section 2.1.1.2 and 4.2.4.1 of the Business Practice Manual for Managing Full Network Model. The ISO also refers SVP generally to the Business Practice Manual for Market Operations. To the extent that SVP still has questions regarding the constraints the ISO enforces on the interties, the ISO recommends that SVP raise those questions with its ISO client representative or at the next Market Performance and Planning Forum. |
|  | Dynegy | 27.5.2 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The ISO will make this change. |
|  | Dynegy | 27.5.3 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The ISO will make this change. |
|  | MID | 27.5.3 | 11/23/10 | Since the term, “network constraints” is not defined, the ISO should make clear in this section that “Transmission Constraints” are among the constraints it will not enforce for an IBAA. | Among other things, section 27.5.3 of the ISO’s tariff describes what constraints the ISO monitors but does not enforce in the IBAA. The ISO current tariff section states in part: “The CAISO monitors but does not enforce the network Constraints for an IBAA in running the CAISO Markets Processes.” The current definition of the term Constraints reads as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” In this proposed amendment, the ISO is replacing the defined term “Constraints” with the defined term “Transmission Constraints” in the sentence identified above. The proposed definition of Transmission Constraints matches the definition of the term Constraints. The ISO is also proposing to eliminate the use of the word network. Otherwise, the above sentence would read as follows: “The CAISO monitors but does not enforce the network Transmission Constraints for an IBAA in running the CAISO Markets Processes.” The ISO is not proposing to monitor or enforce any additional constraints in the IBAA as a result of this proposed tariff amendment. |
|  | SVP | 27.5.3 | 11/23/10 | Since the term “network constraints” is undefined, SVP would like to ensure that the CAISO does not enforce Transmission Constraints of an IBAA. SVP thus suggests that the CAISO should revise the sentence to state as follows: “The CAISO monitors but does not enforce the network constraints, including Transmission Constraints, for an IBAA in running the CAISO Markets Processes.” | Among other things, section 27.5.3 of the ISO’s tariff describes what constraints the ISO monitors but does not enforce in the IBAA. The ISO current tariff section states in part: “The CAISO monitors but does not enforce the network Constraints for an IBAA in running the CAISO Markets Processes.” The current definition of the term Constraints reads as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” In this proposed amendment, the ISO is replacing the defined term “Constraints” with the defined term “Transmission Constraints” in the sentence identified above. The proposed definition of Transmission Constraints matches the definition of the term Constraints. The ISO is also proposing to eliminate the use of the word network. Otherwise, the above sentence would read as follows: “The CAISO monitors but does not enforce the network Transmission Constraints for an IBAA in running the CAISO Markets Processes.” The ISO is not proposing to monitor or enforce any additional constraints in the IBAA as a result of this proposed tariff amendment. |
|  | TANC | 27.5.3 | 11/23/10 | Since the term, “network constraints” is not defined, the ISO should make clear in this section that “Transmission Constraints” are among the constraints it will not enforce for an IBAA. The ISO should also specify whether it plans on enforcing any types of constraints for an IBAA, and if it does plan on enforcing any constraints, the ISO should indicate the authority it has to do so. | Among other things, section 27.5.3 of the ISO’s tariff describes what constraints the ISO monitors but does not enforce in the IBAA. The ISO current tariff section states in part: “The CAISO monitors but does not enforce the network Constraints for an IBAA in running the CAISO Markets Processes.” The current definition of the term Constraints reads as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” In this proposed amendment, the ISO is replacing the defined term “Constraints” with the defined term “Transmission Constraints” in the sentence identified above. The proposed definition of Transmission Constraints matches the definition of the term Constraints. The ISO is also proposing to eliminate the use of the word network. Otherwise, the above sentence would read as follows: “The CAISO monitors but does not enforce the network Transmission Constraints for an IBAA in running the CAISO Markets Processes.” The ISO is not proposing to monitor or enforce any additional constraints in the IBAA as a result of this proposed tariff amendment. |
|  | PG&E | 30.5.2.1 | 11/23/10 | The changes to this section introduce two new Capitalized Terms: Resource Name and Location Name. As such, PG&E recommends that CAISO create Defined Terms for each of these in Appendix A. | The ISO has revised Section 30.5.2.1 to use existing defined terms in Appendix A. |
|  | Dynegy | 30.7.3.1 | 11/23/10 | The CAISO will not insert or extend a Spinning Reserve and or Non-Spinning Reserve Ancillary Service Bid at $0 in the Real Time Market for any certified Operating Reserve capacity of a resource unless that resource submits an Energy Bid and fails to submit an Ancillary Service Bid in the Real Time Market. | The ISO will make the proposed change. |
|  | NCPA | 30.7.3.1 | 11/24/10 | NCPA proposes the following language be added to the new language proposed by the CAISO: The CAISO will not insert or extend any Bid for Regulation Up or Regulation Down in the Real Time Market for a Use‐Limited Resource, or a resource designated as a Load‐following resource as provided in Section 4.9, except as provided in Section 40.6.8. The concept added here in which a load following resource is not subject to the Regulation Up or Regulation Down Bid extension is consistent with SIBR Rules Version 3.10.8.5 Business Rules No. 41501, 41502, 41503 and 41504. These SIBR rules state that the Generating Resource “is not registered as both a LFR and a ULR for that Trading Hour…” | The proposed tariff amendment extends to load-following resources if they are also use-limited resources. Accordingly, the ISO does not believe it is necessary to revise the proposed tariff amendment. |
|  | NCPA | 30.7.3.1 | 11/24/10 | CAISO proposes to add the following language to Section 30.7.3.1: The CAISO will not insert or extend a Spinning Reserve and Non‐Spinning Reserve Ancillary Service Bid at $0 in the Real Time Market for any certified Operating Reserve capacity of a resource unless that resource submits an Energy Bid and fails to submit an Ancillary Service Bid in the Real Time Market. NCPA seeks clarification regarding the elements that trigger Spinning Reserve and Non‐Spinning Reserve Ancillary Service Bid extensions or insertions as described in the new language proposed. Per review of SIBR Business Rules No. 41506 and 41507 NCPA is not clear as to all elements that trigger such Bid extensions or insertions, but NCPA understands that one additional element or concept needs to be added to the language to ensure the language is consistent with current business practice. The language implies that a Spinning Reserve and Non‐Spinning Reserve Ancillary Service Bid will be extended or inserted for the full range of the resource’s certified Operating Reserve capacity if that resource submits an Energy Bid in the Real Time Market but fails to submit an Ancillary Service Bid in the Real Time Market. NCPA understands that such Ancillary Service Bid extensions or insertions would only be triggered if the resource was awarded either Spinning Reserve or Non‐Spinning Reserve Capacity (including Self‐Provided Capacity) in the Day Ahead Market for an amount that was less than the resource’s certified Operating Reserve capacity. NCPA also understands that if the resource did not offer and/or was not awarded either Spinning Reserve and Non‐Spinning Reserve capacity in the Day Ahead Market SIBR Rules No. 41506 and 41507 would not extend or insert a Spinning Reserve and Non‐Spinning Reserve Ancillary Service Bid at $0 in the Real Time Market for any certified Operating Reserve capacity as stated in the new language added to Section 30.7.3.1 and Section 30.7.6.1. NCPA requests that CAISO verify that this rule is only triggered if the resource is awarded an amount of Spinning Reserve and Non‐Spinning Reserve capacity that is less than the certified Operating Reserve capacity in the Day Ahead Market, and if so, add additional language to Section 30.7.3.1 and Section 30.7.6.1 to capture this additional trigger that would impact whether or not CAISO will extend or insert a Spinning Reserve or Non‐Spinning Reserve Ancillary Service Bid for the full certified Operating Reserve capacity range of a resource in the Real Time Market. | The proposed language is intended to clarify that the ISO will not submit a companion spin or non-spin bid at $0 in the Real Time Market, if a resource submits an energy bid and a spin or non-spin bid. This language is consistent with other tariff language in this section, which states: “To the extent that an Energy Bid to the HASP/RTM is not accompanied by an Ancillary Services Bid, the CAISO will insert a Spinning Reserve and Non-Spinning Reserve Ancillary Services Bid at $ 0/MW for any certified Operating Reserve capacity.” In response to NCPA’s comment, the ISO’s proposed tariff language specifies that the ISO will only insert a spinning or non-spinning reserve bid at $0 in the RTM, if a resource submits an energy bid and does not submit an ancillary services bid of any kind. |
|  | PG&E | 30.7.3.1 | 11/23/10 | The changes in these sections include a reference to Section 40.6.8 that adds confusion and should be deleted or modified. In Section 40.6.8 the proposed language is: The CAISO will not insert or extend any Bid for Regulation Up or Regulation Down in the Real Time Market for a Use‐Limited Resource. The CAISO will not insert or extend a Spinning Reserve and Non‐Spinning Reserve Bid in the Real‐Time Market for a Resource Adequacy Resource that is a Use‐Limited Resource unless the resource submits an Energy Bid and fails to submit an Ancillary Services Bid. In Sections 30.7.3.1 and 30.7.6.1, the ISO proposes: The CAISO will not insert or extend any Bid for Regulation Up or Regulation Down in the Real Time Market for a Use‐Limited Resource except as provided in Section 40.6.8. The CAISO will not insert or extend a Spinning Reserve and Non‐Spinning Reserve Ancillary Services Bid at $0 in the Real‐Time Market for any certified Operating Reserve capacity of a resource unless that resource submits an Energy Bid and fails to submit an Ancillary Services Bid. PG&E suggests that the phrase: "except as provided in Section 40.6.8" be deleted so that the sections parallel section 40.6.8 correctly (i.e. section 40.6.8 doesn’t allow for modification of bids for Regulation Up or Regulation Down for a Use-Limited Resource either). With respect to Spinning and Non-spinning Reserves, PG&E suggests that the ISO either parallel word for word the language in 40.6.8, or reference it to reduce confusion. | The ISO is concerned that removing the reference to section 40.6.8 in sections 30.7.3.1 and 30.7.61 may create confusion. The proposed language Section 40.6.8 does allow for the ISO to insert a bid in the real-time market required under section 40 for a resource adequacy resource that is also use limited, if the resource submits an energy bid and fails to submit an ancillary service bid. |
|  | SCE | 30.7.3.1 | 11/23/10 | Changes to sections 30.7.3.1 and 30.7.6.1 include changes extending spinning reserve and nonspinning reserve bids. SCE questions whether the clause “and” between the terms Spinning Reserve and Non-Spinning Reserve should be an “or”: The CAISO will not insert or extend any Bid for Regulation Up or Regulation Down in the Real Time Market for a Use-Limited Resource except as provided in Section 40.6.8. The CAISO will not insert or extend a Spinning Reserve and Non-Spinning Reserve Ancillary Service Bid at $0 in the Real Time Market for any certified Operating Reserve capacity of a resource unless that resource submits an Energy Bid and fails to submit an Ancillary Service Bid in the Real Time Market. | The ISO will make the proposed change. |
|  | Dynegy | 30.7.6.1 | 11/23/10 | If an AS Bid or Submission to Self-Provide an AS is submitted in the HASP or Real-Time Market for Spinning Reserve and Non-Spinning Reserve with only a partial Energy Bid for the AS capacity, the CAISO will generate an Energy Bid for the uncovered portions. If a Submission to Self-Provide an Ancillary Service is submitted in the HASP or Real-Time Market for Spinning Reserve and Non-Spinning Reserve with only a partial Energy Bid for the AS capacity bid in, the CAISO will not generate or extend an Energy Bid for the uncovered portions. (Why the different treatment?) The CAISO will not insert a Spinning Reserve and or Non-Spinning Reserve Ancillary Service Bid at $0 in the Real Time Market for any certified Operating Reserve capacity of a resource unless that resource submits an Energy Bid but fails to submit an Ancillary Service Bid in the Real Time Market. | The proposed change seeks to align the tariff with SIBR. In SIBR, the ISO treats a partial energy bid that accompanies a submission to self-provide ancillary services as a signal that the scheduling coordinator does not have sufficient capacity available to satisfy its submission to self-provide ancillary services. Therefore, the ISO does not extend an energy bid under these circumstances. |
|  | Six Cities | 31.1 | 11/29/10 | The second sentence contains grammatical errors. | The ISO will revise the second sentence to read as follows: “There is a single bid submission in which Scheduling Coordinators’ Bids are used for purposes of the DAM, which includes the MPM-RRD, the IFM and RUC.” |
|  | MID, TANC | 31.3.1.3 | 11/23/10 | The ISO proposes to revise this Section as reflected in strikethrough and underline, as follows: “In the [Integrated Forward Market (“IFM”)], to the extent the market software cannot resolve a noncompetitive tTransmission Cconstraint utilizing Effective Economic Bids such that Sself- Sscheduled Load at the LAP level would otherwise be reduced to relieve the Cconstraint, the CAISO Market software will adjust Non-priced Quantities in accordance with the process and criteria described in Section 27.4.3. For this purpose the priority sequence, starting with the first type of Non-price Quantity to be adjusted, will be: . . . (b) Relax the Cconstraint consistent with Section 27.4.3.1. No Cconstraints on Interties with adjacent Balance [sic] Authority Areas will be relaxed in this procedure.” (Emphasis added in bold). Thus, in this Section, the ISO proposes to use the undefined term “constraints” in the four instances highlighted in bold above. The ISO’s proposal to use the undefined term “constraint” in the first instance appears to be a typographical error, as the ISO’s intent appears to be to use a capital “c” when it refers to “Transmission Constraints.” The ISO should clarify or revise the reference to “constraint” in that regard. The second reference to the undefined term “constraints,” also appears to not follow the intent in the first reference to refer to “Transmission Constraints,” and appears inconsistent with the cross-referenced Section 27.4.3, which refers to relaxing “internal Transmission Constraints.” The ISO should clarify or modify its proposal in that regard. The third reference to “constraint” should also be explained given that Section 27.4.3.1, which is cross-referenced refers to “internal Transmission Constraints.” For the last sentence in that section, given that the undefined term “constraints” is defined, the ISO should consider revising the sentence so that it reads, “No constraints, including Transmission Constraints, on the Interties with adjacent Balancing Authority Areas will be relaxed in this procedure.” | The ISO will change the term “constraint” in the first sentence of this section to “Transmission Constraint.” With respect to the other uses of the term constraint, the ISO intends to maintain the plain meaning of the word as opposed to the defined term Transmission constraints because its use may encompass constraints other than Transmission Constraints. The ISO will modify the last sentence of this section as suggested. |
|  | SVP | 31.3.1.3 | 11/23/10 | The CAISO proposes to use the undefined term “constraints” in four instances. The CAISO’s proposal to use the undefined term “constraint” in the first instance appears to be a typographical error, as the CAISO’s intent appears to be to use a capital “c” when it refers to “Transmission Constraints.” Can the CAISO confirm this, or otherwise provide a further explanation for this specific change? The second reference to the undefined term “constraints,” also appears to not follow the intent in the first reference to refer to “Transmission Constraints.” It also appears inconsistent with the cross-referenced Section 27.4.3. That Section pertains to CAISO Markets Scheduling and Pricing Parameters, and as proposed to be revised in this draft filing, would also refer to relaxing “internal Transmission Constraints.” Thus, SVP also requests the CAISO provide an additional explanation for this proposed change. In the third instance, the CAISO cross-references Section 27.4.3.1, which is “Scheduling Parameters for Transmission Constraint Relaxation”. That section, however, also refers to “constrained transmission facility,” and “constraint”. None of these “constraint” terms are defined terms. Thus, SVP further requests that the CAISO provide further explanation of this proposed revision - should this instead refer to “Transmission Constraint?.” Regarding the last sentence in that Section 31.3.1.3, given that the undefined term “constraints” can lead to a lack of clarity, we recommend the CAISO revise the sentence so that it is clear that the ISO will not relax Transmission Constraints on Interties with other Balancing Authority Areas by revising the sentence as follows: “No constraints, including Transmission Constraints, on Interties with adjacent Balancing Authority Areas will be relaxed in this procedure.” | The ISO will change the term “constraint” in the first sentence of this section to “Transmission Constraint.” With respect to the other uses of the term constraint, the ISO intends to maintain the plain meaning of the word as opposed to the defined term Transmission constraints because its use may encompass constraints other than Transmission Constraints. The ISO will modify the last sentence of this section as suggested. |
|  | WPTF | 31.3.1.3 | 11/29/10 | In addition, WPTF asks that the CAISO consider the additional clarification in its set of proposed tariff modifications to Section 31.3.1.4 (eligibility to set DA LMP). Section 31.3.1.4 provides that if a generating resource is constraining its inter-hour change in Schedule, the resource cannot be marginal and thus is not eligible to set the LMP. However, WPTF members have found that the CAISO does not allow units to set the LMP for various reasons (including for example, MIP Gap, etc.) even if a unit is not ramp constrained. WPTF ask that this tariff language be clarified to indicate more specifically under which conditions a unit can and cannot set the LMP. | The proposed change appears to be beyond the scope of this initiative. The ISO recommends that WPTF raise this proposed change for discussion at the next Market Performance and Planning Forum. |
|  | Dynegy | 31.3.3 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The ISO will make this change. |
|  | Dynegy | 31.5.4 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The ISO will make this change. |
|  | Dynegy | 34 | 11/23/10 | In any given five-minute interval, tThe RTD optimization looks ahead over multiple five minute intervals utilizes up to a sixty-five (65) minute Time Horizon (thirteen (13) five (5) minute intervals), | The ISO will make this change. |
|  | Six Cities | 34.2 | 11/29/10 | In the fifteenth line of the section, change “as” to “at”. | The ISO will make this change. |
|  | Dynegy | 34.3.1 | 11/23/10 | RTED mode of operation for RTD normally runs every five (5) minutes starting at approximately 7.5 minutes prior to the start of the next Dispatch Interval and produces a binding Dispatch Instructions for Energy for the next Dispatch Interval and advisory Dispatch Instructions for multiple Dispatch Intervals over the RTD through at least the next Trading Hour. | The ISO will make these changes. |
|  | Dynegy | 34.3.3 | 11/23/10 | The term “network constraints” should be replaced with the new defined term “Transmission Constraints,” or else the ISO should explicitly differentiate between “Transmission Constraints” and “network Constraints.” | The term network was inadvertently left in the text. The ISO will make this change. |
|  | Dynegy | 34.5 | 11/23/10 | In each run of the RTED or RTCD the objective will be to meet the projected Energy requirements over the applicable forward-looking time period of that run,… (if you want to get picky, “forward-looking”, as a compound modifier, probably should be hyphenated.) | The ISO will make this change. |
|  | Six Cities | 34.5(2) | 11/29/10 | The revised subsection contains grammatical errors. | The ISO has revised this sub-section to correct grammatical errors. |
|  | Dynegy | 34.9.2 | 11/23/10 | The proposed insertion of the phase “perform periodic testing of Generating Units, including PMax testing” may not be contentious if the periodic testing the CAISO has in mind is testing requested by the Generating unit owner, but could be controversial if it refers to testing that would take place at the CAISO’s request (and therefore could expand the CAISO’s use of exceptional dispatch). Can the CAISO clarify what it intends? | While testing may take place at the request of the ISO, this amendment is not intended to modify existing practices. The purpose of the amendment is to clarify that Exception Dispatch authority may apply to periodic testing. |
|  | Six Cities | 34.16.3.4 | 11/29/10 | The proposed revisions appear to create a substantive change for which there has not been an adequate explanation or justification. The discussion of this section in the matrix does not explain why it is appropriate to delete the specified power factor limits and substitute the non-specific term “established.” | The requirements for a generating facility’s power factor are set forth in section 8.2.3.3 of the tariff. The proposed revision would remove a redundant and potentially conflicting tariff requirement and leave the power factor requirements to be specified in section 8.2.3.3. In response to the comment, the ISO will add to section 34.16.3.4 a more specific reference to section 8.2.3.3. |
|  | Dynegy | 34.16.3.4(b) | 11/23/10 | The CAISO may Dispatch Generating Units to increase or decrease MVar output within the established power factor limits of 0.9 lagging to 0.95 leading (or within other limits specified by the CAISO in any exemption granted pursuant to Section 8.2.3.3 of the CAISO Tariff) at no cost to the CAISO when required for System Reliability;. Striking the express limitations on the CAISO’s right to dispatch reactive power and replacing those limitations with an unspecified reference to “established” power factor limits warrants further discussion. | The requirements for a generating facility’s power factor are set forth in section 8.2.3.3 of the tariff. The proposed revision would remove a redundant and potentially conflicting tariff requirement and leave the power factor requirements to be specified in section 8.2.3.3. In response to the comment, the ISO will add to section 34.16.3.4 a more specific reference to section 8.2.3.3. |
|  | Dynegy | 34.16.3.4 | 11/23/10 | Misspells “Tariff” | The ISO will make the change. |
|  | WPTF | 34.16.3.4 | 11/29/10 | Why is the ISO removing the .9 to .95 acceptable power factor limits? | The requirements for a generating facility’s power factor are set forth in section 8.2.3.3 of the tariff. The proposed revision would remove a redundant and potentially conflicting tariff requirement and leave the power factor requirements to be specified in section 8.2.3.3. In response to the comment, the ISO will add to section 34.16.3.4 a more specific reference to section 8.2.3.3. |
|  | Six Cities | 34.17.2 | 11/29/10 | It appears that the reference should be to 34.11.2. | In response to the comment, the ISO proposes to expand the corrected reference to refer to both sections 34.11.1 and 34.11.2. |
|  | RTO Advisors | 37.5.2.1 | 11/23/10 | RTO Advisors added the concept of a “material” error. If the SC submits revised meter data, but the data do not meet the definition of a “material error,” the SC will not be sanctioned or penalized. Market Participants shall provide complete and accurate Settlement Quality Meter Data for each Trading Hour and shall correct any errors in such data prior to the issuance of Initial Settlement Statement T+7B or Recalculation Settlement Statement, as relevant no later than forty-three (43) calendar days after the Trading Day (T+43C). F The failure to provide complete and accurate Settlement Quality Meter Data, as required by Section 10 that causes an material error to exist in such Settlement Quality Meter Data after forty-three (43) calendar days after the Trading Day (T+43C) and that results in an error that is discovered after issuance of an Initial Settlement Statement T+7B or Recalculation Settlement Statement, as relevant, shall be a violation of this rule. In addition, Scheduling Coordinators that fail to submit Scheduling Coordinator Estimated Settlement Quality Meter Data that is complete and based on a good faith estimate that reasonably represents Demand and/or Generation quantities for each Settlement Period as required by Section 10 and that results in an material error that is discovered and has not been replaced by Actual Settlement Quality Meter Data after issuance of an Initial Settlement Statement T+7B or Recalculation Settlement Statement, as relevant, forty-three (43) calendar days after the Trading Day (T+43C) shall be a violation of this rule. For purposes of this Section 37.5.2, a material error is defined as a change in the meter data of more than 500 megawatt-hours for the Trading Day for a particular TAC Area. Only material errors may be deemed violations under this Section 37.5.2 and subject to Sanction pursuant to Section 37.11. | This proposed change exceeds the scope of this initiative. The comments seek a substantive change to the meter data penalty provisions in the ISO’s tariff. The ISO intends to discuss these comments with affected business units. |
|  | PG&E | 37.8.10 | 11/23/10 | While PG&E would like to make substantive comments on elements of these sections, we believe that this is not the right forum to do so, and look forward to the opportunity to provide these comments in a future stakeholder process focused on the Method For Calculating Inaccurate Meter Data Penalty, as well as other provisions relating to Rules of Conduct. | The ISO intends to discuss these comments with affected business units. |
|  | RTO Advisors | 37.8.10 | 11/23/10 | A Market Participant that receives a Sanction may obtain immediate review of the CAISO’s determination by directly appealing to FERC, in accordance with FERC’s rules and procedures. In such case, the applicable Scheduling Coordinator shall also dispute the Initial Settlement Statement T + 38 BD T+7B or Recalculation Settlement Statement, as relevant, containing the financial penalty, in accordance with Section 11. The Initial Settlement Statement T + 38 T+7B BD dispute and appeal to FERC must be made in accordance with the timeline for raising disputes specified in Section 11.29.8.2. The penalty will be tolled until FERC renders its decision on the appeal. The disposition by FERC of such appeal shall be final, and no separate dispute of such Sanction may be initiated under Section 13, except as provided in Section 37.9.3.4. For the purpose of applying the time limitations set forth in Section 37.10.1, a Ssanction will be considered assessed when it is included on an Initial Settlement Statement T + 38 BD T+7B or Recalculation Settlement Statement, as relevant, whether or not the CAISO accepts a the Scheduling Coordinator’s dispute, of such Initial Settlement Statement T + 38 BD T+7B pending resolution of an appeal to FERC in accordance with this section or Section 37.9.3.3. | The ISO will continue to examine this proposal but does not intend to include this proposal in the current tariff clarification effort. |
|  | PG&E | 37.11.1 | 11/23/10 | While PG&E would like to make substantive comments on elements of these sections, we believe that this is not the right forum to do so, and look forward to the opportunity to provide these comments in a future stakeholder process focused on the Method For Calculating Inaccurate Meter Data Penalty, as well as other provisions relating to Rules of Conduct. | The ISO intends to discuss these comments with affected business units. |
|  | RTO Advisors | 37.11.1 | 11/23/10 | RTO Advisors clarified that the penalty only applies to “material” errors and deleted a heading that did not seem to belong. Changes are not being proposed for the tables. There is no Sanction for the submission of inaccurate Meter Data used for an Initial Settlement Statement T+ 7B. However, an material error in submitted Meter Data that exists after forty-three (43) calendar days after the Trading Day(T+43C) is discovered after issuance of a Recalculation Settlement Statement constitutes a Rule of Conduct violation, as described in Section 37.5.2. The level of the Sanction depends on whether the Scheduling Coordinator or the CAISO discovered the error. An increased penalty will apply for errors that are discovered by the CAISO. Table A1 below shows how the level of the Sanction depends on the following factors: whether or not the Scheduling Coordinator finds the error; whether or not the Scheduling Coordinator owes the market, and whether or not the CAISO performs a re-run of the market or produces a Recalculation Settlement Statement. If the CAISO issues a Recalculation Settlement Statement or performs a re-run, then Settlement to all Scheduling Coordinators is recalculated, and the impact of such re-runs on charges assessed will be considered. A penalty charge equal to thirty (30) percent (30%) of the estimated value of the Energy error will apply if the Scheduling Coordinator discovers the error or seventy-five (75) percent (75%) of the estimated value of the Energy error if the CAISO discovers the error. Penalty assessment and disposition of penalty proceeds will be administered as described in Section 37.9.1 and Section 37.9.4 respectively. A Sanction will not be imposed unless such Sanction is more than $1,000 for at least one Trading Day during the period for which there was incomplete or inaccurate Meter Data. TABLE A-1 Note to Table A1: The applicable price will be the greater of: (1) the simple average of the relevant twelve (12) five-minute LMPs for each hour in which inaccurate meter data occurred; or (2) $10/MWh. The applicable price will be the greater of the relevant hourly LMP or $10/MWh. The LMP used will be the values posted on OASIS for each Trading Hour of the applicable Trading Day period. 2. Method for Calculating Inaccurate Meter Data Penalty When there is not a Recalculation Settlement Statement or re-run. If the CAISO does not perform a Recalculation Settlement Statement or re-run, for cases of inaccurate Meter Data, Table A2 will be used to determine and allocate penalty and any market adjustment amount. The market adjustment approximates the financial impact on the market; however, it does not completely reflect all the Settlement consequences of inaccurately submitted Meter Data. The approximated value of the inaccurate Meter Data in question will be calculated and returned to the market based on the average of the pro rata share of Unaccounted for Energy (UFE) charged in the utility Service Area during the period of the inaccurate Meter Data event. The thirty (30) percent (30%) or seventy-five (75) percent (75%) penalty will be distributed as discussed in Section 37.9.4. For cases where the CAISO does not perform a Recalculation Settlement Statement or re-run and the Scheduling Coordinator does not owe the market, then no market adjustment will be performed and no penalty will be assessed. | This proposed change exceeds the scope of this initiative. The comments seek a substantive change to the meter data penalty provisions in the ISO’s tariff. The ISO intends to discuss these comments with affected business units. |
|  | SCE | 37.11.1 | 11/23/10 | SCE recommends the CAISO remove the following change to section 37.11.1 from the tariff filing, as the change is not a clarification type change but rather significantly alters the timeline of what constitutes a Rule of Conduct violation. The existing tariff states that a Rule of Conduct violation may occur for meter data errors that are discovered after issuance of a Recalculation Settlement Statement1. Given its definition, the earliest a Rule or Conduct violation could occur is T+38B (52 Calendar days). The CAISO proposed modification of T+43 Calendar days shortens the timeline to submit meter data without penalty significantly, by 9 days. SCE does not view this change as a clarification, but rather, one having both policy and process impacts that require more discussion and review by stakeholders. SCE recommends this change be removed and incorporated into a future stakeholder process on settlement/meter data enhancements: There is no Sanction for the submission of inaccurate Meter Data used for an Initial Settlement Statement T+ 7B. However, an error in submitted Meter Data that exists after forty three (43) calendar days after the Trading Day (T+43C) is discovered after issuance of a Recalculation Settlement Statement constitutes a Rule of Conduct violation. The level of the Sanction depends on whether the Scheduling Coordinator or the CAISO discovered the error. An increased penalty will apply for errors that are discovered by the CAISO. | The ISO’s proposed change does not shorten the timeline for submitting meter data. Section 10.3.6.2 states that Actual Settlement Quality Meter Data is due by midnight at T+43C. The ISO’s proposed change is meant to reinforce the clear deadline established in section 10.3.6.2. Further, per the ISO’s Payment Calendar, data submitted after T+43C is not included on the T+38B Recalculation Settlement Statement. For this reason, the T+38B Recalculation Settlement Statement will not reflect data between T+43C and T+38B. |
|  | Dynegy | 39.7.1.2 | 11/23/10 | LMP Option The CAISO will calculate the LMP Option for the Default Energy Bid as a weighted average of the lowest quartile of LMPs at the Generating Unit PNode in periods when the unit was Dispatched during the preceding ninety (90) days period for which LMPs that have passed the price validation and correction process set forth in Section 35 are available. This is more than a “clean-up”, but given that the price correction process ends at 1700 hours of the eighth calendar day after the Trading Day, this should not impose a huge delay. | The ISO’s proposed language specifies its existing business practices and clarifies the tariff. |
|  | MID, TANC | Appendix A | 11/23/10 | Delivery Network Upgrades Since this term is currently defined in the Tariff as, “Transmission facilities at or beyond the Point of Interconnection, other than Reliability Network Upgrades, identified in the Interconnection Studies to relieve Constraints on the CAISO Controlled Grid,” and the proposed term “constraints” is not defined, the ISO should clarify the types of constraints this definition encompasses. | The ISO will modify the change the term Constraints to Transmission Constraints in this definition to clarify what types of constraints this definition encompasses. |
|  | SVP | Appendix A | 11/23/10 | Delivery Network Upgrades It is not clear if the term “constraints” would accurately capture the intended definition of this term, which is currently defined in the Tariff as, “Transmission facilities at or beyond the Point of Interconnection, other than Reliability Network Upgrades, identified in the Interconnection Studies to relieve Constraints on the CAISO Controlled Grid.” We request that the CAISO provide further clarification on this revision – such as, should “Transmission Constraints” be used? | The ISO will modify the change the term Constraints to Transmission Constraints in this definition to clarify what types of constraints this definition encompasses. |
|  | SVP | Appendix A | 11/23/10 | Full Network Model The CAISO’s matrix states that the CAISO intended to capitalize “transmission,” which is appropriate, but the draft Tariff does not adequately reflect this intent. SVP recommends capitalizing the word “Transmission” in the first sentence of this definition. | The ISO will make this change. |
|  | SVP | Appendix A | 11/23/10 | Shadow Price “Shadow Price” is currently defined as, “The marginal value of relieving a particular Constraint,” and the ISO proposes to revise the word “Constraint” to “constraint.” SVP notes that in Appendix C, Section C, pertaining to Shadow Price, the ISO proposes to refer to “Transmission Constraint.” Should the definition of “Shadow Price” utilize the term “Transmission Constraint” instead of “constraint”? | The ISO does not believe the definition of the term Shadow Price should use the term Transmission Constraint. The definition of the term Shadow Price refers to the general definition of a shadow price. The definition, therefore, should reflect the generic use of the term the term constraint. |
|  | MID, TANC | Appendix A | 11/23/10 | Transmission Constraints Enforcement Lists MID and TANC note that this term does not appear in the most recent version of the ISO Tariff posted on the ISO’s website. In addition, since the ISO is proposing to do away with the term “Constraint” in the Tariff, the ISO should clarify the meaning of the term “Constraint” in the following sentence of that proposed definition: “The definition of the Constraint includes the individual elements that constitute the tTransmission Constraint.” | The ISO added the term Transmission Constraints Enforcement Lists to its tariff as part of the Data Release Phase 1 filing made by the ISO and approved by FERC earlier this year in Docket ER10-1229. The ISO will change the term Constraint in the identified sentence to Transmission Constraint. |
|  | SVP | Appendix A | 11/23/10 | Transmission Constraints Enforcement Lists This term does not appear in the most recent version of the CAISO Tariff Appendix A posted on the CAISO’s website. SVP is curious where the original language comes from. Since the CAISO does not plan on defining the term “Constraint,” and capitalized terms in the CAISO Tariff have defined meanings, we also request clarification as to whether the term “Constraint” should be revised to “Transmission Constraint” in the following sentence: “The definition of the Constraint includes the individual elements that constitute the Transmission Constraint.” Further, the terms “Transmission Contingencies” and “Transmission” are not defined in Appendix A, thus SVP requests that the CAISO explain its intentions with respect to the proposed capitalization of the letter “t” in the last line of the definition. | The ISO added the term Transmission Constraints Enforcement Lists to its tariff as part of the Data Release Phase 1 filing made by the ISO and approved by FERC earlier this year in Docket ER10-1229. The ISO will change the term Constraint in the identified sentence to Transmission Constraint. |
|  | PG&E | Appendix A | 11/23/10 | WSCC The deletion of the definition of WSCC is tied to a yet-to-occur event. It appears to be premature. This change should be conditioned on the occurrence of the event (i.e. the termination of the CAISO's RMS agreement with WECC). | The ISO has proposed to delete the term WSCC Reliability Criteria Agreement. The ISO anticipates that FERC will act on WECC’s proposed termination of its RMS agreement with the ISO by the time the ISO files these amendments with FERC making the indentified term obsolete. If FERC does not, the ISO will reconsider whether it is timely to file this revision. |
|  | PG&E | Appendix F, Schedule 3 | 11/23/10 | PG&E understands that the Transition Period ends as of the end of 2010, at which point much of Appendix F, Schedule 3 will become out-of-date. Therefore, there may be further opportunities for clarifying changes related to the end of the Transition Period. | The ISO agrees that there will be further opportunities to make clarifying change to the tariff related to the end of the TAC transition period. However, the ISO proposes to make only this limited clarification at this time. |
|  | SCE | Appendix F, Schedule 3, Section 5.2 | 11/23/10 | SCE proposes the following sentence be added to this section. The purpose of the change is to ensure that Participating Transmission Owners (PTO’s) will not have to needlessly divide their transmission revenue requirements into "New" and "Existing" components upon expiration of the Transition Period. The ISO has added many similar sentences in this area, stating that certain requirements related to the ten-year transition to grid wide Transmission Access Charge rates cease when the Transition Period expires (January 1, 2011). Without this sentence PTOs would still be required to do this division. Not accepting SCE change would result unnecessary work for PTOs beginning next year. Each Participating TO will develop, in accordance with Section 6 of this Schedule 3, a High Voltage Transmission Revenue Requirement (HVTRR PTO) consisting of a Transmission Revenue Requirement for Existing High Voltage Facility (EHVTRR PTO) and a Transmission Revenue Requirement for New High Voltage Facility (NHVTRR PTO). The HVTRR PTO includes the TRBA adjustment described in Section 6.1 of this Schedule 3. At the conclusion of the ten-year TAC Transition Period, the Transition Charge will cease to apply, and the HVAC will be based on the single CAISO Grid-wide rate. Accordingly the requirement for each Participating TO to divide its HVTRR into new and Existing components shall cease to apply. | The ISO will make this proposed change. |
|  | MID, TANC | Appendix L, Section L.1.3 | 11/23/10 | In Section L.1.3 of this Appendix, the ISO proposes to revise the provision as follows: “OTC is the TTC reduced by any operational Cconstraints caused by seasonal derates or Outages. . . .” In Section L.4 of this Appendix, the ISO proposes to revise the provision, in pertinent part as follows: “The process for developing TTC or OTC is the same with the exception of inclusion or exclusion of operating Transmission Constraints based on system conditions being studied. Accordingly, further description of the process to determine either OTC or TTC will refer only to TTC.” The ISO should clarify the reasons for referring to the undefined term “constraints” in Section L.1.3 given that it proposes to use the defined term “Transmission Constraints” in Section L.4. | The ISO will make these proposed changes. |
|  | SVP | Appendix L, Section L.1.3 | 11/23/10 | We request that the CAISO clarify why, in Section L.1.3, the CAISO proposes to use the undefined term “constraints,” but in Section L.4, the CAISO proposes to use the defined term “Transmission Constraints.” | The ISO will make these proposed changes. |
|  | MID, TANC | Appendix L, Section L.4 | 11/23/10 | In Section L.1.3 of this Appendix, the ISO proposes to revise the provision as follows: OTC “is the TTC reduced by any operational Cconstraints caused by seasonal derates or Outages. . . .” In Section L.4 of this Appendix, the ISO proposes to revise the provision, in pertinent part as follows: “The process for developing TTC or OTC is the same with the exception of inclusion or exclusion of operating Transmission Constraints based on system conditions being studied. Accordingly, further description of the process to determine either OTC or TTC will refer only to TTC.” The ISO should clarify the reasons for referring to the undefined term “constraints” in Section L.1.3 given that it proposes to use the defined term “Transmission Constraints” in Section L.4. | The ISO will change the use of the word constraints in Section L.1.3 to Transmission Constraints. |
|  | SVP | Appendix L, Section L.4 | 11/23/10 | We request that the CAISO clarify why, in Section L.1.3, the CAISO proposes to use the undefined term “constraints,” but in Section L.4, the CAISO proposes to use the defined term “Transmission Constraints.” | The ISO will change the use of the word constraints in Section L.1.3 to Transmission Constraints. |
|  | SVP | Appendix P, Section 11.5 | 11/23/10 | This Section pertains to referrals of market violations to FERC by the Department of Market Monitoring. The CAISO sought to revise all instances of “the Commission” to “FERC”. In one instance however, SVP suggests the reference should be to “FERC or FERC Staff” to conform to the original intent of the Section. | The ISO agrees and will make the change. |

| NUM | Company | Related Tariff Section | Date of Comments | Comments | CAISO Response to Comments |
| --- | --- | --- | --- | --- | --- |
|  | SVP |  | 12/16/10 | Business Practice Manual (“BPM”) Proposed Revision Request (“PRR”) Impact Analyses: SVP commends the CAISO for its decision to withdraw the revisions it had originally proposed in this initiative concerning the preparation of BPM PRR impact analyses. SVP also appreciates the CAISO’s commitment, as stated during the December 1, 2010 stakeholder conference call, to implement procedures that ensure that its business practices conform to its existing Tariff obligations in this regard. | The ISO continuously monitors for instances where the BPMs and the Tariff conflict. The ISO asks that SVP bring any such instances it believes exist to the ISO’s attention. |
|  | PG&E | 22.11.1 | 12/16/10 | PG&E would like to reiterate its concern that the BPMs at times do not conform to the Tariff. While we appreciate that the CAISO has chosen to withdraw its proposed amendment to this section based on stakeholder comments, we remain concerned that there may be additional instances where the BPMs have been changed before a necessary change to the Tariff has been adopted, and encourage CAISO staff to identify any such instances and share them with stakeholders if they exist. | The ISO continuously monitors for instances where the BPMs and the Tariff conflict. The ISO asks that PG&E bring any such instances it believes exists to the ISO’s attention. |
|  | MID | 27.1.1 | 12/16/10 | On November 11, 2010, the ISO proposed revisions to Section 27.1.1 to clarify that the Hour Ahead Scheduling Process (“HASP”), which is conducted hourly, calculates fifteen minute HASP Intertie LMPs for the subsequent Trading Hour. The ISO has not fully explained, and MID would appreciate further clarification on, why the ISO has proposed to specify “Non-Dynamic System Resources and exports” in the following revision to Section 27.1.1: “The HASP, which is conducted an hourlyrun of the RTUC with the Time Horizon that starts at the beginning of the nextfor scheduling Non-Dynamic System Resources and exports for the subsequent Trading Hour, calculates fifteen-minute LMPs (HASP Intertie LMPs) for the applicable that Trading Hour.” | The ISO has modified this section to eliminate a reference to the RTUC Time Horizon and clarifies that the HASP calculates 15 minute LMPs for the applicable Trading Hour for scheduling Non-Dynamic System Resources and exports. These are the resources/transactions scheduled in HASP at the interties. |
|  | SVP | 27.1.1. | 12/16/10 | (Locational Marginal Prices for Energy): The CAISO proposed (on November 11, 2010), to clarify that the Hour Ahead Scheduling Process (“HASP”), which is conducted hourly, calculates fifteen minute HASP Intertie LMPs for the subsequent Trading Hour. The CAISO has not fully explained why it has proposed the following revision, “The HASP, which is conducted an hourlyrun of the RTUC with the Time Horizon that starts at the beginning of the nextfor scheduling Non-Dynamic System Resources and exports for the subsequent Trading Hour, calculates fifteen-minute LMPs (HASP Intertie LMPs) for the applicable that Trading Hour.” SVP would appreciate further clarification from the CAISO on the basis for specifying “Non-Dynamic System Resources and exports” in this provision. | The ISO has modified this section to eliminate a reference to the RTUC Time Horizon and clarifies that the HASP calculates 15 minute LMPs for the applicable Trading Hour for scheduling Non-Dynamic System Resources and exports. These are the resources/transactions scheduled in HASP at the interties. |
|  | MID | 27.1.1.3 | 12/16/10 | MID would appreciate further explanation from the ISO on the basis for its proposed December 9 revision from “all” to “a” in the following sentence: “The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of a all binding Transmission Constraints in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF).” | The ISO will change this sentence to read as follows: The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of the a all binding Transmission Constraintss in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF). |
|  | SVP | 27.1.1.3 | 12/16/10 | (Marginal Cost of Congestion): SVP would appreciate further explanation from the CAISO on the basis for its proposed December 9 revision from “all” to “a” in the following sentence: “The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of a all binding Transmission Constraints in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF).” | The ISO will change this sentence to read as follows: The Marginal Cost of Congestion at a PNode reflects a linear combination of the Shadow Prices of the a all binding Transmission Constraintss in the network, each multiplied by the corresponding Power Transfer Distribution Factor (PTDF). |
|  | MID | 27.5.1.1 | 12/16/10 | In response to the ISO’s proposed revisions to Section 27.5.1.1 (Base Market Model used in the CAISO Markets), MID sought clarification on the types of constraints the ISO proposed to enforce “on the Interties.” In its December 9 response to MID’s comment, the ISO stated that it would change the term “network constraints” to “Transmission Constraints,” but did not provide an explanation of the meaning of “network constraints” as MID had requested. ISO Response Matrix #48. Given that the term “network constraints” appears in other Tariff and Business Practice Manual provisions, it would be helpful to understand the other types of constraints, if any, the ISO views as being encompassed in the meaning of “network constraints.” | The ISO is not proposing to make any modifications to its current practices through this tariff amendment. Concerning the types of constraints the ISO’s enforces on the interties, the ISO refers Modesto to Section 2.1.1.2 and 4.2.4.1 of the Business Practice Manual for Managing Full Network Model. The ISO also refers Modesto generally to the Business Practice Manual for Market Operations. To the extent Modesto still has questions regarding the constraints the ISO enforces on the interties, the ISO recommends that Modesto raise those questions with its ISO client representative or at the next Market Performance and Planning Forum. |
|  | SVP | 27.5.1.1 | 12/16/10 | (Base Market Model used in the CAISO Markets): SVP’s November 23, 2010 comments expressed concern with the use of the undefined term “network constraints” in this Section as it creates uncertainty on the types of constraints that the CAISO would enforce on the Interties, and sought clarification from the CAISO on the types of “network constraints” on the Interties it plans on enforcing pursuant to this proposed revision. In its December 9 response, the CAISO stated that it would change the term “network constraints” to “Transmission Constraints,” and indicated that it did “not intend to change any of its existing practices on which constraints are enforced at the interties or elsewhere as a result of this tariff change.” See CAISO December 9 Response Matrix #49. While the CAISO’s newly proposed change to “Transmission Constraints” in this Section does not appear to be problematic, SVP requests that the CAISO provide an explanation of the meaning of “network constraints” as previously requested to allow stakeholders to better understand the CAISO’s use of that term. SVP notes as an example that in the response to SVP’s comments to Section 27.5.3, the CAISO stated that “the term network constraint encompasses Transmission Constraints.” See CAISO December 9 Response Matrix #53. It would be helpful to understand the other types of constraints, if any, the CAISO views as being encompassed in the meaning of “network constraints” as that term appears in the Tariff and BPMs. | The ISO is not proposing to make any modifications to its current practices through this tariff amendment. The ISO intends to replace the term network constraints in the tariff with the defined term Transmission Constraints. The ISO proposes to define the term Transmission Constraints as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” Concerning the types of constraints the ISO’s enforces on the interties, the ISO refers SVP to Section 2.1.1.2 and 4.2.4.1 of the Business Practice Manual for Managing Full Network Model. The ISO also refers SVP generally to the Business Practice Manual for Market Operations. To the extent SVP still has questions regarding the constraints the ISO enforces on the interties, the ISO recommends that SVP raise those questions with its ISO client representative or at the next Market Performance and Planning Forum. |
|  | TANC | 27.5.1.1 | 12/16/10 | (Base Market Model used in the CAISO Markets): In response to the ISO’s November 9, 2010 proposed revisions to this section, TANC sought clarification on the types of constraints the ISO proposed to enforce “on the Interties.” In its December 9, 2010 response, the ISO stated that it would change the term “network constraints” to “Transmission Constraints,” but did not clarify the meaning of “network constraints” as requested. TANC is not recommending a particular change to this section, but seeks further clarification from the ISO on the meaning of “network constraints” to allow stakeholders to better understand the ISO’s use of that term as it appears in the Tariff and Business Practice Manuals. TANC notes as an example that in the response to the City of Santa Clara, California’s comments to Section 27.5.3, the ISO stated that “the term network constraint encompasses Transmission Constraints.” It would be helpful to understand the other types of constraints, if any, the ISO views as being encompassed in the meaning of “network constraints.” | The ISO is not proposing to make any modifications to its current practices through this tariff amendment. The ISO intends to replace the term network constraints in the tariff with the defined term Transmission Constraints. The ISO proposed to define the term Transmission Constraints to as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” |
|  | MID | 27.5.3 | 12/16/10 | In response to the ISO’s proposed revisions to Section 27.5.3 (Integrated Balancing Authority Areas (“IBAA”)), MID previously commented that since the term “network constraints” is not defined in the ISO Tariff, the ISO should make clear in this section that “Transmission Constraints” are among the constraints that the ISO will not enforce for an IBAA. In its December 9 response to MID’s comment, the ISO stated that the term “network constraints” in that section “includes transmission constraints that are not on the ISO grid or within the ISO balancing authority area,” and that the ISO did not believe this term requires additional clarification. ISO Response Matrix #52. In response to a similar comment by the Transmission Agency of Northern California to the same proposed revision, the ISO asserted that it “will not enforce any constraints in IBAA as a result of the changes proposed in this filing.” Id. at #54. Furthermore, in response to a similar comment by Silicon Valley Power, the ISO stated that “the term network constraints encompasses Transmission Constraints.” Id. at #53. In its December 9 proposed revision to this section, however, the ISO has replaced the term “network constraints” with “Transmission Constraints.” This proposed revision does not comport with the ISO’s stated intentions to not enforce any constraints in the IBAA. Instead, the proposed revision would indicate that the ISO only does not enforce “Transmission Constraints” on the IBAA and would be silent on whether the ISO would enforce other types of constraints on the IBAA. Thus, MID requests that the ISO revise the sentence so that it provides, “the CAISO monitors but does not enforce the network constraints, including Transmission Constraints, for an IBAA in running the CAISO Markets Processes.” | Among other things, section 27.5.3 of the ISO’s tariff describes what constraints the ISO monitors but does not enforce in the IBAA. The ISO current tariff section states in part: “The CAISO monitors but does not enforce the network Constraints for an IBAA in running the CAISO Markets Processes.” The current definition of the term Constraints reads as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” In this proposed amendment, the ISO is replacing the defined term “Constraints” with the defined term “Transmission Constraints” in the sentence identified above. The proposed definition of Transmission Constraints matches the definition of the term Constraints. The ISO is also proposing to eliminate the use of the word network. Otherwise, the above sentence would read as follows: “The CAISO monitors but does not enforce the network Transmission Constraints for an IBAA in running the CAISO Markets Processes.” The ISO is not proposing to monitor or enforce any additional constraints in the IBAA as a result of this proposed tariff amendment. |
|  | SVP | 27.5.3 | 12/16/10 | (Integrated Balancing Authority Areas (“IBAA”): On November 9, the CAISO proposed to provide, “The CAISO monitors but does not enforce the network Cconstraints for an IBAA in running the CAISO Markets Processes.” Since the term “network constraints” is undefined, to ensure that the CAISO does not enforce Transmission Constraints of an IBAA, SVP suggested that the CAISO should revise the sentence as follows: “The CAISO monitors but does not enforce the network constraints, including Transmission Constraints, for an IBAA in running the CAISO Markets Processes.” In its December 9 response to SVP’s comment, the CAISO declined to incorporate SVP’s suggestion and asserted: “The term network constraints in this section includes transmission constraints that are not on the ISO grid or within the ISO balancing authority area. This additional language is not necessary because the term network constraints encompasses Transmission Constraints.” See CAISO December 9 Response Matrix #53. In response to a similar comment by the Transmission Agency of Northern California to the same Tariff section, the CAISO indicated that “The ISO will not enforce any constraints in IBAA as a result of the changes proposed in this filing.” See CAISO December 9 Response Matrix #54. SVP appreciates the CAISO’s assertion that it will not enforce any constraints in the IBAA. However, in the second draft tariff redline posted on December 9, the CAISO has replaced the term “network constraints” with “Transmission Constraints,” which would provide that CAISO only does not enforce “Transmission Constraints” in the IBAA, leaving silent whether other network constraints would be enforced in the IBAAs. Thus, it does not appear that the CAISO’s second draft proposed revision to this Section fully comports with the CAISO’s intentions as reflected in the CAISO’s December 9 Response Matrix. Thus, SVP requests that the CAISO revise the sentence as previously suggested by SVP. | Among other things, section 27.5.3 of the ISO’s tariff describes what constraints the ISO monitors but does not enforce in the IBAA. The ISO current tariff section states in part: “The CAISO monitors but does not enforce the network Constraints for an IBAA in running the CAISO Markets Processes.” The current definition of the term Constraints reads as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” In this proposed amendment, the ISO is replacing the defined term “Constraints” with the defined term “Transmission Constraints” in the sentence identified above. The proposed definition of Transmission Constraints matches the definition of the term Constraints. The ISO is also proposing to eliminate the use of the word network. Otherwise, the above sentence would read as follows: “The CAISO monitors but does not enforce the network Transmission Constraints for an IBAA in running the CAISO Markets Processes.” The ISO is not proposing to monitor or enforce any additional constraints in the IBAA as a result of this proposed tariff amendment. |
|  | TANC | 27.5.3 | 12/16/10 | (Integrated Balancing Authority Areas (“IBAA”): TANC previously commented that since the term “network constraints” is not defined in the ISO Tariff, the ISO should make clear in this section that “Transmission Constraints” are among the constraints that the ISO will not enforce for an IBAA. In its December 9 response to TANC’s comment, the ISO asserted that it “will not enforce any constraints in IBAA as a result of the changes proposed in this filing.” In response to a similar comment by the Modesto Irrigation District, the ISO stated that “network constraints” as the term appears in that section “includes transmission constraints that are not on the ISO grid or within the ISO balancing authority area,” and that the ISO did not believe this term requires additional clarification. In its December 9 proposed revision to this section, however, the ISO has replaced the term “network constraints” with “Transmission Constraints.” This proposed revision does not comport with the ISO’s stated intentions to not enforce any constraints in the IBAA. Instead, the proposed revision would indicate that the ISO only does not enforce “Transmission Constraints” on the IBAA and would be silent on whether the ISO would enforce other types of constraints on the IBAA. Thus, TANC requests that the ISO revise the sentence so that it provides, “the CAISO monitors but does not enforce the network constraints, including Transmission Constraints, for an IBAA in running the CAISO Markets Processes.” | Among other things, section 27.5.3 of the ISO’s tariff describes what constraints the ISO monitors but does not enforce in the IBAA. The ISO current tariff section states in part: “The CAISO monitors but does not enforce the network Constraints for an IBAA in running the CAISO Markets Processes.” The current definition of the term Constraints reads as follows: “Physical and operational limitations on the transfer of electrical power through transmission facilities.” In this proposed amendment, the ISO is replacing the defined term “Constraints” with the defined term “Transmission Constraints” in the sentence identified above. The proposed definition of Transmission Constraints matches the definition of the term Constraints. The ISO is also proposing to eliminate the use of the word network. Otherwise, the above sentence would read as follows: “The CAISO monitors but does not enforce the network Transmission Constraints for an IBAA in running the CAISO Markets Processes.” The ISO is not proposing to monitor or enforce any additional constraints in the IBAA as a result of this proposed tariff amendment. |
|  | Dynegy | 30.7.6.1 | 12/21/10 | Add the word “is” between “there” and “no” in the sentence that begins, “For Generating Units with Certified Regulation capacity………….” | The ISO will make this change. |
|  | SVP | 31.3.3 | 12/16/10 | Metered Subsystems: The CAISO intends to make some Tariff changes to this section based on comments submitted by Market Participants. It appears that one such change has inadvertently been omitted by the CAISO. At the beginning of the third sentence of this section, SVP suggests that the CAISO’s proposed term “Network constraints” should be changed to “Transmission Constraints”. This will result in the language of Sections 27.5.2 and 31.3.3 being consistent with each other. | The ISO will make this change. |
|  | PG&E | 37.8.10 | 12/16/10 | PG&E would like to encourage the ISO to maintain the dispute deadline for Sanctions assessed under this section at T+38B and not change it to T+7B. Prior to Payment Acceleration, initial statements were published at T+38B. Maintaining the T+38B deadline in Payment Acceleration is consistent with PG&E’s goal of focusing disputes at recalc T+38B when all actual meter data is included for the first time. | The ISO understands that PG&E’s comment seeks to align the time period to seek FERC review of a sanction issued pursuant to section 37.8.10 and the time period to seek review of a statement issued at T+38B. The ISO will continue to examine this proposal but does not intend to include this proposal in the current tariff clarification effort. |