## Ranking Chart
Topic | Topic | Calp | NextE | Cogen | FIT | Eagle | FirstS | Recurnt | Semp | Inven | Ormat | IREC | SDGE | Six C | PG&E | SCE | BAMx | Pio P | LSA | CalW | Avg | Email | Phone Number
1 | Cost Benefit | 3 | 1 |  | 1 | 0 | 1 | 0 | 3 | 0 | 2 |  | 3 | 3 | 2 | 3 | 3 | 3 | 0 | 0 | 1.6471
2 | Cost and Credit req's in RTPP | 2 | 2 | 1 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 2 | 2 | 3 | 3 | 1 | 2 | 3 | 3 | 2.4706
3 | Per-unit cost estimates | 0 | 3 |  | 3 | 3 | 3 | 3 | 3 | 3 | 2 |  | 1 | 2 | 1 | 0 | 1 | 2 | 3 | 3 | 2.1176
4 | Gen connecting to non-PTO | 0 |  |  | 2 | 0 | 1 | 1 | 2 | 3 | 1 |  | 1 | 1 | 3 | 1 | 0 | 2 | 3 | 3 | 1.5
5 | Triggers to IC posting | 2 | 2 | 3 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 3 | 1 | 1 | 3 | 1 |  | 3 | 3 | 2.5
6 | Construction milestones | 0 | 1 |  | 3 | 3 | 3 | 2 | 3 | 3 | 3 |  | 3 | 1 | 3 | 3 | 1 | 3 | 3 | 3 | 2.4118
7 | ISO Information | 0 | 3 |  | 3 | 2 | 1 | 3 | 2 |  | 2 |  | 1 | 1 | 1 | 2 | 2 | 3 | 2 | 2 | 1.875
9 | Project Phasing | 3 | 3 |  |  |  | 2 | 2 | 3 | 3 | 2 |  | 2 | 1 | 2 | 3 | 0 | 3 | 2 | 2 | 2.2
10 | Partial Repayment of IC funding | 3 | 3 |  |  |  | 3 | 3 | 3 | 3 | 2 |  | 2 | 1 | 1 | 3 | 0 | 3 | 3 | 3 | 2.4
11 | Section 25 grandfathered | 2 | 3 | 3 |  |  | 1 | 0 | 3 | 0 | 3 |  | 3 | 1 | 0 | 1 | 0 |  | 0 | 0 | 1.3333
12 | Site Exclusivity | 1 | 1 |  |  |  | 2 | 0 | 3 |  | 3 |  | 2 | 1 | 2 | 2 | 0 |  | 2 | 2 | 1.6154
13 | PTO upfront funds | 1 | 2 |  |  | 2 | 3 | 3 | 3 |  | 2 |  | 3 | 1 | 1 | 3 | 1 |  | 3 | 3 | 2.2143
14 | ISO Insurance | 0 |  |  |  | 0 | 1 | 1 | 3 |  | 0 |  | 1 | 1 | 1 | 1 | 0 |  | 1 | 1 | 0.84615
15 | Posting for units already online | 3 | 2 | 2 |  | 0 | 1 | 0 | 3 | 0 | 3 |  | 2 | 1 | 0 | 2 | 0 |  | 0 | 0 | 1.1875
16 | adjusted vs non-adjusted | 0 |  |  |  | 3 | 3 | 3 | 3 |  | 3 |  | 2 | 1 | 1 | 3 | 0 |  | 1 | 1 | 1.8462
17 | storage and behind the meter | 3 | 3 |  | 2 | 3 | 1 | 0 | 2 |  | 2 |  | 1 | 1 | 3 | 3 | 1 |  | 2 | 2 | 1.9333
18 | Conforming low voltage req's | 3 | 3 |  | 2 | 0 | 2 | 1 | 3 | 0 | 0 |  | 1 | 1 | 1 | 3 | 1 |  | 1 | 1 | 1.4375
19 | off peak deliverability | 3 | 0 |  |  | 3 | 1 | 3 | 3 | 3 | 0 |  | 1 | 2 | 3 | 3 | 0 | 3 | 3 | 3 | 2.125
8 | Partial Deliverability | 3 | 0 |  |  | 2 | 3 | 1 | 3 |  | 3 |  | 2 | 2 | 2 | 3 | 2 |  | 2 | 2 | 2.1429
20 | Operational gen impacts | 0 |  |  |  |  | 0 | 0 | 1 | 0 | 2 |  | 2 | 3 | 3 | 2 | 2 |  | 0 | 0 | 1.1538
21 | transferring queue position | 0 | 0 |  |  |  | 0 | 0 | 2 | 0 | 3 |  | 1 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0.73333
Topic | Topic | Calp | NextE | Cogen | FIT | Eagle | FirstS | Recurnt | Semp | Inven | Ormat | IREC | SDGE | Six C | PG&E | SCE | BAMx | Pio P | LSA | CalW | Avg | Email
5 | Triggers to IC posting | 2 | 2 | 3 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 3 | 1 | 1 | 3 | 1 |  | 3 | 3 | 2.5
2 | Cost and Credit req's in RTPP | 2 | 2 | 1 |  | 3 | 3 | 3 | 3 | 3 | 3 |  | 2 | 2 | 3 | 3 | 1 | 2 | 3 | 3 | 2.4706
6 | Construction milestones | 0 | 1 |  | 3 | 3 | 3 | 2 | 3 | 3 | 3 |  | 3 | 1 | 3 | 3 | 1 | 3 | 3 | 3 | 2.4118
10 | Partial Repayment of IC funding | 3 | 3 |  |  |  | 3 | 3 | 3 | 3 | 2 |  | 2 | 1 | 1 | 3 | 0 | 3 | 3 | 3 | 2.4
9 | Project Phasing | 3 | 3 |  |  |  | 2 | 2 | 3 | 3 | 2 |  | 2 | 1 | 2 | 3 | 0 | 3 | 2 | 2 | 2.2
13 | PTO upfront funds | 1 | 2 |  |  | 2 | 3 | 3 | 3 |  | 2 |  | 3 | 1 | 1 | 3 | 1 |  | 3 | 3 | 2.2143
8 | Partial Deliverability | 3 | 0 |  |  | 2 | 3 | 1 | 3 |  | 3 |  | 2 | 2 | 2 | 3 | 2 |  | 2 | 2 | 2.1429
19 | off peak deliverability | 3 | 0 |  |  | 3 | 1 | 3 | 3 | 3 | 0 |  | 1 | 2 | 3 | 3 | 0 | 3 | 3 | 3 | 2.125
3 | Per-unit cost estimates | 0 | 3 |  | 3 | 3 | 3 | 3 | 3 | 3 | 2 |  | 1 | 2 | 1 | 0 | 1 | 2 | 3 | 3 | 2.1176
17 | storage and behind the meter | 3 | 3 |  | 2 | 3 | 1 | 0 | 2 |  | 2 |  | 1 | 1 | 3 | 3 | 1 |  | 2 | 2 | 1.9333
16 | adjusted vs non-adjusted | 0 |  |  |  | 3 | 3 | 3 | 3 |  | 3 |  | 2 | 1 | 1 | 3 | 0 |  | 1 | 1 | 1.8462
7 | ISO Information | 0 | 3 |  | 3 | 2 | 1 | 3 | 2 |  | 2 |  | 1 | 1 | 1 | 2 | 2 | 3 | 2 | 2 | 1.875
1 | Cost Benefit | 3 | 1 |  | 1 | 0 | 1 | 0 | 3 | 0 | 2 |  | 3 | 3 | 2 | 3 | 3 | 3 | 0 | 0 | 1.6471
12 | Site Exclusivity | 1 | 1 |  |  |  | 2 | 0 | 3 |  | 3 |  | 2 | 1 | 2 | 2 | 0 |  | 2 | 2 | 1.6154
18 | Conforming low voltage req's | 3 | 3 |  | 2 | 0 | 2 | 1 | 3 | 0 | 0 |  | 1 | 1 | 1 | 3 | 1 |  | 1 | 1 | 1.4375
11 | Section 25 grandfathered | 2 | 3 | 3 |  |  | 1 | 0 | 3 | 0 | 3 |  | 3 | 1 | 0 | 1 | 0 |  | 0 | 0 | 1.3333
4 | Gen connecting to non-PTO | 0 |  |  | 2 | 0 | 1 | 1 | 2 | 3 | 1 |  | 1 | 1 | 3 | 1 | 0 | 2 | 3 | 3 | 1.5
15 | Posting for units already online | 3 | 2 | 2 |  | 0 | 1 | 0 | 3 | 0 | 3 |  | 2 | 1 | 0 | 2 | 0 |  | 0 | 0 | 1.1875
20 | Operational gen impacts | 0 |  |  |  |  | 0 | 0 | 1 | 0 | 2 |  | 2 | 3 | 3 | 2 | 2 |  | 0 | 0 | 1.1538
14 | ISO Insurance | 0 |  |  |  | 0 | 1 | 1 | 3 |  | 0 |  | 1 | 1 | 1 | 1 | 0 |  | 1 | 1 | 0.84615
21 | transferring queue position | 0 | 0 |  |  |  | 0 | 0 | 2 | 0 | 3 |  | 1 | 0 | 0 | 0 | 0 | 3 | 1 | 1 | 0.73333
Company | TOPIC | List of new subjects
Calpine | WECC path review process for IA's that affect the Affected Systems; Phase 1 and 2 studies refunded based on WECC rated path review
Next Era | Priority transmission process for fully deliverable status and curtailment right explanation
Clarity for ISP process vs fast track for projects less than 5 MW ( or where it is slightly higher)
FIT | Shortening GIP cluster study process
Ensure ISP is a viable process and greater clarity for electrical independence
Fast track improvements - no small gen has used this service, Fast Track screen 2 test to 15% of line section peak load issues
For Fee feasiblity study - was addressed in GIP by not here, WHY?
First Solar | SCE and CAISO have different opinions on max cost responsibilty
Coordinated review of Deliverability- discreet upgrades, projects drop out, capacity allocated inbetween cluster studies, etc..
Recurrent Energy | Cost Allocation Methodology - allocation of Network Upgraded vs only the 'needed' portion & allocation of NU based on flow after
an upgrade vs to the project that builds it
Queue Clearing process- non-viable projects are remainining in the queue
IREC | Improve process for SGIP by shortening the timeline for cluster study
Remove the Commercial Operation Deadline in ISP language
Provide information on ISO, Fast Track and cluster study processes
More time inbetween SH meetings and work groups
SDGE | More specificity for material modifications in LGIA
Deliverability study methodology needs to be revised
Generation Dispatch assumption in DA market is not realistic for Nukes, Thermal and Renewable (80%, 50% and 100%)
DA should be completed before the post cluster reliability studies are performed
Modify GIP to abandone case where (2) Phase 1 studies feed into a single Phase 2 study
PG&E | Establish fast track process for easy to figure out issues, and longer track for more difficult issues for GIP2
PIO PICO (zglobal) | Non-active serial requests are taking up space
Projects in Local Capacity Areas are experiencing an unjust allocation of estimated upgrade costs
Cal WEA / LSA | Cost Allocation Methodology - Network Upgrade cost vs only the 'needed' portion and who pays
Lack of Input to refine or correct Phase 2 studies
Unclear of of when an IC can build what parts of project development
Size modifcaitons which cause material changes or fails to meet concept of substanial completion results in LGIA termination
Queue clearing process
IFS release and Study deposit refunds for unilateral POI change
IFS release and Study deposit refunds for when PTO fails to build Nus
IFS posting invoices
Projects coming on line before Delivery NU's are complete and before earlier queued projects that have Full Capacity Status
SCE | Consideration of the Phase 1 maximum financial responsibility (cost cap) and develop process to adjust the method of service after the Phase
after the Phase 2 study
Provide for protection for PTOs that are required to upfront finance Network Upgrades