## Tesla_Bellota
Bus | Bus Name | kV | Sub-area | POI
33547 | AEC_300 | 115 | Tesla-Bellota
33545 | AEC_JCT | 115 | Tesla-Bellota
33541 | AEC_TP1 | 115 | Tesla-Bellota
33543 | AEC_TP2 | 115 | Tesla-Bellota
33510 | AVENA | 115 | Tesla-Bellota
33509 | AVENATP1 | 115 | Tesla-Bellota
33511 | AVENATP2 | 115 | Tesla-Bellota
33530 | BANTA | 115 | Tesla-Bellota
33904 | BEARDSLY | 115 | Tesla-Bellota
33562 | BELLOTA | 115 | Tesla-Bellota | BELLOTA 115 kV
33561 | BLLTAJCT | 115 | Tesla-Bellota
33902 | BRDSLY J | 115 | Tesla-Bellota
33566 | CAMANCHE | 115 | Tesla-Bellota
33504 | CATARACT | 115 | Tesla-Bellota
33557 | CDCRSTN | 115 | Tesla-Bellota
33554 | CDCRSTNJ | 115 | Tesla-Bellota
33926 | CHINESES | 115 | Tesla-Bellota
33928 | CHINESES | 115 | Tesla-Bellota
33565 | CMNCHETP | 115 | Tesla-Bellota
33916 | CURTISS | 115 | Tesla-Bellota | CURTIS 115 kV
33900 | DONNELLS | 115 | Tesla-Bellota
33544 | ELLIS_JC | 115 | Tesla-Bellota
335000 | ELLS GTY | 115 | Tesla-Bellota
33501 | FRGTNTP1 | 115 | Tesla-Bellota
33503 | FRGTNTP2 | 115 | Tesla-Bellota
33502 | FROGTOWN | 115 | Tesla-Bellota | FROGTOWN 115 kV
33569 | GRANITE | 115 | Tesla-Bellota
33551 | GWFTRACY | 115 | Tesla-Bellota
335001 | HJ HEINZ | 115 | Tesla-Bellota
33550 | HJ HEINZ | 115 | Tesla-Bellota
33524 | HOWLANDR | 115 | Tesla-Bellota
33958 | INGREDIO | 115 | Tesla-Bellota
33970 | INGRM C. | 115 | Tesla-Bellota
33528 | KASSON | 115 | Tesla-Bellota | KASSON 115 kV
33526 | KSSN-JC1 | 115 | Tesla-Bellota
33590 | KYOHOTAP | 115 | Tesla-Bellota
33529 | LAMMERS | 115 | Tesla-Bellota | LAMMERS 115 kV
33560 | LCKFRDJA | 115 | Tesla-Bellota
33558 | LCKFRDJB | 115 | Tesla-Bellota
335002 | LEPRINO | 115 | Tesla-Bellota | LEPRINO SW STA 115 kV
33542 | LEPRINO_ | 115 | Tesla-Bellota
33512 | LID | 115 | Tesla-Bellota
33513 | LID JCT | 115 | Tesla-Bellota
33564 | LOCKFORD | 115 | Tesla-Bellota | LOCKEFORD 115 kV
33514 | MANTECA | 115 | Tesla-Bellota | MANTECA 115 kV
33960 | MDSTO CN | 115 | Tesla-Bellota
33500 | MELNS JA | 115 | Tesla-Bellota
33936 | MELNS JB | 115 | Tesla-Bellota
33932 | MELONES | 115 | Tesla-Bellota | MELONES SW STA 115 kV
33967 | MILER TP | 115 | Tesla-Bellota
33966 | MILLER | 115 | Tesla-Bellota
33914 | MI-WUK | 115 | Tesla-Bellota | MI-WUK 115 kV
33532 | OI GLASS | 115 | Tesla-Bellota
33531 | OWENSTP1 | 115 | Tesla-Bellota
33533 | OWENSTP2 | 115 | Tesla-Bellota
339000 | PEORIA | 115 | Tesla-Bellota
33930 | PEORIA J | 115 | Tesla-Bellota
365681 | Q1103 | 115 | Tesla-Bellota
365680 | Q1103JCT | 115 | Tesla-Bellota
365139 | Q1109 | 115 | Tesla-Bellota
365139 | Q1109 | 115 | Tesla-Bellota
33922 | R.TRACK | 115 | Tesla-Bellota
33920 | RCTRK J. | 115 | Tesla-Bellota
33520 | RIPON | 115 | Tesla-Bellota | RIPON 115 kV
33947 | RIVRBKJT | 115 | Tesla-Bellota
33516 | RPN JNCN | 115 | Tesla-Bellota
33517 | RPNJ2 | 115 | Tesla-Bellota
33944 | RVRBANK | 115 | Tesla-Bellota
33946 | RVRBK J1 | 115 | Tesla-Bellota
33948 | RVRBK J2 | 115 | Tesla-Bellota
33950 | RVRBK TP | 115 | Tesla-Bellota
33534 | SAFEWAY | 115 | Tesla-Bellota
33964 | SALADO | 115 | Tesla-Bellota | SALADO 115 kV
33965 | SALADO J | 115 | Tesla-Bellota
33962 | SALDO TP | 115 | Tesla-Bellota
33908 | SANDBAR | 115 | Tesla-Bellota
33549 | SCHULTE | 115 | Tesla-Bellota | SCHULTE SW STA 115 kV
33537 | SFWY_TP1 | 115 | Tesla-Bellota
33535 | SFWY_TP2 | 115 | Tesla-Bellota
339001 | SJ COGEN | 115 | Tesla-Bellota
33956 | SJ COGEN | 115 | Tesla-Bellota
33910 | SNDBR JT | 115 | Tesla-Bellota
33917 | SPISONOR | 115 | Tesla-Bellota
33918 | SPISONOR | 115 | Tesla-Bellota
33912 | SPRNG GJ | 115 | Tesla-Bellota
33906 | SPRNG GP | 115 | Tesla-Bellota
33506 | STANISLA | 115 | Tesla-Bellota | STANISLAUS PH 115 kV
33552 | STCKTNJB | 115 | Tesla-Bellota
33555 | STKTON A | 115 | Tesla-Bellota | STOCKTON A 115 kV
33553 | STKTON B | 115 | Tesla-Bellota
33556 | STN COGN | 115 | Tesla-Bellota
33961 | TCHRT_T1 | 115 | Tesla-Bellota
33959 | TCHRT_T2 | 115 | Tesla-Bellota
33963 | TCHRTJCT | 115 | Tesla-Bellota
33968 | TEICHERT | 115 | Tesla-Bellota
33571 | TESLAMTR | 115 | Tesla-Bellota
33548 | TRACY | 115 | Tesla-Bellota | TRACY 115 kV
33546 | TRACY JC | 115 | Tesla-Bellota
339002 | TULLOCH | 115 | Tesla-Bellota
33934 | TULLOCH_ | 115 | Tesla-Bellota
33952 | VALLY HM | 115 | Tesla-Bellota | VALLEY HOME 115 kV
33518 | VIERRA | 115 | Tesla-Bellota | VIERRA 115 kV
33595 | VIERRAJC | 115 | Tesla-Bellota
33594 | VIERRAJC | 115 | Tesla-Bellota
33951 | VLYHMTP1 | 115 | Tesla-Bellota
33953 | VLYHMTP2 | 115 | Tesla-Bellota
33768 | BNTA CRB | 60 | Tesla-Bellota
33760 | BNTA JCT | 60 | Tesla-Bellota
336000 | CALVO | 60 | Tesla-Bellota
33764 | CARBONA | 60 | Tesla-Bellota | CARBONA 60 kV
33763 | CRBNA JC | 60 | Tesla-Bellota
34009 | CROWCREE | 60 | Tesla-Bellota | CROW CREEK SW STA 60 kV
34011 | CRWCRKSL | 60 | Tesla-Bellota
34017 | CRWS LDG | 60 | Tesla-Bellota | CROWS LANDING 60 kV
34010 | CRWS LDJ | 60 | Tesla-Bellota
336001 | GRONMYER | 60 | Tesla-Bellota
33702 | GRONMYER | 60 | Tesla-Bellota
34020 | GUSTINE | 60 | Tesla-Bellota
34012 | GUSTN JT | 60 | Tesla-Bellota
33756 | KASSON | 60 | Tesla-Bellota | KASSON 60 kV
33743 | LEE_JCT | 60 | Tesla-Bellota
33750 | LID JCT | 60 | Tesla-Bellota
33746 | LOUISE | 60 | Tesla-Bellota
33703 | LOUISJCT | 60 | Tesla-Bellota
33752 | LTHRP JT | 60 | Tesla-Bellota
336002 | LYOTH-SP | 60 | Tesla-Bellota
33742 | MANTECA | 60 | Tesla-Bellota
34016 | MEDLIN J | 60 | Tesla-Bellota
33766 | MNTCA JT | 60 | Tesla-Bellota
33748 | MSSDLESW | 60 | Tesla-Bellota
34014 | NEWMAN | 60 | Tesla-Bellota
34018 | NWMN JCT | 60 | Tesla-Bellota
34006 | PATTERSN | 60 | Tesla-Bellota
366133 | Q1350 | 60 | Tesla-Bellota
366133 | Q1350 | 60 | Tesla-Bellota
34002 | SALADO | 60 | Tesla-Bellota | SALADO 60 kV
340000 | STNSLSRP | 60 | Tesla-Bellota
340000 | STNSLSRP | 60 | Tesla-Bellota
34008 | STNSLSRP | 60 | Tesla-Bellota
33762 | TRCDEFNS | 60 | Tesla-Bellota
34000 | WESTLEY | 60 | Tesla-Bellota

## Reedley
Bus | Bus Name | kV | Sub-area | POI
34398 | BALCH | 115 | Reedley
34400 | KNGSRVR1 | 115 | Reedley
34490 | PARLIER | 115 | Reedley
34394 | PIEDRA 1 | 115 | Reedley
34396 | PIEDRA 2 | 115 | Reedley
34388 | RAINBW | 115 | Reedley
34389 | RAINBWTP | 115 | Reedley
34380 | REEDLEY | 115 | Reedley | REEDLEY 115 kV
34382 | WAHTOKE | 115 | Reedley | WAHTOKE 115 kV
34500 | DINUBA | 70 | Reedley | DINUBA 70 kV
34499 | DNUBAEGY | 70 | Reedley
34497 | DNUBAJCT | 70 | Reedley
34494 | DUNLAP | 70 | Reedley
34502 | OROSI | 70 | Reedley | OROSI 70 kV
34526 | ORSI JCT | 70 | Reedley
34492 | REEDLEY | 70 | Reedley | REEDLEY 70 kV
34495 | SANDCRK | 70 | Reedley
34496 | STCRRL J | 70 | Reedley
34498 | STONCRRL | 70 | Reedley
34478 | TVY VLLY | 70 | Reedley | TIVY VALLEY 70 kV

## Westpark
Bus | Bus Name | kV | Sub-area | POI
34706 | WESTPARK | 115 | Westpark | WESTPARK 115 kV
34826 | WESTPARK | 115 | Westpark
34731 | CALWTRTP | 115 | Westpark
34729 | CALWATER | 115 | Westpark
34733 | BEAR MTN | 115 | Westpark
34734 | BEAR TAP | 115 | Westpark
34732 | COLUMBUS | 115 | Westpark
34735 | MAGUDN J | 115 | Westpark
34738 | BOLTHSE | 115 | Westpark

## Kern Oil
Bus | Bus Name | kV | Sub-area | POI
34713 | OGLE TAP | 115 | Kern Oil
34715 | OGLE JCT | 115 | Kern Oil
34714 | LERDO | 115 | Kern Oil | LERDO 115 kV
34716 | LRDO JCT | 115 | Kern Oil
34709 | 7STNDRD | 115 | Kern Oil | 7th STANDARD 115 kV
34718 | KERN OIL | 115 | Kern Oil | KERN OIL 115 kV
34717 | DEXZEL | 115 | Kern Oil
34720 | DSCVRYTP | 115 | Kern Oil
34719 | POSOMTJT | 115 | Kern Oil
34782 | CRCKERNF | 115 | Kern Oil
34721 | RASMSNTP | 115 | Kern Oil
34744 | WITCO_JC | 115 | Kern Oil
34722 | RASMUSEN | 115 | Kern Oil
34723 | DISCOVER | 115 | Kern Oil
34724 | KRN OL J | 115 | Kern Oil
34736 | MAGUNDEN | 115 | Kern Oil | MAGUNDEN 115 kV
34744 | WITCO_JC | 115 | Kern Oil
34798 | KERNWATR | 115 | Kern Oil
34726 | PTRL JCT | 115 | Kern Oil
34728 | LIVEOAKS | 115 | Kern Oil | LIVE OAK SW STA 115 kV
347003 | LIVEOAKL | 115 | Kern Oil
34735 | MAGUDN J | 115 | Kern Oil
34738 | BOLTHSE | 115 | Kern Oil
347007 | GODN_BER | 115 | Kern Oil
34785 | CRCKERNF | 115 | Kern Oil
34810 | POSO MT | 115 | Kern Oil
34784 | CAWELO C | 115 | Kern Oil
34827 | KERNWTR_ | 115 | Kern Oil
34812 | VEDDER | 115 | Kern Oil
34828 | KERNWTR_ | 115 | Kern Oil