TRANSMISSION MAINTENANCE COORDINATION COMMITTEE (TMCC) MINUTES

October  17, 2024

Webex

Steve Rutty, Acting Chairperson of the Transmission Maintenance Coordination Committee (TMCC), called the meeting to order at approximately 9:00 a.m.

# ATTENDANCE

The following TMCC members attended:

James Alligan (NextEra Energy Transmission)

Christian Henderson, P.E. (San Diego Gas & Electric (SDG&E)

Jed Ferguson (Valley Electric Association (VEA))

Tibor Foki (International Brotherhood of Electrical Workers Local Union 47 (IBEW 47))

David Hahn (Western Area Power Administration (WAPA))

Alan Hernandez (Southern California Edison (SCE))

Edgar Pabon-Hernandez (Southern California Edison (SCE))

Ethan Stonecipher (International Brotherhood of Electrical Workers Local Union 1245 (IBEW 1245))

Michael Blunt (Trans Bay Cable (TBC))

Maria Ly (Pacific Gas & Electric (PG&E))

Christopher McClean (CEC)

Jim Useldinger (GridLiance West Transco (GWT))

Steve Rutty (California Independent System Operator Corporation (CAISO)) – Acting Chairperson

Bryan Pena (California Public Utilities Commission (CPUC))

Ross Hohlt (DesertLink)

The following TMCC members were not in attendance:

The following members of the public were in attendance:

Scott Vaughan (CAISO)

Kingsley Tenjoh (CAISO)

Adalaberto Baca-Chavez (CAISO)

Rod Tshunza (CAISO)

Monica Curry (San Diego Gas & Electric (SDG&E))

Alex Veileux (NextEra Energy Transmission)

Justin Flores (PG&E)

Manil Patel (Pacific Gas & Electric (PG&E))

Rama Reddy (Pacific Gas & Electric (PG&E))

Corrine (Southern California Edison (SCE))

Ali Amirali (Delaney Colorado River Transmission (DCRT))

Casey Reynolds (Delaney Colorado River Transmission (DCRT))

The following agenda items were addressed:

Opening Comments:

Tibor Foki, IBEW 47 Senior Business Representative, began a discussion on current industry news.

Decision on 04/18/2024 General Session Minutes:

The April 18, 2024 meeting minutes were reviewed and approved.

CAISO Safety Briefing

CAISO Facilities staff started the meeting with a general discussion of the evacuation plans for the CAISO building.

Use of Natural Ester-based Oils in Transmission Substation.

Monil Patel, Pacific Gas and Electric (PG&E) Substation Standard Engineer, and Rama Reddy, PG&E Senior Manager, Substation Standards Engineering, presented on PG&E’s use of natural ester oils in lieu of mineral oil in power transformers.  Mr. Patel provided a detailed overview of the differences between natural ester oils and mineral oil including flash point, dielectric strength and viscosity, and noted that natural ester oils are renewable and biodegradable where mineral oil is not.  Mr. Patel further described the benefits and challenges with using ester oils, specifically in transformer applications.  Ms. Reddy discussed PG&E’s experience associated with the use of natural ester oils, primarily in 12/21 kV secondary 30/45 MVA transformers, and noted that PG&E is currently evaluating its use in 60 and 70 kV power transformers.

Non-SF6 Circuit Breaker Programs

Edgar Pabon-Hernandez, Southern California Edison (SCE) Senior Engineer, Asset Transformation and Switching Engineering, and Alan Hernandez, SCE Senior Advisor, T&D Transmission Compliance Integration, presented an overview of SCE’s SF6 (Sulfur Hexafluoride) gas replacement program. Mr. Pablo-Hernandez discussed SCEs ongoing pilot programs and implementation schedule using new technology vacuum type non-SF6 circuit breakers.  He also discussed the overall industry circuit breaker manufacturer’s progress in developing new equipment to meet the mandated California Air Resources Board (CARB) implementation schedule for reducing SF6 emission from circuit breakers and gas insulated switchgear.  Mr. Hernandez discussed a recent letter that was sent to CARB from a group of concerned utilities, including SCE, which described the harmful health affects of utilizing SF6 alternative gasses containing polyflourakyl substances (PFAS).

Deferral process for Transmission Line Maintenance activities

Monica Curry, SDG&E’s Manager of  Construction Operations, presented on SDG&E’s transmission line maintenance deferral process and the California General Order 95 Rule 18 timelines.  Ms. Curry discussed the type of deferrals and identified a potential enhancement to SDG&E’s current process to provide the ISO added transparency concerning transmission line maintenance deferrals.

NERC Reliability Standards, CIP and Compliance:

No Compliance items were discussed

Open discussion items:

None

New Business Issues and Future Agenda Items:

TMCC members discussed topics the next TMCC meeting.  Suggestions provided at the meeting included:

- Overview of the Extended Day Ahead Market (EDAM).

- Overview of new PTO - DCRT

- Overview of new PTO – Sunzia

- Effectiveness of enhanced inspections

TMCC MEMBER ACTION ITEMS

- ISO will draft the minutes for this meeting and post as a document for the October17, 2024 TMCC meeting;

- ISO will post the approved minutes for the April 18, 2024 TMCC meeting on the ISO website;

The meeting was adjourned with no objections noted.