| NERC Reliability Standards - Responsibilities of the Generator Operator, Scheduling Coordinator, CAISO, and Reliability Coordinator |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Standard Title | NERC Requirement | Generator Operator Responsibility | Scheduling Coordinator Responsibility | CAISO Responsibility | Reliability Coordinator Responsibilities | Data Required |
| NERC-CIP-001-1 / R2 | Each Reliability Coordinator, Balancing Authority, Transmission Operator, Generator Operator, and Load Serving Entity shall have procedures for the communication of information concerning sabotage events to appropriate parties in the Interconnection. | The Generator Operator shall have procedures for the communications of information concerning Sabotage events to their Scheduling Coordinator | The Scheduling Coordinator shall have procedures for communicating the Sabotage event information provided by the Generator Operator to the CAISO | The CAISO shall have procedures to communicate the Sabotage event information provided by the Scheduling Coordinator to the Reliability Coordinator | The Reliability Coordinator shall have procedures to receive reports from the CAISO regarding acts of sabotage | Text data providing information regarding sabotage event |
| NERC-COM-002-2 / R1 | Each Transmission Operator, Balancing Authority, and Generator Operator shall have communications (voice and data links) with appropriate reliability Coordinators, Balancing Authorities, and Transmission Operators. Such communications shall be staffed and available for addressing a real-time emergency condition. | The Generator Operator shall have facilities to communicate real-time emergency conditions to their Scheduling Coordinator (e.g. data and voice communications). Such communications shall be staffed and available for addressing real-time emergency conditions. | The Scheduling Coordinator shall have communications facilities (e.g. data and voice communications) to provide information from the Generator Operator to the CAISO. Such communications shall be staffed and available for addressing real-time emergency conditions. | The CAISO shall have communications facilities to provide information regarding real-time emergency conditions from the Scheduling Coordinator to the Reliability Coordinator. Such communications shall be staffed and available for addressing real-time emergency conditions. | Reliability Coordinator shall have facilities to receive communications of real-time emergencies from the CAISO | Systems available to communicate with CAISO, includes SLIC and phone system whereby dispatchers are available 24-hours per day, 7-days per week |
| NERC-IRO-001-1/R8 | Transmission Operators, Balancing Authorities, Generator Operators, Transmission Service Providers, Load-Serving Entities, and Purchasing-Selling Entities shall comply with Reliability Coordinator directives unless such actions would violate safety, equipment, or regulatory or statutory requirements. Under these circumstances, the Transmission Operator, Balancing Authority, Generator Operator, Transmission Service Provider, Load-Serving Entity, or Purchasing-Selling Entity shall immediately inform the Reliability Coordinator of the inability to perform the directive so that the Reliability Coordinator may implement alternate remedial actions. | The Generator Operator shall comply with the Reliability Coordinator directives (such directives may be made by the CAISO at the direction of the Reliability Coordinator), unless such actions would violate safety, equipment, or regulatory or statutory requirements. Under these circumstances, the Generator Owner shall immediately inform the Scheduling Coordinator and the party which made the initial directive of the inability to perform the directive. | If notified by the Generator Operator of its inability to comply with the Reliability Coordinator’s directive (provided directly by the Reliability Coordinator or through the CAISO), the Scheduling Coordinator shall inform the party which made the initial directive based upon the information provided by the Generator Operator | The CAISO shall receive information on the Generator Operator's inability to comply with Reliability Coordinator’s directives from the Scheduling Coordinator and notify the Reliability Coordinator if the directive was initiated by the Reliability Coordinator. | The Reliability Coordinator shall receive the notifications from the CAISO, Scheduling Coordinator, or Generator Operator regarding the Generator’s inability to comply with their directive. | Text data providing information regarding rationale for not complying with dispatch order |
| NERC-IRO-004-1 / R4 | Each Transmission Operator, Balancing Authority, Transmission Owner, Generator Owner, Generator Operator, and Load-Serving Entity in the Reliability Coordinator Area shall provide information required for system studies, such as critical facility status, Load, generation, operating reserve projections, and known Interchange Transactions. This information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection. | The Generator Owner/Operator shall provide the Scheduling Coordinator with projected next day unit status information per the procedure for notification provided by the Scheduling Coordinator. | The Scheduling Coordinator shall submit bids, schedules and other plant-related information to the CAISO as required by the ISO Tariff. Additionally, to the extent the plant has declared a next day unit outage or derate, the Scheduling Coordinator will provide such information to the CAISO as required by the CAISO Tariff. | The CAISO shall notify the Reliability Coordinator of projected next day unit outages and derates received from the Scheduling Coordinator | The Reliability Coordinator shall receive the notifications of projected next day unit outage and derates from the CAISO | Bids and schedules submitted no less than 5 hours prior to day-ahead scheduling deadline in the CAISO Tariff.. Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-PRC-001-1 / R2.1 | If a protective relay or equipment failure reduces system reliability, the Generator Operator shall notify its Transmission Operator and Host Balancing Authority. The Generator Operator shall take corrective action as soon as possible. | To the extent a protective relay or equipment failure at the Generator Operator facility reduces system reliability, the Generator Operator shall inform the Scheduling Coordinator of such conditions | If notified of a reduction in system reliability by the Generator Operator, the Scheduling Coordinator shall notify the CAISO of such. | The CAISO shall notify the Reliability Coordinator of reduced reliability received from the Scheduling Coordinator | The Reliability Coordinator shall receive the notifications of reduced reliability from the CAISO | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-001-1 / R7.1 & 7.3 | For a generator outage, the Generator Operator shall notify and coordinate with the Transmission Operator. The Transmission Operator shall notify the Reliability Coordinator and other affected Transmission Operators, and coordinate the impact of removing the Bulk Electric System facility. When time does not permit such notification and coordination, or when immediate action is required to prevent a hazard to the public.....notification shall be made at earliest possible time. | The Generator Operator shall notify and coordinate with the Scheduling Coordinator of any unit outages for the Generator Operators facilities | If notified of a unit outage by the Generator Operator, the Scheduling Coordinator shall notify and coordinate such unit outage with the CAISO. | The CAISO shall notify and coordinate with the Reliability Coordinator regarding outages received from the Scheduling Coordinator | The Reliability Coordinator shall receive the notifications of outage from the CAISO | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-001-1 / R3 | Each Transmission Operator, Balancing Authority, and Generator Operator shall comply with reliability directives issued by the Reliability Coordinator, and each Balancing Authority and Generator Operator shall comply with reliability directives issued by the Transmission Operator, unless such actions would violate safety, equipment, regulatory or statutory requirements. Under these circumstances the Transmission Operator, Balancing Authority or Generator Operator shall immediately inform the Reliability Coordinator or Transmission Operator of the inability to perform the directive so that the Reliability Coordinator or Transmission Operator can implement alternate remedial actions. | The Generator Operator shall comply with reliability directives issued by the Reliability Coordinator and Transmission Operator, unless such actions would violate safety, equipment, regulatory or statutory requirements. Under these circumstances,, the Generator Operator shall immediately inform their Scheduling Coordinator and the party which communicated the directive to the Generator Operator | If notified of the Generator Operator's inability to comply with the Reliability Coordinator or Transmission Operator’s directive, the Scheduling Coordinator shall inform the CAISO or the party which communicated the directive to the Generator Operator, of the information provided by the Generator Operator | The CAISO shall receive information on the Generator Operator's inability to comply with CAISO directives from the Scheduling Coordinator or Generator Operator if the directive was communicated directly to the Generator operator and notify the Reliability Coordinator if the directive was initiated by the Reliability Coordinator. | The Reliability Coordinator shall receive the notifications from the CAISO, Scheduling Coordinator, or Generator Operator regarding the Generator’s inability to comply with their directive.. | Text data providing information regarding rationale for not complying with dispatch order |
| NERC-TOP-001-1 / R6 | Each Transmission Operator, Balancing Authority, and Generator Operator shall render all available emergency assistance to others as requested, provided that the requesting entity has implemented its comparable emergency procedures, unless such actions would violate safety, equipment, or regulatory or statutory requirements. | The Generator Operator shall render all available emergency assistance to others as requested, provided that the requesting entity has implemented its comparable emergency procedures, unless such actions would violate safety, equipment, or regulatory or statutory requirements. The Generator Operator shall provide such service as requested by the Scheduling Coordinator, CAISO, or Reliability Coordinator. If requested by an entity other than the Scheduling Coordinator, the Generator Operator shall notify their Scheduling Coordinator. | If requested by the CAISO or the Reliability Coordinator, the Scheduling Coordinator shall request emergency assistance as requested by the CAISO or Reliability Coordinator. | The CAISO shall request from the Scheduling Coordinator or Generator Operator emergency assistance as necessary. | The Reliability Coordinator shall request from the Scheduling Coordinator or Generator Operator emergency assistance as necessary. | All available emergency assistance. |
| NERC-TOP-002-2 / R3 | Each Load Serving Entity and Generator Operator shall coordinate (where confidentiality agreements allow) its current-day, next-day, and seasonal operations with its Host Balancing Authority and Transmission Service Provider. Each Balancing Authority and Transmission Service Provider shall coordinate its current-day, next-day, and seasonal operations with its Transmission Operator. | The Generator Operator shall provide the Scheduling Coordinator its current-day, next-day and seasonal unit status and outage plans. | The Scheduling Coordinator shall submit bids, schedules and other plant-related information to the CAISO as required by the CAISO Tariff. Additionally, to the extent the plant has declared a current-day, next-day or seasonal outage or derate, the Scheduling Coordinator will provide such information to the CAISO | The CAISO shall receive bids, schedules, and current-day, next-day or seasonal unit outage or derate information from the Scheduling Coordinator | NA | Bids and schedules submitted at least one hour before the current day and 5 hours before the day-ahead deadline specified in the CAISO Tariff.. Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-002-2 / R13 | At the request of the Balancing Authority or Transmission Operator, a Generator Operator shall perform generating real and reactive capability verification that shall include, among other variables, weather, ambient air and water conditions, and fuel quality and quantity, and provide the results to the Balancing Authority or Transmission Operator operating personnel as requested. | The Generator Operator shall perform the real and reactive capability verifications as requested. Additionally, the Generator Operator shall notify the Scheduling Coordinator of the results of the real capability verification. NOTE: Results of reactive capability verifications should be communicated to the relevant Transmission Owner. | The Scheduling Coordinator shall notify the CAISO (i.e. Balancing Authority) of the results of the requested real capability verification of the resource as provided by the Generator Operator. | The CAISO shall receive the results of the requested real capability verifications from the Scheduling Coordinator. | NA | Availability data as shown below: Resource ID MWh/h Start/End time of period for which declaration is made Reason for outage/derate if less than 100% available Text field for comments |
| NERC-TOP-002-2 / R14 and R14.1 | Generator Operators shall, without any intentional time delay, notify their Balancing Authority and Transmission Operator of changes in capabilities and characteristics including but not limited to: Changes in real output capabilities. | The Generator Operator shall, without any intentional time delay, notify the Scheduling Coordinator of any changes in real output capabilities | The Scheduling Coordinator shall notify the CAISO as required by the CAISO Tariff of any changes in real output capability as provided to them by the Generator Operator | The CAISO shall receive notifications of changes in real output capability from the Scheduling Coordinator | NA | Availability data as shown below: Resource ID MWh/h Start/End time of period for which declaration is made Reason for outage/derate if less than 100% available Text field for comments |
| NERC-TOP-002-2 / R15 | Generation Operators shall, at the request of the Balancing Authority or Transmission Operator, provide a forecast of expected real power output to assist in operations planning (e.g., a seven-day forecast of real output). | The Generator Operator shall upon request provide estimates of projected outages or derates to their Scheduling Coordinator | The Scheduling Coordinator shall bid or schedule the resource with the CAISO according to the Scheduling Coordinators needs and the plant's status. Additionally, to the extent the plant has provided estimates of outages or derates, the Scheduling coordinator will provide such information to the CAISO as required by the CAISO Tariff. | The CAISO shall receive bids, schedules, and outage or derate information from the Scheduling Coordinator | NA | Bids and schedules submitted in accord with timeframes specified in the CAISO Tariff.. Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-003-0 / R1.1 | Each Generator Operator shall provide outage information daily to its Transmission Operator for scheduled generator outages planned for the next day (any foreseen outage of a generator greater than 50 MW). The Transmission Operator shall establish the outage reporting requirements. | The Generator Operator shall provide daily to its Scheduling Coordinator for generator outages planned for the next day (any foreseen outages of a generator greater than 50 MW), per the outage reporting requirements established in the CAISO tariff | The Scheduling Coordinator shall provide notification of planned unit outages or derates to the extent they have received such information from the Generator Operator to the CAISO as required by the CAISO Tariff. | The CAISO shall receive planned outage or derate information from the Scheduling Coordinator | NA | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-003-0 / R1.3 | Such information shall be available by 1200 Central Standard Time for the Eastern Interconnection and 1200 Pacific Standard Time for the Western Interconnection. | The Generator Operator shall notify the Scheduling coordinator of any planned outages or derates for the Generator Operators facilities in a timely manner in accordance with the CAISO tariff | The Scheduling Coordinator shall provide notification of planned outages or derates to the extent they have received such information from the Generator Operator to the CAISO as required by the CAISO Tariff. | The CAISO shall receive planned outage or derate information from the Scheduling Coordinator | NA | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-003-0 / R2 | Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of system voltage regulating equipment, such as automatic voltage regulators on generators, supplementary excitation control, synchronous condensers, shunt and series capacitors, reactors, etc., among affected Balancing Authorities and Transmission Operators as required. | The Generator Operator shall notify the Scheduling coordinator of any outages of system voltage regulating equipment, or derates for the Generator Operators facilities in a timely manner in accordance with the CAISO tariff | The Scheduling Coordinator shall provide notification of outages of system voltage regulating equipment or derates to the extent they have received such information from the Generator Operator to the CAISO as required by the CAISO Tariff. | The CAISO shall receive outage of system voltage regulating equipment or derate information from the Scheduling Coordinator and coordinate outages as necessary | NA | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period Reason for outage/derate Text field for comments |
| NERC-TOP-003-0 / R3 | Each Transmission Operator, Balancing Authority, and Generator Operator shall plan and coordinate scheduled outages of telemetering and control equipment and associated communication channels between the affected areas. | The Generator Operator shall notify the Scheduling Coordinator of any scheduled outages of telemetering and control equipment and associated communication channels in a timely manner in accordance with the CAISO tariff | The Scheduling Coordinator shall provide notification of scheduled outages of telemetering or control equipment or derates to the extent they have received such information from the Generator Operator to the CAISO as required by the CAISO Tariff. | The CAISO shall receive scheduled outage of telemetering or control equipment information from the Scheduling Coordinator and coordinate outages as necessary | NA | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period, if any Reason for outage/derate Text field for comments – include services/capabilities that are unavailable due to outage of equipment |
| NERC-TOP-006-1 / R1.1 | Each Generator Operator shall inform its Host Balancing Authority and the Transmission Operator of all generation resources available for use. | The Generator Operator shall provide notification of outages or derates to their Scheduling Coordinator | The Scheduling Coordinator shall provide notification of outages or derates to the extent they have received such information from the Generator Operator to the CAISO as required by the CAISO Tariff. | The CAISO shall receive outage or derate information from the Scheduling Coordinator. All other resources are assumed available | NA | Availability data as shown below: Resource ID MWh/h Start/End time of period for which declaration is made Reason for outage/derate if less than 100% available Text field for comments |
| NERC-VAR-002-1 / R3, 3.1, and 3.2 | Each Generator Operator shall notify its associated Transmission Operator as soon as practical, but within 30 minutes of any of the following: A status or capability change on any generator Reactive Power resource, including the status of each automatic voltage regulator and power system stabilizer and the expected duration of the change in status or capability. A status or capability change on any other Reactive Power resources under the Generator Operator’s control and the expected duration of the change in status or capability. | Each Generator Operator shall notify their Scheduling Coordinator as soon as practical, but within 20 minutes of any of the following: A status change on any generator Reactive Power resource, including the status of each automatic voltage regulator and power system stabilizer and the expected duration of the change in status. A status change on any other Reactive Power resources under the Generator Operator’s control and the expected duration of the change in status or. If the Generator Operator can not notify the Scheduling Coordinator within 20 minutes then the Generator Operator shall notify the CAISO directly within 30 minutes. NOTE: Changes in the status or capability of Reactive Power resources should be communicated to the relevant Transmission Owner. | The Scheduling Coordinator shall inform the CAISO (Transmission Operator) as soon as practical but within 10 minutes of receipt from the Generator Operator of a change in status of automatic voltage regulator and power system stabilizer status based upon the information received from the Generator Operator. | The CAISO shall receive information regarding the change in status of automatic voltage regulator and power system stabilizer as provided by the Scheduling Coordinator. | NA | Outage information to be included: Resource ID Start/End Time Derate amount in MWh/h for the outage period, if any Reason for outage/derate Text field for comments – include services/capabilities that are unavailable due to outage of equipment |