## Instructions
FERC-922 (OMB Control No. 1902-0262) Expiration Date: to be determined
The views expressed in this Information Collection Request do not represent the views of the Commission, the Chairman, or any Commissioner.
Structure of the Information Collection Request
There are three groups of Metrics in this Information Collection Request
Group 1: Administrative and Descriptive Metrics
All reporting entities should answer these metrics
These metrics are identified by yellow shading in the title row of the worksheet and on the worksheet tabs
Group 2: Energy Market Metrics
All RTOs/ISOs should answer these metrics
These metrics are identified by green shading in the title row of the worksheet and on the worksheet tabs
Group 3: Capacity Market Metrics
The four RTOs/ISOs with forward capacity markets should answer these metrics
These metrics are identified by blue shading in the title row of the worksheet and on the worksheet tabs
Contact Information
Please complete the following text fields before entering any data in subsequent worksheets.
Balancing Authority Area Name: |  | CAISO
Name of the Contact Person |  | Andrew Ulmer
Phone Number of the Contact Person |  | (916) 673-7797
Email address of the Contact Person |  | aulmer@caiso.com
Data Reporting Period
Respondents (utilities and RTOs/ISOs) without centralized capacity markets should enter the first calendar year of the five reporting periods.
RTOs/ISOs with centralized capacity markets should enter the four-digit year of the first delivery period of the five reporting periods.
For example, if June 2014 is the start of the first delivery period, enter 2014
YEAR
Enter first reporting period (enter a 4 digit year in YYYY format) |  | 2014
Expiration Date
To be Determined
Where to Send Comments on Public Reporting Burden
The burden for the FERC-922 is estimated to average 402 hours per response, including the time for reviewing instructions,
searching existing data sources, gathering and maintaining the data, and completing and reviewing the collection of information.
Send comments regarding the burden estimate or any aspect of the collection of information, including suggestions for reducing
burden, to the Federal Energy Regulatory Commission, 888 First Street NE, Washington, DC 20426 (Attention: Information Clearance Officer);
and to the Office of Information and Regulatory Affairs, Office of Management and Budget, Washington, DC 20503 (Attention: Desk Officer
for the Federal Energy Regulatory Commission). No person shall be subject to any penalty if any collection of information does not display
a valid control number (44 U.S.C. § 3512 (a)).

## #1 Reserve Margins
| Balancing Authority Area Respondent Name: | CAISO
Group 1: Metric #1 Reserve Margins
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
1 | Forecasted Peak Demand (MW). Enter the value of the forecasted net coincident peak load (actual peak, not normalized) integrated over the peak hour; net of behind-the-meter photovoltaic and energy efficiency for the entire Balancing Authority Area for the given reporting period. For some RTOs/ISOs, this number may have been determined prior to an initial capacity auction. | 47351 | 46904.8846 | 46302.2941 | 45966.7701 | 45689.7844
1.01 | Publication Date of the Forecasted Peak Demand. Enter the date in MM/YYYY format of the last binding capacity auction or the date of the forecast from the most recent planning process at which time the peak demand was forecasted. | 2014-01-01 | 2015-01-01 | 2016-01-01 | 2017-01-01 | 2018-01-01
1.02 | Total Anticipated Installed Capacity (MW). Enter the amount of capacity expected to be available for the entire Balancing Authority Area at the time the Forecasted Peak Demand was calculated for the reporting period. This is the cleared capacity in the binding auction for ISOs/RTOs with a capacity market. For IOUs and RTOs/ISOs without capacity markets use the generation estimate used for the planning process (e.g., Resource Adequacy, etc.) | 58051 | 58297 | 59004 | 58671 | 58189
1.03 | Publication Date of the Estimate of the Total Anticipated Installed Capacity. Enter the date in MM/YYYY format. (This may be the same date as the Date of Forecasted Peak Demand) | 2014-05-01 | 2015-05-01 | 2016-05-01 | 2017-05-01 | 2018-05-01
1.04 | Anticipated Reserve (MW). The value for Anticipated Reserves for the entire Balancing Authority Area for the given reporting period is calculated as [Total Anticipated Installed Capacity – Forecasted Peak Demand]. (Automatically calculated) | 10700 | 11392.1154 | 12701.7059 | 12704.2299 | 12499.2156
1.05 | Anticipated Reserve Margin (%). The Anticipated Reserve Margin is the ratio of the amount of anticipated reserves in relation to the forecasted demand, calculated as [(Total Anticipated Installed Capacity – Forecasted Peak Demand) / Forecasted Peak Demand]. (Automatically calculated) | 0.22597 | 0.24288 | 0.27432 | 0.27638 | 0.27357
1.06 | Actual Peak Demand (MW). Enter the value of the net coincident peak load (actual peak, not normalized) integrated over the peak hour; net of behind-the-meter photovoltaic and energy efficiency for the entire Balancing Authority Area for the given reporting period. | 44703.3458 | 47256.7145 | 46007.7182 | 49900.0264 | 46309.8672
1.07 | Total Available Installed Capacity (MW). Enter the amount of capacity that was available for the entire Balancing Authority Area at the time the Actual Peak Demand was realized during the reporting period. This is the available capacity at the time of the Actual Peak Demand. | 56462.76 | 55978.3427 | 54068 | 53150 | 51585
1.08 | Date of the Actual Peak Demand. Enter the date in DD/MM/YYYY format. | 2014-09-15 | 2015-09-10 | 2016-07-27 | 2017-09-01 | 2018-07-25
1.09 | Actual Reserve (MW). The value for the actual reserves for the entire Balancing Authority Area for the given reporting period calculated as [Total Actual Installed Capacity – Actual Peak Demand]. (Automatically calculated) | 11759.4142 | 8721.6283 | 8060.2818 | 3249.9736 | 5275.1328
1.1 | Actual Reserve Margin (%). The actual reserve margin is the ratio of the amount of reserves procured for a specific reporting period, calculated as [(Total Actual Installed Capacity – Actual Peak Demand) / Actual Peak Demand]. (Automatically calculated) | 26.31% | 18.46% | 17.52% | 6.513% | 11.39%
1.11 | Adjustment methodology. Describe your adjustment methodology by technology. | 1.00 - Under California Code of Regulations Title 20. Public Utilities and Energy, the California Energy Commission is responsible for forecasting peak demand values of any Electric Utility that experienced a peak electricity demand of more than 200 megawatts. 1.01 - The California Energy Commission approves its ten-year demand and energy forecast utilized by the CAISO and the underlying utilities in January of each year. 1.02 - The total Net Qualifying Capacity for resources participating in the California Public Utilities Commission's Resource Adequacy program. Resources that are outside of the CAISO footprint that are dynamically scheduled into the CAISO are added to the Net Qualifying Capacity total, as reported in the CAISO's annual FERC Form 714 filing. 1.03 - The reported amounts are based on the CAISO's annual Summer Loads and Resources Assessment that is published each May. 1.06 - Actual peak demands derived from CAISO's EMS. 1.07 - 1.02 less the sum of all generator outages at time of system peak, plus any actual imports at time of peak that exceed the total capacity of dynamically scheduled resources. 1.10 - The 2017 peak demand occurred during a 1-in-19 weather event.

## #2 Heat Rates
| Balancing Authority Area Respondent Name: | CAISO
Group 1: Metric #2 Average Heat Rates
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
2 | Average Heat Rate of Oil-fired Steam Generation (Btu/kWh). | No data | No data | No data | No data | No data
2.01 | Average Heat Rate of Natural Gas-fired Steam Generation (Btu/kWh). | 10289.0029 | 10345.3888 | 10458.1084 | 10478.6748 | 10634.0067
2.02 | Average Heat Rate of Coal-fired Generation (Btu/kWh). | 9244.342 | 9513.4615 | 9572.3057 | 9526.5206 | 9500.238
2.03 | Average Heat Rate of Combustion Turbine Generation (Btu/kWh). | 10304.063 | 10316.7956 | 10505.3277 | 10732.8712 | 10792.0651
2.04 | Average Heat Rate of Combined Cycle Generation (Btu/kWh). | 7298.9842 | 7321.387 | 7350.1015 | 7403.7603 | 7405.998
2.05 | Explanatory Text. Explanations, for example, if you haven't used the primary fuel for dual-fuel units, please explain. | 2.00 FUEL_TYPE = OIL 2.01 FUEL_TYPE = GAS, GEN_TECH_TYPE = STUR 2.02 FUEL_TYPE = COAL 2.03 FUEL_TYPE = GAS, GEN_TECH_TYPE = GTUR 2.04 FUEL_TYPE = GAS, GEN_TECH_TYPE = CCYC Btu/KWh values are technology/fuel-specific based on the CAISO’s Master File registered heat rate values for individual resources. The CAISO calculated the annual average heat rate for each technology/fuel-type utilizing hourly meter data values for individual resources and calculating an average of each resource’s hourly heat rate using that meter data. The CAISO used these values to create an annual average for each technology/fuel type. Resources without registered heat rate values have been excluded from the calculation.
〖𝐻𝑅〗_𝑇= (∑24_(𝑖=1)^𝑛▒(〖𝐻𝑅〗_𝑖∗ 〖𝑀𝑊ℎ〗_𝑖 ) )/(∑24_(𝑖=1)^𝑛▒〖𝑀𝑊ℎ〗_𝑖 )
MWhi - Total Production of Resource i

## #3 Fuel Diversity
| Balancing Authority Area Respondent Name: | CAISO
Group 1: Metric #3 Fuel Diversity
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Summer Capacity Rating by Fuel Type (MW)
3 | Biomass | 1183.5 | 1159.17 | 1233.42 | 1060.16 | 952.16
3.01 | Coal | 1240.42 | 705.82 | 562.5 | 562.5 | 519
3.02 | Geothermal | 1932.97 | 1922.53 | 1854.8 | 1820.4 | 1788.7
3.03 | Natural Gas | 41722.44 | 40187.73 | 40093.74 | 38089.1 | 36315.45
3.04 | Other Fuel | 199.34 | 177.69 | 174.29 | 193.26 | 163.46
3.05 | Petroleum Products | 210 | 210 | 165 | 165 | 165
3.06 | Solar | 5423.41 | 7944.5 | 9928.03 | 10865.4 | 12061.34
3.07 | Nuclear (All Fuel Types) | 2935 | 2935 | 2935 | 2935 | 2935
3.08 | Water (Hydro) | 7976.9 | 7715 | 8425.93 | 7702.52 | 7600.53
3.09 | Pumped / Hydro Storage | 2801 | 2801 | 2801 | 2801 | 2801
3.1 | Wind | 6600.31 | 6702.57 | 6086.68 | 6906.44 | 6699.63
3.11 | Battery | 2 | 1.85 | 7 | 94 | 134.14
Total Energy Generated by Fuel Type (MWh)
3.12 | Biomass | 5771240.18 | 5300080.49 | 4850255.99 | 4670692.63 | 4780533.18
3.13 | Coal | 750091.11 | 2091983.65 | 2314326.83 | 2329656.55 | 2549046.15
3.14 | Geothermal | 9201544.37 | 11359372.51 | 10694590.34 | 10505216.45 | 10262308.93
3.15 | Natural Gas | 100059660.68 | 97694356.51 | 77441968.66 | 67641224.19 | 68814785.4
3.16 | Other Fuel | 473792.61 | 413999.45 | 242679.24 | 232594.35 | 8170.83
3.17 | Petroleum Products | 122480.64 | 22740.82 | 5556.15 | 1989.35 | 3869.32
3.18 | Solar | 11424902.08 | 15923708.53 | 21438803.45 | 25803976.7 | 28181734.45
3.19 | Nuclear (All Fuel Types) | 22138868.6 | 23659814.56 | 24345745.58 | 23066031.18 | 23205902.66
3.2 | Water (Hydro) | 14665381.29 | 12805369.39 | 26611989.05 | 35658122.36 | 21675216.72
3.21 | Wind | 13112343.11 | 12346532.84 | 13934249.41 | 13994286.18 | 16534571.76
3.22 | Explanatory Text. Add any explanatory text if necessary | The Summer capacity is the Net Dependable Capacity (NDC) from active resources, regardless of whether they produced any energy during the year. The energy numbers are obtained from energy settlements that took place during each year. The energy data includes dynamics, but does not include other imports.
"Summer Capacity" means the Net Summer Capacity rating as defined by the Energy Information Administration (EIA)
Note: There is no row for Energy Generated (MWh) by Fuel Type for the Pumped Storage and Battery Categories

## #4 Capacity Factor
Balancing Authority Area Respondent Name: |  |  | CAISO |  | 0 |  |  | 0
Group 1: Metric #4 Capacity Factor by Technology Type
|  | Reporting Period | 2014 | 2015 |  | 2016 | 2017 |  | 2018
| Technology / Fuel Type | Units | Capacity Factor* | Capacity Factor* |  | Capacity Factor* | Capacity Factor* |  | Capacity Factor*
4 | Coal (All types) | All sizes | 0.069 | 0.338 |  | 0.47 | 0.473 |  | 0.561
4.01 | Oil (Steam) | All sizes | 0.067 | 0.012 |  | 0.004 | 0.001 |  | 0.003
4.02 | Natural Gas (Steam) | All sizes | 0.274 | 0.278 |  | 0.22 | 0.203 |  | 0.216
4.03 | Gas / Oil Turbine | All sizes
4.04 | Combined Cycle | All sizes
4.05 | Nuclear (All Fuel Types) | All sizes | 0.861 | 0.92 |  | 0.947 | 0.897 |  | 0.903
4.06 | Hydro | All sizes | 0.21 | 0.189 |  | 0.361 | 0.528 |  | 0.326
4.07 | Wind | All sizes | 0.227 | 0.21 |  | 0.261 | 0.231 |  | 0.282
4.08 | Solar | All sizes | 0.24 | 0.229 |  | 0.247 | 0.271 |  | 0.267
4.09 | Explanatory Text. Add any explanatory text if necessary |  | These capacity factors assume that any resource that retired in any given year was available for the entire year. All Natural gas units are lumped together under ID's 4.02, 4.03 & 4.04. All Oil resources are included under ID 4.00 - Oil (Steam).
* Note: The capacity factor will range between 0 and 1. For example, a value of 0.89 indicates a capacity factor of 89 percent.

## #5 EEA Hours
| Balancing Authority Area Respondent Name: | CAISO
Group 1: Metric #5 Emergency Energy Alerts (EEA Level 1 or Higher)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
5 | Number of EEAs (Level 1 or higher) (Integer). Report the number of recognized EEAs during the reporting period. If an alert escalates from a lower level to a higher level (e.g., a Level 1 converts to a Level 2 or 3), report as one event. | 1 | 2 | 0 | 1 | 0
5.01 | Number of EEA Hours (HH:MM). Report the sum of hours in which any level of an EEA occurred during the reporting period. Report a number in the form HH:MM where HH is the number of hours and MM is the number of minutes. | 0.30694 | 0.35417 | 0 | 0.19236 | 0
5.02 | Amount of Load Shed during EEA Alerts (MWh). Report the total MWh of load that were shed during the EEAs in the reporting period. (Do not report the amount of interruptible load terminated due to emergency conditions). | 0 | 161 | 0 | 0 | 0
5.03 | Explanatory Text. Add any explanatory text if necessary. | (SLIC 9200893) 2/6/14 - Gas supply issues anticipated during evening peak, So Cal Gas requested 1000 MW of generation reductions in SCE area 13:13 EEA 1 14:14 EEA 2 15:00 - 19:30 interruptible load off SCE, PG&E, SDG&E 19:35 EEA 0 | (SLIC 10393429), (SLIC 10413388) 6/30/15 - Gas supply issues anticipated during evening peak, So Cal Gas requested 1650 MW reduction in North and South LA Basin gas transmission zones HE15 - HE20 07:30 EEA1 14:00 EEA 2 ~19:00 EEA 0 9/20/15 - IROL near limit 13:02 EEA 3 - RC Directive to shed 150 MW of firm load ~15:01 EEA 0 |  | (SLIC 10480228) 5/3/17 - Stage 1 declaration 16:23 EEA 1 21:00 EEA 0

## #6 Performance During EEA
Balancing Authority Area Respondent Name: |  |  | CAISO
Group 1: Metric #6 Performance by Technology Type during EEA Level 1 or Higher
|  | Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
| Technology / Fuel Type | Units |  |  | None |  | None
6 | Coal (All types) | All sizes | 0% | 47.47% | 0% | 49.37% | 0%
6.01 | Oil (Steam) | All sizes | 0% | 0% | 0% | 0% | 0%
6.02 | Natural Gas (Steam) | All sizes | 47.03% | 50.88% | 0% | 47.05% | 0%
6.03 | Gas / Oil Turbine | All sizes | 0% | 37.13% | 0% | 0% | 0%
6.04 | Combined Cycle | All sizes | 74.44% | 83.6% | 0% | 55.13% | 0%
6.05 | Nuclear (All Fuel Types) | All sizes | 100.1% | 100.5% | 0% | 88.11% | 0%
6.06 | Hydro | All sizes | 29.22% | 31.29% | 0% | 64.16% | 0%
6.07 | Wind | All sizes | 33.3% | 6.47% | 0% | 0.3908% | 0%
6.08 | Solar | All sizes | 32.45% | 59.2% | 0% | 81.84% | 0%
6.09 | Explanatory Text. Add any explanatory text if necessary |  | Some technology/fuel types in CAISO database are different from what's specified in this metric. Please see below. Gas includes all types of gas. BGAS 56.18% BIOM 71.15% GAS 68.90% GEOT 71.79% HRCV (Heat Recovery) 95.86% LESR (Limited Energy Storage Resource) 0.22% OTHR 45.27% WAST 72.89% | Some technology/fuel types in CAISO database are different from what's specified in this metric. Please see below. Gas includes all types of gas. BGAS 72.43% BIOM 79.48% GAS 71.77% GEOT 69.94% DIST 37.13% HRCV (Heat Recovery) 100.00% LESR (Limited Energy Storage Resource) 0.22% OTHR 35.66% WAST 80.73% | None | Some technology/fuel types in CAISO database are different from what's specified in this metric. Please see below. Gas includes all types of gas. BGAS 77.59% BIOM 71.45% GAS 71.85% GEOT 66.49% HRCV (Heat Recovery) 101.00% LESR (Limited Energy Storage Resource) 29.89% OTHR 42.08% WAST 76.86% | None
|  |  | 2/6/14 - (SLIC 9200893) Gas supply issues anticipated during evening peak, So Cal Gas requested 1000 MW of generation reductions in SCE area 13:13 EEA 1 14:14 EEA 2 15:00 - 19:30 interruptible load off SCE, PG&E, SDG&E 19:35 EEA 0 5/15/14 - (SLIC 9509007) 17:24 SDG&E public appeal, RC declared EEA-2 for SDG&E, but no CAISO Flex Alert or other BA declared condition. Disagree with Peak's declaration. Not an EE event for ISO BA. | 6/30/15 - (SLIC 10393429) Gas supply issues anticipated during evening peak, So Cal Gas requested 1650 MW reduction in North and South LA Basin gas transmission zones HE15 - HE20 07:30 EEA1 14:00 EEA 2 ~19:00 EEA 0 9/20/15 - (SLIC 10413388) IROL near limit 13:02 EEA 3 - RC Directive to shed 150 MW of firm load ~15:01 EEA 0 |  | 5/3/17 - (SLIC 10480228) Stage 1 declaration 16:23 EEA 1 21:00 EEA 0
* 100
𝑇_𝑘= ((∑24_(𝑖=1)^𝑁▒〖𝑀𝑊〗_𝑖𝑘 )/〖𝑃𝑚𝑎𝑥〗_𝑖𝑘 )/𝑁 * 100

## #7 Resource Availability
Balancing Authority Area Respondent Name: |  |  | CAISO
Group 1: Metric #7 Resource Availability (EFORd)
|  | Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
| Technology / Fuel Type | Units | EFORd | EFORd | EFORd | EFORd | EFORd
7 | Coal (All types) | All sizes | 0 | 0 | 0 | 0 | 0
7.01 | Oil (Steam) | All sizes | 0 | 0 | 0 | 0 | 0
7.02 | Natural Gas (Steam) | All sizes | 0 | 0 | 0 | 0 | 0
7.03 | Gas / Oil Turbine | All sizes | 0 | 0 | 0 | 0 | 0
7.04 | Combined Cycle | All sizes | 0 | 0 | 0 | 0 | 0
7.05 | Nuclear (All Fuel Types) | All sizes | 0 | 0 | 0 | 0 | 0
7.06 | Hydro | All sizes | 0 | 0 | 0 | 0 | 0
7.07 | Wind | All sizes | 0 | 0 | 0 | 0 | 0
7.08 | Solar | All sizes | 0 | 0 | 0 | 0 | 0
7.09 | Explanatory Text. Add any explanatory text if necessary. |  | The CAISO does not currently calculate Equivalent Demand Forced Outage Rate (EFORd). This calculation attempts to assess the probability that a resource will not meet its demand requirements. i.e. the percentage of time it may face a forced outage or derate while providing energy or ancillary services. The CAISO tariff defines forced outage as "[a]n Outage for which sufficient notice cannot be given to allow the Outage to be factored into the Day-Ahead Market or RTM bidding processes." However, for resource adequacy resources, the CAISO also classifies certain short-notice outages as forced outages for purposes of whether there is a requirement to substitute resource adequacy capacity. As such, forced outage data includes outages and derates that occur in in advance of the time that a resource provides energy or ancillary services. The CAISO does not believe reporting this outage information would not provide a comparable assessment of resource availability contemplated by this performance metric. For these reasons, the CAISO is not providing data responsive to this performance metric. Information related to outage rates of individual resources is available from the North American Electric Reliability Corporation's Generating Availability Data System database. In additon, the CAISO's Department of Market Monitoring has provided summary information on generation outages in its annaul reports for the period 2014-2018. (See Annual Reports avilable at the follwing website: http://www.caiso.com/market/Pages/MarketMonitoring/AnnualQuarterlyReports/Default.aspx)

## #8 RMR Capacity
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #8 Number and Capacity of Reliability Must-Run Units
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
8 | Number of RMR Units (Integer). Number of generation units under reliability must-run (RMR) or equivalent contracts in each reporting period. Please note that RTOs and ISOs use various terms to refer to such arrangements, e.g., “System Support Resources” in MISO. For the purposes of this report, such arrangements are collectively referred to as RMR. (RMR refers to "out of market" contracts for specific generation units in the organized markets.) | 5 | 5 | 5 | 5 | 8
8.01 | Total Capacity of RMR Units (MW). Sum of the Nameplate capacity of the generation units under RMR or equivalent contracts for each reporting period. | 165 | 165 | 165 | 165 | 853.36
8.02 | Total Available Installed Capacity (MW). (Automatically copied from Metric 1) | 56462.76 | 55978.3427 | 54068 | 53150 | 51585
8.03 | RMR MW as Percent of Total Available Installed Capacity (%). The Total Capacity of RMR units as a percentage of the Total Available Installed Capacity of the Balancing Authority Area. (Automatically calculated) | 0.2922% | 0.2948% | 0.3052% | 0.3104% | 1.654%
8.04 | Explanatory Text. Add any explanatory text if necessary | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and Yuba City Energy Center and Feather River Energy Center, and Metcalf Energy Center (2x1 combined cycle plant)

## #9 RMR Contract
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #9 Reliability Must-Run Contract Usage
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
9 | Hours RMR Units Were Used (Integer). Number of unit hours that generation units under reliability must-run (RMR) or equivalent contracts were called upon. | 969 | 1378 | 737 | 967 | 1719
9.01 | Total MWh Provided by RMR Units (Integer). Sum of the MWh that all RMR units provided in each reporting period. | 7298 | 22021 | 5500 | 1967 | 36542
9.02 | Total Cost of RMR Units ($). Sum of the costs of all RMR contracts for each reporting period. | 24787857.93 | 26432307.46 | 20876075.97 | 17062855.61 | 62738163.43
9.03 | Explanatory Text. Add any explanatory text if necessary | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and 2 Huntington Beach Synchronous Condensers (145 MVar each used for voltage support only) | Oakland Station C gas turbine units 1-3, and Yuba City Energy Center and Feather River Energy Center, and Metcalf Energy Center (2x1 combined cycle plant)

## #10 Demand Response
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #10 Demand Response Capability
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
10 | Total MWh of Demand Response (MWh). MWh of Demand Response resources in each reporting period. (Includes RTO/ISO-registered and controlled demand response. See the User Guide for instructions.) | 2005.97 | 3347.52 | 3568.2 | 4407.03 | 5436.86
10.01 | Total Available Installed Capacity (MW). (Automatically copied from Metric 1) | 56462.76 | 55978.3427 | 54068 | 53150 | 51585
10.02 | Demand Response Resources as a Percent of Total Available Installed Capacity (%). The Total MW of Demand Response as a percentage of the Total Available Installed Capacity of the Balancing Authority Area. (Automatically calculated) | 3.553% | 5.98% | 6.599% | 8.292% | 10.54%
10.03 | Actual Peak Demand (MW). (Automatically copied from Metric 1) | 44703.3458 | 47256.7145 | 46007.7182 | 49900.0264 | 46309.8672
10.04 | Demand Response Resources as a Percent of Actual Peak Demand (%). The Total MW of Demand Response as a percentage of the Actual Peak Demand in the Balancing Authority Area. (Automatically calculated) | 4.487% | 7.084% | 7.756% | 8.832% | 11.74%
10.05 | Explanatory Text. Provide any additional information if necessary. | 8 PLOAD 24 PDR | 8 PLOAD 47 PDR 52 RDRR | 8 PLOAD 109 PDR 53 RDRR | 8 PLOAD 258 PDR 127 RDRR | 8 PLOAD 822 PDR 148 RDRR
* 10.00 source is sum of the max PMax value for Demand Response resources (PLOAD = Pump Storage, PDR = Proxy Demand, RDRR = Reliability Demand Response Resources) as registered in the Masterfile. * This does not include community distributed demand response. * Note that the PMax values can change over the course of the year. * The number of resources has been validated against the FERC Annual Demand Response report.

## #11 UnitHours Mtgted
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #11 Unit Hours Mitigated
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
11 | Number of Unit Hours With Active Mitigation (Day-ahead) (Integer). Provide the number of unit hours in each reporting period that any generation unit(s) offer was mitigated in the day-ahead energy market. | 3511 | 4296 | 1647 | 1840 | 1753
11.01 | Number of Unit Intervals With Active Mitigation (Real-time) (Integer). Provide the number of unit intervals in each reporting period that any generation unit(s) was mitigated in the real-time energy market. | 2785 | 13543 | 3528 | 5889 | 9853
11.02 | Percent of Unit Hours With Active Mitigation (Day-ahead) (%). Calculate the fraction of unit hours in each reporting period that any generation unit(s) offer cap in the day-ahead energy market was set due to mitigation and report that as a percent of the number of all unit hours. (Automatically calculated) - used CAISO formula | 40.08% | 49.04% | 18.75% | 21% | 20.01%
11.03 | Percent of Unit Intervals With Active Mitigation (Real-time) (%). Calculate the fraction of unit intervals in each reporting period that any generation unit(s) offer cap in the real-time market was set due to mitigation and report that as a percent of the number of all unit hours. (Automatically calculated) - used CAISO formula | 7.948% | 38.65% | 10.04% | 16.81% | 28.12%
11.04 | Explanatory Text. Provide any additional information if necessary. | 11:00: This is the total number of unit hours mitigated in the day ahead market. 11:01: This is the total number of unit intervals mitigated in the CAISO's fifteen minute market. For example, if one interval has 5 resources mitigated and second interval has 4 resources mitigated then the total would be 9 unit intervals that were mitigated in the real time market.

## #12 Wholesale Power
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #12 Wholesale Power Costs by Charge Type
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Energy (MWh)
12 | Net Energy for Load. Total generation plus imports minus exports minus losses. From FERC Form No. 714, Schedule 3, Balancing Authority Net Energy for Load and Peak Demand Sources by Month, Net Energy for Load, Column (e), sum the entries in column (e) for the months in the reporting period (Lines 1-12). To compute the Net Energy for Load for a Reporting Period which spans calendar years, you will need to include months from another annual Form No. 714. See User Guide. | 231311307 | 230192837 | 228149060 | 229121131 | 222160890
Wholesale Power Cost Components ($)
12.01 | Energy Component of Total Wholesale Power Cost ($). Report the total energy component (including system marginal price, congestion and losses) of wholesale power costs paid by load and exports for each reporting period. This component is the real-time load weighted average locational marginal price. | 11756765071.0454 | 7967359978.2536 | 7035052981 | 8727492184 | 10322358573
12.02 | Capacity Component of Total Wholesale Power Cost ($). Report the total capacity component of wholesale power costs paid by load for each reporting period. If your RTO/ISO does not have a centralized capacity market enter zero. | 0 | 0 | 0 | 0 | 0 | No Data
12.03 | Transmission Component of Total Wholesale Power Cost ($). Report the total FERC-approved Transmission Charges paid by load for each reporting period. | 1857890049.5187 | 2272551801.8267 | 2469470396.3103 | 2256393798.4172 | 2646470750.3059
12.04 | Ancillary Service Component of Total Wholesale Power Cost ($). Report the total ancillary service component of wholesale power costs paid by load for each reporting period. Include the cost for all ancillary services such as black start, reactive power etc. that are not included in the Operating Reserve charge type. | 3264.1338 | 1852.2005 | 4072.3642 | 0 | 0
12.05 | Operating Reserves Component of Total Wholesale Power Cost ($). Report the total operating reserves component of wholesale power costs paid by load for each reporting period. Include costs for ancillary services, such as regulation, spinning and non-spinning reserves, and ramp products. | 68983051.8156 | 62093800.1761 | 116501594 | 157671822 | 189382946
12.06 | RTO and Regulatory Fee Component of Total Wholesale Power Cost ($). Report the total RTO cost and regulatory fee component of wholesale power costs paid by load for each reporting period. Include charges to NERC/Reliability organizations (including Reliability Entity fees), RTO startup and expansion fees, etc. | 93662814.1667 | 95771900 | 95444361 | 97180508 | 95809824
12.07 | Other Cost Component of Total Wholesale Power Cost ($). If the RTO accounts for cost categories that are not included in the above list (i.e., uplift charges), please report those costs here and describe the cost category in the Explanatory Text category below. Note, for example, that the PJM Balancing Operating Reserve credit and Day Ahead Operating Reserve credit are included in this line. | 124226987.1921 | 115069148.22 | 92157546 | 119013360 | 313526218
12.08 | Total Wholesale Power Cost ($). The worksheet calculates the total wholesale power cost paid by load for each reporting period in dollars by summing the cost components in lines 12.01 through 12.07. (Automatically calculated) | 13901531237.8722 | 10512848480.6769 | 9808630950.6744 | 11357751672.4172 | 13567548311.3059
12.09 | Explanatory Text. Please report any unusual events that provide context to this metric. For instance, the expansion of the RTO/ISO footprint may explain changes in the capacity costs. | The values in rows 12:10 throguh 12:17 reflect percetanges of the various components of wholesale power costs. For Ancillary Services costs other than Regulation, Spinning Reserve and Non-spinning Reserve reported in row 12:03, the CAISO has included costs of voltage support and black start payments. During the reporting years, these payments included only lost opportunity costs for energy paid to resources for providing voltage support when responding to a CAISO instruction to reduce their MW output in order to provide MVars outside of a required range. During the reporting years, black start generaotrs provided balck start serives pursuant to black start agreements with a $0 reservation fee.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Wholesale Power Cost Components ($/MWh)
12.1 | Energy Component of Total Wholesale Power Cost (Automatically calculated) | 0.84572 | 0.75787 | 0.71723 | 0.76842 | 0.76081
12.11 | Capacity Component of Total Wholesale Power Cost (Automatically calculated) | 0 | 0 | 0 | 0 | 0
12.12 | Transmission Component of Total Wholesale Power Cost (Automatically calculated) | 0.13365 | 0.21617 | 0.25177 | 0.19867 | 0.19506
12.13 | Ancillary Service Component of Total Wholesale Power Cost (Automatically calculated) | 2.348e-07 | 1.7618e-07 | 4.1518e-07 | 0 | 0
12.14 | Operating Reserves Component of Total Wholesale Power Cost (Automatically calculated) | 0.0049623 | 0.0059065 | 0.011877 | 0.013882 | 0.013959
12.15 | RTO/ISO and Regulatory Fee Component of Total Wholesale Power Cost (Automatically calculated) | 0.0067376 | 0.00911 | 0.0097307 | 0.0085563 | 0.0070617
12.16 | Other Cost Component of Total Wholesale Power Cost (Automatically calculated) | 0.0089362 | 0.010946 | 0.0093956 | 0.010479 | 0.023109
12.17 | Total Wholesale Power Cost (Automatically calculated) | 1 | 1 | 1 | 1 | 1

## #13 Price Cost Markup
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #13 Price Cost Markup
t = hours in reporting period (e.g., 8,784 hours * 12 five-minute intervals in a leap year or 8,760 hours * 12 five-minute intervalsin other years) Pi = Real-Time price-based offer in hour i Ci = Real-Time cost-based offer in hour i PC = Price Cost Markup
Calculate two supply curves for each five-minute interval of the real-time market in the reporting period. The first curve (price curve) is based on the offer used in the price formation for that interval. The second curve (cost curve) is based on the default bid of the unit for that interval. For each curve, starting at the lowest cost offers, aggregate the MWs of the curves until the aggregated MW value equals the real-time demand for that interval. The intersection of the demand curve with the supply curves provides two prices.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
13 | Average of the Price Cost Margin ($). Report the average price cost markup of all of the hours. | -2.35 | -1.19 | -1.46 | -1.7142 | -6.4364
13.01 | Top Ten Percent of the Price Cost Margin ($). Report the average price cost markup of the highest price 10 percent of the hours. | 0.19 | -0.3 | -0.12 | -1.39 | -0.52
13.02 | Bottom Ten Percent of the Price Cost Margin ($). Report the average price cost markup of the lowest price 10 percent of the hours. | -6.95 | -2.66 | -2.2 | -2.49 | -3.3337
13.03 | Explanatory Text. Explain any variations from this formula, e.g., the RTO/ISO used the difference of Pi and Ci for the marginal resource for each five minute interval. | 1)Calculated an overall price-cost mark-up by comparing competitive baseline energy prices to total average wholesale energy prices 2) Calculated the price-cost mark-up index as the price difference between actual market prices and prices resulting under this competitive baseline scenario. For example, if market prices averaged $55/MWh during a month and the competitive baseline price was $50/MWh, this would represent a price-cost mark-up of $5/MWh. 3) The highest and lowest 10 percent of hours of average price cost markup is based on the average monthly price cost mark up data.
Note: This calculation does not account for physical restrictions on units, transmission constraints or ramping restrictions.
𝑃𝐶= (∑24_(𝑖=1)^𝑁▒〖(𝑃_𝑖 − 𝐶_𝑖)〗)/𝑡

## #14 Fuel Adj Price
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #14 Fuel-Adjusted Wholesale Energy Price
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
14 | System-wide LMP ($). Provide the average real-time LMP for the reporting period. | 45.8912 | 32.3761 | 29.1736 | 31.2047 | 35.3613
14.01 | Reference Year (YYYY). Report the reference year for the fuel price adjustment. | 2018 | 2018 | 2018 | 2018 | 2018
14.02 | Fraction of Hours that Natural Gas was the Marginal Fuel. For purposes of this metric, estimate the fraction of hours in the reporting period that natural gas was the marginal fuel. Report the fraction with two decimal places. | 0.46355 | 0.3292 | 0.2896 | 0.42783 | 0.47927
14.03 | Fraction of Hours that Coal was the Marginal Fuel. For purposes of this metric, estimate the fraction of hours in the reporting period that coal was the marginal fuel. Report the fraction with two decimal places. | 0 | 0.1311 | 0.2013 | 0.1471 | 0.1904
14.04 | Fuel Adjustment Factor Natural Gas. Calculate the natural gas price adjustment for each reporting period compared to the Reference Year. Report the fraction with two decimal place. | 4.76 | 3.84 | 2.79 | 3.32 | 4.24
14.05 | Fuel Adjustment Factor Coal. Calculate the coal price adjustment for each reporting period compared to the Reference Year. Report the fraction with two decimal places. | 17.23 | 17.16 | 17.25 | 20.45 | 23.16
14.06 | Fuel-Adjusted Wholesale Price ($). The spreadsheet will automatically calculate the adjustment based on the equation above. (Automatically calculated) | 125.8776 | 131.2368 | 139.7272 | 151.457 | 239.4703
14.07 | Explanatory Text. Explain any variations from this formula, e.g., unable to estimate the fraction of hours that a fuel was marginal. | 1) Gas prices reflect commodity prices. They do not include the transportation cost and taxes. 2) More than one resource can be marginal for a given interval. For example, a gas resource and hydroelectric resource may both be marginal for a given 5 min real-time dispatch interval. 3) Intertie resources may be marginal as well. The CAISO has included the fuel type related to intertie resources that were marginal in the reported information.
𝑃_𝑎𝑑𝑗=𝐿𝑀𝑃[(𝐹_𝑔𝑎𝑠∗〖𝐴𝑑𝑗〗_𝑔𝑎𝑠 )+(𝐹_𝑐𝑜𝑎𝑙∗〖𝐴𝑑𝑗〗_𝑐𝑜𝑎𝑙 )]

## #15 Price Convergence
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #15 Energy Market Price Convergence
Compute this metric four different ways using these two values, the load-weighted average of real time prices and the load-weighted average of day-ahead prices.
Equation 1: |  | Equation 3:
Equation 2: |  | Equation 4:
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
15 | Equation 1 ($/MWh). Load weighted average of price differences between DA and RT market. See Equation 1. | -2.2011 | -1.0683 | -0.64276 | -3.8456 | -6.5176
15.01 | Equation 2 ($/MWh). Load weighted average of absolute value of price differences. See Equation 2. | 13.6426 | 12.8046 | 13.5344 | 17.1834 | 17.8943
15.02 | Equation 3 ($/MWh). Load weighted average of quotient of price difference and DA price. See Equation 3. | -0.047168 | -0.031159 | -0.026255 | -0.1147 | -0.1385
15.03 | Equation 4 ($/MWh). Load weighted average of absolute value of quotient of price difference and DA price. See Equation 4. | 0.28604 | 0.3893 | 0.4724 | 0.50701 | 0.44583
15.04 | Explanatory Text. Provide any additional information if necessary. | The equations reflect the load weighted average energy prices across the three largest load aggregation points in the CAISO (Pacific Gas and Electric, Southern California Edison, and San Diego Gas and Electric) during all hours. The CAISO calculated the load weighted prices for day ahead market and real-time distach intervals and then calculated the difference between the two.
Zonal Convergence (optional)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
15.05 | Zone Name
15.06 | Equation 1 ($/MWh). Load weighted average of price differences between DA and RT market. See Equation 1. | 0 | 0 | 0 | 0 | 0
15.07 | Equation 2 ($/MWh). Load weighted average of absolute value of price differences. See Equation 2. | 0 | 0 | 0 | 0 | 0
15.08 | Equation 3 ($/MWh). Load weighted average of quotient of price difference and DA price. | 0 | 0 | 0 | 0 | 0
15.09 | Equation 4 ($/MWh). Load weighted average of absolute value of quotient of price difference and DA price. | 0 | 0 | 0 | 0 | 0
Add Zone
𝑖=ℎ𝑜𝑢𝑟𝑠 𝑖𝑛 𝑟𝑒𝑝𝑜𝑟𝑡𝑖𝑛𝑔 𝑦𝑒𝑎𝑟 (𝑒.𝑔., 8,784 ℎ𝑜𝑢𝑟𝑠 𝑖𝑛 𝑙𝑒𝑎𝑝 𝑦𝑒𝑎𝑟𝑠 𝑎𝑛𝑑 8,760 ℎ𝑜𝑢𝑟𝑠 𝑖𝑛 𝑜𝑡ℎ𝑒𝑟 𝑦𝑒𝑎𝑟𝑠)
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒(((〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )
∑24_(𝑖=1)^𝑛▒〖𝑀𝑊〗_𝑖/𝑀𝑊∗ ∑24_(𝑘=1)^𝑛▒(((|〖𝑅𝑇〗_𝑖𝑘−〖𝐷𝐴〗_𝑖𝑘 |)/〖𝐷𝐴〗_𝑖𝑘 ) 〖𝑀𝑊〗_𝑖𝑘)/(∑24_(𝑘=1)^𝑛▒〖𝑀𝑊〗_𝑖𝑘 )

## #16 Congestion Management
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #16 Congestion Management
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
16 | Total Day-Ahead Congestion Charges (RTO/ISO wide) ($). For each reporting period, enter the sum of (Day-Ahead MWh*CLMP) where Day-Ahead MWh consists of MWh settled at day-ahead market energy prices (which includes financial schedules and virtual transactions) and CLMP is the congestion component of the day-ahead energy market price. | 429773025.65 | 213264883.72 | 234031359.25 | 344289245.11 | 627831883.3439
16.01 | Net Payments to FTR Holders (RTO/ISO wide) ($). Enter the sum of reporting period congestion charges distributed to holders of Financial Transmission Rights (FTRs) or their equivalent such as Transmission Congestion Rights (TCR) or Congestion Revenue Rights (CRRs), net of revenue received from counterflow FTR holders. | 658253629.8 | 330230186.71 | 337194406.93 | 457468011.89 | 666910655.4911
16.02 | Net Energy for Load (RTO/ISO wide) (MWh). (Automatically copied from Metric 12) | 231311307 | 230192837 | 228149060 | 229121131 | 222160890
16.03 | Congestion Charges per MWh of Load Served (RTO/ISO wide) ($/MWh). The worksheet will calculate the ratio of the Total Day-Ahead Congestion Charges divided by the Net Energy for Load. (Automatically calculated) | 1.858 | 0.92646 | 1.0258 | 1.5027 | 2.826
16.04 | Net Payments to FTR Holders as a percent of Total Congestion Charges (RTO/ISO wide) (%). The worksheet will calculate the ratio of Net Payments to FTR Holders divided by the Total Day-Ahead Congestion Charges. (Automatically calculated) | 1.5316 | 1.5485 | 1.4408 | 1.3287 | 1.0622
16.05 | Net Payments to Load Serving Entities (LSEs) through FTRs, ARRs, etc. ($). Total revenue received by LSEs through financial instruments such as auction revenue rights and financial transmission rights, net of charges paid for counterflow ARRs or FTRs. If an ARR is "self-scheduled" (i.e. converted) into an FTR, please report only the revenue (or charge) received from the FTR. The CAISO provides the following additional information, which reflects the sum the CAISO's CRR Balancing Account and CRR Auction Revenues. This value reflects the amount of dollars returned to load serving entities through CRR market and is a more accurate assessment of how the CRR market has helped customers hedge congestion. | -123060969.5415 | -6789605.1541 | -15233363.1814 | -43106418.2954 | 42315793.1853
16.06 | Net Payments to Load Serving Entities (LSEs) as a percent of Total Congestion Charges (%) The worksheet will calculate the percentage of revenue received by LSEs through FTRs and ARRs as a percent of Total Day-Ahead Congestion Charges for the reporting period expressed as a percent. (Automatically Calculated) | -28.63% | -3.184% | -6.509% | -12.52% | 6.74%
16.07 | Explanatory Text. Provide any additional information if necessary. | 16.01 - The CAISO has provided total annual payments to CRR holders as opposed to net payments. 16.04 - These values reflect the ratio between total annual payments to CRR holders and total annual congestion charges. 16.05 - The CAISO has reported the ratio of total Congestion Charges compared to Congestion Revenues Returned to Load Serving Entities (LSEs), i.e. the percentage of congestion charges divided by congestion revenues returned to LSEs for the reporting period expressed as a percentage.

## #17 Admin Cost
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #17 Administrative Costs
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
17 | Administrative Costs ($). Sum the administrative costs (both capital and non-capital) billed by the RTO/ISO for each reporting period. RTOs/ISOs with capacity markets should see the User Guide for instructions. | 197989000 | 198560000 | 195343000 | 195323000 | 197037000
17.01 | Administrative Costs (FERC Form No. 1) ($). Report the TOTAL Administrative & General Expenses (row 197), page 323 from the last quarter of the filing for the reporting period. RTOs/ISOs with capacity markets should see the User Guide for instructions. | 63744037 | 66607586 | 68175638 | 67945852 | 70961013
17.02 | Net Energy for Load (MWh). (Automatically copied from Metric 12) | 231311307 | 230192837 | 228149060 | 229121131 | 222160890
17.03 | Administrative Costs per MWh of Load Served (%). The worksheet will calculate Administrative Costs divided by the Net Energy for Load for each reporting period . (Automatically calculated) | 0.85594 | 0.86258 | 0.85621 | 0.85249 | 0.88691
17.04 | Administrative Costs (FERC Form No. 1) per MWh of Load Served (%). The worksheet will calculate Administrative Costs (FERC Form No. 1) divided by the Net Energy for Load for each reporting period. (Automatically calculated) | 0.27558 | 0.28936 | 0.29882 | 0.29655 | 0.31941
17.05 | Explanatory Text. Describe any significant changes to administrative charges that influence the Administrative Costs reported above, such as prior-year collection true-ups, expansion of RTO/ISO footprint, etc. | text

## #18 Net Revenues
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #18 New Entrant Net Revenues
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Revenue for New Entrant (Combustion Turbine)
18 | Prototypical New Entrant Variable Production Cost (Combustion Turbine) ($). Enter the new entrant's estimated variable production cost for a combustion turbine for the reporting period. Reported in $/kw-yr. | 59.4605 | 44.1 | 34.86 | 46.41 | 30.85
18.01 | Prototypical New Entrant Energy Revenues Received (Combustion Turbine) ($). Enter the new entrant's estimated revenue received from RTO/ISO energy and ancillary services (as defined in the RTO/ISO Tariff) for a combustion turbine for the given reporting period. Reported in $/kw-yr. | 86.1935 | 79.91 | 48.62 | 90.52 | 53.6
18.02 | Size in MW of Prototypical New Entrant (Combustion Turbine) (MW). Enter the nameplate capacity of the unit used in the calculation. | 100 | 100 | 48.6 | 48.6 | 48.6
18.03 | Net Revenue for New Entrant (Combustion Turbine) ($). The difference between the Prototypical New Entrant Energy Revenues Received less the Prototypical New Entrant's Variable Production Cost. (Automatically calculated) | 26.733 | 35.81 | 13.76 | 44.11 | 22.75
Net Revenue for New Entrant (Combined Cycle)
18.04 | Prototypical New Entrant Variable Production Cost (Combined Cycle) ($). Enter the new entrant's estimated variable production cost for a combustion cycle for the reporting period. Reported in $/kw-yr. | 295.032 | 224.16 | 94.62 | 102.6 | 118.4
18.05 | Prototypical New Entrant Energy Revenues Received (Combined Cycle) ($). Enter the new entrant's estimated revenue received from RTO/ISO energy and ancillary services (as defined in the RTO/ISO Tariff) for a combined cycle for the given reporting period. Reported in $/kw-yr. | 349.049 | 263.78 | 125.17 | 140.34 | 161.7
18.06 | Size in MW of Prototypical New Entrant (Combined Cycle) (MW). Enter the nameplate capacity of the unit used in the calculation. | 500 | 500 | 720 | 720 | 720
18.07 | Net Revenue for New Entrant (Combined Cycle) ($). The difference between the Prototypical New Entrant Energy Revenues Received less the Prototypical New Entrant's Variable Production Cost. (Automatically calculated) | 54.017 | 39.62 | 30.55 | 37.74 | 43.3
18.08 | Explanatory Text. Please provide a description on how the cost and revenue estimate were derived for a hypothetical new entrant, including the assumed location (i.e., high cost zone, etc.) |  |  | 1)These costs are for CAISO NP15 region. 2)These costs include the 15-minute commitment with dispatch to 15-minute and 5-minute prices using default energy bids 3) For CT, the hypotheitical new entrant had a maximum capacity of 100 MW with the Pmin of 40 MW. 4) The analysis to model total production costs and energy market revenues utilized a SAS/OR optimization tool 5) Incremental energy costs were calculated using default energy bids used in local market power mitigation. 6) Commitment costs were calculated using the ISO’s proxy start-up and minimum load cost methodology.

## #19 Avail 825 Shortage
| Balancing Authority Area Respondent Name: | CAISO
Group 2: Metric #19 Order No. 825 Shortage Intervals and Reserve Price Impacts
| s = a shortage event Ts = duration of event s i = 5-minute interval before shortage in reporting period k = 5-minute interval during shortage in reporting period MW = reserves for 5-minute interval RMCP = Reserve Market Clearing Price for highest quality product (i.e., spinning reserve) for 5-minute interval | [32 empty] | Real-time dispatch intervals in which the CAISO triggered administrative-based scarcity energy prices
| Reporting Period | 2014 | [5 empty] | 2015 |  |  |  | 2016 |  |  |  |  | 2017 | [6 empty] | 2018 | [9 empty] | 2014 | 2015 | 2016 | 2017 | 2018
| Commodity | Non-Spin | Regulation Down | Non-Spin | Regulation Down | Regulation Down | Non-Spin | Non-Spin | Regulation Down | Regulation Up | Spin | Non-Spin | Regulation Down | Regulation Up | Regulation Up | Spin | Non-Spin | Regulation Down | Regulation Down | Regulation Down | Regulation Up | Regulation Up | Spin | Non-Spin | Regulation Down | Regulation Down | Regulation Down | Regulation Up | Regulation Up | Regulation Up | Regulation Up | Spin | Spin | Energy in 5-min interval | Energy in 5-min interval | Energy in 5-min interval | Energy in 5-min interval | Energy in 5-min interval
| CAISO Region | CAISO_EXP | CAISO_EXP | NP26_EXP | NP26_EXP | SP26 | SP26_EXP | CAISO_EXP | SP26 | CAISO_EXP | SP26 | CAISO_EXP | SP26_EXP | CAISO_EXP | SP26_EXP | SP26_EXP | CAISO_EXP | CAISO_EXP | SP26_EXP | SP26 | CAISO_EXP | SP26_EXP | SP26 | CAISO_EXP | CAISO_EXP | NP26_EXP | SP26_EXP | CAISO_EXP | NP26_EXP | SP26_EXP | NP26 | CAISO_EXP | NP26_EXP | CAISO - System | CAISO - System | CAISO - System | CAISO - System | CAISO - System
19 | Number of Shortage Events. Total number of distinct shortage events in reporting period. An event is a contiguous set of shortage intervals defined by Order No. 825 that occurred in the reporting period. Report an integer. | 1 | 2 | 3 | 2 | 2 | 1 | 1 | 5 | 2 | 3 | 2 | 17 | 2 | 1 | 2 | 5 | 2 | 1 | 1 | 11 | 4 | 1 | 4 | 11 | 17 | 17 | 2 | 14 | 47 | 1 | 1 | 1 | 161 | 200 | 313 | 270 | 124
19.01 | Total Duration of Shortage Events. Total minutes/hours where shortage occurred during the reporting period. Report an integer. | 30 | 30 | 165 | 120 | 30 | 15 | 15 | 105 | 30 | 75 | 60 | 360 | 30 | 15 | 30 | 270 | 135 | 60 | 60 | 180 | 75 | 30 | 120 | 195 | 390 | 435 | 30 | 270 | 1350 | 15 | 15 | 15 | 2065 | 2375 | 3580 | 3005 | 1485
19.02 | Average Duration of Shortages. The worksheet will calculate the ratio of the Total Duration of Shortage Events divided by the Number of Shortage Events. (Automatically calculated) | 30 | 15 | 55 | 60 | 15 | 15 | 15 | 21 | 15 | 25 | 30 | 21.1765 | 15 | 15 | 15 | 54 | 67.5 | 60 | 60 | 16.3636 | 18.75 | 30 | 30 | 17.7273 | 22.9412 | 25.5882 | 15 | 19.2857 | 28.7234 | 15 | 15 | 15 | 12.8261 | 11.875 | 11.4377 | 11.1296 | 11.9758
19.03 | Total Size of Shortage Events. Total MW shortage during the reporting period. This is a multi-step calculation. First, for each shortage event calculate the difference between the average MW available during the shortage and the average of the MWs required of the highest quality reserve product (i.e., spinning reserve) in the three intervals before the shortage began. Second, for each event create the product of this difference and the event duration and sum these for the reporting period. Report an integer. | 117 | 4.2 | 96.9 | 40.2 | 5.9 | 15.2 | 181.7 | 3.752 | 9.285 | 2.3883 | 183.6217 | 8.9672 | 3.37 | 13.95 | 6.315 | 200.8305 | 97.6294 | 3.06 | 3.05 | 5.0691 | 8.64 | 15.23 | 168.0342 | 8.6055 | 6.0486 | 2.4576 | 4.685 | 8.3602 | 2.1996 | 8.12 | 10.4 | 12.96
19.04 | Average Size of the Shortage Events. The average size of all of the shortage events in the reporting period. Divide Total Size of Shortage Events by the Total Duration of Shortage Events. (Automatically Calculated) | 3.9 | 0.14 | 0.58727 | 0.335 | 0.19667 | 1.0133 | 12.1133 | 0.035733 | 0.3095 | 0.031844 | 3.0604 | 0.024909 | 0.11233 | 0.93 | 0.2105 | 0.74382 | 0.72318 | 0.051 | 0.050833 | 0.028162 | 0.1152 | 0.50767 | 1.4003 | 0.044131 | 0.015509 | 0.0056498 | 0.15617 | 0.030964 | 0.0016293 | 0.54133 | 0.69333 | 0.864
19.05 | Total Price Differential of the Shortage Events. The price differential of the shortage event (the increase between 5-minute intervals) in the reporting period. This is a multi-step calculation. First, for each shortage event calculate the difference between the reserve market clearing price of the highest quality reserve product (i.e., spinning reserve) in the three intervals before the shortage began and the average price of the reserve product in the shortage, and multiply this difference by the duration of the shortage. Sum for all events for the reporting period. Report in $/MWh.
19.06 | Average Price Differential of the Shortage Events. The average size of the price differential of the shortage events in the reporting period. Divide Total Price Differential of the Shortage Events by the Total Duration of Shortage Events. (Automatically Calculated) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.07 | Total Price Impact of the Shortage Events. The total price impact of the shortage events in the reporting period. For each event where shortage pricing occurred, multiply the duration of the shortage event by the product of the average size of each shortage event and the price differential of each shortage event.
19.08 | Average Price Impact of the Shortage Events. The average price impact of the shortage events in the reporting period. Divide the Total Price Impact of the Shortage Events by the Total Duration of Shortage Events. (Automatically Calculated) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19.09 | Explanatory Text (if necessary). Report any relevant information about this metric that is not captured above e.g. including the product the price change is associated with, improvements to the methodology, etc. | The CAISO procures ancillary services (A/S), including regulation services (regulation up and regulation down) and operating reserves (spinning and non-spinning reserves), to meet NERC and WECC reliability standards and to support reliable electric system operations. In addition to the CAISO system-wide procurement requirements, the CAISO establishes minimum Ancillary Service procurement requirements in some of the sub-regions, such as the CAISO system (the entire CAISO excluding the interties), SP26, NP26 and expanded sub-regions. On December 1, 2010, the CAISO implemented an Ancillary Service scarcity pricing mechanism in its markets. The scarcity pricing mechanism is triggered when there is insufficient Ancillary Service supply to meet the targeted requirement. Under this mechanism, the price of the scarce Ancillary Service will automatically rise to a pre-determined scarcity price, as described in the CAISO tariff. All the Ancillary Service scarcity data are from the fiftee-minute market. 19.00: Number or shortage event. The Ancillary Service shortage events are reported for each Ancillary Service commodity by region. A shortage event can span a continuous multiple fifteen-minute market interval. 19.02: Average Shortage amount. This amount represents the average of the short amounts across the total fifteen-minute market intervals for each commodity by region. 19.05: Total Price Differential of the Shortage Events. The ISO does not have scarcity pricing. 19.07: Total Price Impact of the Shortage Events. The ISO does not have scarcity pricing. In columns AJ and AM, the CAISO provides information relating to real-time dispatch intervals during the reporting years in which the CAISO triggered administrative-based scarcity energy prices as a result of a violation of the power balance constraint.
∑8_(𝑖+𝑘)▒〖(𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 ))∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖((𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 )))/(𝑇𝑜𝑡𝑎𝑙 𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝑆ℎ𝑜𝑟𝑡𝑎𝑔𝑒 𝐸𝑣𝑒𝑛𝑡𝑠)∗𝑇_𝑠 〗
∑_(𝑖+𝑘)▒〖(𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 ))∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖((𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 )))/(𝑇𝑜𝑡𝑎𝑙 𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝑆ℎ𝑜𝑟𝑡𝑎𝑔𝑒 𝐸𝑣𝑒𝑛𝑡𝑠)∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖([𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 )]∗[𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 )])∗𝑇_𝑠 〗
∑8_(𝑖+𝑘)▒〖((█([𝐴𝑉𝐸(〖𝑀𝑊〗_𝑖, 〖𝑀𝑊〗_(𝑖−1), 〖𝑀𝑊〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑀𝑊〗_𝑘 )]∗@[𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑖, 〖𝑅𝑀𝐶𝑃〗_(𝑖−1), 〖𝑅𝑀𝐶𝑃〗_(𝑖−2) )−𝐴𝑉𝐸(〖𝑅𝑀𝐶𝑃〗_𝑘 )])))/(𝑇𝑜𝑡𝑎𝑙 𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝑆ℎ𝑜𝑟𝑡𝑎𝑔𝑒 𝐸𝑣𝑒𝑛𝑡𝑠)∗𝑇_𝑠 〗

## #20 Net CONE Comparison
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #20 Net Cost of New Entry (Net CONE) value
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Net Cost of New Entry
20 | Capacity Zone Name
20.01 | Net CONE value Used at the Most Recent Update ($/MW-Year). Report the estimated Net CONE value used in the most recent update to the Net CONE value for each reporting period. | 0 | 0 | 0 | 0 | 0
20.02 | Date of the Most Recent Net CONE Update (MM/YYYY). Enter the date in MM/YYYY format. | 00/0000 | 00/0000 | 00/0000 | 00/0000 | 00/0000
20.03 | Actual Net CONE value in Reporting Period ($/MW-Year). Rerun the estimate for each historical reporting period using the actual value of local marginal prices (LMP) realized in that reporting period (e.g., if the estimate for 2014 was produced in 2011 for the initial auction, use the 2014 LMPs and re-run the Net CONE for 2014). | 0 | 0 | 0 | 0 | 0
20.04 | Explanatory Text. Provide any additional information if necessary. | Text
Add Zone

## #21 Resource Deliverability
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #21 Resource Deliverability
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Resource Deliverability - Maximum Importable External Capacity into a Capacity Zone
21 | Capacity Zone Name
21.01 | Import Limitation into a zone (MW). The amount of external capacity that can be imported into this zone for purposes of the capacity auction. Determined at the time of the initial auction. Report for all capacity zones that are separately modeled. | 0 | 0 | 0 | 0 | 0
21.02 | Locational Generation Requirement (or equivalent) in the zone (MW). The amount of capacity located inside the zone necessary (or is it available) to meet the estimated demand in the zone (calculated at the time of the initial auction). Report for all capacity zones that are separately modeled. | 0 | 0 | 0 | 0 | 0
21.03 | Locational Generation Procured in the zone (MW). The amount of capacity that was actually procured for the zone in the auction. An RTO/ISO with a downward sloping demand curve may actually procure more capacity than the Locational Requirement. Report the actual amount of capacity procured in the auction for this zone. | 0 | 0 | 0 | 0 | 0
21.04 | Explanatory Text. Report any relevant information about this zone during the reporting period (e.g., changes in boundaries, significant changes in load). | text
Add Zone

## #22 New Capacity (Entry)
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #22 New Capacity (Entry)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
New Capacity Added
22 | Capacity Zone Name
22.01 | Number of Generation Units Added (Integer). Total number of generation units added during the reporting period. | 0 | 0 | 0 | 0 | 0
22.02 | Increase in Capacity with Supply Obligations (MW). Amount of generating capacity that has cleared in an auction, that now has an obligation to offer into the capacity market during the reporting period. Do not report existing capacity that has been uprated. | 0 | 0 | 0 | 0 | 0
22.03 | Explanatory Text. Provide any additional information if necessary. | Text
Add Zone

## #23 Capacity Retire (Exit)
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #23 Capacity Retirement (Exit)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Retirement (Exit)
23 | Capacity Zone Name
23.01 | Number of Generation Units Taken out of Service (Integer). Total number of generation units taken out of service during the reporting period. | 0 | 0 | 0 | 0 | 0
23.02 | Decrease in Capacity with Supply Obligations (MW). Amount of generating capacity that no longer has an obligation to offer into the capacity market during the reporting period. Do not report generation capacity that has been de-rated. | 0 | 0 | 0 | 0 | 0
23.03 | Explanatory Text. Provide any additional information if necessary. | Text
Add Zone

## #24 Forecasted Demand
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #24 Forecasted Demand
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Forecasted Demand
24 | Capacity Zone Name
24.01 | Demand in the Zone (time of initial auction) (MW). Total estimated coincident peak demand integrated over the hour needed for this zone at the time of the initial auction for the reporting period. Note that this load value is not weather-normalized and is the peak value assigned to that zone from the estimated region peak at the time of the initial auction. | 0 | 0 | 0 | 0 | 0
24.02 | Peak Demand Realized in the Zone (during actual reporting period) (MW). Peak demand (not weather normalized) realized in this zone during the reporting period. | 0 | 0 | 0 | 0 | 0
24.03 | Explanatory Text. Provide any additional information if necessary. | Text
Add Zone

## #25 Capacity Procure
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #25 Capacity Market Procurement and Prices
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Market Procurement & Prices (RTO-wide)
25 | Date That the Capacity Auction took Place (MM-YYYY). Enter the date that the initial capacity auction took place. | 00-0000 | 00-0000 | 00-0000 | 00-0000 | 00-0000
25.01 | Start Date of the Reporting Period of capacity auction (MM-YYYY). | 00-0000 | 00-0000 | 00-0000 | 00-0000 | 00-0000
25.02 | Total Capacity Offered into the Auction (RTO-wide) (MW). Enter the total capacity that offered into the entire RTO for the relevant reporting period. | 0 | 0 | 0 | 0 | 0
25.03 | Total Capacity Cleared (RTO-wide) (MW). Enter the total capacity the cleared for the entire RTO during the relevant reporting period. | 0 | 0 | 0 | 0 | 0
25.04 | Capacity Market Clearing Price (RTO-wide) ($/MW-day). Enter the RTO-wide clearing price for the relevant reporting. | 0 | 0 | 0 | 0 | 0
25.05 | Explanatory Text. Provide any additional information if necessary. | Text
Capacity Market Procurement & Prices (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
25.06 | Capacity Zone Name
25.07 | Total Capacity Offered into the Auction (Zonal) (MW). Enter the total capacity that offered into each zone where price separation occurred for the relevant reporting period. | 0 | 0 | 0 | 0 | 0
25.08 | Total Capacity Cleared (Zonal) (MW). Enter the total capacity that cleared in each zone where price separation occurred during the relevant reporting period. | 0 | 0 | 0 | 0 | 0
25.09 | Capacity Market Clearing Prices (Zonal) ($/MW-day). Enter the clearing price for each zone where price separation occurred for the relevant reporting period. | 0 | 0 | 0 | 0 | 0
25.1 | Amount of Capacity in this Zone in Bilateral Contracts, if Known (MW). Total capacity of bilateral contracts in this zone during the relevant period. | 0 | 0 | 0 | 0 | 0
Add Zone

## #26 Capacity Obligation
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #26 Capacity Obligations and Performance Assessment Events
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Obligations (RTO-wide)
26 | Total Capacity with Capacity Obligation (RTO-wide) (MW). Enter the cleared capacity eligible for bonus payments or subject to penalties for the entire RTO during the reporting period.
26.01 | Total Number of Performance Assessment Events (RTO-wide) (Integer). | 0 | 0 | 0 | 0 | 0
26.02 | Total Duration of Performance Assessment Events (RTO-wide) (Hours). | 0 | 0 | 0 | 0 | 0
26.03 | Explanatory Text. Provide any additional information if necessary. | Text
Capacity Obligations (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
26.04 | Capacity Zone Name
26.05 | Total Capacity with Capacity Obligations (Zonal) (MW). Enter the cleared capacity eligible for bonus payments or subject to penalties for the zone during the reporting period. | 0 | 0 | 0 | 0 | 0
26.06 | Total Number of Performance Assessment Events (Zonal) (Integer). | 0 | 0 | 0 | 0 | 0
26.07 | Total Duration of Performance Assessment Events (Zonal) (Hours). | 0 | 0 | 0 | 0 | 0
Add Zone

## #27 Over Perform
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #27 Capacity Over-Performance
Equation 1.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Eligible for Bonus Payments for Over-Performance (RTO-wide)
27 | Total Number of Units That Over-Performed During Assessment Events (RTO-wide) (Integer). | 0 | 0 | 0 | 0 | 0
27.01 | Weighted Average Capacity that Over-Performed During Assessment Events (RTO-wide) (MW). See Equation 1. | 0 | 0 | 0 | 0 | 0
27.02 | Explanatory Text. Provide any additional information if necessary. | Text
Capacity Eligible for Bonus Payments for Over-Performance (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
27.03 | Capacity Zone Name
27.04 | Total Number of Units That Over-Performed During Assessment Events (Zonal) (Integer). | 0 | 0 | 0 | 0 | 0
27.05 | Weighted Average Capacity that Over-Performed During Assessment Events (Zonal) (MW). See Equation 1. | 0 | 0 | 0 | 0 | 0
Add Zone
(∑24_(𝑠=1)^𝑛▒(𝐶_𝑠∗𝑇_𝑠 ) )/(∑24_(𝑠=1)^𝑛▒𝑇_𝑆 )
𝑇_𝑠=𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝐸𝑣𝑒𝑛𝑡 𝑠
𝐶_𝑆=𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑎𝑝𝑎𝑐𝑖𝑡𝑦 𝑂𝑣𝑒𝑟−𝑝𝑒𝑟𝑓𝑜𝑟𝑚𝑎𝑛𝑐𝑒 𝑑𝑢𝑟𝑖𝑛𝑔 𝐸𝑣𝑒𝑛𝑡 𝑠

## #28 Under Perform
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #28 Capacity Under-Performance
Equation 1.
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Capacity Facing Penalty Payments for Under-Performance (RTO-wide)
28 | Total Number of Units That Under-Performed During Assessment Events (RTO-wide) (Integer). | 0 | 0 | 0 | 0 | 0
28.01 | Weighted Average Capacity that Under-Performed During Assessment Events (RTO-wide) (MW). See Equation 1.
28.02 | Explanatory Text. Provide any additional information if necessary. | Text
Capacity Facing Penalty Payments for Under-Performance (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
28.03 | Capacity Zone Name
28.04 | Total Number of Units That Under-Performed During Assessment Events (RTO-wide) (Integer). | 0 | 0 | 0 | 0 | 0
28.05 | Weighted Average Capacity that Under-Performed During Assessment Events (RTO-wide) (MW). See Equation 1. | 0 | 0 | 0 | 0 | 0
Add Zone
(∑24_(𝑠=1)^𝑛▒(𝐶_𝑠∗𝑇_𝑠 ) )/(∑24_(𝑠=1)^𝑛▒𝑇_𝑆 )
𝑇_𝑠=𝐷𝑢𝑟𝑎𝑡𝑖𝑜𝑛 𝑜𝑓 𝐸𝑣𝑒𝑛𝑡 𝑠
𝐶_𝑆=𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝐶𝑎𝑝𝑎𝑐𝑖𝑡𝑦 𝑈𝑛𝑑𝑒𝑟−𝑝𝑒𝑟𝑓𝑜𝑟𝑚𝑎𝑛𝑐𝑒 𝑑𝑢𝑟𝑖𝑛𝑔 𝐸𝑣𝑒𝑛𝑡 𝑠

## #29 Total Bonus
| Balancing Authority Area Respondent Name: | CAISO
Group 3: Metric #29 Total Capacity Bonus Payments and Penalties
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
Total Capacity Bonus Payments and Penalties (RTO-wide)
29 | Total Bonus Payments for Over-Performance (RTO-wide) ($). | 0 | 0 | 0 | 0 | 0
29.01 | Total Penalties Charged for Under-Performance (RTO-wide) ($). | 0 | 0 | 0 | 0 | 0
29.02 | Total Capacity that Under-Performed (RTO-wide) (Integer). (Automatically copied from Metric #28.01) | 0 | 0 | 0 | 0 | 0
29.03 | Total Capacity with Supply Obligations (RTO-wide) (Integer). (Automatically copied from Metric #26.00) | 0 | 0 | 0 | 0 | 0
29.04 | Fraction of Capacity That did not Meet its Obligation (%). The spreadsheet will calculate the ratio by dividing the total capacity that did not meet its obligations by the total obligation. (Automatically calculated) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
29.05 | Explanatory Text. Provide any additional information if necessary. | Text
Total Capacity Bonus Payments and Penalties (Zonal)
| Reporting Period | 2014 | 2015 | 2016 | 2017 | 2018
29.06 | Capacity Zone Name
29.07 | Total Bonus Payments for Over-Performance (Zonal) ($). | 0 | 0 | 0 | 0 | 0
29.08 | Total Penalties Charged for Under-Performance (Zonal) ($). | 0 | 0 | 0 | 0 | 0
Add Zone