REQUEST WINDOW SUBMISSION FORM

Please complete this submission form and the Attachment A (technical data) and send the documentation to the ISO contact listed in section 2. Please note that this form should be used for the purpose of submitting information that applies to the scope of Request Window that is a part of the ISO Transmission Planning Process only.  For more information on the Request Window, please refer to the Business Practice Manual (BPM) for the Transmission Planning Process which is available at: http://www.caiso.com/planning/Pages/TransmissionPlanning/Default.aspx.

The undersigned ISO Stakeholder Customer submits this request to be considered in the CAISO Transmission Plan. This submission is for (check one):

Reliability Transmission Project (refer to section 1 of Attachment A)

Submission is requested by a PTO with a PTO service territory

Submission is requested by a non-PTO, a PTO without a PTO service territory or a PTO outside its PTO service territory.

Merchant Transmission Facility (refer to section 1 of Attachment A)

Location Constrained Resource Interconnection Facility (LCRIF) (refer to sections 1 & 2 of Attachment A)

Project to preserve Long-term Congestion Revenue Rights (CRR) (refer to section 1 of Attachment A)

Demand Response Alternatives (refer to section 3 of Attachment A)

Generation Alternatives (refer to section 4 of Attachment A)

- Please provide the following basic information of the submission:

- Please provide the project name and the date you are submitting the project proposal to the ISO.  It is preferred that the name of the project reflects the scope and location of the project:

Project Name:

Submission Date:

- Project location and  interconnection point(s):

- Description of the project. Please provide the overview of the proposed project (e.g. overall scope, project objectives, estimated costs, etc.):

- Proposed In-Service Date, Trial Operation Date and Commercial Operation Date by month, day, and year and Term of Service.

Proposed In-Service date:		      /       /

Proposed Trial Operation date (if applicable):       /       /

Proposed Commercial Operation date (if applicable):       /       /

Proposed Term of Service (if applicable):

- Contact Information for the Project Sponsor:

Name:

Title:

Company Name:

Street Address:

City, State:

Zip Code:

Phone Number:

Fax Number:

Email Address:

- This Request Window Submission Form shall be submitted to the following ISO representative:

Name: Dana Young

Email Address: requestwindow@caiso.com

Note: The ISO will send an email confirming receipt of the request window submission within three business days of receiving it.

- This Request Window Submission Form is submitted by:

Check here if the information is the same as the Project Sponsor information in 1 (f) of this submission:

Name:

Title:

Company Name:

Street Address:

City, State:

Zip Code:

Phone Number:

Fax Number:

Email Address:

CAISO TRANSMISSION PLANNING PROCESS

Attachment A: Required Technical Data for Request Window Submissions

All information must be provided that applies to each type of submission. For any questions regarding the required technical data, please contact the ISO for more information.

1. Transmission Projects

This section applies to all transmission project submissions.

Any transmission project (reliability project, merchant project, LCRIF or a project to preserve long-term CRRs), whether submitted by a PTO or a non-PTO, must submit the following project information in accordance with Section 4.4.3.1 of the CAISO Transmission Planning Process BPM, which includes, but is not limited to:

General Data

- Description of the proposal such as the scope, interconnection points, proposed route, the nature of alternative (AC/DC) or and project objectives.

- Needs identification.  The proposal must provide the specific need(s) being addressed by the project, in accordance with the criteria specified in the tariff.  For example, a reliability project should identify specific reliability criteria concerns that the project proposal will mitigate.

- Demonstrate the proposed transmission alternative mitigates the identified need.  Provide pre-project and post-project results demonstrating the project mitigates the identified need.

- A diagram showing the geographical location and preliminary project route.

- A one-line diagram showing all major proposed elements (e.g. substation, line, circuit breaker, transformer, and interconnection points).

- Project proposals may include alternatives that have been studied by the project proponent but the submission package must clearly state which alternative is preferred. Submitting alternatives is not necessary for Merchant projects.

- The cost of mitigating short circuit and/or transient issues, shall be provided as part of the cost of the project.

- Merchant project proposals must include a demonstration of financial capability to pay the full cost and operation of the project.

- Merchant projects must engage the PTO in whose service territory the facility will be located to conduct a system impact analysis as well as a reliability study, and the project sponsor must agree to mitigate all reliability concerns, as well as impacts on allocated long-term CRRs, caused by the project interconnection.

Technical Data

- Network model for power flow study in GE-PSLF format must be provided. In some cases, Dynamic models for stability study in GE-PSLF format may also be required.

Planning Level Cost Data

- Project construction costs estimate, schedule, anticipated operations, and other data necessary for the study.  Cost data is not necessary for Merchant projects.

Miscellaneous Data

- Proposed entity to construct, own, and finance the project.

- Planned operator of the project.

- Construction schedule with expected online date.

- Reliability project proposals need to specify the necessary approval date (month/year).

### 2. Location Constrained Resource Interconnection Facilities (LCRIFs)

Along with submitting the required information in 1 of this Attachment A, any party proposing an LCRIF shall include the following information in accordance with Section 24.4.6.3 of the CAISO Tariff and Section 4.4.3.2 of the CAISO Transmission Planning Process BPM:

A description of the proposed facility, including the following information:

- Transmission study results demonstrating that the proposed transmission facility meets Applicable Reliability Requirements and CAISO Planning Standards.

- Identification of the most feasible and cost-effective alternative transmission additions, which may include network upgrades that would accomplish the objectives of the proposal.

- A planning level cost estimate for the proposed facility and all proposed alternatives.

- An assessment of the potential for the future connection of further transmission additions that would convert the proposed facility into a network transmission facility, including conceptual plans.

- A conceptual plan for connecting potential LCRIGs, if known, to the proposed facility.

Information showing that the proposal meets the criteria outlined in Section 24.4.6.3.2 of the CAISO Tariff and Section 4.4.3.2 of the CAISO Transmission Planning Process BPM permits the ISO to conditionally approve the LCRIF as follows:

- The facility is to be constructed for the primary purpose of connecting two or more Location Constrained Resource Interconnection Generators (LCRIG) in an Energy Resource Area, and at least one of the LCRIG is to be owned by an entity or entities not an Affiliate of the owner(s) of another LCRIG in that Energy Resource Area.

- The facility will be a High Voltage Transmission Facility.

- At the time of its in-service date, the transmission facility will not be a network facility and would not be eligible for inclusion in a PTO’s TRR other than as an LCRIF.

- The facility meets Applicable Reliability Criteria and CAISO Planning Standards.

### 3. Demand Response Alternatives

Any party proposing demand response alternatives (e.g., amount of load impact, location, and cost of the program) shall include the following information in accordance with Section 4.4.3.3 of the CAISO Transmission Planning Process BPM:

- Bus-level model of demand response for power flow or stability studies.

- Associated planning level costs.

- Satisfactory evidence showing that the proposed demand response will be reliably operated and controllable by the ISO.

- Project capacity (Net MW).

### 4. Generation Alternatives

Any party proposing generation alternatives shall include the following information in accordance with Section 4.4.3.3 of the CAISO Transmission Planning Process BPM:

- Basic description of the project, such as fuel type, size, geographical location, etc.

- Project scope and detailed descriptions of the characteristics or how it will be operated.

- Description of the issue sought to be resolved by the generating facility, including any reference to results of prior technical studies included in published Transmission Plans.

- Generation alternative proposals must include the network model of the project for the power flow study, dynamic models for the stability study, short circuit data and protection data.

- Other technical data that may be required for specific types of resources, such as wind generation.

- Detailed project costs, project construction, heat rate, and operation costs.

- Project capacity (Net MW).

- Any additional miscellaneous data that may be applicable.

Please note this submission does not establish an ISO GIP queue position.  New resources seeking interconnection to the ISO grid must be submitted into the ISO’s generation interconnection process (GIP).

Please contact the ISO staff at requestwindow@caiso.com for any questions regarding the definitions of these submission categories in this form.

This appendix lists the minimum of data required by the ISO for the first screening purposes, additional data may be requested by the ISO later during the course of project evaluation