## Sheet1
This is a sample of the application fields for demonstration only. This file cannot be uploaded to an interconnection application. Not all fields are required or relevant for every application. Fields are subject to change. Fields may be: drop down, fill-in, multiple choice or automatically calculated.
Program Selection
Request Type
Service Type
Facility Information
Facility Name
Project Name
Facility Location
Facility Address
Facility Country
Facility City
Facility State
Facility Zip
Facility Latitude
Facility Longitude
County
Site Map | File
Facility Location Google Earth File | File
Facility Output at POI
Net Megawatt Increase (MW)
Repower Request
Repower Facility Identifier
Project Is Expansion of Existing Project with No Increase to ISC
Facility Gross MW Output
Generating Facility Auxiliary Load (MW)
Maximum Net Megawatt Electrical Output (MW)
MW Loss between Facility and POI
Desired Net MW at POI
Facility Offline Standby MW Load
Point of Interconnection
Point of Interconnection
Transmission Owner
Substation(s) Not Listed
Unlisted Substation
POI Interconnection Voltage
Transmission Line
Deliverability Selection
POI Sharing Gen-Tie
Sufficient Gen-Tie Capacity
Gen-Tie Upgrade Plan | File
Other Project Sharing Gen-Tie
Shared Facilities Agreement | File
Existing Transmission Line
Scoring Criteria
Engineering Design Plan Completeness Sub-Point
Engineering Design Plan Supporting Documentation | File
Expansion of Existing Facility
MW Online
Expansion Project Name
Expansion Project Queue Number
Expansion Supporting Documentation
Expansion Type
Expansion of a Generating Facility that is currently under construction
Expansion of an operating facility
Expansion of a facility that is under construction or in operation, where the gen-tie already has sufficient surplus capacity to accommodate additional resources
Project does not meet criteria
Ability to provide Local Resource Adequacy
Long Lead Time Resource Sub point
Long lead time resource documentation
Contact Information
Project Manager Contact
First Name
Last Name
Title
Company
Country
Address
City
State
Zip Code
Phone
Phone Extension
Email
Save Contact to Address Book
Additional Representative Contact
First Name
Last Name
Title
Company
Country
Address
City
State
Zip Code
Phone
Phone Extension
Email
Save Contact to Address Book
Andover
State
KS
Zip Code
Digital Signature
Legal Name of the Interconnection Customer
Authorized Signatory First Name
Authorized Signatory Last Name
Authorized Signatory Title
Authorized Signatory Parent Company
Authorized Signatory Email
Authorized Signatory Entity Type
Authorized Signatory State
Secretary of State Certification | File
Proof that signatory is an authorized representative of the Interconnection Customer | File
Financial Representative Contact
First Name
Last Name
Title
Company
Country
Address
City
State
Zip Code
Phone
Phone Extension
Email
Save Contact to Address Book
Documentation and Legal Information
Site Control
Is Site Control Unobtainable Due to Regulatory Limitations
Site Control
Signed affidavit from an officer | File
Type of Site Control Provided
Is Site Control Granted
Relationship between entities
Site Control Not Granted Documentation | File
Term Of Agreement (Years)
Nearest expiration date (If applicable)
Acreage acquired or reserved for project site
Project is sharing a site with queue number
Queue Number
Acreage required per BPM for project site
Lease Agreement | File
Additional Site Control Documentation File Uploads 1 | File
Additional Site Control Documentation File Uploads 2 | File
Additional Site Control Documentation File Uploads 3 | File
Additional Site Control Documentation File Uploads 4 | File
Payment Information
Application Fee
Application Fee Documentation | File
Study Deposit
Study Deposit Documentation | File
Commercial Readiness Deposit
Commercial Readiness Deposit Documentation | File
Site Control Deposit
Site Control Deposit Documentation | File
Merchant Option Deposit
Merchant Option Deposit Documentation | File
Facility Data
Equipment Description
Equipment Description
Operation Dates
Proposed In-Service Date
Proposed Trial Operation Commencement Date
Proposed Commercial Operation Date
Proposed Term of Service
Fuel Source
Fuel Source #1
Fuel Source Gen Type
Fuel Source Fuel Type
Fuel Source Capacity
Fuel Type Gross Output
Fuel Source Co-location
Fuel Source Hybrid
Fuel Source DC Coupled
Fuel Source #2
Fuel Source Gen Type
Fuel Source Fuel Type
Fuel Source Capacity
Fuel Type Gross Output
Fuel Source Co-location
Fuel Source Hybrid
Total Generating Facility Gross Capacity
Storage Charging Source
Storage Charging Operation
Generating Facility Will Charge at Peak Load?
Energy Storage #1
Storage Device Specification Data
Total Storage Capability
Cycle Efficiency Percent
Rated Storage Discharging Power
Rated Power Discharge Duration
Maximum Storage Discharging Power
Maximum Power Discharge Duration
Rated Storage Charging Power
Rated Power Charge Duration
Maximum Storage Charging Power
Maximum Power Charge Duration
Requested Storage Charging Power at Generation Terminals (MW)
Minimum State of Charge
Maximum State of Charge
Generator Information
A. Unit Ratings
Number of Generator Types
Total Generating Facility Gross Output (MW)
Total Generating Facility Gross Capacity (MVA)
Generator Type #1
Generator Technology
Type
Manufacturer
Model
Model Number
Model Version
Year Manufactured
Number of Generating Units
Nominal Terminal Voltage (kV)
Site Ambient Temperature C
Individual Generator Rated Output (MW)
Individual Generator Rated MVA
Rated Power Factor
GFD Gen Power Factor Reg Min
GFD Gen Power Factor Reg Max
Generator Voltage Regulation Minimum
Generator Voltage Regulation Maximum
Phase
Connection
Upward droop
Downward droop
Droop base
Frequency response deadband
Turbine Outage Plant Capacity
Generator Type #2
Generator Type #3
Generator Type #4
Transformer
Transformer Type #1
Num Of Transformers
Tertiary Winding
GSU or Pad-mount
Phase
Winding #1
H-X-Y Winding
Rated MVA
Connection
Cooling Type
Temp Rise Rating Degree C
Rated Voltage kV
BIL kV
Load Tap Changer
Taps in Percent of Rating
GSU Tap Settings
Winding #2
Winding #3
Current Transformer Ratios H
Current Transformer Ratios X
Current Transformer Ratios Y
Current Transformer Ratios N
Exciting I 100 Percent
Exciting I 110 Percent
MVA Base H-X
H-X Positive Sequence Impedance Z1 (%)
Tested Taps H-X
H-X Positive Sequence Impedance Z1 (X/R)
MVA Base H-Y
H-Y Positive Sequence Impedance Z1 (%)
Tested Taps H-Y
H-Y Positive Sequence Impedance Z1 (X/R)
MVA Base X-Y
X-Y Positive Sequence Impedance Z1 (%)
Tested Taps X-Y
X-Y Positive Sequence Impedance Z1 (X/R)
Transformer support file | File
Generator Reactive Power
Generator Reactive Capability | File
Generator Qmax Range
Generator Qmax
Generator Qmin Range
Generator Qmin
Generator reactive capability temperature
Reactive Capability Summary
Total Qmax
Total Qmin
Total Dynamic Qmax
Total Dynamic Qmin
Estimated Qmax
Estimated Qmin
Estimated Qmax Validation
Power Plant Controller
Power Plant Controller
PPC Manufacturer
PPC Volt/Var Control
Normal Condition mode
Abnormal Condition Mode
Low Voltage Freeze
PPC Freeze Voltage
Voltage Droop Control
Voltage Droop
Control Coordination
Share Reactive Resource
PPC Frequency/MW Control
Overall Primary Frequency Control
Upward Frequency Response Headroom
POI MW Control
Upward Ramp Rate Limit
Downward Ramp Rate Limit
Line and Collector
Collector System
Add Line or Collector #1
Line or Collector
Line
Nominal Voltage
Line Length (miles)
Name of Line Termination Point 1
Name of Line Termination Point 2
New Tie Line
Conductor Type
Conductor SIze
Bundled Number per Phase
Bundle Spacing
Phase Configuration
Phase Spacing 1
Phase Spacing 2
Phase Spacing 3
Distance to Ground
Ground Wire Type
Ground Wire Size
G-Wire Distance to Ground
Summer line Normal amperes
Summer line Emergency amperes
Summer Line Normal MVA
Summer line Emergency MVA
Winter line Normal amperes
Winter line Emergency amperes
Winter Line Normal MVA
Winter line Emergency MVA
Positive Sequence Resistance, R1 for entire length (p.u.)
Positive Sequence Reactance, X1 for entire length (p.u.)
Positive Sequence Susceptance, B1 for entire length (p.u.)
Zero Sequence Resistance, R0 for entire length (p.u.)
Zero Sequence Reactance, X0 for entire length (p.u.)
Add Line or Collector #2
Line or Collector
Collector
Nominal Voltage
Summer line Normal amperes
Summer line Emergency amperes
Summer Line Normal MVA
Summer line Emergency MVA
Winter line Normal amperes
Winter line Emergency amperes
Winter Line Normal MVA
Winter line Emergency MVA
Positive Sequence Resistance, R1 for entire length (p.u.)
Positive Sequence Reactance, X1 for entire length (p.u.)
Positive Sequence Susceptance, B1 for entire length (p.u.)
Zero Sequence Resistance, R0 for entire length (p.u.)
Zero Sequence Reactance, X0 for entire length (p.u.)
Tower Configuration Diagram | File
Power Flow Information
Power Flow Model | File
Power Flow Tests | File
A-5. Dynamic Modeling Information
Generator Model | File
PSLF flat run and bump test | File
A-6. One-Line & Model Information
One Line Diagram | File
Synchronous Generator Information
Synchronous Generator Information
Synchronous Generator Type #1
Synchronous Generator Type Name
Rated Generator Speed (rpm)
Generator Efficiency
Moment of Inertia
Inertia Constant
Short-Circuit Ratio
Dynamic Model Name
Positive sequence subtransient reactance (Saturated) in p.u.
Positive sequence subtransient reactance (Unsaturated) in p.u.
Negative sequence reactance X2 (p.u.)
Zero sequence reactance X0 (p.u.)
Generator Grounding
Plot of Generator Terminal Voltage | File
Excitation System Information
Excitation System Information #1
Manufacturer and Type of excitation system used for the generator
Type of Excitation System
Excitation System Response Ratio (ASA)
Full load rated exciter output voltage (kV)
Maximum exciter output voltage (ceiling voltage) (kV)
Excitation System Comments
Excitation System Block Diagram | File
Power System Stabilizer Information
Power System Stabilizer #1
PSS Manufacturer
PSS Digital or Analog
PSS Input Signal Source
PSS Comments
PSS Block Diagram
Turbine Governor Information
Turbine Governor #1
Turbine Unit Type
Manufacturer
Maximum Output (MW)
Minimum Output (MW)
Droop Setting (speed regulation %)
Governor
Comments
Does turbine system have re-heat process
Percent of power for low pressure or gas turbine
Percent of power for high pressure or steam turbine
Non-Synchronous Equipment Information
Induction Generator Information
Induction Machine Type #1
Non-Synch Generator Type Name
Non-Synchronous Generator Type
Moment of Inertia
Reclose Blocking
Average Elevation
Field Volts
Field Amperes
Motoring Power (kW)
Neutral Grounding Resistor
Heating Time Constant (I22t or K)
Rotor Resistance
Stator Resistance
Rotor Reactance
Stator Reactance
Magnetizing Reactance
Short Circuit Reactance
Exciting Current
Temperature Rise
Frame Size
Design Letter
Reactive Power (No Load)
Reactive Power (Full Load)
Total Rotating Inertia (H) (Per Unit on KVA Base)
Positive sequence subtransient reactance (Saturated) in p.u.
Positive sequence subtransient reactance (Unsaturated) in p.u.
Negative sequence reactance X2 (p.u.)
Zero sequence reactance X0 (p.u.)
Generator Grounding
Inverter-Based Parameters (e.g. Solar, Storage Type 4 Wind Turbines)
Number of Inverter Types
Solar Tracking System
Cycle Time Frame Upload
Inverter Short Circuit (Cycle Time Frame) File | File
Inverter Type #1
Inverter Name
List of set points
Harmonics
Start-up requirements
Negative Sequence Fault Current
Initial Symmetrical Short-Circuit Current
First Peak of Short Circuit Current
Steady-State Short Circuit Current
Time to reach steady-state current
Pos reactive current injection slope
Neg reactive current injection slope
Inverter momentary cessation
Low voltage momentary cessation
High voltage momentary cessation
Time delay before injecting current
Active current ramp rate
MVA base
Frequency tripping values and associated time delay (Hz, sec) #1
Frequency tripping value
Frequency Tripping Time Delay
DC Coupled Facility
Equipment to control DC flow
DC flow control transient response
Inverter Type #2
Inverter Name
List of set points
Harmonics
Start-up requirements
Negative Sequence Fault Current
Inverter momentary cessation
Inverter control during system fault conditions
Inverter lock out after tripping
Inverter return ramp rate with MVA base
Frequency tripping values and associated time delay (Hz, sec) #1
Frequency tripping value
Frequency Tripping Time Delay
DC Coupled Facility
Inverter Model Validation
Voltage Change Test | File
Frequency Change Test | File
Voltage Ride‐Through Test | File
Manufacturer data sheets | File