## Comments
This spreadsheet is for illustrative purposes. The models assume import constraint is binding with exports providing counterflows, export constraint is not binding
Cells highlighted in Yellow can be changed to create different scenarios.
For illustrative purposes, we have split the marginal cost of congestion in to two components: the intertie scheduling limit shadow cost (ITC Import Congestion) and other congestion.
For interties, the 20 minute hourly ramp and the 10 minute intra-hour ramps are not settled. These ramps are modeled in the RTD optimization.

## Hourly Block
Day Ahead
Day Ahead Energy Schedule (MWh) | 100 | [11 empty] | Positive = Import, Negative = Export
LMP ($/MWh) | 35
SMEC | 40
Loss | -1
Other Congestion | -1
ITC Import Congestion | -3
Hourly Transmission Reservation Process
Transmission Reservation (MWh) | 100
Advisory Energy Schedule (MWh) | 100
ITC Import Congestion | -3
Tagged Energy Schedule (MWh) | 80
Tagged Energy Schedule in 15 Min Market | Yes |  |  | Yes |  |  | Yes |  |  | Yes
| Market 1 |  |  | Market 2 |  |  | Market 3 |  |  | Market 4
MWh | 20 |  |  | 20 |  |  | 20 |  |  | 20
LMP ($/MWh) | 35 |  |  | 35 |  |  | 35 |  |  | 35
SMEC | 40 |  |  | 40 |  |  | 40 |  |  | 40
Loss | -1 |  |  | -1 |  |  | -1 |  |  | -1
Other Congestion | -1 |  |  | -1 |  |  | -1 |  |  | -1
ITC Import Congestion | -3 |  |  | -3 |  |  | -3 |  |  | -3
| RTD 1 | RTD 2 | RTD 3 | RTD 4 | RTD 5 | RTD 6 | RTD 7 | RTD 8 | RTD 9 | RTD 10 | RTD 11 | RTD 12
Instructed Energy (MWh) | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667
LMP ($/MWh) | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
SMEC | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Loss | bar: -3 RTD 1 to -3 RTD 12
Other Congestion | bar: -3 RTD 1 to -3 RTD 12
ITC Import Congestion | bar: -3 RTD 1 to -3 RTD 12
Deemed Delivered (MWh) | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667 | 6.6667
Operational Adjustment (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
Day Ahead Energy Settlement | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 3800
DA Transmission Reservation Settlement | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -300
HASP Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15-Minute Market Energy Settlement | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -63.3333 | -760
15-Min Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RTD Energy Settlement
RTD Transmission Reservation Settlement
Operational Adjustment Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OA Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2740
Note on A15: dtretheway: Question: Was the different energy schedule tagged known prior to start of market run?

## 15-Minute
Day Ahead
Day Ahead Energy Schedule (MWh) | 100 | [11 empty] | Positive = Import, Negative = Export
LMP ($/MWh) | 35
SMEC | 40
Loss | -1
Other Congestion | -1
ITC Import Congestion | -3
Hourly Transmission Reservation Process
Transmission Reservation (MWh) | 110
Advisory Energy Schedule (MWh) | 110
ITC Import Congestion | -3
| Market 1 |  |  | Market 2 |  |  | Market 3 |  |  | Market 4
15-Minute Energy Schedule (MWh) | 27.5 |  |  | 27.5 |  |  | 27.5 |  |  | 27.5
LMP ($/MWh) | 35 |  |  | 35 |  |  | 35 |  |  | 35
SMEC | 40 |  |  | 40 |  |  | 40 |  |  | 40
Loss | -1 |  |  | -1 |  |  | -1 |  |  | -1
Other Congestion | -1 |  |  | -1 |  |  | -1 |  |  | -1
ITC Import Congestion | -3 |  |  | -3 |  |  | -3 |  |  | -3
Tagged 15-Minute Energy Schedule (MWh) | 27.5 |  |  | 27.5 |  |  | 27.5 |  |  | 27.5
| RTD 1 | RTD 2 | RTD 3 | RTD 4 | RTD 5 | RTD 6 | RTD 7 | RTD 8 | RTD 9 | RTD 10 | RTD 11 | RTD 12
Instructed Energy (MWh) | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667
LMP ($/MWh) | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
SMEC | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Loss | bar: 27.5 RTD 1 to 27.5 RTD 12
Other Congestion | bar: 27.5 RTD 1 to 27.5 RTD 12
ITC Import Congestion | bar: 27.5 RTD 1 to 27.5 RTD 12
Deemed Delivered (MWh) | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667
Operational Adjustment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
Day Ahead Energy Settlement | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 3800
DA Transmission Reservation Settlement | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -300
HASP Transmission Reservation Settlement | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -30
15-Minute Market Energy Settlement | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 380
15-Min Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RTD Energy Settlement
RTD Transmission Reservation Settlement
Operational Adjustment Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OA Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3850
Note on A25: dtretheway: Assumes Market 1 is flat from prior hour and Market 4 is flat to next hour. 10 minute ramp for 15 minute market schedule changes.
Note on A40: dtretheway: If 15 minute schedule is greater than transmission reservation then include ITC congestion for schedule above the transmission reservation.

## Dynamic Transfer
Day Ahead
Day Ahead Energy Schedule (MWh) | 100 | [11 empty] | Positive = Import, Negative = Export
LMP ($/MWh) | 35
SMEC | 40
Loss | -1
Other Congestion | -1
ITC Import Congestion | -3
Hourly Transmission Reservation Process
Transmission Reservation (MWh) | 110
Advisory Energy Schedule (MWh) | 110
ITC Import Congestion | -3
| Market 1 |  |  | Market 2 |  |  | Market 3 |  |  | Market 4
15-Minute Energy Schedule (MWh) | 25 |  |  | 27.5 |  |  | 27.5 |  |  | 27.5
LMP ($/MWh) | 36 |  |  | 35 |  |  | 35 |  |  | 35
SMEC | 40 |  |  | 40 |  |  | 40 |  |  | 40
Loss | -1 |  |  | -1 |  |  | -1 |  |  | -1
Other Congestion | -1 |  |  | -1 |  |  | -1 |  |  | -1
ITC Import Congestion | -2 |  |  | -3 |  |  | -3 |  |  | -3
| RTD 1 | RTD 2 | RTD 3 | RTD 4 | RTD 5 | RTD 6 | RTD 7 | RTD 8 | RTD 9 | RTD 10 | RTD 11 | RTD 12
Instructed Energy (MWh) | 9.5833 | 9.5833 | 9.5833 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667
LMP ($/MWh) | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38
SMEC | 42 | 42 | 42 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Loss | bar: -2 RTD 1 to -3 RTD 12
Other Congestion | bar: -2 RTD 1 to -3 RTD 12
ITC Import Congestion | -2 | -2 | -2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Meter (MWh) | 9.5833 | 9.5833 | 9.5833 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667 | 9.1667
Uninstructed Energy (MWh) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total
Day Ahead Energy Settlement | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 316.6667 | 3800
DA Transmission Reservation Settlement | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -25 | -300
HASP Transmission Reservation Settlement | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -2.5 | -30
15-Minute Market Settlement | 0 | 0 | 0 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 285
15-Min Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RTD Energy Settlement | 50 | 50 | 50 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 31.6667 | 435
RTD Transmission Reservation Settlement | -2.5 | -2.5 | -2.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.5
Uninstructed Energy Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Uninstructed Transmission Reservation Settlement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4182.5
Note on A35: dtretheway: The combination of Day Ahead Energy Settlement and Transmission Reservation Settlement will be combined.
Note on A38: dtretheway: If 15 minute schedule is greater than transmission reservation then include ITC congestion for schedule above the transmission reservation.
Note on A40: dtretheway: If the RTD dispatch is greater than the transmission reservation and greater than the 15-minute market schedule, then include the ITC congestion for the dispatch above the 15-minute schedule.

## Internal Generation
Day Ahead
Day Ahead Energy Schedule (MWh) | 100
LMP ($/MWh) | 35
SMEC | 40
Loss | -1
Congestion | -4
| Market 1 |  |  | Market 2 |  |  | Market 3 |  |  | Market 4
15-Minute Energy Schedule (MWh) | 30 |  |  | 28 |  |  | 24 |  |  | 30
LMP ($/MWh) | 35 |  |  | 35 |  |  | 35 |  |  | 35
SMEC | 40 |  |  | 40 |  |  | 40 |  |  | 40
Loss | -1 |  |  | -1 |  |  | -1 |  |  | -1
Congestion | -4 |  |  | -4 |  |  | -4 |  |  | -4
| RTD 1 | RTD 2 | RTD 3 | RTD 4 | RTD 5 | RTD 6 | RTD 7 | RTD 8 | RTD 9 | RTD 10 | RTD 11 | RTD 12
Instructed Energy (MWh) | 12 | 12 | 12 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 11 | 11 | 11
LMP ($/MWh) | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
SMEC | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
Loss | bar: -4 RTD 1 to -4 RTD 12
Congestion | bar: -4 RTD 1 to -4 RTD 12
Meter (MWh) | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333 | 8.3333
Uninstructed Energy (MWh) | -3.6667 | -3.6667 | -3.6667 | 0 | 0 | 0 | 0 | 0 | 0 | -2.6667 | -2.6667 | -2.6667
Total
Day Ahead Settlement | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 291.6667 | 3500
15-Minute Market Settlement | 58.3333 | 58.3333 | 58.3333 | 35 | 35 | 35 | -11.6667 | -11.6667 | -11.6667 | 58.3333 | 58.3333 | 58.3333 | 420
RTD Settlement | 70 | 70 | 70 | -35 | -35 | -35 | 11.6667 | 11.6667 | 11.6667 | 35 | 35 | 35 | 245
Uninstructed Energy Settlement | -128.3333 | -128.3333 | -128.3333 | 0 | 0 | 0 | 0 | 0 | 0 | -93.3333 | -93.3333 | -93.3333 | -665
3500

## Load
Day Ahead Schedule | MWh | %
LSE 1 | 5000 | 14.29%
LSE 2 | 10000 | 28.57%
LSE 3 | 20000 | 57.14%
Total | 35000 | 100%
Hourly Meter | MWh | %
LSE 1 | 4900 | 13.17%
LSE 2 | 11500 | 30.91%
LSE 3 | 20800 | 55.91%
Total | 37200 | 100%
| Market 1 |  |  | Market 2 |  |  | Market 3 |  |  | Market 4 |  |  | Total
LMP | 35 |  |  | 35 |  |  | 35 |  |  | 50 |  |  | 50 | Weigted average price by market volume
15 Min ISO Load Forecast (MWh) | 7000 |  |  | 9000 |  |  | 10000 |  |  | 11000 |  |  | 37000
Hourly DA Schedule | 8750 |  |  | 8750 |  |  | 8750 |  |  | 8750 |  |  | 35000
Deviation ISO Forecast to DA Schedule | -1750 |  |  | 250 |  |  | 1250 |  |  | 2250 |  |  | 2000
Market Settlement ($) | 61250 |  |  | -8750 |  |  | -43750 |  |  | -112500 |  |  | -103750
| RTD 1 | RTD 2 | RTD 3 | RTD 4 | RTD 5 | RTD 6 | RTD 7 | RTD 8 | RTD 9 | RTD 10 | RTD 11 | RTD 12 | Total
LMP | 35 | 35 | 35 | 35 | 35 | 35 | 50 | 1000 | 50 | 35 | 35 | 35 | 226.5686 | Weigted average price by market volume
RTD ISO Load Forecast (MWh) | 1500 | 2000 | 2500 | 3000 | 3100 | 3200 | 3300 | 3500 | 3500 | 3750 | 4000 | 4500 | 37850
Hourly Load Meter | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 3100 | 37200
Deviation to 15-Minute Market | -833.3333 | -333.3333 | 166.6667 | 0 | 100 | 200 | -33.3333 | 166.6667 | 166.6667 | 83.3333 | 333.3333 | 833.3333 | 850
Market Settlement ($) | 29166.6667 | 11666.6667 | -5833.3333 | 0 | -3500 | -7000 | 1666.6667 | -166666.6667 | -8333.3333 | -2916.6667 | -11666.6667 | -29166.6667 | -192583.3333
Real Time Load Settlement ($) | 61250 RTD 1: UIE; 61250 RTD 2: Neutrality; 61250 RTD 3: Total | 102.6608 | Weigted average price by hourly market volume
LSE 1 | 61250 RTD 1: 10266.0819; 61250 RTD 2: -9283.5943; 61250 RTD 3: 982.4876
LSE 2 | 61250 RTD 1: -153991.2281; 61250 RTD 2: -21788.0274; 61250 RTD 3: -175779.2555
LSE 3 | 61250 RTD 1: -82128.655; 61250 RTD 2: -39407.9105; 61250 RTD 3: -121536.5654
Total | 61250 RTD 1: -225853.8012; 61250 RTD 2: -70479.5322; 61250 RTD 3: -296333.3333; -112500 RTD 12: Total Market Real Time Market | -296333.3333
Note on A20: dtretheway: This is used to estimate the neutrality charges.
Note on A28: dtretheway: This is used to estimate the RTD neutrality