by the ISO and include the bid information for each service described in Sections 2.5.14 to 2.5.19 and such other information as the ISO may determine it requires to evaluate bids as published from time to time in ISO Protocols.  The ISO will verify and respond to submitted bid data in accordance with Appendix E and the ISO Protocols.  Bidders may submit new bids on a daily basis (or hourly basis for the Hour-Ahead market).

### Bid Evaluation Rules.

Bid evaluation shall be based on the following principles:

- the ISO shall not differentiate between bidders other than through price and capability to provide the service, and the required locational mix of services;

- to minimize the costs to users of the ISO Controlled Grid, the ISO shall select the bidders with lowest bids for capacity which meet its technical requirements, including location and operating capability;

- for the Day-Ahead Market, the Day-Ahead bids shall be evaluated independently for each of the 24 Settlement Periods of the following Trading Day;

- for the Hour-Ahead Market, the ISO shall evaluate bids in the two hours preceding the hour of operation;

- the ISO will procure sufficient Ancillary Services in the Day Ahead Market to meet its forecasted requirements, as known at the close of the Day-Ahead Market, except that the ISO may elect to procure a portion of such requirements in the Hour-Ahead Markets if the ISO first provides notice to Scheduling Coordinators of such action, including the approximate hourly

- megawatt amounts of each Ancillary Service that it intends to procure in the Hour-Ahead Markets.

### Evaluation of Ancillary Services Bids.

When Scheduling Coordinators bid into the Regulation, Spinning Reserve, Non-Spinning Reserve and Replacement Reserve markets, they may bid the same capacity into as many of these markets as desired by providing the appropriate bid information

Subject to

Where

TotalBidijt = CapResijt  * Capijt

Requirementt = Amount of upward and downward movement capacity required

Price Determination.  The price payable to Scheduling Coordinators for Regulation Capacity made available for upward and downward movement in accordance with the ISO’s Final Day-Ahead Schedules shall, for each Generating Unit and System Unit concerned, be the zonal market clearing price as follows:

PAGCx = MCPxt

Where:

The zonal market clearing (MCPxt) price is the highest priced winning Regulation capacity bid in Zone X based on the capacity reservation bid price i.e.

MCPxt = Max (CapResijt) in zone x for Settlement Period t

The ISO’s auction does not compensate the Scheduling Coordinator for the minimum Energy output of Generating Units or System Units bidding to provide Regulation.  Therefore, disposition of any minimum Energy associated with Regulation selected in the ISO’s Ancillary Services markets is the responsibility of the Scheduling Coordinator selling the Regulation.

### The price payable to Scheduling Coordinators for Regulation Capacity not included in the ISO's Final Day-Ahead Schedules but made available in accordance with amended Ancillary Services supplier schedules issued in accordance with Section 2.5.21 shall be the bid price of the Regulation Capacity reserved (CapResijt ($/MW)).

Capijt  Capijtmax

Where

TotalBidijt = Capijt * CapResijt

Requirementt = the amount of Spinning Reserve capacity required

Price Determination.  The price payable to Scheduling Coordinators for Spinning Reserve Capacity made available in accordance with the ISO’s Final Day-Ahead Schedules shall, for each Generating Unit or external import of a System Resource concerned be the zonal market clearing price for Spinning Reserve calculated as follows:

Pspxt = MCPxt

Where the zonal market clearing price (MCPxt) for Spinning Reserve is the highest priced winning Spinning Reserve capacity bid in Zone X based on the capacity reservation bid price, i.e.:

MCPxt = Max(CapResijt) in zone x for Settlement Period t

The ISO’s auction does not compensate a Scheduling Coordinator for the minimum Energy output of Generating Units, System Units or System resources bidding to provide Spinning Reserve.  Therefore, any minimum Energy output associated with Spinning Reserve selected in the ISO’s auction is the responsibility of the Scheduling Coordinator selling the Spinning Reserve.

### The price payable to Scheduling Coordinators for Spinning Reserve Capacity not included in the ISO's Final Day-Ahead Schedules but made available in accordance with amended Ancillary Services supplier schedules issued in accordance with Section 2.5.21 shall be the bid price of the Spinning reserve capacity reserved (CapResijt($/MW)).

### The Non-Spinning Reserve Auction.

Bid information.  If the bid is for the provision of Non-Spinning Reserve from a Generating Unit or System Unit, each Scheduling Coordinator j must submit the following information for each Generating Unit or System Unit i for each Settlement Period t of the following Trading Day:

- bidder name/Identification Code;

- Generating Unit or System Unit identification (name and Location Code);

- the date for which the bid applies;

- maximum operating level (MW);

- minimum operating level (MW);

- ramp rate (MW/Min);

- the MW capability available within 10 minutes (Capijtmax);

- the bid price of the capacity reserved (CapResijt($/MW));

- time to synchronization following notification (min);

- the bid price of the Energy output from the reserved capacity (EnBidijt($/MWh)).

If the bid is for the provision of Non-Spinning Reserve from an external import of a System Resource, each Scheduling Coordinator j must submit the following information for each external import of a System Resource i for each Settlement Period t of the following Trading Day:

- bidder name/Identification Code;

- the date for which the bid applies;

- ramp rate if applicable (MW/Min);

- the MW capability available at the point of interchange with the ISO Control Area, within 10 minutes (Capijtmax) of the ISO calling for the external import of System Resource I, from Scheduling Coordinator j, for Settlement Period t;

- the bid price of the capacity reserved (CapResijt($/MW)); and

The total bid for each Generating Unit, System Unit, Load or external import of a System Resource is calculated by multiplying the capacity reservation bid by the bid capacity.

Thus subject to any locational requirements, the ISO will accept the winning Non-Spinning Reserve bids in accordance with the following criteria:

Where

TotalBidijt = Capijt  * CapResijt

Requirementt = the amount of Non-Spinning Reserve capacity required

Price Determination.  The price payable to Scheduling Coordinators for Non-Spinning Reserve Capacity made available in accordance with the ISO’s Final Day-Ahead Schedules shall for each Generating Unit, System Unit, Load or external import of a System Resource concerned be the zonal market clearing price for Non-Spinning Reserve calculated as follows:

Pnonspxt = MCPxt

Where the zonal market clearing price (MCPxt) for Non-Spinning Reserve is the highest priced winning Non-Spinning Reserve bid in Zone X based on the capacity reservation bid price, i.e.:

MCPxt = Max(CapResijt) in zone x for Settlement Period t.

### The price payable to Scheduling Coordinators for Non-Spinning Reserve Capacity not included in the ISO's Final Day-Ahead Schedules but made available in accordance with amended Ancillary Services supplier schedules issued in accordance with Section 2.5.21 shall be the bid price of the Non-Spinning Capacity reserved (CapResijt($/MW)).

### The Replacement Reserve Auction.

Bid Information.  If the bid is for the provision of Replacement Reserve from a Generating Unit or System Unit each Scheduling Coordinator j must submit the following information for each Generating Unit or System Unit i for each Settlement Period t of the following Trading Day:

- bidder name/Identification Code;

- Generating Unit or System Unit identification (name and Location Code);

- the date for which the bid applies;

- maximum operating level (MW);

- minimum operating level (MW);

- ramp rate (MW/Min);

- the MW capacity available within 60 minutes (Capijtmax);

- the bid price of the capacity reserved (CapResijt ($/MW));

- time to synchronize following notification (min);

- the bid price of the Energy output from the reserved capacity (EnBidijt ($/MWh)).

If the bid is for the provision of Replacement Reserve from an external import of a System Resource, each Scheduling Coordinator j must submit the following information for each external import of a System Resource i for each Settlement Period t of the following Trading Day:

- bidder name/Identification Code;

- the date for which the bid applies;

(c)	 ramp rate applicable (MW/Min);

- the sum of the selected bid capacities must be greater than or equal to the required Replacement Reserve capacity; and

- each Generating Unit’s, System Unit’s, Load’s or external import’s bid capacity must be less than or equal to that Generating Unit’s, System Unit’s,  Load’s or external import’s ramp rate (or time to interruption in the case of a Load offering Demand reduction) times the difference between 60 minutes and the time to synchronize in the case of Generating Unit or System Unit, or to interruption in the case of Load.

The total bid for each Generating Unit, System Unit, Load or external import of System Resource is calculated by multiplying the capacity reservation bid price by the bid capacity.

Thus, subject to any locational requirements, the ISO will select the winning Replacement Reserve bids in accordance with the following criteria:

Where

TotalBidijt = Capijt * CapResijt

Requirementt = the amount of Replacement Reserve capacity

Price Determination.  The price payable to Scheduling Coordinators for Replacement Reserve Capacity made available in accordance with the ISO’s Final Day-Ahead Schedules

shall, for each Generating Unit, System Unit, Load or external import of a System Resource, be the zonal market clearing price for Replacement Reserve calculated as follows:

PRepResxt = MCPxt

Where the zonal market clearing price (MCPxt) for Replacement Reserve is the highest priced winning Replacement Reserve bid in Zone X based on the capacity reservation bid price, i.e.:

MCPxt = Max(CapResijt) in zone x for Settlement Period t.

The price payable to Scheduling Coordinators for Replacement Reserve Capacity not included in the ISO's Final Day-Ahead Schedules but made available in accordance with amended Ancillary Services schedules issued in accordance with section 2.5.21 shall be the bid price of the Replacement Reserve capacity reserved (CapResijt($/MW)).

### Voltage Support.

As of the ISO Operations Date, the ISO will contract for Voltage Support service with the owners of Reliability Must-Run Units.  Payments for public utilities under the FPA shall be capped at the FERC authorized cost based rates unless and until FERC authorizes different pricing.  The ISO shall pay owners of Reliability Must-Run units for long term Voltage Support through their Scheduling Coordinators.

In addition, any Participating Generator who is producing Energy shall, upon the ISO’s specific request, provide reactive energy output outside the Participating Generator’s Voltage Support obligation defined in Section 2.5.3.4.

### Scheduling of Units to Provide Ancillary Services.

The ISO shall prepare supplier schedules for Ancillary Services (both self provided and purchased by the ISO) for the Day-Ahead and the Hour-Ahead Markets.  The ISO shall notify each Scheduling Coordinator no later than 1:00 p.m. of the day prior to the Trading Day of their Ancillary Services schedules for the Day-Ahead and no later than one hour prior to the operating hour of their Ancillary Services schedules for the Hour-Ahead.  The ISO Protocols set forth the information, which will be included in these schedules.  Where long-term contracts are involved, the information may be treated as standing information for the duration of the contract.

If, at any time after the issuance of Final Day-Ahead Schedules for the Trading Day and before the close of the Hour-Ahead Market for the first Settlement Period of the Trading Day, the ISO determines that it requires Ancillary Services in addition to those included in the Final Day-Ahead Schedule (in the appropriate zone if procuring zonally), the ISO may procure such additional Ancillary Services by providing Scheduling Coordinators with amended supplier schedules for the Day-Ahead Markets that include Ancillary Services for which previously submitted (but not selected) bids remain available and have not previously been withdrawn.  The ISO shall select such Ancillary Services in price merit order (and in the relevant zone if the ISO is procuring Ancillary Services on a zonal basis).  Such amended supplier schedules shall be provided to the Scheduling Coordinators no later than the close of the Hour-Ahead Market for the first Settlement Period of the Trading Day.

Once the ISO has given Scheduling Coordinators notice of the Day-Ahead and Hour-Ahead schedules, these schedules represent binding commitments made in the

markets between the ISO and the Scheduling Coordinators concerned, subject to any amendments issued as described above.  Any minimum energy input and output associated with Regulation and Spinning Reserve services shall be the responsibility of the Scheduling Coordinator, as the ISO's auction does not compensate the Scheduling Coordinator for the minimum energy output of Generating Units bidding to provide these services.  Accordingly the Scheduling Coordinators shall adjust their schedules to accommodate the minimum outputs required by the Generating Units included on the Schedules.

Notwithstanding the foregoing, a Scheduling Coordinator who has sold or self-provided Regulation, Spinning Reserve, Non-Spinning Reserve or Replacement Reserve capacity to the ISO in the Day-Ahead Market shall be required to replace that capacity in whole or in part from the ISO if the scheduled self-provision is decreased between the Day-Ahead and Hour-Ahead Markets, or if the Ancillary Service associated with a

it will then be included in the decremental part of the database with a decremental bid equal to its incremental price bid.  In the event that the ISO subsequently needs to decrement output, it will initially decrement the Generating Units, Loads, System Units or System Resources incremented previously, and then continue down the merit order of the decremental bids.

#### 2.5.22.7	Inter-Zonal Congestion.  In the event of Inter-Zonal Congestion in real time, the ISO shall procure Imbalance Energy separately for each Zone, as described in Section 2.5.22.6.

#### 2.5.22.8	Intra-Zonal Congestion.  Except as provided in Section 5.2, in the event of Intra-Zonal Congestion in real time, the ISO shall adjust Generating Units and Loads within the Zone to alleviate the constraint, based on the Adjustment Bids available within the Zone; if there are insufficient Adjustment Bids to relieve Intra-Zonal Congestion, the ISO will use incremental and decremental bids from other resources available in the Zone. In the event no incremental or decremental bids are available, the ISO will exercise its authority to direct the redispatch of resources within the Zone.

#### 2.5.22.9	Replacement of Operating Reserve.  If pre-arranged Operating Reserve is used to meet Imbalance Energy requirements, such Operating Reserve may be replaced by the ISO’s dispatch of additional Imbalance Energy through available Supplemental Energy Bids.

Any additional Operating Reserve needs may also be met in the same way.  Where the ISO elects to rely upon Supplemental Energy Bids, the ISO shall select the resources with the lowest incremental Energy price bids.  Operating Reserve procured from Replacement Reserve shall not require replacement of utilized Replacement Reserve.