## User guide
Description
The data contains import limits and resulting WEIM transfers that incurred following an upward flexible ramping sufficiency test or bid range capacity test failure during January 2022.
Notes
•Data only contains upward results from final test at T-40 (RTBS_3).
•Intervals with known invalid test failures were removed from the data. These can occur because of a market disruption, software defect, or other error.
•Intervals with missing data were removed.
•In some cases the import limit after failing the test (from the greater of the base transfer or last 15-minute interval transfer) is at or beyond the normal limit from the sum of individual WEIM transfer system resources. In these cases the import limit imposed after failing the test is not relevant, so these intervals were removed.
Variables
| Market: | 15-mintue market (FMM) or 5-minute market (RTD).
| Date: | Market/test date.
| Hour: | Market/test hour.
| Market interval: | Market interval.
| Test interval | Test interval.
| BAA: | Balancing authority area.
| Direction | Direction (only upward included).
| Sufficiency test status: | Sufficiency test status, pass or fail.
| Capacity test status: | Capacity test status, pass or fail.
| RSE imposed import limit: | Import limit imposed after failing either the flex ramp sufficiency or capacity tests, set by the greater of the base WEIM transfer or last 15-minute market transfer. (positive is on import side, negative is on export side).
| Market net EIM import: | 15-minute or 5-minute market net WEIM import (positive is a net import, negative is a net export).
| Base net import: | Base (bilateral) net import (positive is a net import, negative is a net export).
| RSE imposed import limit (no base): | Incremental import limit, RSE imposed import limit above base schedules (greater of zero or the last 15-minute market transfer minus base).
| Market net EIM import (no base): | Incremental 15-minute or 5-minute market net WEIM import above base schedules (positive is a net import, negative is a net export).
| DISCLAIMER: | With the California ISO's approval, DMM is releasing this data in response to market participant requests submitted in the California ISO's Western Energy Imbalance Market Resource Sufficiency Evaluation Enhancements stakeholder initiative. The California ISO does not warrant the accuracy or completeness of this data. This data cannot be republished without obtaining prior written consent of the California ISO. CAISO - Public

## January 2022
Market | Date | Hour | Market interval | Test interval | BAA | Direction | Sufficiency test status | Capacity test status | RSE imposed import limit | Market net WEIM import | Base (bilateral) net import | RSE imposed import limit (no base) | Market net WEIM import (no base)
FMM | 2022-01-14 | 10 | 1 | 1 | AZPS | UP | FAIL | PASS | -1261.6667 | -1261.6643 | -1261.6667 | 0 | 0.0023989
FMM | 2022-01-02 | 17 | 2 | 2 | BCHA | UP | FAIL | FAIL | -250 | -300 | -250 | 0 | -50
FMM | 2022-01-02 | 17 | 3 | 3 | BCHA | UP | FAIL | FAIL | -250 | -249.9976 | -250 | 0 | 0.0023655
FMM | 2022-01-02 | 17 | 4 | 4 | BCHA | UP | FAIL | FAIL | -216.6667 | -216.6646 | -216.6667 | 0 | 0.0020931
FMM | 2022-01-30 | 17 | 1 | 1 | BCHA | UP | FAIL | PASS | 152.0833 | -49.9999 | 152.0833 | 0 | -202.0832
FMM | 2022-01-30 | 17 | 2 | 2 | BCHA | UP | FAIL | FAIL | 10.75 | -50 | 10.75 | 0 | -60.75
FMM | 2022-01-30 | 17 | 3 | 3 | BCHA | UP | FAIL | FAIL | 24.1667 | 24.169 | 24.1667 | 0 | 0.0023573
FMM | 2022-01-30 | 17 | 4 | 4 | BCHA | UP | FAIL | FAIL | 24.169 | -50 | 12.1667 | 12.0024 | -62.1667
FMM | 2022-01-26 | 16 | 4 | 4 | NEVP | UP | FAIL | PASS | -22.6667 | -32.2662 | -22.6667 | 0 | -9.5995
FMM | 2022-01-01 | 16 | 2 | 2 | NWMT | UP | PASS | FAIL | 332 | 195.9797 | 332 | 0 | -136.0203
FMM | 2022-01-01 | 16 | 3 | 3 | NWMT | UP | PASS | FAIL | 332 | 237.1242 | 332 | 0 | -94.8758
FMM | 2022-01-01 | 16 | 4 | 4 | NWMT | UP | PASS | FAIL | 317.5 | 279.1901 | 317.5 | 0 | -38.3099
FMM | 2022-01-02 | 16 | 1 | 1 | NWMT | UP | PASS | FAIL | 469.2363 | 215.0109 | 272.3333 | 196.903 | -57.3224
FMM | 2022-01-02 | 16 | 2 | 2 | NWMT | UP | PASS | FAIL | 251 | 251.0006 | 251 | 0 | 0.0006456
FMM | 2022-01-02 | 16 | 3 | 3 | NWMT | UP | PASS | FAIL | 251.0006 | 251.0013 | 251 | 0.0006456 | 0.0012656
FMM | 2022-01-02 | 16 | 4 | 4 | NWMT | UP | PASS | FAIL | 264 | 260.0002 | 264 | 0 | -3.9998
FMM | 2022-01-08 | 16 | 3 | 3 | NWMT | UP | PASS | FAIL | 175.0401 | 175.0401 | 86 | 89.0401 | 89.0401
FMM | 2022-01-08 | 16 | 4 | 4 | NWMT | UP | PASS | FAIL | 175.0401 | 174.6604 | 70.3333 | 104.7067 | 104.3271
FMM | 2022-01-25 | 10 | 1 | 1 | PACE | UP | FAIL | PASS | 527.3333 | 527.3359 | 527.3333 | 0 | 0.0025736
FMM | 2022-01-01 | 4 | 1 | 1 | PACW | UP | PASS | FAIL | -616.0824 | -645.5153 | -697 | 80.9176 | 51.4847
FMM | 2022-01-01 | 4 | 2 | 2 | PACW | UP | PASS | FAIL | -645.5153 | -673.3293 | -695.5833 | 50.068 | 22.254
FMM | 2022-01-01 | 4 | 3 | 3 | PACW | UP | PASS | FAIL | -673.3293 | -673.3287 | -695.5833 | 22.254 | 22.2546
FMM | 2022-01-01 | 4 | 4 | 4 | PACW | UP | PASS | FAIL | -673.3287 | -674.9935 | -704.0833 | 30.7546 | 29.0898
FMM | 2022-01-04 | 19 | 1 | 1 | PACW | UP | PASS | FAIL | -202.6134 | -274.1354 | -353.5 | 150.8866 | 79.3646
FMM | 2022-01-04 | 19 | 2 | 2 | PACW | UP | PASS | FAIL | -274.1354 | -274.1347 | -361 | 86.8646 | 86.8653
FMM | 2022-01-19 | 20 | 2 | 2 | PACW | UP | FAIL | PASS | -1573.8909 | -1573.8885 | -1631.5 | 57.6091 | 57.6115
FMM | 2022-01-25 | 18 | 3 | 3 | PACW | UP | PASS | FAIL | -942.5384 | -1106.7533 | -1010.5833 | 68.0449 | -96.17
FMM | 2022-01-25 | 18 | 4 | 4 | PACW | UP | PASS | FAIL | -1019.75 | -1085.7751 | -1019.75 | 0 | -66.0251
FMM | 2022-01-01 | 17 | 3 | 3 | PGE | UP | FAIL | PASS | -95.9167 | -164.8396 | -95.9167 | 0 | -68.9229
FMM | 2022-01-01 | 18 | 1 | 1 | PGE | UP | FAIL | PASS | -71.9072 | -84.6983 | -139 | 67.0928 | 54.3017
FMM | 2022-01-02 | 21 | 1 | 1 | PGE | UP | FAIL | PASS | -107.5844 | -107.5842 | -164 | 56.4156 | 56.4158
FMM | 2022-01-02 | 21 | 2 | 2 | PGE | UP | FAIL | PASS | -107.5842 | -107.5841 | -153.4167 | 45.8324 | 45.8325
FMM | 2022-01-03 | 8 | 4 | 4 | PGE | UP | FAIL | PASS | -39.5 | -54.4021 | -39.5 | 0 | -14.9021
FMM | 2022-01-03 | 9 | 4 | 4 | PGE | UP | FAIL | PASS | -30.5 | -66.204 | -30.5 | 0 | -35.704
FMM | 2022-01-05 | 17 | 2 | 2 | PGE | UP | PASS | FAIL | 125.9474 | 47.6759 | -144 | 269.9474 | 191.6759
FMM | 2022-01-05 | 17 | 3 | 3 | PGE | UP | PASS | FAIL | 47.6759 | 47.6765 | -144 | 191.6759 | 191.6765
FMM | 2022-01-05 | 17 | 4 | 4 | PGE | UP | PASS | FAIL | 47.6765 | 47.6771 | -144.5 | 192.1765 | 192.1771
FMM | 2022-01-06 | 17 | 3 | 3 | PGE | UP | FAIL | PASS | -208 | -227.3034 | -208 | 0 | -19.3034
FMM | 2022-01-25 | 18 | 3 | 3 | PGE | UP | FAIL | PASS | -154.75 | -296.5188 | -154.75 | 0 | -141.7688
FMM | 2022-01-25 | 19 | 1 | 1 | PGE | UP | FAIL | PASS | -224.9089 | -307.6697 | -282.9167 | 58.0078 | -24.753
FMM | 2022-01-28 | 6 | 3 | 3 | PGE | UP | FAIL | PASS | -44.9167 | -89.2076 | -44.9167 | 0 | -44.2909
FMM | 2022-01-27 | 7 | 1 | 1 | SRP | UP | FAIL | PASS | 704.6979 | 485.6242 | 343.6667 | 361.0313 | 141.9575
FMM | 2022-01-27 | 7 | 2 | 2 | SRP | UP | FAIL | PASS | 485.6242 | 485.6248 | 344 | 141.6242 | 141.6248
FMM | 2022-01-27 | 7 | 3 | 3 | SRP | UP | FAIL | PASS | 485.6248 | 366.5022 | 344 | 141.6248 | 22.5022
FMM | 2022-01-27 | 7 | 4 | 4 | SRP | UP | FAIL | PASS | 413.3333 | 408.5834 | 413.3333 | 0 | -4.75
FMM | 2022-01-27 | 8 | 1 | 1 | SRP | UP | FAIL | PASS | 692.6667 | 692.6673 | 692.6667 | 0 | 0.00059196
RTD | 2022-01-14 | 10 | 1 | 1 | AZPS | UP | FAIL | PASS | -1294.25 | -1294.2492 | -1294.25 | 0 | 0.00079979
RTD | 2022-01-14 | 10 | 2 | 1 | AZPS | UP | FAIL | PASS | -1285.75 | -1285.7492 | -1285.75 | 0 | 0.00080303
RTD | 2022-01-14 | 10 | 3 | 1 | AZPS | UP | FAIL | PASS | -1282 | -1281.9992 | -1282 | 0 | 0.00080191
RTD | 2022-01-02 | 17 | 4 | 2 | BCHA | UP | FAIL | FAIL | -250 | -300 | -250 | 0 | -50
RTD | 2022-01-02 | 17 | 5 | 2 | BCHA | UP | FAIL | FAIL | -250 | -300 | -250 | 0 | -50
RTD | 2022-01-02 | 17 | 6 | 2 | BCHA | UP | FAIL | FAIL | -250 | -282.3795 | -250 | 0 | -32.3795
RTD | 2022-01-02 | 17 | 7 | 3 | BCHA | UP | FAIL | FAIL | -250 | -250.0013 | -250 | 0 | -0.0012562
RTD | 2022-01-02 | 17 | 8 | 3 | BCHA | UP | FAIL | FAIL | -250 | -250.0013 | -250 | 0 | -0.0012642
RTD | 2022-01-02 | 17 | 9 | 3 | BCHA | UP | FAIL | FAIL | -250 | -249.9992 | -250 | 0 | 0.00077477
RTD | 2022-01-02 | 17 | 10 | 4 | BCHA | UP | FAIL | FAIL | -249.9976 | -249.9969 | -250 | 0.0023655 | 0.0031362
RTD | 2022-01-02 | 17 | 11 | 4 | BCHA | UP | FAIL | FAIL | -225 | -224.9992 | -225 | 0 | 0.00076811
RTD | 2022-01-02 | 17 | 12 | 4 | BCHA | UP | FAIL | FAIL | -175 | -174.9992 | -175 | 0 | 0.00077116
RTD | 2022-01-30 | 17 | 2 | 1 | BCHA | UP | FAIL | PASS | 0 | 0 | 0 | 0 | 0
RTD | 2022-01-30 | 17 | 3 | 1 | BCHA | UP | FAIL | PASS | 0 | 5.916e-06 | 0 | 0 | 5.916e-06
RTD | 2022-01-30 | 17 | 4 | 2 | BCHA | UP | FAIL | FAIL | 0 | -33.3526 | 0 | 0 | -33.3526
RTD | 2022-01-30 | 17 | 5 | 2 | BCHA | UP | FAIL | FAIL | 0 | -50 | 0 | 0 | -50
RTD | 2022-01-30 | 17 | 6 | 2 | BCHA | UP | FAIL | FAIL | 0 | 0.00079671 | 0 | 0 | 0.00079671
RTD | 2022-01-30 | 17 | 7 | 3 | BCHA | UP | FAIL | FAIL | 0 | -22.8005 | 0 | 0 | -22.8005
RTD | 2022-01-30 | 17 | 8 | 3 | BCHA | UP | FAIL | FAIL | 0 | -0.0012453 | 0 | 0 | -0.0012453
RTD | 2022-01-30 | 17 | 9 | 3 | BCHA | UP | FAIL | FAIL | 0 | -8.4498 | 0 | 0 | -8.4498
RTD | 2022-01-30 | 17 | 10 | 4 | BCHA | UP | FAIL | FAIL | 24.169 | -0.71715 | 0 | 24.169 | -0.71715
RTD | 2022-01-30 | 17 | 11 | 4 | BCHA | UP | FAIL | FAIL | 24.169 | -0.68222 | 0 | 24.169 | -0.68222
RTD | 2022-01-30 | 17 | 12 | 4 | BCHA | UP | FAIL | FAIL | 24.169 | -21.4897 | 0 | 24.169 | -21.4897
RTD | 2022-01-26 | 16 | 10 | 4 | NEVP | UP | FAIL | PASS | -46 | -254.8484 | -46 | 0 | -208.8484
RTD | 2022-01-26 | 16 | 11 | 4 | NEVP | UP | FAIL | PASS | -28.5 | -109.4918 | -28.5 | 0 | -80.9918
RTD | 2022-01-26 | 16 | 12 | 4 | NEVP | UP | FAIL | PASS | 6.5 | -68.4329 | 6.5 | 0 | -74.9329
RTD | 2022-01-01 | 16 | 4 | 2 | NWMT | UP | PASS | FAIL | 332 | 332 | 332 | 0 | 1.7955e-05
RTD | 2022-01-01 | 16 | 5 | 2 | NWMT | UP | PASS | FAIL | 332 | 332 | 332 | 0 | 2.7429e-05
RTD | 2022-01-01 | 16 | 6 | 2 | NWMT | UP | PASS | FAIL | 332 | 332 | 332 | 0 | 1.0567e-05
RTD | 2022-01-01 | 16 | 7 | 3 | NWMT | UP | PASS | FAIL | 332 | 332 | 332 | 0 | 1.0637e-05
RTD | 2022-01-01 | 16 | 8 | 3 | NWMT | UP | PASS | FAIL | 332 | 317.2697 | 332 | 0 | -14.7303
RTD | 2022-01-01 | 16 | 9 | 3 | NWMT | UP | PASS | FAIL | 332 | 317.851 | 332 | 0 | -14.149
RTD | 2022-01-01 | 16 | 10 | 4 | NWMT | UP | PASS | FAIL | 394 | 281.2449 | 394 | 0 | -112.7551
RTD | 2022-01-01 | 16 | 11 | 4 | NWMT | UP | PASS | FAIL | 384.125 | 255.0195 | 384.125 | 0 | -129.1055
RTD | 2022-01-01 | 16 | 12 | 4 | NWMT | UP | PASS | FAIL | 344.375 | 200.379 | 344.375 | 0 | -143.996
RTD | 2022-01-02 | 16 | 1 | 1 | NWMT | UP | PASS | FAIL | 469.2363 | 362.7261 | 299 | 170.2363 | 63.7261
RTD | 2022-01-02 | 16 | 2 | 1 | NWMT | UP | PASS | FAIL | 469.2363 | 296.8987 | 267 | 202.2363 | 29.8987
RTD | 2022-01-02 | 16 | 3 | 1 | NWMT | UP | PASS | FAIL | 469.2363 | 266.1388 | 251 | 218.2363 | 15.1388
RTD | 2022-01-02 | 16 | 4 | 2 | NWMT | UP | PASS | FAIL | 251 | 251 | 251 | 0 | 1.3529e-05
RTD | 2022-01-02 | 16 | 5 | 2 | NWMT | UP | PASS | FAIL | 251 | 251 | 251 | 0 | 5.611e-06
RTD | 2022-01-02 | 16 | 6 | 2 | NWMT | UP | PASS | FAIL | 251 | 248.6048 | 251 | 0 | -2.3952
RTD | 2022-01-02 | 16 | 7 | 3 | NWMT | UP | PASS | FAIL | 251.0006 | 236.3324 | 251 | 0.0006456 | -14.6676
RTD | 2022-01-02 | 16 | 8 | 3 | NWMT | UP | PASS | FAIL | 251.0006 | 216.8601 | 251 | 0.0006456 | -34.1399
RTD | 2022-01-02 | 16 | 9 | 3 | NWMT | UP | PASS | FAIL | 276 | 251.1652 | 276 | 0 | -24.8348
RTD | 2022-01-02 | 16 | 10 | 4 | NWMT | UP | PASS | FAIL | 276 | 242.0577 | 276 | 0 | -33.9423
RTD | 2022-01-02 | 16 | 11 | 4 | NWMT | UP | PASS | FAIL | 282.625 | 264.7634 | 282.625 | 0 | -17.8616
RTD | 2022-01-02 | 16 | 12 | 4 | NWMT | UP | PASS | FAIL | 295.875 | 279.1612 | 295.875 | 0 | -16.7138
RTD | 2022-01-08 | 16 | 7 | 3 | NWMT | UP | PASS | FAIL | 175.0401 | 175.0401 | 86 | 89.0401 | 89.0401
RTD | 2022-01-08 | 16 | 8 | 3 | NWMT | UP | PASS | FAIL | 175.0401 | 175.0401 | 86 | 89.0401 | 89.0401
RTD | 2022-01-08 | 16 | 9 | 3 | NWMT | UP | PASS | FAIL | 175.0401 | 175.0401 | 86 | 89.0401 | 89.0401
RTD | 2022-01-08 | 16 | 10 | 4 | NWMT | UP | PASS | FAIL | 175.0401 | 146.2805 | 86 | 89.0401 | 60.2805
RTD | 2022-01-08 | 16 | 11 | 4 | NWMT | UP | PASS | FAIL | 175.0401 | 130.7533 | 83 | 92.0401 | 47.7533
RTD | 2022-01-08 | 16 | 12 | 4 | NWMT | UP | PASS | FAIL | 175.0401 | 93.2511 | 77 | 98.0401 | 16.2511
RTD | 2022-01-25 | 10 | 1 | 1 | PACE | UP | FAIL | PASS | 475 | 475.0008 | 475 | 0 | 0.00080453
RTD | 2022-01-25 | 10 | 2 | 1 | PACE | UP | FAIL | PASS | 542 | 542.0008 | 542 | 0 | 0.00080275
RTD | 2022-01-25 | 10 | 3 | 1 | PACE | UP | FAIL | PASS | 575 | 575.0008 | 575 | 0 | 0.00080324
RTD | 2022-01-01 | 4 | 1 | 1 | PACW | UP | PASS | FAIL | -616.0824 | -616.0824 | -763.875 | 147.7926 | 147.7926
RTD | 2022-01-01 | 4 | 2 | 1 | PACW | UP | PASS | FAIL | -616.0824 | -616.0824 | -766.625 | 150.5426 | 150.5426
RTD | 2022-01-01 | 4 | 3 | 1 | PACW | UP | PASS | FAIL | -616.0824 | -616.0824 | -768 | 151.9176 | 151.9176
RTD | 2022-01-01 | 4 | 4 | 2 | PACW | UP | PASS | FAIL | -645.5153 | -645.5153 | -768 | 122.4847 | 122.4847
RTD | 2022-01-01 | 4 | 5 | 2 | PACW | UP | PASS | FAIL | -645.5153 | -645.5153 | -768 | 122.4847 | 122.4847
RTD | 2022-01-01 | 4 | 6 | 2 | PACW | UP | PASS | FAIL | -645.5153 | -645.5153 | -768 | 122.4847 | 122.4847
RTD | 2022-01-01 | 4 | 7 | 3 | PACW | UP | PASS | FAIL | -673.3293 | -673.3293 | -768 | 94.6707 | 94.6707
RTD | 2022-01-01 | 4 | 8 | 3 | PACW | UP | PASS | FAIL | -673.3293 | -673.3293 | -768 | 94.6707 | 94.6707
RTD | 2022-01-01 | 4 | 9 | 3 | PACW | UP | PASS | FAIL | -673.3293 | -673.3293 | -768 | 94.6707 | 94.6707
RTD | 2022-01-01 | 4 | 10 | 4 | PACW | UP | PASS | FAIL | -673.3287 | -673.3287 | -768 | 94.6713 | 94.6713
RTD | 2022-01-01 | 4 | 11 | 4 | PACW | UP | PASS | FAIL | -673.3287 | -673.3287 | -764.75 | 91.4213 | 91.4213
RTD | 2022-01-01 | 4 | 12 | 4 | PACW | UP | PASS | FAIL | -673.3287 | -673.3287 | -758.25 | 84.9213 | 84.9213
RTD | 2022-01-04 | 19 | 1 | 1 | PACW | UP | PASS | FAIL | -180.25 | -216.0825 | -180.25 | 0 | -35.8325
RTD | 2022-01-04 | 19 | 2 | 1 | PACW | UP | PASS | FAIL | -192.75 | -278.9922 | -192.75 | 0 | -86.2422
RTD | 2022-01-04 | 19 | 3 | 1 | PACW | UP | PASS | FAIL | -199 | -287.636 | -199 | 0 | -88.636
RTD | 2022-01-04 | 19 | 4 | 2 | PACW | UP | PASS | FAIL | -199 | -298.4934 | -199 | 0 | -99.4934
RTD | 2022-01-04 | 19 | 5 | 2 | PACW | UP | PASS | FAIL | -199 | -245.373 | -199 | 0 | -46.373
RTD | 2022-01-04 | 19 | 6 | 2 | PACW | UP | PASS | FAIL | -199 | -254.089 | -199 | 0 | -55.089
RTD | 2022-01-19 | 20 | 4 | 2 | PACW | UP | FAIL | PASS | -1517 | -1531.5166 | -1517 | 0 | -14.5166
RTD | 2022-01-19 | 20 | 5 | 2 | PACW | UP | FAIL | PASS | -1517 | -1543.8406 | -1517 | 0 | -26.8406
RTD | 2022-01-19 | 20 | 6 | 2 | PACW | UP | FAIL | PASS | -1517 | -1529.71 | -1517 | 0 | -12.71
RTD | 2022-01-25 | 18 | 7 | 3 | PACW | UP | PASS | FAIL | -942.5384 | -966.7629 | -1083 | 140.4616 | 116.2371
RTD | 2022-01-25 | 18 | 8 | 3 | PACW | UP | PASS | FAIL | -942.5384 | -955.1819 | -1083 | 140.4616 | 127.8181
RTD | 2022-01-25 | 18 | 9 | 3 | PACW | UP | PASS | FAIL | -942.5384 | -949.482 | -1083 | 140.4616 | 133.518
RTD | 2022-01-25 | 18 | 10 | 4 | PACW | UP | PASS | FAIL | -1083 | -1103.9729 | -1083 | 0 | -20.9729
RTD | 2022-01-25 | 18 | 11 | 4 | PACW | UP | PASS | FAIL | -1049.75 | -1049.75 | -1049.75 | 0 | 2.1202e-05
RTD | 2022-01-25 | 18 | 12 | 4 | PACW | UP | PASS | FAIL | -983.25 | -983.25 | -983.25 | 0 | 1.7012e-05
RTD | 2022-01-01 | 17 | 7 | 3 | PGE | UP | FAIL | PASS | -94 | -125.999 | -94 | 0 | -31.999
RTD | 2022-01-01 | 17 | 8 | 3 | PGE | UP | FAIL | PASS | -94 | -109.6649 | -94 | 0 | -15.6649
RTD | 2022-01-01 | 17 | 9 | 3 | PGE | UP | FAIL | PASS | -94 | -125.9989 | -94 | 0 | -31.9989
RTD | 2022-01-01 | 18 | 1 | 1 | PGE | UP | FAIL | PASS | -71.9072 | -82.3408 | -96.5 | 24.5928 | 14.1592
RTD | 2022-01-01 | 18 | 2 | 1 | PGE | UP | FAIL | PASS | -71.9072 | -71.9071 | -97.5 | 25.5928 | 25.5929
RTD | 2022-01-01 | 18 | 3 | 1 | PGE | UP | FAIL | PASS | -71.9072 | -71.9071 | -98 | 26.0928 | 26.0929
RTD | 2022-01-02 | 21 | 1 | 1 | PGE | UP | FAIL | PASS | -95.75 | -114.6582 | -95.75 | 0 | -18.9082
RTD | 2022-01-02 | 21 | 2 | 1 | PGE | UP | FAIL | PASS | -95.25 | -110.2089 | -95.25 | 0 | -14.9589
RTD | 2022-01-02 | 21 | 3 | 1 | PGE | UP | FAIL | PASS | -95 | -103.2333 | -95 | 0 | -8.2333
RTD | 2022-01-02 | 21 | 4 | 2 | PGE | UP | FAIL | PASS | -95 | -105.2786 | -95 | 0 | -10.2786
RTD | 2022-01-02 | 21 | 5 | 2 | PGE | UP | FAIL | PASS | -95 | -112.7547 | -95 | 0 | -17.7547
RTD | 2022-01-02 | 21 | 6 | 2 | PGE | UP | FAIL | PASS | -95 | -114.0806 | -95 | 0 | -19.0806
RTD | 2022-01-03 | 8 | 10 | 4 | PGE | UP | FAIL | PASS | -30 | -72.0655 | -30 | 0 | -42.0655
RTD | 2022-01-03 | 8 | 11 | 4 | PGE | UP | FAIL | PASS | -29.625 | -29.625 | -29.625 | 0 | 3.0071e-07
RTD | 2022-01-03 | 8 | 12 | 4 | PGE | UP | FAIL | PASS | -28.875 | -40.4501 | -28.875 | 0 | -11.5751
RTD | 2022-01-03 | 9 | 10 | 4 | PGE | UP | FAIL | PASS | -27 | -30.3145 | -27 | 0 | -3.3145
RTD | 2022-01-03 | 9 | 11 | 4 | PGE | UP | FAIL | PASS | -26.5 | -26.5 | -26.5 | 0 | 6.8073e-06
RTD | 2022-01-03 | 9 | 12 | 4 | PGE | UP | FAIL | PASS | -25.5 | -25.5 | -25.5 | 0 | 6.3271e-06
RTD | 2022-01-05 | 17 | 4 | 2 | PGE | UP | PASS | FAIL | 125.9474 | 14.2876 | -144 | 269.9474 | 158.2876
RTD | 2022-01-05 | 17 | 5 | 2 | PGE | UP | PASS | FAIL | 125.9474 | 28.7114 | -144 | 269.9474 | 172.7114
RTD | 2022-01-05 | 17 | 6 | 2 | PGE | UP | PASS | FAIL | 125.9474 | 24.1676 | -144 | 269.9474 | 168.1676
RTD | 2022-01-05 | 17 | 7 | 3 | PGE | UP | PASS | FAIL | 47.6759 | 44.7834 | -144 | 191.6759 | 188.7834
RTD | 2022-01-05 | 17 | 8 | 3 | PGE | UP | PASS | FAIL | 47.6759 | 47.6759 | -144 | 191.6759 | 191.6759
RTD | 2022-01-05 | 17 | 9 | 3 | PGE | UP | PASS | FAIL | 47.6759 | 34.6708 | -144 | 191.6759 | 178.6708
RTD | 2022-01-05 | 17 | 10 | 4 | PGE | UP | PASS | FAIL | 47.6765 | 47.6765 | -144 | 191.6765 | 191.6765
RTD | 2022-01-05 | 17 | 11 | 4 | PGE | UP | PASS | FAIL | 47.6765 | 47.6765 | -144.375 | 192.0515 | 192.0515
RTD | 2022-01-05 | 17 | 12 | 4 | PGE | UP | PASS | FAIL | 47.6765 | 29.3396 | -145.125 | 192.8015 | 174.4646
RTD | 2022-01-06 | 17 | 7 | 3 | PGE | UP | FAIL | PASS | -208 | -207.9999 | -208 | 0 | 8.2467e-05
RTD | 2022-01-06 | 17 | 8 | 3 | PGE | UP | FAIL | PASS | -208 | -207.9999 | -208 | 0 | 8.1534e-05
RTD | 2022-01-06 | 17 | 9 | 3 | PGE | UP | FAIL | PASS | -208 | -207.9999 | -208 | 0 | 7.874e-05
RTD | 2022-01-25 | 18 | 7 | 3 | PGE | UP | FAIL | PASS | -152 | -247.6376 | -152 | 0 | -95.6376
RTD | 2022-01-25 | 18 | 8 | 3 | PGE | UP | FAIL | PASS | -152 | -285.2843 | -152 | 0 | -133.2843
RTD | 2022-01-25 | 18 | 9 | 3 | PGE | UP | FAIL | PASS | -152 | -278.4871 | -152 | 0 | -126.4871
RTD | 2022-01-25 | 19 | 1 | 1 | PGE | UP | FAIL | PASS | -152.625 | -321.0276 | -152.625 | 0 | -168.4026
RTD | 2022-01-25 | 19 | 2 | 1 | PGE | UP | FAIL | PASS | -152.875 | -286.1912 | -152.875 | 0 | -133.3162
RTD | 2022-01-25 | 19 | 3 | 1 | PGE | UP | FAIL | PASS | -153 | -314.0538 | -153 | 0 | -161.0538
RTD | 2022-01-28 | 6 | 7 | 3 | PGE | UP | FAIL | PASS | -32 | -74.8775 | -32 | 0 | -42.8775
RTD | 2022-01-28 | 6 | 8 | 3 | PGE | UP | FAIL | PASS | -32 | -46.1263 | -32 | 0 | -14.1263
RTD | 2022-01-28 | 6 | 9 | 3 | PGE | UP | FAIL | PASS | -32 | -32 | -32 | 0 | 4.131e-05
RTD | 2022-01-27 | 7 | 1 | 1 | SRP | UP | FAIL | PASS | 704.6979 | 520.8596 | 437 | 267.6979 | 83.8596
RTD | 2022-01-27 | 7 | 2 | 1 | SRP | UP | FAIL | PASS | 704.6979 | 490.4134 | 374 | 330.6979 | 116.4134
RTD | 2022-01-27 | 7 | 3 | 1 | SRP | UP | FAIL | PASS | 704.6979 | 474.8194 | 344 | 360.6979 | 130.8194
RTD | 2022-01-27 | 7 | 4 | 2 | SRP | UP | FAIL | PASS | 485.6242 | 392.853 | 344 | 141.6242 | 48.853
RTD | 2022-01-27 | 7 | 5 | 2 | SRP | UP | FAIL | PASS | 485.6242 | 373.2427 | 344 | 141.6242 | 29.2427
RTD | 2022-01-27 | 7 | 6 | 2 | SRP | UP | FAIL | PASS | 485.6242 | 328.277 | 344 | 141.6242 | -15.723
RTD | 2022-01-27 | 7 | 7 | 3 | SRP | UP | FAIL | PASS | 485.6248 | 342.9871 | 344 | 141.6248 | -1.0129
RTD | 2022-01-27 | 7 | 8 | 3 | SRP | UP | FAIL | PASS | 485.6248 | 355.7197 | 344 | 141.6248 | 11.7197
RTD | 2022-01-27 | 7 | 9 | 3 | SRP | UP | FAIL | PASS | 485.6248 | 341.5053 | 344 | 141.6248 | -2.4947
RTD | 2022-01-27 | 7 | 10 | 4 | SRP | UP | FAIL | PASS | 366.5022 | 320.3832 | 344 | 22.5022 | -23.6168
RTD | 2022-01-27 | 7 | 11 | 4 | SRP | UP | FAIL | PASS | 396 | 359.578 | 396 | 0 | -36.422
RTD | 2022-01-27 | 7 | 12 | 4 | SRP | UP | FAIL | PASS | 500 | 478.0312 | 500 | 0 | -21.9688
RTD | 2022-01-27 | 8 | 1 | 1 | SRP | UP | FAIL | PASS | 606 | 582.9165 | 606 | 0 | -23.0835
RTD | 2022-01-27 | 8 | 2 | 1 | SRP | UP | FAIL | PASS | 710 | 709.985 | 710 | 0 | -0.015045
RTD | 2022-01-27 | 8 | 3 | 1 | SRP | UP | FAIL | PASS | 762 | 762.0008 | 762 | 0 | 0.00078947