## Wind Profiles
WIND
Location | Profiles for 20%, 33% Base, Environ. & High Load Cases |  |  | 20% | 33% Base | 33% Environ. | 33% High | Incremental Profiles for 33% Cost Constr. Case |  |  | Incremental Profiles for 33% Time Constr. Case |  |  | Notes for wind combinations | Profile Name | Geographical Location |  | NREL Number | Original NREL Cap. Factor | Scaled Cap. Factor (matching E3 CF)
| Existing | New | MW |  |  |  |  | Existing | New | MW | Existing | New | MW |  |  | Latitude | Longitude
Alberta |  | 1 | 436 |  | x |  | x |  |  |  |  | x |  |  | Alberta_W1 | 48.94 | -113.44 | 30509 | 31.2% | 31.2%
|  | 1 | 450 | x | x | x | x |  | x |  |  | x |  |  | Alberta_W2 | 48.74 | -112.61 | 31794 | 31.3% | 31.2%
Arizona |  | 1 | 581 | [5 empty] | x |  |  | x |  |  | Arizona_W1 | 35.14 | -113.92 | 3868 | 27.8% | 28.1%
|  | 1 | 518 | [8 empty] | x |  |  | Arizona_W2 | 35.39 | -113.52 | 4820 | 28% | 28.1%
Carrizo South
Colorado |  | 1 | 420 |  | x | x | x |  | x |  |  | x |  |  | Colorado_W1 | 38.01 | -108.89 | 9562 | 32% | 31.76%
|  | 1 | 180.5 | [5 empty] | x | [5 empty] | Colorado_W2 | 38.11 | -106.44 | 9681 | 32.1% | 32.3%
|  | 1 | 696 | [8 empty] | x |  |  | Colorado_W3 | 38.49 | -105.87 | 10179 | 32.5% | 32.3%
|  | 1 | 255 | [8 empty] | x |  |  | Colorado_W4 | 37.63 | -106.44 | 8991 | 28.4% | 28.1%
Fairmont |  |  | 0 | [10 empty] | 35 MW high load profile added to 560 MW Imperial
Imperial |  | 1 | 595 |  |  |  | x | [7 empty] | Imperial_W1 | 32.74 | -116.09 | 710 | 30.9% | 32.2%
|  | 1 | 179 |  | x | [9 empty] | Imperial_W2 | 32.74 | -116.06 | 712 | 30.1% | 32.2%
Kramer
Montana | 1 |  | 300 | x | x | x | x |  | x |  |  | x |  |  | Montana_W | 45.73 | -109.99 | 27054 | 38% | 37.8%
Mountain Pass | 1 |  | 178.1 |  | x |  | x | [7 empty] | Mountain_Pass_W | 35.58 | -115.04 | 5680 | 32.3% | 29.3%
New Mexico |  | 1 | 430 | [8 empty] | x |  |  | New_Mexico_W1 | 35.29 | -107.54 | 4396 | 32.1% | 32.3%
|  | 1 | 430 | [8 empty] | x |  |  | New_Mexico_W2 | 35.48 | -107.39 | 5225 | 32.7% | 32.3%
|  | 1 | 447 | [5 empty] | x | [5 empty] | New_Mexico_W3 | 34.38 | -107.51 | 1958 | 32.1% | 32.3%
|  | 1 | 447 | [5 empty] | x | [5 empty] | New_Mexico_W4 | 34.08 | -107.12 | 1425 | 32.5% | 32.3%
Non CREZ* |  | 1 | 611.5 | [5 empty] | x |  |  | x |  |  | Non_CREZ_W | 35.16 | -116.97 | 3915 | 34% | 34.1%
Northwest | 1 |  | 420 | x | x | x | x |  | x |  |  | x |  |  | Northwest_W1 | 42.49 | -120.46 | 21430 | 28.4% | 29.2%
|  | 1 | 750 |  | x |  | x |  | x |  |  | x |  |  | Northwest_W2 (former Oregon_W) | 43.88 | -121.17 | 24929 | 30.4% | 29.2%
|  | 1 | 539 |  | x |  | x | [7 empty] | Northwest_W3 (former Washington_W) | 46.43 | -117.46 | 28385 | 28.7% | 29.2%
|  | 1 | 204 | x | x | x | x |  | x |  |  | x |  |  | Northwest_W4 | 42.43 | -120.12 | 20921 | 29.5% | 29.2%
|  | 1 | 442 |  | x |  | x |  | x |  |  | x |  |  | Northwest_W5 | 41.01 | -120.06 | 13671 | 29.3% | 29.2%
|  | 1 | 457.5 | [5 empty] | x | [5 empty] | Northwest_W6 | 42.44 | -120.14 | 21051 | 29.3% | 29.2%
|  | 1 | 383 | [8 empty] | x |  |  | Northwest_W7 | same as Northwest_W6 scaled down |  |  |  | 29.2%
Palm Springs |  | 1 | 107 |  |  | x |  |  | x |  |  | x |  | 2 profiles needed | Palm_Springs_W1 | 33.99 | -116.56 | 1245 | 35.7% | 35.6%
|  | 1 | 77 | x | x | x | x |  | x |  |  | x |  |  | Palm_Springs_W2 | 33.98 | -116.49 | 1224 | 31.6% | 32.2%
Pisgah
Riverside East
Round Mountain |  |  | 0 | [10 empty] | 78.2 MW profile added to 42MW San Bernardino
San Bernardino - Lucerne | 1 |  | 120.2 | x | x | x | x |  | x |  |  | x |  |  | San_Bernardino-Lucerne_W1 | 34.41 | -117.06 | 2006 | 32.5% | 32.2%
|  | 1 | 219 | [5 empty] | x | [5 empty] | San_Bernardino-Lucerne_W2 | 34.41 | -117.21 | 2003 | 33% | 33%
|  | 1 | 155 | [8 empty] | x |  |  | San_Bernardino-Lucerne_W3 | 34.49 | -117.34 | 2146 | 31% | 31.1%
San Diego South | 1 |  | 379 |  | x |  | x |  |  |  |  | x |  |  | San_Diego_South_W1 | 33.11 | -116.59 | 30575 | 31.1% | 32.2%
|  | 1 | 678.4 | [5 empty] | x | [5 empty] | San_Diego_South_W2 | 33.06 | -116.56 | 30549 | 32.3% | 32.6%
Solano** |  | 1 | 657.4 |  | x |  | x | [7 empty] | Solano_W1 | actual 150 MW (1) - 2010 scaled |  |  |  | 36.9%
|  | 1 | 469 |  | x |  | x | [7 empty] | Solano_W2 | actual 160 MW - 2010 scaled |  |  |  | 32.2%
|  | 1 | 297 |  |  | x | [8 empty] | Solano_W3 | same as Solano_W2 scaled down |  |  |  | 32.2%
|  | 1 | 300 | [5 empty] | x | [5 empty] | Solano_W4 | actual 150 MW (2) - 2010 scaled |  |  |  | 37.8%
Tehachapi | 1 |  | 710 |  | x | x | x |  | x |  |  | x |  |  | Tehachapi_W1 | 35.21 | -118.11 | 4100 | 33.3% | 32.2%
| 1 |  | 750 | x | x | x | x |  | x |  |  | x |  |  | Tehachapi_W2 | 35.06 | -118.39 | 3475 | 34% | 32.2%
| 1 |  | 750 | x | x | x | x |  | x |  |  | x |  |  | Tehachapi_W3 | 35.42 | -118.11 | 4930 | 33.8% | 32.2%
| 1 |  | 764 |  | x | x | x |  | x |  |  | x |  |  | Tehachapi_W4 | 35.46 | -118.06 | 5079 | 33.9% | 32.2%
|  | 1 | 411.8 | x |  | x | [8 empty] | Tehachapi_W5 | 35.06 | -118.14 | 3489 | 32.2% | 32.2%
|  | 1 | 477.6 | [5 empty] | x |  |  | x |  |  | Tehachapi_W6 | 35.42 | -118.24 | 4924 | 31.7% | 31.8%
Utah-Southern Idaho |  | 1 | 90 | x |  | x |  |  | x |  |  |  |  | 90 MW profile needed for all cases | Utah_W1 | 38.81 | -112.79 | 31078 | 29.1% | 29%
|  | 1 | 103.5 |  | x |  | x |  |  |  |  | x |  | 13.5 MW profile needed for 3 cases (scale 90 MW up) | Utah_W2 | same as Utah_W1 scaled up |  |  |  | 29%
Wyoming | 1 |  | 96 |  | x |  | x |  | x |  |  | x |  | 96 MW profile needed for 4 cases | Wyoming_W1 | 42.41 | -107.41 | 20858 | 37.5% | 37.66%
|  | 1 | 361 | [5 empty] | x |  |  | x |  |  | Wyoming_W2 | 42.46 | -107.84 | 21220 | 35.8% | 35.4%
Total Number of Profiles | 10 | 35
Notes:
Wind profiles with over 765 MW broken into 2 profiles, smaller profiles combined when possible
* Assumes that single Non CREZ wind profile combines all Non CREZ sites - used location in desert area near Barstow for all non CREZ profiles
Check for Total MW |  |  |  | 3573 | 9194.2 | 5871 | 9610.2 |  | 11210.7 |  |  | 12176.8

## Large Solar Profiles
|  | SOLAR - LARGE SCALE PV | [12 empty] | SOLAR THERMAL
CREZ Number | Location | Profile Name | Plant | Size MW |  | E3 Cap. Factor | 20% | 33% Base | 33% Environ. | 33% High | 33% Cost | 33% Time | Geographical Location |  | Profile Name | Plant | Size MW |  | E3 Cap. Factor | 20% | 33% Base | 33% Environ. | 33% High | 33% Cost | 33% Time | Geographical Location
|  | Profile Name |  |  | Type | [7 empty] | Latitude | Longitude | Profile Name |  |  | Type | [7 empty] | Latitude | Longitude
1 | Alberta
2 | Arizona | Arizona_PV_1 | 2_PV_1 | 290 | Crystalline Tracking | 29% | x | x | x | x | x | x | 32.8865 | -114.9005 | Arizona_ST_1 | 2_ST_1 | 200 | Solar Thermal | 26.68% | x | x | x | x | x | x | 32.9323 | -114.9323 | Used Imperial East CREZ
|  | Arizona_PV_2 | 2_PV_2 | 50 | Crystalline Tracking | 29% | x | x | x | x | x | x | 33.6632 | -114.7218 | Arizona_ST_2 | 2_ST_2 | 200 | Solar Thermal | 26.68% | x | x | x | x | x | x | 33.7538 | -114.7515 | Used Riverside East CREZ
3 | Carrizo South | Carrizo South_PV_1 | 3_PV_1 | 150 | Thin-Film | 23.5% | x | x | x | x | x | x | 35.43 | -120.1016
|  | Carrizo South_PV_2 | 3_PV_2 | 400 | Thin-Film | 23.5% |  | x | x | x | x | x | 35.3928 | -120.068
|  | Carrizo South_PV_3 | 3_PV_3 | 350 | Crystalline Tracking | 26.65% |  | x | x | x | x | x | 35.338 | -120.0022
|  | Carrizo South_PV_4 | 3_PV_4 | 87.9 | Crystalline Tracking | 26.65% | x | [5 empty] | same as PV_3
|  | Carrizo South_PV_5 | 3_PV_5 | 238 | Thin-Film | 23.5% | x | [5 empty] | same as PV_2
4 | Colorado
5 | Fairmont | Fairmont_PV_1 | 5_PV_1 | 38.8 | Crystalline Tracking | 29% |  |  |  | x |  |  | 34.6683 | -118.3101
6 | Imperial | Imperial_PV_1 | 6_PV_1 | 174.4 | Crystalline Tracking | 29% |  |  |  | x |  |  | 33.0725 | -115.7991 | Imperial_ST_1 | 6_ST_1 | 300 | Solar Thermal | 26.68% |  | x |  | x | x |  | 33.2207 | -116.0049
|  | Imperial_PV_2 | 6_PV_2 | 55.8 | Crystalline Tracking | 29% |  | x |  |  |  |  | 32.7855 | -115.8232 | Imperial_ST_2 | 6_ST_2 | 92.7 | Solar Thermal | 26.68% |  |  | x |  |  |  | same as ST_1
|  | Imperial_PV_3 | 6_PV_3 | 49.4 | Crystalline Tracking | 29% |  |  |  |  | x |  | same as PV_2
|  | Imperial_PV_4 | 6_PV_4 | 15.3 | Crystalline Tracking | 29% |  |  | x |  |  |  | same as PV_2
7 | Kramer | [13 empty] | Kramer_ST_1 | 7_ST_1 | 62 | Solar Thermal | 26.68% | x | x | x | x | x | x | 35.1084 | -117.7163
8 | Montana
9 | Mountain Pass | Mountain Pass_PV_1 | 9_PV_1 | 300 | Crystalline Tracking | 29% |  | x |  | x |  |  | 35.4651 | -115.5396 | Mountain Pass_ST_1 | 9_ST_1 | 110 | Solar Thermal | 26.68% |  | x |  | x |  |  | 35.5867 | -115.446
[15 empty] | Mountain Pass_ST_2 | 9_ST_2 | 300 | Solar Thermal | 26.68% |  | x |  | x |  |  | 35.4923 | -115.3113
10 | New Mexico
11 | Non CREZ* | Non CREZ_PV_1 | 11_PV_1 | 50 | Crystalline Tracking | 26.65% | x | x | x | x | x | x | 35.8036 | -120.0631 | Non CREZ_ST_1 | 11_ST_1 | 150 | Solar Thermal with storage | 36% | x | x | x | x | x | x | 34.0444 | -114.82 | Rice Solar Energy Project (Central Receiver)
|  | Non CREZ_PV_2 | 11_PV_2 | 232 | Crystalline Tracking | 26.65% |  | x |  | x |  |  | 35.6493 | -119.8162 | Non CREZ_ST_2 | 11_ST_2 | 370 | Solar Thermal | 26.68% |  | x |  | x |  |  | 35.0333 | -117.2708
12 | Northwest
13 | Palm Springs
14 | Pisgah | Pisgah_PV_1 | 14_PV_1 | 75 | Crystalline Tracking | 29.75% |  | x |  | x |  |  | 34.8574 | -116.8675 | Pisgah_ST_1 | 14_ST_1 | 250 | Solar Thermal | 26.68% |  | x |  | x |  |  | 34.8126 | -116.4471
[15 empty] | Pisgah_ST_2 | 14_ST_2 | 250 | Solar Thermal | 26.68% |  | x |  | x |  |  | 34.8416 | -116.5529
[15 empty] | Pisgah_ST_3 | 14_ST_3 | 275 | Solar Thermal | 26.68% | x |  | x |  | x | x | same as 1
[15 empty] | Pisgah_ST_4 | 14_ST_4 | 400 | Solar Thermal | 26.68% |  | x |  | x |  |  | 34.8248 | -116.5621
[15 empty] | Pisgah_ST_5 | 14_ST_5 | 400 | Solar Thermal | 26.68% |  | x |  | x |  |  | 34.7944 | -116.3916
[15 empty] | Pisgah_ST_6 | 14_ST_6 | 400 | Solar Thermal | 26.68% |  | x |  | x |  |  | 34.7682 | -116.4275
15 | Riverside East | Riverside East_PV_1 | 15_PV_1 | 300 | Thin-Film | 26.63% | x | x | x | x | x | x | 33.8141 | -115.4047 | Riverside East_ST_1 | 15_ST_1 | 250 | Solar Thermal | 26.68% | x | x | x | x | x | x | 33.7017 | -115.2151
|  | Riverside East_PV_2 | 15_PV_2 | 250 | Thin-Film | 26.63% | x | x | x | x | x | x | 33.8677 | -115.2056 | Riverside East_ST_2 | 15_ST_2 | 242 | Solar Thermal | 26.68% | x | x | x | x | x | x | 33.6265 | -114.978
|  | Riverside East_PV_3 | 15_PV_3 | 83 | Crystalline Tracking | 28.73% | [5 empty] | x | 33.7709 | -115.2543
|  | Riverside East_PV_4 | 15_PV_4 | 375 | Crystalline Tracking | 27.42% | [5 empty] | x | 33.5717 | -114.8383
16 | Round Mountain
17 | San Bernardino-Lucerne | San Bernardino-Lucerne_PV_1 | 17_PV_1 | 30 | Crystalline Tracking | 29.35% | [5 empty] | x | 34.3968 | -116.8591
18 | San Diego South
19 | Solano
20 | Tehachapi | Tehachapi_PV_1 | 20_PV_1 | 341 | Thin-Film | 23.5% |  | x |  | x |  |  | 34.9666 | -118.2477 | Tehachapi_ST_1 | 20_ST_1 | 105 | Solar Thermal | 26.68% |  | x |  | x |  | x | 35.0601 | -117.9914
|  | Tehachapi_PV_2 | 20_PV_2 | 341 | Thin-Film | 23.5% |  | x |  | x |  |  | 35.0637 | -118.2222
|  | Tehachapi_PV_3 | 20_PV_3 | 341 | Thin-Film | 23.5% |  | x |  | x |  |  | 35.0183 | -118.287
|  | Tehachapi_PV_4 | 20_PV_4 | 341 | Thin-Film | 23.5% |  | x |  | x |  |  | 35.2154 | -118.0237
|  | Tehachapi_PV_5 | 20_PV_5 | 66 | Crystalline Tracking | 29% | [5 empty] | x | 34.8815 | -118.3987
|  | Tehachapi_PV_6 | 20_PV_6 | 244.2 | Thin-Film | 23.5% | [5 empty] | x | same as PV_1
|  | Tehachapi_PV_7 | 20_PV_7 | 244.2 | Thin-Film | 23.5% | [5 empty] | x | same as PV_2
21 | Utah-Southern Idaho
22 | Westlands | Westlands_PV_1 | 22_PV_1 | 400 | Crystalline Tracking | 25.42% |  |  | x |  |  |  | 36.1956 | -119.9635
|  | Westlands_PV_2 | 22_PV_2 | 400 | Crystalline Tracking | 25.42% |  |  | x |  |  |  | 36.1424 | -119.9272
23 | Wyoming
[5 empty] | Total PV |  | 1415.9 | 3866.8 | 2655.3 | 4024.2 | 1889.4 | 2882.4 | [7 empty] | 1379 | 3989 | 1471.7 | 3989 | 1679 | 1484
[5 empty] | Total ST |  | 1379 | 3989 | 1471.7 | 3989 | 1679 | 1484
[5 empty] | Total Large |  | 2794.9 | 7855.8 | 4127 | 8013.2 | 3568.4 | 4366.4

## Small Solar Profiles
| Technology: | Large Ground | fixed tilt - 25 degrees cadmium telluride
|  | Large Roof | fixed tilt - 15 degrees polycrystalline
SMALL SOLAR
Area Number | Location | Profile Name | Plant | Size MW |  | Number of Sites | E3 Cap. Factor | 20% | 33% Base | 33% Environ. | 33% High | 33% Cost | 33% Time | Geographical Location |  |  |  | Notes
|  | Profile Name |  |  | Type | [8 empty] | Latitude X1 | Latitude X2 | Longitude Y1 | Longitude Y2
1 | Central Valley | Large_Ground_1 | 1_LG_1 | 406.5 | fixed tilt - 25 degrees cadmium telluride | 13 | 23.56% | x | x | x | x | x | x | 35.486 | 36.921 | -120.133 | -118.954
|  | Large_Ground_2 | 1_LG_2 | 461.9 | fixed tilt - 25 degrees cadmium telluride | 15 | 23.63% |  |  | x |  |  |  | 36.516 | 37.86 | -120.928 | -120.215 | (302.9+132.9+26.1)
|  | Large_Ground_3 | 1_LG_3 | 418.9 | fixed tilt - 25 degrees cadmium telluride | 5 | 23.56% |  |  | x |  |  |  | 37.484 | 38.518 | -121.732 | -120.991
|  | Large_Ground_4 | 1_LG_4 | 530.1 | fixed tilt - 25 degrees cadmium telluride | 1 | 23.56% |  |  | x |  |  |  | 38.671 | 39.096 | -122.031 | -121.065
|  | Large_Ground_5 | 1_LG_5 | 387.9 | fixed tilt - 25 degrees cadmium telluride | 2 | 23.56% |  |  | x |  |  |  | 39.119 | 39.624 | -122.332 | -121.396
|  | Large_Ground_6 | 1_LG_6 | 174.1 | fixed tilt - 25 degrees cadmium telluride | 9 | 23.56% |  |  | x |  |  | x | 35.011 | 35.452 | -119.676 | -118.744
|  | Large_Ground_7 | 1_LG_7 | 457.4 | fixed tilt - 25 degrees cadmium telluride | 6 | 23.56% |  |  | x |  |  |  | 39.68 | 40.572 | -122.591 | -121.769
|  | Mid_Ground |  | 132.9 |  | 22 | 23.56% | [6 empty] | merged with Large_Ground_2
|  | Small_Ground |  | 26.1 |  | 21 | 25.57% | [6 empty] | merged with Large_Ground_2
|  | Large_Roof_1 | 1_LR_1 | 165.2 | fixed tilt - 15 degrees polycrystalline | 2 | 20.37% |  |  | x |  |  | x | 36.237 | 36.888 | -119.919 | -119.047
|  | Large_Roof_2 | 1_LR_2 | 544.8 | fixed tilt - 15 degrees polycrystalline | 5 | 20.37% |  |  | x |  |  |  | 37.584 | 38.838 | -121.586 | -120.92
| Mojave | Large_Ground_8 | 2_LG_1 | 120 | fixed tilt - 25 degrees cadmium telluride | 7 | 26.68% | x | x | x | x | x | x | 34.939 | 35.215 | -117.999 | -117.405
|  | Large_Ground_9 | 2_LG_2 | 48.1 | fixed tilt - 25 degrees cadmium telluride | 9 | 26.68% |  |  | x |  |  | x | 34.939 | 35.135 | -117.035 | -116.716
|  | Large_Ground_10 | 2_LG_3 | 367.6 | fixed tilt - 25 degrees cadmium telluride | 14 | 26.68% |  |  | x |  |  |  | 33.941 | 34.687 | -116.682 | -114.951 | 355.1+12.5
|  | Large_Ground_11 | 2_LG_4 | 433 | fixed tilt - 25 degrees cadmium telluride | 14 | 26.68% |  |  | x |  |  |  | 32.71 | 33.227 | -116.332 | -114.944
|  | Mid_Ground |  | 12.5 |  | 21 | 26.68% |  |  | 1 |  |  |  | merged with Large_Ground_10
|  | Small_Ground |  | 3 | [5 empty] | 1 |  |  |  | not included
|  | Large Roof |  | 17.8 | fixed tilt - 15 degrees polycrystalline | 5 | 22.8% | 1 | 1 | 1 | 1 | 1 | 1 | merged with Large_Roof_8
|  | Large_Roof_3 | 2_LR_1 | 115.4 | fixed tilt - 15 degrees polycrystalline | 4 | 22.8% |  |  | x |  |  | x | 32.683 | 33.162 | -115.803 | -115.105
|  | Large_Roof_4 | 2_LR_2 | 380 | fixed tilt - 15 degrees polycrystalline | 10 | 22.8% |  |  | x |  |  |  | 34.455 | 35.069 | -118.216 | -116.871
| North Coast | Large_Ground_12 | 3_LG_1 | 88.5 | fixed tilt - 25 degrees cadmium telluride | 5 | 21.87% | x | x | x | x | x | x | 36.395 | 36.908 | -121.578 | -120.999
|  | Large_Ground_13 | 3_LG_2 | 59.6 | fixed tilt - 25 degrees cadmium telluride | 6 | 21.87% |  |  | x |  |  | x | 38.518 | 39.272 | -123.97 | -122.603
|  | Large_Ground_14 | 3_LG_3 | 356.6 | fixed tilt - 25 degrees cadmium telluride | 16 | 21.87% |  |  | x |  |  |  | 35.563 | 36.349 | -121.106 | -120.228
|  | Large_Ground_15 | 3_LG_4 | 302 | fixed tilt - 25 degrees cadmium telluride | 4 | 21.87% |  |  | x |  |  |  | 40.056 | 40.951 | -124.067 | -123.326 | 240.5+48.4+13.1
|  | Mid_Ground |  | 48.4 |  | 15 | 21.87% |  |  | 1 |  |  |  | merged with Large_Ground_15
|  | Small_Ground |  | 13.1 |  | 14 | 23.71% |  |  | 1 |  |  |  | merged with Large_Ground_15
|  | Large Roof |  | 18 | fixed tilt - 15 degrees polycrystalline | 5 | 19.56% | 1 | 1 | 1 | 1 | 1 | 1 | merged with Large_Roof_8
|  | Large_Roof_5 | 3_LR_1 | 212.2 | fixed tilt - 15 degrees polycrystalline | 4 | 19.56% |  |  | x |  |  | x | 38.092 | 38.582 | -122.819 | -121.893
|  | Large_Roof_6 | 3_LR_2 | 341.2 | fixed tilt - 15 degrees polycrystalline | 7 | 19.56% |  |  | x |  |  |  | 37.291 | 38.001 | -122.274 | -121.643
|  | Large_Roof_7 | 3_LR_3 | 358.6 | fixed tilt - 15 degrees polycrystalline | 3 | 19.56% |  |  | x |  |  |  | 36.416 | 37.2 | -121.718 | -121.071
| South Coast | Large Ground |  | 20 |  | 1 | 24.34% | 1 | 1 | 1 | 1 | 1 | 1 | merged with Large_Ground_12
|  | Large_Ground_16 | 4_LG_1 | 151.2 | fixed tilt - 25 degrees cadmium telluride | 6 | 24.34% |  |  | x |  |  | x | 34.543 | 35.18 | -120.534 | -120.031
|  | Large_Ground_17 | 4_LG_2 | 424.7 | fixed tilt - 25 degrees cadmium telluride | 17 | 24.34% |  |  | x |  |  |  | 34.309 | 34.85 | -119.418 | -118.454
|  | Large_Ground_18 | 4_LG_3 | 335 | fixed tilt - 25 degrees cadmium telluride | 3 | 24.34% |  |  | x |  |  |  | 32.977 | 33.837 | -117.314 | -116.581
|  | Mid & Small Ground |  | 7.8 |  | 28 | 24.34% and 26.1% |  |  | 1 |  |  |  | merged with Large_Ground_18
|  | Large_Roof_8 | 4_LR_1 | 430 | fixed tilt - 15 degrees polycrystalline | 15 | 21.17% | x | x | x | x | x | x | 33.692 | 34.261 | -118.449 | -117.58
|  | Large_Roof_9 | 4_LR_2 | 261.4 | fixed tilt - 15 degrees polycrystalline | 4 | 21.17% |  |  | x |  |  | x | 34.141 | 34.523 | -119.226 | -118.466
|  | Large_Roof_10 | 4_LR_3 | 453.9 | fixed tilt - 15 degrees polycrystalline | 4 | 21.17% |  |  | x |  |  |  | 33.456 | 34.196 | -117.559 | -117.002
|  | Large_Roof_11 | 4_LR_4 | 408.2 | fixed tilt - 15 degrees polycrystalline | 7 | 21.17% |  |  | x |  |  |  | 32.588 | 33.24 | -117.261 | -116.909
[5 empty] | Total Small PV |  |  | 1045 | 1045 | 9194 | 1045 | 1045 | 2232.2

## Distributed Solar Profiles
|  |  | MW |  | Energy
|  | Total DG | 1749.28 |  | 3218
Nameplate at CF=21.0%
DISTRIBUTED SOLAR
Area Number | Location | Profile Name | Plant | Size MW |  | Number of Sites | E3 Cap. Factor | 20% | 33% Base | 33% Environ. | 33% High | 33% Cost | 33% Time | Geographical Location
|  | Profile Name |  |  | Type | [8 empty] | Latitude X1 | Latitude X2 | Longitude Y1 | Longitude Y2
| Central Valley | Distributed_Solar_1 | 1_DS_1 | 349.856 | fixed tilt |  | 21% | x | x | x | x | x | x | 37.765 | 38.824 | -121.638 | -121.065
| Central Valley | Distributed_Solar_2 | 1_DS_2 | 349.856 | fixed tilt |  | 21% | x | x | x | x | x | x | 36.308 | 37.45 | -120.542 | -119.224
| North Coast | Distributed_Solar_3 | 3_DS_1 | 349.856 | fixed tilt |  | 21% | x | x | x | x | x | x | 37.248 | 38.435 | -122.512 | -121.706
| South Coast | Distributed_Solar_4 | 4_DS_1 | 349.856 | fixed tilt |  | 21% | x | x | x | x | x | x | 33.631 | 34.278 | -118.523 | -117.067
| South Coast | Distributed_Solar_5 | 4_DS_2 | 349.856 | fixed tilt |  | 21% | x | x | x | x | x | x | 32.661 | 33.32 | -117.26 | -116.781